## Instructions
Contingency Change Submission Instrcution
1. Follow the contingency naming convention as described further below
2. Use unique contingency names (i.e. no duplicate contingencies)
3. Fill in the applicable tabs (Single, P2-1, Bus,Line_FB, P5, and/or Tower) with the contingency changes
4. Use ‘delete’ and ‘add’ methodology as shown in the below examples:
New Contingencies:
Delete | Add
N/A | CONTINGENCY 'PJM_P1-2_BUS1_BUS2_SRT-A' DISCONNECT BRANCH FROM BUS #####1 TO BUS #####2 CKT 1 /* BUS 1 138 TO BUS 2 138 END
Deleted Contingencies:
Delete | Add
CONTINGENCY 'PJM_P1-2_BUS1_BUS2_SRT-A' DISCONNECT BRANCH FROM BUS #####1 TO BUS #####2 CKT 1 /* BUS 1 138 TO BUS 2 138 END | N/A
Modified Contingencies:
1:1 Replacements
Delete | Add
CONTINGENCY 'PJM_P1-2_BUS1_BUS2_SRT-A' DISCONNECT BRANCH FROM BUS #####1TO BUS #####2 CKT 1 /* BUS 1 138 TO BUS 2 138 END | CONTINGENCY 'PJM_P1-2_BUS1_BUS3_SRT-A' DISCONNECT BRANCH FROM BUS #####1 TO BUS #####3 CKT 1 /* BUS 1 138 TO BUS 3 138 END
1:2 (or more) Replacements (when 1 contingency is modified to 2 or more congencies, merge the Delete cells)
Delete | Add
CONTINGENCY 'PJM_P1-2_BUS1_BUS2_SRT-A' DISCONNECT BRANCH FROM BUS #####1 TO BUS #####2 CKT 1 /* BUS 1 138 TO BUS 2 138 END | CONTINGENCY 'PJM_P1-2_BUS1_BUS3_SRT-A' DISCONNECT BRANCH FROM BUS #####1 TO BUS #####3 CKT 1 /* BUS 1 138 TO BUS 3 138 END
CONTINGENCY 'PJM_P1-2_BUS3_BUS2_SRT-A' DISCONNECT BRANCH FROM BUS #####3 TO BUS #####2 CKT 1 /* BUS 3 138 TO BUS 2 138 END
2 (or more):1 Replacements (when 2 or more contingencies are modified to 1 contingency, merge the Add cells)
Delete | Add
CONTINGENCY 'PJM_P1-2_BUS1_BUS3_SRT-A' DISCONNECT BRANCH FROM BUS #####1 TO BUS #####3 CKT 1 /* BUS 1 138 TO BUS 3 138 END | CONTINGENCY 'PJM_P1-2_BUS1_BUS2_SRT-A' DISCONNECT BRANCH FROM BUS #####1 TO BUS #####2 CKT 1 /* BUS 1 138 TO BUS 2 138 END
CONTINGENCY 'PJM_P1-2_BUS3_BUS2_SRT-A' DISCONNECT BRANCH FROM BUS #####3 TO BUS #####2 CKT 1 /* BUS 3 138 TO BUS 2 138 END
Contingency Naming Convention
For each RTEP study year, six (6) contingency files are required. The common names of these six contingency files and the associated NERC TPL contingency definitions are shown in the table below:
PJM File Name | TPL-001-5 Contingencies
Single | P1 (All)
P_2-1 | P2.1
Bus | P2.2
Line_FB | P2.3, P2.4 P4 (All)
P5 | P5
Tower | P7(All)
1. Standard Format
–PJM has identified a specific naming standard convention to contingencies. This is necessary to be able to sort on contingencies that apply to certain seasons and assist in the consolidation of all contingency files into one (1) yearly set per contingency type.
–Below is an example of the standard format:
“Company Name” _ “TPL Number” - “Sub Number Remainder of Contingency Title” _ “Sort” - ”Seasonal Restricted”
2. Seasonal Consideration and Sorting
–To maintain all different seasonal contingencies within a yearly contingency case, contingency titles will require a standard adder to providing sorting capability.
Command for Cont. | Command for Cont.
_SRT-A | _SORT-ALL
_SRT-S | _SORT-SUM
_SRT-W | _SORT-WIN
_SRT-L | _SORT-LL
_SRT-SL | _SORT-SUM & LL
_SRT-WL | _SORT-WIN & LL
_SRT-SW | _SORT-SUM & WIN
3. Contingency File Naming Convention
–Below are several examples of valid contingency names:
AP_P1-1_MP-138-513_SRT-S
ATSI_P1-2_OEC-69-010_SRT-A
AEP_P1-2_#5522_SRT-L
CE_P4_207-38-L4606N_SRT-A
DVP_P7-1_LN 46-74_SRT-SW
ME_P2-2_ME-115-022T_SRT-W

## Single
Delete | Add

## P2-1
Delete | Add

## Bus
Delete | Add

## Line_FB
Delete | Add

## P5
Delete | Add

## Tower
Delete | Add