## Setup
Enter Stakeholder Committee Name in cell A2:
Resource Adequacy Senior Task Force
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Capacity Market Reform (KWA 2-10)

## 2. Options Matrix- Design Comp.
Resource Adequacy Senior Task Force
Capacity Market Reform (KWA 2-10)
OPTIONS MATRIX
Solution Options2
# | KWA | Design Components1 | Priority | Status Quo | A | B | C | D | E
| KWA2 | Key Work Activity 2 - Reliability Risks and Drivers
| KWA2 | Accounting of Existing Uncertainties / Risks Modeled in RA Studies
1 | KWA2 | Load Forecast |  | Reflected in RPM on the Demand Side. See tab 2a Design Component Details for additional information on status quo. | Continue to account for load forecast uncertainty on the demand-side in RPM, but extend the historical weather history and corresponding load estimates considered in our reliability models to more years (e.g. 50 years) to more accurately capture the full distribution of weather outcomes. | Include benchmark extreme weather events.
2 | KWA2 | Random forced outages of Unlimited Resources |  | Reflected in RPM on the Supply Side. See tab 2a Design Component Details for additional information on status quo. | Continue to account for random forced outages on the supply-side in accreditation, but incorporate all forced outages into new model that captures correlated outage risk with weather.
3 | KWA2 | Planning outages of Unlimited Resources |  | Reflected in RPM on the Demand Side. See tab 2a Design Component Details for additional information on status quo. | Reflected in RPM: Supply-side | Account for planned outage uncertainty on the supply-side in the accreditation of resources with consideration of historical planned outage durations for units. | Capacity obligations stand for units on planned outages; addressed through replacement capacity
4 | KWA2 | Maintenance outages of Unlimited Resources |  | Reflected in RPM on the Demand Side. See tab 2a Design Component Details for additional information on status quo. | Reflected in RPM: Supply-side | Account for maintenance outage uncertainty on the supply-side in the accreditation of resources. | Capacity obligations stand for units on maintainance outages; addressed through replacement capacity
5 | KWA2 | Ambient Derates of Unlimited Resources |  | Reflected in RPM on the Demand Side. See tab 2a Design Component Details for additional information on status quo. | Reflected in RPM: Supply-side | Account for uncertainty related to ambient de-rates on the supply-side in the accreditation of resources based on historical ambient de-rate data and in a manner that's consistent with temperature-dependent forced outage risk. | Remove ambient derate adjustment from IRM. Include Ambient derate in input values used to determine UCAP |  |  | Low
6 | KWA2 | Outages & limitations of ELCC Resources |  | Reflected in RPM on the Supply Side. See tab 2a Design Component Details for additional information on status quo. | Continue to account on the supply-side, but adjust based on expanded weather history. |  |  |  |  | Low - Medium
7 | KWA2 | Outages & limitations of Demand Resources |  | Reflected in RPM on the Supply Side (partially). See tab 2a Design Component Details for additional information on status quo. | Account for availability limitations of Demand Resources that may coincide with periods of load shed risk in the accreditation of DR. |  |  |  |  | Low - High
8 | KWA2 | Correlated cold weather forced outages of Unlimited Resources |  | Reflected in RPM on the Demand Side. See tab 2a Design Component Details for additional information on status quo. | Reflected in RPM: Supply-side | Account for correlated cold weather forced outage risk on the supply-side in the accreditation of resources; Incorporate all forced outages into new model that considers correlated outage risk with weather, and expands weather history to look back more years (e.g. 50 years) to more accurately capture the full distribution of weather outcomes | include technology-wide cold weather forced outages in input values used to determine UCAP |  |  | Medium
9 | KWA2 | Emergency Imports |  | Reflected in RPM on the Demand Side. See tab 2a Design Component Details for additional information on status quo. | Review accuracy of Capacity Benefit Margin |  |  |  |  | Medium - High
10 | KWA2 | Internal Transmission Risks |  | Reflected in RPM on the Demand Side (load deliverability) and Supply Side (gen deliverability). See tab 2a Design Component Details for additional information on status quo. | Modify CETO/CETL procedure (test design) to reflect variability of ELCC resources as well as CIR limitations | Enhance CETO modeling to be hourly and capture intermittency of Variable Resources and limitations of Limited Duration Resources (consistent with ELCC analysis). | Modify CETO/CETL procedure to reflect seasonal transmission constraints
11 | KWA2 | Outage Assymetry of Unlimited Resources |  | Reflected in RPM on the Demand Side (RRS). See tab 2a Design Component Details for additional information on status quo. | Reflected in RPM: Supply-side | Account for outage assymetry on the supply-side in the accreditation of resources.
12 | KWA2 | Common Mode Failure of Unlimited Resources |  | Not reflected in supply or demand-side. | Reflected in RPM: Supply-side | Further subdivide resource accredidation catagories based on specific identified commone mode failure risks.
13 | KWA2 | Correlated Hot Weather Dependent Outages of Unlimited Resources |  | Reflected in RPM on the Demand Side (RRS). See tab 2a Design Component Details for additional information on status quo. | Reflected in RPM: Supply-side | Account for correlated hot weather forced outage risk on the supply-side in the accreditation of resources; Incorporate all forced outages into new model that considers correlated outage risk with weather, and expands weather history to look back more years (e.g. 50 years) to more accurately capture the full distribution of weather outcomes | Same as 8 (correlated cold weather outages): include in input data used to determine UCAP
14 | KWA2 | Fuel Availability Outages of Unlimited Resources |  | Reflected in RPM on the Demand Side (RRS). See tab 2a Design Component Details for additional information on status quo. | Reflected in RPM: Supply-side | Account for fuel availability outage risk on the supply-side in the accreditation of resources to the extent it's correlated with temperature (e.g. lack of gas seen during colder temps). Include forced outages related to fuel unavailability in temperature-dependent forced outage model. | Mitigate fuel availability outage risk in the qualification of resources by setting pre-defined qualification requirements to firm up fuel availability of certain capacity resources. | Treat as either common mode or correlated outage; no specific treatment
15 | KWA2 | Treatment of output above the CIR or above the reference temperature |  | Not reflected. Note: Output above the CIR addressed in CIR-ELCC filing.
16 | KWA2 | Risk of energy delivery based on committed capacity resource obligation per PJM governing documents |  | N/A
17 | KWA2 | Additional uncertainties / risks to be considered in the capacity market |  |  | Startup times and ramp limits considered in determining UCAP |  |  |  |  | High
| KWA3 | Key Work Activity 3 - Procurement Level and Metric
18 | KWA3 | RTO Procurement Metric and Target Level |  | 1 day in 10 years Loss of Load Expectation (LOLE). The procurement target is utilized in setting the Variable Resource Requirement (VRR) curve used in RPM auctions. A fixed target is set for FRR entities. Reliability Requirement (UCAP) = 50/50 forecasted peak load * Forecast Pool Requirement (FPR), where FPR = (1 + IRM) / (1 - Pool-wide Avg. EFORd) | Switch to Expected Unserved Energy "EUE" as the primary reliability metric in reserve studies and accreditation. Set the RTO target at roughly the equivalent amount of EUE seen in studies today when at a 1 in 10 years LOLE. Move to an hourly RTO reserve requirement study that incorporates more weather history, etc. consistent with ELCC analysis. | Reliability Requirement (in UCAP terms) is determined based on the total accredited UCAP of the projected resource mix when at target loss-of-load criteria. Reliability Requirement (UCAP) = 50/50 forecasted peak load * FPR; where FPR is set equal to the total resource accredited UCAP / peak load in the reserve study model when at target loss-of-load criteria. | FPR adjusted dowward to prevent double counting of risks shifted from demand side to accredidation. | Variable seasonal risk that totals 1 day in 10 LOLE.
19 | KWA3 | LDA Procurement Metric and Target Level |  | 1 day in 25 years LOLE. The procurement target is utilized in setting the Variable Resource Requirement (VRR) curve used in RPM auctions. A fixed target is set for FRR entities. | Modify CETO/CETL procedure (test design) to reflect the variability of ELCC resources as well as CIR limitations. (Attendant adjustment to calculation of 1 in 25) | Switch to Expected Unserved Energy "EUE" for determining the CETO and LDA reserve requirements. Target based on similar level of additional risk accepted today for LDAs (e.g. additional 0.04 LOLE risk on top of the .1 LOLE RTO requirement). Move to an hourly LDA reserve requirement study that incorporates more weather history, etc. consistent with ELCC analysis. | Separate seasonal targets that total 1 in 25 LOLE.
20 | KWA3 | Procurement in each LDA in BRA and Incremental Auction |  | Procure 100% of the target reserve requirement based on load forecast and FPR using a sloped demand curve in the BRA. PJM buys and sells in Incremental Auctions to reflect updates to reserve requirements. Load forecast 10 years out consistent with the 1 day in 10 year Loss of Load Expectation (LOLE) | Procure only a percentage in the BRA and the remainder in the Incremental Auctions. The must offer requirement is the same percentage as the procurement percentage. | Procure only a percentage in the BRA and the remainder in the Incremental Auctions. The must offer requirement remains the same.
21 | KWA3 | FRR Procurement |  | FRR entities have UCAP obligation set based on FRR forecasted load and FPR (1 in 10 LOLE requirement). If located in an LDA that requires a VRR curve be modeled (e.g. due to CETL / CETO ratio falling below 115%), FRR entity must also satisfy their internal resource requirement by committing sufficient resources inside the LDA to their FRR Plan. 1 plus the forecast pool requirement for UCAP | FRR covers same percentage over the IRM as was procured in the market at the BRA or the end of the 3rd IA
| KWA4 | Key Work Activity 4 - Performance Assessment
| KWA4 | Performance Assessment (PAIs)
22 | KWA4 | Timing of Performance Assessment(s) |  | Resources are assessed for each Performance Assessment Interval (PAI), or every 5-minute settlement interval for which an Emergency Action has been declared by PJM. See tab 2a for additional information on status quo. | Maintain timing of assessments focused on times of stressed system conditions, but modify triggers ("Emergency Actions") to include reserve shortages | Modify trigger of PAIs to use a nodal, LMP-based trigger that results in assessments for generation when prices reach a pre-determined threshold (e.g. $850) that's indicative of stressed system conditions. | Set a minimum number of PAIs to be assessed each year (e.g. 30 hours or 360 PAIs), where any actual Emergency Actions triggering PAIs are supplemented with X additional hours of assessment during the hours in the year with the lowest operating reserve margins to ensure the minimum is reached.
23 | KWA4 | Assessed Resources |  | All resources (capacity and energy-only) located in the area defined by the Emergency Action. See tab 2a for additional information on status quo.
24 | KWA4 | Expected Performance level of Assessed Resources |  | Varies by resource type, but set at Committed UCAP * Balancing Ratio for committed generation. See tab 2a for additional information on status quo. | For ELCC resources, expected performance should be the resource's forecasted generation during the PAI. PJM should use the same generation forecast that it uses to determine the resource's ELCC accreditation. | For Generation Capacity Resources, switch to a variable baseline, where Expected Performance may vary hour-to-hour consistent with the risk-weighted hourly availability assumed in the accreditation. Denominator of Balancing Ratio adjusted to reflect variable baseline of committed Generation Capacity Resources. | For ELCC resources, expected performance is to be in service at ICAP * (1-eFORd) (Effective nameplate corresponding to cleared UCAP)
25 | KWA4 | Actual Performance level of Assessed Resources |  | By Resource Type. See tab 2a for additional information on status quo.
26 | KWA4 | Performance Shortfall Calculation |  | Performance Shortfall = Expected Performance - Actual Performance. A positive number indicates a potential underperformance (shortfall) and a negative number indicates potential over-performance (bonus). See tab 2a for additional information on status quo. | Performance Shortfall = (Expected in-service - Actual In-service) * ELCC Factor
27 | KWA4 | Excusals from Performance Shortfalls |  | Resources may be excused for • Maintenance and/or Planned Outages approved by PJM • MW not scheduled or scheduled down by PJM for reasons other than a parameter limitation and/or submission of a market-based offer above cost. See tab 2a for additional information on status quo. | If expected performance is set at committed UCAP, excusals should be given for ELCC resources that were not forecasted to be available during the PAI. | Only MW not scheduled or scheduled down by PJM for reasons other than a parameter limitation and/or submission of a market-based offer above cost. | Risk factors considered in determination of UCAP, with understanding that uncorrelated forced outages are fully addressed by setting obligations at UCAP. | For "in service at ICAP" style obligations, the portion of ICAP reflected in the unit-specific eFORd
28 | KWA4 | Non-Performance Charge |  | Non-Performance Charge for each PAI = Shortfall MW * Non-Performance Charge Rate. See tab 2a for additional information on status quo.
29 | KWA4 | Non-Performance Charge Rate |  | Non-Performance Charge Rate ($/MW-interval) = LDA Net CONE ($/MW-day in ICAP terms) for which the resource resides * Number of days in DY / 30 hours / 12 settlement intervals | Status quo, but update 30 hours in denominator to reflect estimate of expected hours of performance assessment when at criteria, and periodically review and update value (e.g. with Quadrennial Review) | Set the non-performance charge rate based on the BRA clearing price divided by expected number of PAIs in the future Delivery Year. | All capacity revenue at risk every year. | Follow SR non-performance charges: all revenue since last performance event at risk.
30 | KWA4 | Stop-Loss for Non-Performance Charges |  | Stop-loss limits the total Non-Performance Charge that can be assessed on each Capacity Resource. See tab 2a for additional information on status quo.
31 | KWA4 | Allocation of Non-Performance Charges and other funding details |  | Revenue collected from payment of Non-Performance Charges is distributed to resources of any type (including energy-only) that perform above expectations during each PAI (i.e. have Bonus MW > 0). See tab 2a for additional information on status quo. | Refunded to load
32 | KWA4 | Bonus Performance Calculation |  | Bonus Performance = Actual Performance - Expected Performance (represented as a negative value in Performance Shortfall calculation).See tab 2a for additional information on status quo. | For "in service at ICAP" style obligations, only ICAP not reflected in a capacity obligation, including portion of ICAP reflected in unit-specific eFORd
33 | KWA4 | Bonus Rate |  | Bonus Rate ($/Bonus MW) = Total Non-Performance Charges for PAI / Total Bonus Performance MW
34 | KWA4 | Assessment Billing Timing |  | The billing of Non-Performance Charges incurred will be done within three calendar months after the calendar month that included such PAIs and billing of charges will be spread over the remaining months in the Delivery Year. See tab 2a for additional information on status quo. Note: FERC filing pending on billing timeline
35 | KWA4 | FRR Considerations |  | FRR Entities may choose to be subject to financial or physical non-performance assessments prior to each DY. Financial assessments are handled in the same manner as RPM commitment. See tab 2a for additional information on status quo.
| KWA5 | Key Work Activity 5 - Qualification and Accreditation
| KWA5 | Capacity Accreditation
36 | KWA5 | Unlimited Resources Generating units with the ability to operate continuously across all hours of an operating day without interruption if needed, including nuclear and fossil-fired steam units, combined cycle units, combustion turbine units, etc. (i.e. generation that is not an ELCC Resource) |  | Accredited capacity value Unforced Capacity (UCAP) = Installed Capacity (ICAP) * (1 - EFORd) See tab 2a for additional information on status quo. | Unlimited Resources will be partitioned into performance based classes and evaluated by ELCC based on historic availabiity metric. | Determine the accredited capacity value of Unlimited Resources based on ELCC analysis (class rating and unit-specific performance adjustment). | As (A), plus classes further divided based on common mode failures.
37 | KWA5 | ELCC Resources |  | Accredited UCAP is based on effective load carrying capability (ELCC) analysis. Includes a Generation Capacity Resource that is a Variable Resource, Limited Duration Resource, or a Combination Resource. See tab 2a for additional information on status quo. | ELCC historic energy analysis to be capped by CIR and coordinated with CIR-ELCC working group. | Expand the application of ELCC accreditation to include Unlimited Resources and DR.
38 | KWA5 | ELCC Analysis Components
38A | KWA5 | Timing of ELCC Accreditation Process |  | Final ELCC Class UCAP and ELCC Class Rating values for use in the upcoming Delivery Year posted in an annual report (typically in Nov. ahead of calendar year). See tab 2a for additional information on status quo. | Coordinated with CIR-ELCC working group | Iterative process where ELCCs are recomputed based on cleared fleet and auction re-cleared, repeated until de minimus difference between modeled and actual ELCC. | ELCC determined and offers adjusted based on resources' position in offer stack, similar to use of the resource specific benefits factor in regulation market clearing.
38B | KWA5 | Modeled Resource Mix |  | Generally, all resources that are expected to offer into the cpacity market for a given delivery year are modeled as providing capacity, whether or not they are expected to clear. See tab 2a for additional information on status quo. | Cleared resoruce mix. See (b) and (c) above
38C | KWA5 | ELCC Classes |  | See tab 2a. Design Component Details | ELCC Classes for Unlimited Resources (new name?) | New representative classes for Unlimited Resources and DR | Based on technology. Provide mechanisim for units to specify their degree of fuel security. As needed subdividions based on PJM identified common mode failures.
38D | KWA5 | Consideration of Changing ELCC Values (e.g. Average vs. Marginal) |  | Average-Total ELCC. "Delta Method" to allocate portfolio accredited UCAP to ELCC classes for calculating ELCC Class Rating. | Alternative allocator that allows for "uprate" of class share based on positive synergy on other clases, e.g. contribution of charging energy | Set accredited values based on marginal reliability contribution (relative to that of a perfect generator)
38E | KWA5 | Development of Expected Output Profiles used in Model |  | See tab 2a. Design Component Details | Hourly limitation to CIR level. | Representation of various unlimited classes TBD | Hourly output profile of Unlimited Resources in model based on: - Temperature-dependent forced outage model that considers all forced outages - Ambient de-rates included and treated as forced outages in temperature-dependent forced outage model - "Optimized" scheduling of planned outages for all units, which is then allocated in each hour to individual units based on contribution of that unit's planned outage need relative to the total planned outage needs - Maintenance outages divided between forced outages (and considered in temp.-dependent model) and planned outages, which are scheduled Output profile of DR handled in same manner as today. | Representation of various unlimited classes TBD | Based on historical performance of ELCC class, reflecting correlations with weather profiles used in load forecast development. Portion of output profiles based on performance during extreme weather scenarios.
38F | KWA5 | Unit-Specific Performance Adjustment |  | • Variable Resources: Ratio of unit's 200CPx2 to class 200CPx2 • Limited Duration Resources: (1-EFORd) • Hydro with Non-Pumped Storage: (1-EFORd) • Combination Resources: Considered in individual components. See tab 2a for additional information on status quo. | Unlimited Resources will be based on historic hourly profiles of availability per new metric. | Under class-based approach, Unlimited Resource unit-specific performance adjustment based on unit-specific hourly output profile used in model and hours of risk in model (i.e. based on output during weighted hours of risk) | Forced outage rate not included in ELCC inputs
38G | KWA5 | Unit-Specific Accredited UCAP |  | For Variable Resources and Limited Duration Resources: Accredited UCAP = Effective Nameplate Capacity (ENC) * ELCC Class Rating * ELCC Resource Performance Adjustment For Combination Resources: Accredited UCAP = Sum of the Accredited UCAP of each component, not to exceed MFO For hydro with non-pumped storage: Accredited UCAP = resource-specific ELCC rating * ICAP * (1-EFORd) | For Unlimited Resources ENC*Class Rating* Peformance adjustment
38H | KWA5 | Weather in the ELCC Analysis |  | Weather is indirectly incorporated in the model today in the development of load scenarios, and outage risks during the peak winter week. | Expand the historical weather used in the model to look back more years (e.g. 50 years) to more accurately capture the full distribution of weather outcomes
39 | KWA5 | Demand Resource |  | Accredited capacity value UCAP = ICAP * Forecast Pool Requirement (FPR) See tab 2a for additional information on status quo. | Determine the accredited capacity value of DR based on ELCC analysis.
40 | KWA5 | Energy Efficiency Resource |  | Accredited capacity value UCAP = ICAP * FPR See tab 2a for additional information on status quo.
41 | KWA5 | Price Responsive Demand |  | Accredited capacity value Effective UCAP value = Nominated PRD Value * FPR (participates on the demand-side in auctions as an adjustment to the VRR curve) See tab 2a for additional information on status quo.
42 | KWA5 | Qualifying Transmission Upgrade |  | Accredited capacity value UCAP = CETL increase (as certified by PJM)
| KWA5 | Qualification Requirements
43 | KWA5 | Generation Capacity Resources |  | Generating facilities that meet the requirements of RAA, Schedule 9 (accredited as capacity) and RAA, Schedule 10 (deliverable). See tab 2a for additional information on status quo. | Status quo plus appropriate ISA to reflect CIR-ELCC working group | Add fuel assurance qualification criteria for certain generation resources | Status quo plus appropriate ISA to reflect approved CIR-ELCC tariff | (B) plus additional requirements for units requesting treatment as fuel-secure.
43A | KWA5 | Planned Generation Capacity Resources - Internal |  | See tab 2a. Design Component Details
43B | KWA5 | Existing Generation Capacity Resources - External |  | See tab 2a. Design Component Details
43C | KWA5 | Planned Generation Capacity Resources - External |  | Qualification requirements generally consistent with external existing generation and planned internal generation. See tab 2a for additional information on status quo.
44 | KWA5 | Demand Resources (DR) |  | A resource capable of providing a reduction in demand or otherwise control load in accordance with the requirements in RAA, Schedule 6. See tab 2a for additional information on status quo.
44A | KWA5 | Planned DR |  | See tab 2a. Design Component Details
45 | KWA5 | Energy Efficiency (EE) Resources |  | A project, including installation of more efficient devices or equipment or implementation of more efficient processes or systems, meeting the requirements of RAA, Schedule 6. See tab 2a for additional information on status quo.
45A | KWA5 | Planned EE Resources |  | • EE that is planned to be installed or implemented and meet the requirements of Existing EE for a future DY • Supported in M&V Plan to be offered in auction or included in FRR Plan • Sufficient collateral has been posted with PJM
46 | KWA5 | Price Responsive Demand (PRD) |  | End-use customer load registered by a PRD Provider that can curtail load and meets the requirements of RAA, Schedule 6.1. See tab 2a for additional information on status quo.
46A | KWA5 | Planned PRD |  | • PRD that is planned to be registered for a future DY • Supported in a PRD Plan to be offered in auction or included in FRR Plan • Sufficient collateral has been posted with PJM. See tab 2a for additional information on status quo.
47 | KWA5 | Qualifying Transmission Upgrade (QTU) |  | A proposed enhancement to the Transmission System that has been certified by PJM to increase the CETL into an LDA prior to the auction. See tab 2a for additional information on status quo.
| KWA5 | Eligibility for Capacity Types
48 | KWA5 | Annual Capacity Eligibility |  | See tab 2a. Design Component Details
49 | KWA5 | Seasonal Capacity Eligibility |  | See tab 2a. Design Component Details | Approved winter CIRs reflected in ELCC analysis.
| KWA6 | Key Work Activity 6 - Obligations of Capacity Resources
| KWA6 | Energy and A/S Market Obligations
50 | KWA6 | Energy Market Must Offer |  | See tab 2a. Design Component Details Note: Must offer requirement for Variable Resources under review in separate stakeholder process - part of package endorsed at OC in late 2022 | Day ahead forecast is mandatory for Variable Resources. Performance assessment (may go in other matrix) based on AUCAP sold. | Assess non-compliance penalty / pull back capacity payments proportionally for hours or periods of time that a committed resource fails to meet their energy market must offer obligation during the Delivery Year.
51 | KWA6 | Generation designations as Maximum Emergency |  | See tab 2a. Design Component Details
52 | KWA6 | Ancillary Services Must Offer |  | All Generation Capacity Resources must offer all the synchronized reserves, non-synchronized reserves, and secondary reserves (all both in DA and RT) that they are physically capable of providing. See tab 2a for additional information on status quo.
53 | KWA6 | Parameter Limits |  | Generation Capacity Resources must submit and be subject to pre-determined operating limits on parameter-limited schedules (cost-based and price-based PLS). See tab 2a for additional information on status quo.
| KWA7 | Key Work Activity 7 - Enhancements to the Capacity Procurement Process
54 | KWA7 | RPM Auction Timing |  | BRA conducted 3 years in advance of the Delivery Year. Incremental Auctions conducted 20 months, 10 months, and 3 months ahead of the Delivery Year.
55 | KWA7 | RPM Auction Procurement Period |  | Delivery Year (June - May), with certain aggregation options for seasonal offers and procurement for certain resource types | Fully seasonal construct with seasonal offers, demand, and clearing prices
| KWA8 | Key Work Activity 8 - Remaining Design Details for a Seasonal Capacity Market Construct
56 | KWA8 | Seasonal Periods |  | N/A | Delivery year split into 2 seasons (Summer: June - Oct. + May; Winter: Nov. - April) | Delivery year split into 3 seasons (Summer, Winter, Shoulder)
57 | KWA8 | Procurement Targets by Season |  | N/A | Annual risks allocated across seasons ahead of the auctions, and capacity requirements or procurement targets are set for each season (allocation method tbd) | Risks allocated across seaons to find least-cost mix that meets annual reliablity target.
58 | KWA8 | Accreditation by Season |  | N/A | Marginal ELCC accreditation by season
59 | KWA8 | Offer Structure |  | N/A | Resources able to offer avoidable costs of both annual and seasonal capacity
60 | KWA8 | Clearing Optimization |  | N/A | Optimization engine clears the set of seasonal and annual resources to meet the individual seasonal capacity constrainst at least cost. - Single-season resources that clear receive single-season clearing price for their single-season cleared MW. - Annual resources that clear receive the sum, across seasons, of each season's clearing price for their cleared MW in that season. | As (A), but iterate across seasonal risk allocaitons to find least cost.
| KWA9 | Key Work Activity 9 - Supply-side Market Power Mitigation Rules
| KWA9 | General
61 | KWA9 | Capacity Market Must Offer Requirement |  | Must offer requirement for Existing Generation Capacity Resources (i.e. in-service or cleared in an RPM auction for a prior Delivery Year), unless approved for a unit-specific must offer exception or categorically exempt, where Intermittent and Storage Capacity Resources (and Hybrids consisting of those types) are categorically exempt. DR and EE also exempt from must offer requirement.
62 | KWA9 | Application of MSOC |  | Existing Generation Capacity Resources subject to MSOC for jointly pivotal suppliers (based on TPS test). Planned Generation Capacity Resources subject to offer cap in limited circumstances based on rules in Att. DD, Section 6.5 (ii). DR and EE are not subject to MSOC.
| KWA9 | Unit-Specific Offer Cap Calculation
63 | KWA9 | Net ACR formula |  | Net ACR = Gross ACR - Net E&AS Offset Gross ACR = [Adjustment Factor * (AOML + AAE + AFAE + AME + AVE + ATFI + ACC + ACLE) + ARPIR + APIR + CPQR] | Retirement or "Mothball": Net ACR = Gross ACR - E&AS Offset, where avoidable costs included in Gross ACR are determined relative to costs incurred if the unit were to "mothball" or retire, as applicable. "Energy-only": Net ACR = Gross ACR + CP Opportunity Costs, where avoidable costs included in Gross ACR only include incremental costs of taking on a capacity commitment relative to those that be would incurred if such unit were to solely participate in the E&AS markets for the Delivery Year (e.g. CPQR). For reference: "Mothball" is intended to reflect a unit that does not operate for the Delivery Year, but maintained in a state such that it may be brought back into service in a future year. "Energy-only" is intended to reflect a Capacity Resource that continues to operate and participate in the E&AS markets, but does not have a capacity commitment. | Need to better define what CPQR is and what a "default" CPQR might look like, otherwise the current formula works for unit specific offer caps beyond the default MSOC. | Status quo plus defined CPQR. EAS should be forward looking and not historical.
64 | KWA9 | Marginal cost of capacity |  |  |  |  | Net ACR
65 | KWA9 | Reference against which avoidable costs and revenues are calculated (i.e. retirement vs. mothball vs. continuing to operate in the E&AS markets only) |  | Avoidable costs and revenues calculated based on decision to operate the unit or not in the relevant Delivery Year | Allow market sellers to reflect avoidable costs and revenues consistent with their decision at hand (retirement vs. "mothball" vs. operating and staying active in the E&AS markets only), including applicable CP opportunity costs and risks. In order to use avoidable costs based on a retirement or mothball decision, the market seller must provide an officer certification representing that the unit would be uneconomic and would otherwise plan to retire or mothball if it does not receive the applicable ACR value. Notwithstanding, should a market seller indicate that they will not move forward with a retirement or mothball decision, the market seller shall provide reasonable support for the change in decision upon request from PJM and/or the IMM. | Allow market sellers to make election for retirement or mothball up front for their unit specific ACR. If choosing mothball, then the market seller if not clearing in any RPM auction can remain as an energy only resource or retire if it chooses. If a market seller chooses retirement ACR, and it does not clear in an RPM auction, it must retire. | ACR is ACR and does not depend on retirement or mothball intent.
66 | KWA9 | Resource vs. segmented offer caps (additional design detail to be added) |  | A single offer cap is determined for the entire resource | Voluntarily allow market sellers to use segmented offer caps to reflect incremental costs when the market seller is able to provide reasonable justification and support for the segmented offer cap. The market seller may elect either a retirement, mothball, or energy-only cost baseline for the first segment; all latter segments must have costs reflective of an energy-only baseline only. All costs and E&AS market revenues that vary as a function of the binary retirement or mothball decision must be included in the first segment. | Allow segmented offer caps based upon the risk of performance and unit trip or derate when running at the top end of its maximum output or ICAP. Evidence of differential forced outage rates at different output levels should be based upon available historic data. In the alternative, if investments are needed to maintain performance at higher levels of output, evidence must be provided.
67 | KWA9 | Opportunity costs of taking on a capacity commitment vs. remaining energy-only |  | Not able to reflect in unit-specific offer caps | Allow for CP Opportunity Costs, or the relevant opportunity costs to be included in the offer cap for market sellers deciding between taking on a capacity obligation vs. remaining energy-only and solely participating in the E&AS markets. Analytics and support for opportunity cost should be consistent with modeling of CPQR, although with a different baseline around Expected Performance for the unit. | This should be explicitly considered as part of the default MSOC and included in that formula for the default MSOC. The default MSOC is based on the formula used to determine Net CONE* B but with differences between penalty hours and expected performance assessment hours. For the unit specific offer capsa, this decision criteria must include models for expected under or over performance along with expected performance assessment hours.
68 | KWA9 | Calculation of CPQR (Capacity Performance Quantifiable Risk) |  | CPQR component of ACR defined in Att. DD Section 6.8 CPQR (Capacity Performance Quantifiable Risk) consists of the quantifiable and reasonably-supported costs of mitigating the risks of non-performance associated with submission of a Capacity Performance Resource offer... | Update current CPQR language in Tariff for clarity: (1) Expand "costs of mitigating the risks" to "mitigating, retaining, or otherwise managing the risks" to be clear that market sellers may choose to retain the risk, or "self-insure", and may generally reflect costs tied to managing CP risk. (2) Make clear in Tariff language that market sellers may reflect costs of risks beyond just expected outcomes In addition to continuing to allow market sellers to provide their company-specific model and analytical support of CPQR: (1) Explore the development of a standard methodology for calculating CPQR that market sellers could opt in to use and that is generally consistent with actuarial practices in the industry to model and value risk. The methodology should appropriately incorporate unit-specific inputs in the risk valuation, such as expected availability during PAIs. Ensure Tariff would not prohibit the use of a standard model that meets the CPQR requirements of quantifiable, reasonably supported and consistent with actuarial practices in the industry. (2) Allow for CPQR to be reasonably supported with an officer certification and evidence that they have undergone a review of their risk model, inputs, and costs by an independent third party in the insurance industry to confirm that their risk valuation is consistent with actuarial practices in the industry. | Define a model of CPQR risk based upon correlated outages, weather extremes that account for right tail events and probabilities based upon history. Those that high CPQR, all else equal, are likely not to clear and from a reliability perspective we would not want such resources to clear. For fleets under the same ownership, the same CPQR methdology including assumptions and risk averasion must be applied to data specific to each unit in the fleet. Allow for investment or increased FOM costs to be used as a proxy for CPQR so longs as such investments can be shown to mitigate risk. | CPQR is the cost to mitigate risk of non performance penalties, based on distribution of expected bonus and penalty payments. See detailed presentation. | CPQR shall be based on the market seller's view of the risk of taking on a capacity obligation vs not taking on the obligation and remaining an energy-only resource. This risk is viewed differently by different market sellers and the market seller's view of this risk is commercially sensitive. One size does not fit all and the process needs to reflect that.
69 | KWA9 | Allocation of fixed vs. variable costs |  | Variable costs that are directly attributable to the production of energy shall be excluded from ACR |  | Allow a market seller to make a one time election for costs that may be considered variable in Manual 15, but also could be considered Fixed O&M to either be included as part of the cost-based energy offer in the Fuel Cost Policy or excluided in the Fuel Cost Policy and be included in RPM offers. | ACR does not include fixed costs, with the exception of APIR. Long term maintenance should be included in ACR and not in energy offers. The same rules must apply to all resources to prevent gaming.
| KWA9 | Unit-Specific Review Process
70 | KWA9 | Timing and Modifications
71 | KWA9 | Deadline for the IMM to provide E&AS offset determinations to market sellers |  | 90 days prior to the auction | Revise deadline for E&AS revenues from IMM to occur before market seller deadline to pursue unit specific vs. default, with sufficient time for discussions with IMM to explore discrepancies in E&AS values. Provide preliminary E&AS offset values no later than 150 days prior to the auction and final E&AS offset values no later than 135 days prior to the auction. | 90 days prior to the auction, but the model and data documentation need to also be provided to the market seller to evaluate the reasonablness to the market seller. This assumes a forward looking EAS for the unit specific offer cap | 90 days prior to the auction. The model and data documentation used by the IMM must also be provided to the market seller to evaluate the reasonablness to the market seller 120 days prior to the auction. This assumes a forward looking EAS for the unit specific offer cap
72 | KWA9 | Deadline for market sellers to submit documentation |  | 120 days prior to the auction | 120 days coomensurate with the IMM providing the data, model, and documentation
73 | KWA9 | Deadline for market sellers to indicate committed offer cap |  | 80 days prior to the auction | Shift deadline to 85 days prior to the auction for additional review time with PJM after agree / disagree decision by market seller | 70 days. This allows time for market sellers to evaluate the IMM determination and then time to file with FERC for a determination
74 | KWA9 | Deadline for PJM determination |  | 65 days prior to the auction | 63 days prior to the auction opening | 63 days prior to the auction opening. This gives PJM 27 days from the IMM's determination to make its own determination.
75 | KWA9 | Deadline for must-offer exception |  |  | Extend deadline for must-offer exception process to 5 days after PJM's determination of the unit-specific offer cap | Include disagreement with PJM's determination of the unit-specific offer cap with a must-offer exemption | Must-offer exception may be submitted if there is disagreement with both IMM and PJM determined MSOC. The market seller may no longer offer into any RPM auctions for that Delivery Year, and must either Mothball, Deactivate, or Sell its capacity and energy off system | Must Offer Exception Request deadline moved to no later than 5 days after reciept of the final Unit-Specific Net ACR (MSOC) value from PJM/IMM (curently falls on same day as when final MSOC is issued). The market seller may submit a Must Offer Exception Request if the market seller does not agree with either the final Unit-Specific Net ACR (MSOC) or the Default Net ACR provided by the IMM. The market seller must provide an officer certification similar to that required by Planned Resources regarding not exercising Buyer-Side Market Power, representing that the unit would be uneconomic and would otherwise operate as an Energy Resource for the applicable Delivery Year if the market seller does not agree with PJM/IMM on the final Unit-Specific Net ACR or the IMM Default Net ACR. The market seller may no longer offer into any RPM Auction for that Delivery Year but may participate as an energy resource in the energy and ancillary markets for that Delivery Year.
76 | KWA9 | Approval process of unit-specific offer cap requests by PJM |  | PJM may accept or reject the requested offer cap (no ability to modify or accept/reject in part) | Allow for PJM approval of alternative values based on review and discussions with market sellers | Allow for PJM approval of alternative values based on review and discussions with market sellers with models and methodology used to be provided to market sellers
77 | KWA9 | Transparency of models, methodology, etc. |  |  | Publish a document that further describes the calculation and inputs of the E&AS offset values provided to market sellers | Provide or allow market sellers to request details of the E&AS offset results to better understand the final number (e.g. run hours, total gross revenues, etc.) | When rejecting a market seller's requested offer cap, provide the Gross ACR template that supports the IMM or PJM approved offer cap value | All models and data sets and methodologies used to make the IMM and PJM determinations must be made available to the market seller prior to detreminations being issued. All detailed outputs such as hourly energy, reserve, regulation commitments must be provided.
78 | KWA9 | Guidance for supporting documentation (CPQR) |  |  | Publish a guidance document for market sellers that further details the acceptable methods of supporting the costs of CP risk | Provide a standardized CPQR approach that sellers could opt-in to use, along with guidance on reasonable inputs into the model | Consistent with design component 4, explore the development of a standard methodology for calculating CPQR that market sellers could opt in to use and that is generally consistent with actuarial practices in the industry to model and value risk.
79 | KWA9 | Guidance for supporting documentation (differentiating between fixed and variable costs) |  |  | Publish further guidance on how market sellers can provide reasonable support that the costs going into the ACR calculation do not include those allowable in energy market cost offers
80 | KWA9 | Transparency of Results of Unit Specific Review Process |  |  | All detailed outputs such as hourly energy, reserve, regulation commitments must be provided. | All models and data sets and methodologies used to make the IMM and PJM determinations must be made available to the market seller prior to determinations being issued. All detailed outputs such as hourly energy, reserve, regulation commitments must be provided for the EAS offset. All disagreements with the Market Seller's submitted information must be answered in writing with a detailed explanation and any supporting data and analysis backing the disagreement.
| KWA9 | Default MSOC
81 | KWA9 | Default MSOC methodology |  | Default Net ACR = Default Gross ACR (by technology) - Net EAS Offset (unit-specific) | Default MSOC based on CP opportunity costs that reflect expected bonus rates = penalty rates, hours of PAI, etc. (using the formula used to determine Net CONE * B but with penalty hours and expected performnace hours differing) | Status quo plus possible default CPQR. The methodology must be completely transparent and not a "black box". Market sellers must be able to confirm every input and assumption and reproduce the results if so desired.
82 | KWA9 | Locational Differentiation |  | None | Differs by LDA based on Net CONE in each LDA
83 | KWA9 | Resource vs. segmented offer caps |  | By Resource
| KWA10 | Key Work Activity 10 - FRR Rule Changes
84 | KWA10
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Resource Adequacy Senior Task Force
Capacity Market Reform (KWA 2-10)
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
KWA | # | Design Component | Status Quo/Detailed Description | Notes on Status Quo
KWA2 | # | Design Component | Key Work Activity 2 - Reliability Risks and Drivers
KWA2 | 1 | Load Forcast | Reflected in RPM: Demand-side Modeling: PJM Load Forecast captures weather uncertainty (period 1994-2020) RRS and CETO: normal distributions (only distribution from RTO's peak week matched PJM Load Forecast. ELCC: based on PJM Load Forecast uncertainty CETL: zone under study modeled at 90/10 forecasted load; other zones at 50/50 forecasted load
KWA2 | 2 | Random forced outages of Unlimited Resources | Reflected in RPM: Supply-side Modeling: Accreditation: most recent 1-year EFORd calculated using GADS data RRS, CETO, ELCC: most recent 5-year EFORd calculated using GADS data CETL: most recent 5-year EFORd calculated using GADS data | eFORd derating is reflected by obligations at UCAP
KWA2 | 3 | Planning outages of Unlimited Resources | Reflected in RPM: Demand-side Modeling: Accreditation: not reflected RRS, CETO, ELCC: most recent 5-year Equivalent Planned Outage Factor (EPOF) for each unlimited thermal unit calculated using GADS data. The planned outage schedule is then derived by using a heuristic that levelizes weekly thermal reserves throughout the year. CETL: 0 MW of planned outages | resources on approved planned outages excused from capacity obligations
KWA2 | 4 | Maintenance outages of Unlimited Resources | Reflected in RPM: Demand-side Modeling: Accreditation: not reflected RRS, CETO, ELCC: most recent 5-year Equivalent Maintenance Outage Factor (EMOF) calculated using GADS data. A quarter (1/4) of the EMOF is added to the EFORd to create the EEFORd of each unit; the remainder (3/4) is added to the EPOF CETL: 0 MW of maintenance outages | resources on approved maintenance outages exclused from capacity obligations
KWA2 | 5 | Ambient Derates of Unlimited Resources | Reflected in RPM: Demand-side Modeling: Accreditation: not reflected. Testing (and ICAP values) are based on 50/50 weather conditions. Ambient derates occur during weather conditions more extreme than 50/50 weather. CETO: not reflected RRS, ELCC: evaluation of summer test data 5 years ago established that around 2,500 MW of ICAP are affected by ambient derates. CETL: 0 MW of ambient derates
KWA2 | 6 | Outages & limitations of ELCC Resources | Reflected in RPM: Supply-side Modeling: Accreditation: Average Total ELCC (includes EFORd calculation for some ELCC classes) CETO: not reflected (for reliability requirement calculation purposes, this is adequate) RRS: not included because accreditation process is intended to reflect all the uncertainty CETL: modeled at CIR value
KWA2 | 7 | Outages & limitations of Demand Resources | Reflected in RPM: Supply-side (partially) Modeling: Accreditation: no impact; 1 MW ICAP of DR is assumed to be worth around 1.08 MW UCAP (if FPR is equal to 1.08) CETO: DR outages and limitations are not reflected (for reliability requirement calculation purposes, this is adequate) RRS: not reflected; this is adequate because limitations should be on the accreditation side ELCC: dispatched in model reflecting performance window limitations but no impact on accreditation CETL: modeled at value included in PJM Load Forecast (reduction of load)
KWA2 | 8 | Correlated cold weather forced outages of Unlimited Resources | Reflected in RPM: Demand-side Modeling: Accreditation: mostly not reflected (the 1-year EFORd may reflect some of these outages if they occurred in the 1-year period; however, the correlation with weather is not captured) RRS, CETO, ELCC: based on ~11 years of actual aggregate RTO-wide forced outage rates during winter peak weeks (this modeling technique basically captures random and cold weather-related forced outages) CETL: Considers gas pipeline contingencies
KWA2 | 9 | Emergency Imports | Reflected in RPM: Demand-side Modeling: RRS: decreases the FPR by around 1.33 percentage points (~2,000 MW UCAP). An approximate model that assesses peak load coincidence between PJM and its neighbors is used to determine the above value. Also, the approximate model uses the Capacity Benefit Margin (equal to 3,500 MW) as the maximum amount of emergency imports that PJM can receive at any given hour. CETO: Not considered ELCC: Not considered CETL: Not considered
KWA2 | 10 | Internal Transmission Risks | Reflected in RPM: Demand-side (load deliverability) and Supply-side (gen deliverability) Modeling: Load deliverability studies (CETO and CETL) used in RPM for determining separately modeled LDAs and setting reliability requirements in LDAs Generation deliverability study used to ensure capacity is not "bottled" in a particular area.
KWA2 | 11 | Outage Assymetry of Unlimited Resources | Reflected in RPM: Demand-side (RRS) Modeling: Accreditation: not reflected UCAP accounting using EFORd presumes only average outages need to be addressed.
KWA2 | 12 | Common Mode Failure of Unlimited Resources
KWA2 | 13 | Correlated Hot Weather Dependent Outages of Unlimited Resources | Reflected in RPM: Demand-side (RRS) Modeling: Accreditation: not reflected Additional correlated outage impacts observed in historical data based on weather impacts Hot weather events: extended run times, heat stress on components
KWA2 | 14 | Fuel Availability Outages of Unlimited Resources | Reflected in RPM: Demand-side (RRS) Modeling: Accreditation: not reflected Natural gas supply constraints known to occur during cold weather As much as 10% of natural gas supply can become unavailable at temperatures of 0F (based on review of ERCOT 2021 event, 2014 Polar Vortex, 2011 FERC report on cold weather outages) Leads to an increase in cumulative outages for specific resource classes such as CTs and CCGTs
KWA2 | 15 | Treatment of output above the CIR or above the reference temperature | Not Reflected
KWA2 | 16 | Risk of energy delivery based on committed capacity resource obligation per PJM governing documents | N/A
KWA2 | 17 | Additional uncertainties / risks to be considered in the capacity market
KWA3 | # | Design Component | Key Work Activity 3 - Procurement Level and Metric
KWA3 | 18 | RTO Procurement Metric and Target Level | 1 day in 10 years Loss of Load Expectation (LOLE) The procurement target is utilized in setting the Variable Resource Requirement (VRR) curve used in RPM auctions. A fixed target is set for FRR entities.
KWA3 | 19 | LDA Procurement Metric and Target Level | 1 day in 25 years LOLE The procurement target is utilized in setting the Variable Resource Requirement (VRR) curve used in RPM auctions. A fixed target is set for FRR entities.
KWA3 | 20 | Procurement in each LDA in BRA and Incremental Auction | Load forecast 10 years out consistent with the 1 day in 10 year Loss of Load Expectation (LOLE)
KWA3 | 21 | FRR Procurement | 1 plus the forecast pool requirement for UCAP
KWA4 | # | Design Component | Key Work Activity 4 - Performance Assessment
KWA4 | 22 | Timing of Performance Assessment(s) | Resources are assessed for each Performance Assessment Interval (PAI), or every 5-minute settlement interval for which an Emergency Action has been declared by PJM. Emergency Actions that trigger a PAI include: • Pre-Emergency Load Management Reduction Action (30 / 60 / 120 min.) • Emergency Load Management Reduction Action (30 / 60 / 120 min.) • Primary Reserve Warning • Max Gen Emergency Action • Emergency Voluntary Energy-Only DR Reduction Action • Voltage Reduction Warning & Reduction of Critical Plant Load • Curtailment of Non-Essential Building Load • Deploy All Resources Action • Manual Load Dump Warning • Voltage Reduction Action • Manual Load Dump Action • Load Shed Directive
KWA4 | 23 | Assessed Resources | All resources (capacity and energy-only) located in the area defined by the Emergency Action. • When Emergency Procedures called for RTO or a given Zone, all resources in the defined region are assessed • For sub-zonal transmission related PAIs, list of assessed units is based on ability to help the constraint (i.e. dfax) • Demand Resources (DR) only assessed if dispatched for 30 min. or more of clock hour during Emergency Action • Energy Efficiency (EE) Resources only assessed for capacity related PAIs called at a zonal or higher basis (not sub-zonal events) • External Generation Capacity Resources assigned to a PJM zone prior to the DY for PAI purposes
KWA4 | 24 | Expected Performance level of Assessed Resources | By Resource Type: • Generation Capacity Resources: Committed UCAP * Balancing Ratio • DR: Committed ICAP • EE: Committed ICAP • Price Responsive Demand (PRD): Nominal PRD Value Committed • Qualifying Transmission Upgrade (QTU): Committed UCAP • Energy-Only Resources / Imports: 0 MW Balancing Ratio = [Total Generation & Storage Actual Performance + Net Energy Imports (when external resources included in assessment) + DR Bonus + PRD Bonus] / Total Generation & Storage Committed UCAP
KWA4 | 25 | Actual Performance level of Assessed Resources | By Resource Type: • Generation: Metered Energy Output + Reserve/Regulation Assignment • DR: Load Reduction + Reserve/Regulation Assignment • EE: PJM Approved Post Installation Load Reduction • PRD: Load Reduction • QTU: Committed UCAP value if in service, otherwise 0 MW • Net Energy Imports: Imports - Exports - Energy from External Generation Capacity Resources (floored at 0 MW)
KWA4 | 26 | Performance Shortfall Calculation | Performance Shortfall = Expected Performance - Actual Performance, where a positive number indicates a potential underperformance (shortfall) and a negative number indicates potential over-performance (bonus). • A positive shortfall may be adjusted downward due to excusals • DR performance in the PAI is netted within a seller's portfolio to determine a net positive or negative shortfall MW for the seller
KWA4 | 27 | Excusals from Performance Shortfalls | Resources may be excused for the following: • Maintenance and/or Planned Outages approved by PJM (in eDART) • MW not scheduled, or scheduled down, by PJM for reasons other than a parameter limitation and/or submission of a market-based offer above cost
KWA4 | 28 | Non-Performance Charge | Non-Performance Charge for each PAI = Shortfall MW * Non-Performance Charge Rate To avoid a double penalty, a greater-of provision applies if the resource was subject to a Non-Performance Charge during 1 or more PAIs occurring during a continuous time period of a commitment / upgrade delay / testing shortfall.
KWA4 | 29 | Non-Performance Charge Rate | Non-Performance Charge Rate ($/MW-interval) = LDA Net CONE ($/MW-day in ICAP terms) for which the resource resides * Number of days in DY / 30 hours / 12 settlement intervals
KWA4 | 30 | Stop-Loss for Non-Performance Charges | Stop-loss limits the total Non-Performance Charge that can be assessed on each Capacity Resource. Annual stop-loss = 1.5 * Applicable LDA Net CONE * number of days in DY * Max Daily UCAP Commitment from June of DY through the end of billing month for which the charge was assessed For seasonal capacity resources, stop-loss formula based on number of days in season
KWA4 | 31 | Allocation of Non-Performance Charges and other funding details | Revenue collected from payment of Non-Performance Charges is distributed to resources of any type (including energy-only) that perform above expectations during each PAI (i.e. have Bonus MW > 0). Credit is based on the ratio of resource's Bonus MW to the total Bonus Performance (from all resources for the same PAI).
KWA4 | 32 | Bonus Performance Calculation | Bonus Performance = Actual Performance - Expected Performance (represented as a negative value in Performance Shortfall calculation). For purposes of Bonus Performance, Actual Performance is capped at scheduled MW determined from the offer curve the unit was dispatched on and the unit's bid in economic limits (or emergency limits when applicable based on what Emergency Procedures have been issued).
KWA4 | 33 | Bonus Rate | Bonus Rate ($/Bonus MW) = Total Non-Performance Charges for PAI / Total Bonus Performance MW
KWA4 | 34 | Assessment Billing Timing | The billing of any Non-Performance Charges incurred in any given month will be done within three calendar months after the calendar month that included such Performance Assessment Intervals and such billing of charges will be spread over the remaining months in the Delivery Year (e.g. PAIs in June will be billed starting in September monthly bill)
KWA4 | 35 | FRR Considerations | FRR Entities may choose to be subject to financial or physical non-performance assessments prior to each DY. Financial assessments are handled in the same manner as RPM commitments. Physical penalties refer to the additional MW quantity that the FRR entity is required to commit to its FRR Plan the following DY when assessed a net shortfall, rather than pay penalty charges. For physical assessments: • Under and over-performance is netted across assessed resources within the FRR entity's portfolio to determine a net performance shortfall • Physical penalty MW = Net Performance Shortfall * 0.00139 MW / PAI, which represents the additional MW quantity that the FRR entity must add to its FRR Plan the following DY • The annual stop-loss for physical penalty MW is set at 0.5 * total committed MW in the FRR Plan for the current DY • FRR entities that elect the physical assessment are not eligible to receive bonus credits
KWA5 | # | Design Component | Key Work Activity 5 - Qualification and Accreditation
KWA5 | 36 | Unlimited Resources Generating units with the ability to operate continuously across all hours of an operating day without interruption if needed, including nuclear and fossil-fired steam units, combined cycle units, combustion turbine units, etc. (i.e. generation that is not an ELCC Resource) | Accredited capacity value: Unforced Capacity (UCAP) = Installed Capacity (ICAP) * (1 - EFORd) ICAP is equal to summer net capability of the generating unit (capped at CIRs), which is determined based on generator site conditions coincident with the dates and times of the last 15 years PJM summer peaks. EFORd (Equivalent Demand Forced Outage Rate): Probability that a generator will fail in whole or in part when needed; Final EFORd based on 1 year of forced outage data from prior Oct. through Sept. period.
KWA5 | 37 | ELCC Resources | Accredited capacity value: Accredited UCAP is based on effective load carrying capability (ELCC) analysis. Includes a Generation Capacity Resource that is a Variable Resource, Limited Duration Resource, or a Combination Resource.
KWA5 | 38 | ELCC Analysis Components
KWA5 | 38A | Timing of ELCC Accreditation Process | Final ELCC Class UCAP and ELCC Class Rating values for use in the upcoming Delivery Year posted in an annual report (typically in Nov. ahead of calendar year). ELCC Ratings and ELCC Resource Performance Adjustment values from the analysis will apply to capacity provided in the upcoming Delivery Year, as well as to all auctions and activities executed in the following calendar year.
KWA5 | 38B | Modeled Resource Mix | Generally, all resources that are expected to offer into the cpacity market for a given delivery year are modeled as providing capacity, whether or not they are expected to clear. Derived from vendor forecast and currently in-service units.
KWA5 | 38C | ELCC Classes | ELCC Classes for Variable Resources: Traking Solar, Fixed-Tilt Solar, Onshore Wind, Offshore Wind, Landfill Gas, Intermittent Hydropower, Other Variable Resource Class ELCC Classes for Limited Duration Resources: The type of Capacity Storage Resource Classes, with different classes for 4, 6, 8, and 10-hour durations; The type of Other Limited Duration Resource Classes, with different classes for 4, 6, 8, and 10-hour durations. ELCC Classes for Combination Resources: The types of Hybrid Resource Classes, Hydropower with Non-Pumped Storage Class, Complex Hybrid Class, and the types of Other Limited Duration Combination Classes
KWA5 | 38D | Consideration of Changing ELCC Values (e.g. Average vs. Marginal) | Average-Total ELCC "Delta Method" to allocate portfolio accredited UCAP to ELCC classes for calculating ELCC Class Rating.
KWA5 | 38E | Development of Expected Output Profiles used in Model | Variable Resources: Based on aggregate historical hourly output of the variable resources since 2012 (actual curtailments considered as-is; backcasts for units not in service after 2012) Limited Duration Resources: Simulated hourly output based on physical capabilities and conditions in the simulation. Generally dispatched after thermals and variable resources and before DR (except the amount held off for operating reserves) when needed to meet hourly loads Combination Resources / Hydro with Non-Pumped Storage: Each unit is quite distinct relative to others in its class; Hourly output of each unit is simulated based on actual plant characteristics. Output of individial components generally follows above descriptions for variable and limited duration.
KWA5 | 38F | Unit-Specific Performance Adjustment | Variable Resources: Ratio of unit's 200CPx2 to class 200CPx2 Limited Duration Resources: (1-EFORd) Hydro with Non-Pumped Storage: (1-EFORd) Combination Resources: Considered in individual components
KWA5 | 38G | Unit-Specific Accredited UCAP | For Variable Resources and Limited Duration Resources: Accredited UCAP = Effective Nameplate Capacity (ENC) * ELCC Class Rating * ELCC Resource Performance Adjustment For Combination Resources: Accredited UCAP = Sum of the Accredited UCAP of each component, not to exceed MFO For hydro with non-pumped storage: Accredited UCAP = resource-specific ELCC rating * ICAP * (1-EFORd)
KWA5 | 39 | Demand Resource | Accredited capacity value UCAP = ICAP * Forecast Pool Requirement (FPR) ICAP is equal to the sum of the nominated value of the underlying registrations linked to the DR. • For Annual DR, ICAP is set based on the lower of summer or winter nominated values • For Summer-Period DR, ICAP is set based on summer nominated value (that exceeds winter value)
KWA5 | 40 | Energy Efficiency Resource | Accredited capacity value UCAP = ICAP * FPR ICAP is equal to the sum of the nominated value of the underlying energy efficiency projects. • For Annual EE, ICAP is set based on the lower of summer or winter nominated values • For Summer-Period EE, ICAP is set based on summer nominated value (that exceeds winter value)
KWA5 | 41 | Price Responsive Demand | Accredited capacity value Effective UCAP value = Nominated PRD Value * FPR (participates on the demand-side in auctions as an adjustment to the VRR curve) Nominated PRD Value = PLC - (FSL * LossF)
KWA5 | 42 | Qualifying Transmission Upgrade | Accredited capacity value UCAP = CETL increase (as certified by PJM)
KWA5 | 43 | Generation Capacity Resources | Generating facilities that meet the requirements of RAA, Schedule 9 (accredited as capacity) and RAA, Schedule 10 (deliverable) • Studied to be deliverable to PJM load (generation deliverability test) and has been granted / maintained Capacity Interconnection Rights (CIRs) • Submits required operating and maintenance information • Required testing is performed to verify net capability
KWA5 | 43A | Planned Generation Capacity Resources - Internal | • Participating in the PJM interconnection queue with a planned start date of Interconnection Service on or before the start of DY • For participation in BRA, a Facilities Study Agreement has been executed if the unit is greater than 20 MW, or an Impact Study Agreement has been executed for units <= 20 MW • For participation in IA, an Interconnection Service Agreement (ISA), or Wholesale Market Participation Agreement (WMPA), has been executed • Sufficient collateral has been posted with PJM
KWA5 | 43B | Existing Generation Capacity Resources - External | • A determination that the Pseudo-Tie required for the external Generation Capacity Resource is feasible (e.g. meets minimum Electrical Distance requirement, etc.) • For transmission outside PJM, obtains long-term firm point-to-point transmission service; for transmission within PJM, obtains Network External Designated Transmission Service • Outage reporting and testing requirements consistent with internal generation • Letter of non-recallability provided • Written commitment to be subject to same capacity must offer requirements as internal generation
KWA5 | 43C | Planned Generation Capacity Resources - External | Qualification requirements generally consistent with external existing generation and planned internal generation • Must demonstrate it has executed an interconnection agreement (functionally equivalent to the required agreements for internal generation) • Must provide evidence to PJM it has been studied as a Network Resource, or such other similar interconnection product in the external Control Area.
KWA5 | 44 | Demand Resources (DR) | A resource capable of providing a reduction in demand or otherwise control load in accordance with the requirements in RAA, Schedule 6 • DR must be registered in PJM's DR Hub system identifying customer-specific load management information (location, EDC account #, program type, etc.) prior to the DY • Must register in Pre-Emergency or Emergency Load Response Program • Annual DR must be available to reduce load for an unlimited number of interruptions during the DY during the hours of 10AM-10PM EPT (June-Oct, May) and 6AM-9PM EPT (Nov-Apr) • Summer-Period DR must be available to reduce load during the hours of 10AM-10PM EPT (June-Oct, May) • Able to be implemented within 30 min. of notification (or for qualified physical exceptions, have a 60 or 120 min. lead time) • Meet required reporting requirements (e.g. expected energy load reductions) • Perform necessary testing to verify load reduction capabilities For offering into an auction or commitment in FRR Plan: • A DR Sell Offer Plan must be provided that specifies existing DR to be sold or committed and expected to be under contract for future DY
KWA5 | 44A | Planned DR | • Planned DR expected to be capable of reducing load and meeting requirements by the start of the future DY • Must be supported in a DR Sell Offer Plan with details of, and key assumptions underlying, the Planned DR quantities demonstrating reasonable expectation to physically deliver MW that clear • May require site-specific information and support when offers exceed threshold for certain zones of concern • Sufficient collateral has been posted with PJM
KWA5 | 45 | Energy Efficiency (EE) Resources | A project, including installation of more efficient devices or equipment or implementation of more efficient processes or systems, meeting the requirements of RAA, Schedule 6 • Must be supported by a Post-Installation M&V Report prior to the DY • Must involve the installation or implementation of more efficient devices/equipment or processes that exceeds then-current relevant building codes or standards • Must achieve continuous load reduction (not dispatchable) at the customer site (during defined performance hours) that is not reflected in the peak load forecast prepared for the auction • Annual EE performance hours include the summer period (HE15-HE18 EPT during non-weekend/holidays Jun-Aug) and winter period (HE8-HE9 EPT and HE19-HE20 EPT Jan-Feb) • Summer-Period EE only include the summer period performance hours For offering into an auction or commitment in FRR Plan: • An EE M&V Plan is required that provides the details of the EE measures
KWA5 | 45A | Planned EE Resources | • EE that is planned to be installed or implemented and meet the requirements of Existing EE for a future DY • Supported in M&V Plan to be offered in auction or included in FRR Plan • Sufficient collateral has been posted with PJM
KWA5 | 46 | Price Responsive Demand (PRD) | End-use customer load registered by a PRD Provider that can curtail load and meets the requirements of RAA, Schedule 6.1 • PRD must be registered in PJM's DR Hub system prior to DY with required information • Meets metering requirements (capable of recording at an interval of 1 hour or less) • Supervisory control capable of curtailing the load • Retail rate structure (or equivalent contractual arrangement), capable of changing retail rates as frequently as an hourly basis, that is linked to or based upon changes in RT LMPs at a PRD Substation level • Provides a predictable automated response to varying wholesale prices • Perform necessary testing to verify load reduction capabilities For offering into an auction or commitment in FRR Plan: • A PRD Plan must be provided that supports the PRD to be sold
KWA5 | 46A | Planned PRD | • PRD that is planned to be registered for a future DY • Supported in a PRD Plan to be offered in auction or included in FRR Plan • Sufficient collateral has been posted with PJM
KWA5 | 47 | Qualifying Transmission Upgrade (QTU) | A proposed enhancement to the Transmission System that has been certified by PJM to increase the CETL into an LDA prior to the auction. • Expected to be in service prior to the start of the relevant DY • FSA has been executed • Sufficient collateral has been posted with PJM
KWA5 | 48 | Annual Capacity Eligibility | The following types of Capacity Resources are eligible to submit a Sell Offer as annual capacity: an internal or external Generation Capacity Resource (incl. storage); an Annual Demand Resource; an Annual Energy Efficiency Resource; a Qualifying Transmission Upgrade; and a commerical aggregation of a winter+summer resource. Capacity Market Sellers that own one or more eligible seasonal resources may create and offer a (commercial) Aggregate Resource located in the smallest modeled LDA common to the underlying aggregated resources for a PJM approved unforced capacity value that satisfies the requirements of a Capacity Performance product. Expected to meet Capacity Performance obligations throughout the year for committed MW, but no prescriptive additional physical requirements in rules (e.g. no requirement to winterize plants).
KWA5 | 49 | Seasonal Capacity Eligibility | A seasonal resource must have an average expected energy output during peak-hour periods of the applicable season consistently and measurably greater than its average expected energy output during the peak-hour periods of the other season. The following types of Capacity Resources are eligible to submit a Sell Offer as either a Summer-Period or as a Winter-Period Capacity Performance Resource: Capacity Storage Resource, Intermittent Resource, or Environmentally-Limited Resource. The following types of Capacity Resources are eligible to submit a Sell Offer as a Summer-Period Capacity Performance Resource: Summer Period Demand Resource and Summer-Period Energy Efficiency Resource. Winter CIRs may be requested and studied for a one-year period ahead of the BRA to support winter period sell offers and winter units used in Aggregate Resources.
KWA6 | # | Design Component | Key Work Activity 6 - Obligations of Capacity Resources
KWA6 | 50 | Energy Market Must Offer | Generation Capacity Resources with a capacity commitment must submit a cost-based offer to sell energy in the DA and RT energy market each day (with consideration for outages). The cost-based offer quantity (as well as any market-based offer quantity) must be at least the ICAP equivalent of their cleared UCAP. • PJM may recall committed Generation Capacity Resources in RT that are exporting to neighboring BAs A Capacity Storage Resource or an Intermittent Resource may satisfy this requirement by offering energy in quantities that vary hour to hour from the capacity commitment. • For wind and solar resources, this is their forecasted hourly output for the next day Committed Demand Resources with a capacity commitment must be made available for PJM-initiated interruptions (Pre-Emergency/Emergency Load Management Reduction Actions) during the relevant availability windows (i.e. 10AM-10PM EPT Jun-Oct, May and 6AM-9PM EPT Nov-Apr unless on approved maintenance outage) Committed PRD must submit Price-Demand Curves in the RT energy market
KWA6 | 51 | Generation designations as Maximum Emergency | Offers may only be designated as Maximum Emergency offers to the extent that the Generation Capacity Resource falls into at least one of the following categories: i) Environmental limits. If the resource has a limit on its run hours imposed by a federal, state, or other governmental agency that will significantly limit its availability, on either a temporary or long-term basis. ii) Fuel limits. If physical events beyond the control of the resource owner result in the temporary interruption of fuel supply and there is limited on-site fuel storage. iii) Temporary emergency conditions at the unit. If temporary emergency physical conditions at the resource significantly limit its availability. iv) Temporary megawatt additions. If a resource can provide additional megawatts on a temporary basis by oil topping, boiler over-pressure, or similar techniques, and such megawatts are not ordinarily otherwise available.
KWA6 | 52 | Ancillary Services Must Offer | Reserves Filing (effective 10/1/22): All Generation Capacity Resources must offer all the synchronized reserves, non-synchronized reserves, and secondary reserves (all both in DA and RT) that they are physically capable of providing • Units participating in ESR model, hydro resources, and DR calculate their own quantities, otherwise the quantities are determined by PJM
KWA6 | 53 | Parameter Limits | Generation Capacity Resources must submit and be subject to pre-determined operating limits on parameter-limited schedules (cost-based and price-based PLS) Parameter limited schedules can apply when: • PJM declares a Maximum Generation Emergency, • PJM issues an alert or schedules in anticipation of a potential Maximum Generation Emergency, Hot Weather Alert, or Cold Weather Alert, or • The owner fails the market power test in the energy market Note: Sellers may request annual adjustments and/or various exceptions (temporary, period, persistent) to the parameter limits; and can communicate current operational capabilities to PJM through the Real Time Values function in Markets Gateway.

## 2b. Option Details
Resource Adequacy Senior Task Force
Capacity Market Reform (KWA 2-10)
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Resource Adequacy Senior Task Force
Capacity Market Reform (KWA 2-10)
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9 | [8 empty] | Low
10 | [8 empty] | Low - Medium
Low - High
Medium
Instructions: | [8 empty] | Medium - High
1. Copy over design component, priority, and status quo columns from options matrix | [8 empty] | High
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Resource Adequacy Senior Task Force
Capacity Market Reform (KWA 2-10)
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Resource Adequacy Senior Task Force
Capacity Market Reform (KWA 2-10)
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Resource Adequacy Senior Task Force
Capacity Market Reform (KWA 2-10)
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1 |  | Aggregating all key work activities in one matrix. Individual matricies for KWA 2-6 previously posted separately. This version populated with Design Components, Status Quo, and options that were previously provided in the individually matricies.