## Zonal Net CONE
2026/27 Zonal Net CONE & EAS Supporting Data Forward-Looking E&AS Revenue Offset - Quadrennial Review (9/30/2022)
All quantities are in $/MW-Day (Nameplate) and Default Net CONE is in $/ICAP-MW-Day
Combined Cycle
Gross CONE |  |  | 540
Net Reactive Service Revenue Offset |  |  | 6.9753
Capacity Value (% Nameplate MW) |  |  | NA
Zone | Net E&AS* Revenue Offset | Net CONE | Default Net CONE ($/ICAP MW-Day)
AECO | 213.4753 | 319.5493 | 319.5493
AEP | 444.7345 | 88.2902 | 88.2902
APS | 457.3248 | 75.6999 | 75.6999
ATSI | 380.9915 | 152.0332 | 152.0332
BGE | 410.9297 | 122.095 | 122.095
COMED | 283.989 | 249.0357 | 249.0357
DAY | 419.8561 | 113.1686 | 113.1686
DEOK | 403.5143 | 129.5103 | 129.5103
DOM | 282.1147 | 250.9099 | 250.9099
DPL | 333.6464 | 199.3782 | 199.3782
DUQ | 236.687 | 296.3376 | 296.3376
EKPC | 377.8473 | 155.1774 | 155.1774
JCPL | 220.5132 | 312.5115 | 312.5115
METED | 276.2816 | 256.743 | 256.743
OVEC | 417.2525 | 115.7721 | 115.7721
PECO | 187.384 | 345.6406 | 345.6406
PENELEC | 450.5877 | 82.4369 | 82.4369
PEPCO | 301.0683 | 231.9564 | 231.9564
PPL | 227.2632 | 305.7615 | 305.7615
PSEG | 218.224 | 314.8007 | 314.8007
RECO | 252.8641 | 280.1606 | 280.1606
RTO | 277.3992 | 255.6254 | 255.6254
Zonal Average | 324 | 209 | 209
* Net E&AS Revenue Offset value in tables above does not include reactive services. Reactive services constant is added to Net E&AS to determine Net CONE.

## Zonal Average Details
Area | RT Run Hours | RT Starts | DA Generation (MWh) | RT Generation (MWh) | Gross Energy Revenue ($) | DA SR (MWh) | DA NSR (MWh) | RT SR (MWh) | RT NSR (MWh) | Reg A (MWh) | Gross SR Revenue ($) | Gross NSR Revenue ($) | Gross REG Revenue ($) | Gross AS Revenue ($) | Total Gross Revenue ($) | Total RT Cost ($) | Net Revenue ($) | Uplift ($) | Net Revenue w Uplift & Forced Outage Adjustment ($) | Net Revenue w Uplift & Forced Outage Adjustment ($/MW-year) | Net Revenue w Uplift & Forced Outage Adjustment ($/MW-day) | Fixed Reactive Services Revenues ($/MW-Year) | Fixed Reactive Services Revenues ($/MW-Day) | Net Energy & Ancillary Services Revenues ($/MW-year) | Net Energy & Ancillary Services Revenues ($/MW-day)
AECO | 8134 | 8.6667 | 7967896.2467 | 7407545.9067 | 326060317.1967 | 539046.5 | 0 | 591031.3 | 0 | 0 | 2381777.9715 | 0 | 0 | 2381777.9715 | 328442095.1682 | 233432199.8847 | 95009895.2835 | 24446.9949 | 92084078.9328 | 77918.4963 | 213.4753 | 2546 | 6.98 | 80464.4963 | 220.4507
AEP | 8432 | 1 | 9685790.7533 | 9519581.1533 | 413014912.1914 | 150652.3 | 0 | 177553.7 | 0 | 0 | 681257.078 | 0 | 0 | 681257.078 | 413696169.2693 | 215710882.0941 | 197985287.1753 | 0 | 191839338.8462 | 162328.0918 | 444.7345 | 2546 | 6.98 | 164874.0918 | 451.7098
APS | 8432 | 1 | 9634365.2867 | 9449262.4867 | 435483907.9103 | 166581.1 | 0 | 196582.1 | 0 | 0 | 693314.8282 | 0 | 0 | 693314.8282 | 436177222.7385 | 232587343.9426 | 203589878.7959 | 0 | 197270239.5536 | 166923.54 | 457.3248 | 2546 | 6.98 | 169469.54 | 464.3001
ATSI | 8431.6667 | 1 | 9304380.1867 | 9004849.32 | 400589459.8053 | 258987.8 | 0 | 303304.5 | 0 | 0 | 1071175.4969 | 0 | 0 | 1071175.4969 | 401660635.3022 | 232061062.0485 | 169599573.2536 | 8940.6257 | 164343351.1381 | 139061.8981 | 380.9915 | 2546 | 6.98 | 141607.8981 | 387.9668
BGE | 8367.6667 | 3.6667 | 9079266.3333 | 8594832.3067 | 450532651.972 | 298128.2 | 0 | 378606.1 | 0 | 0 | 1211149.0942 | 0 | 0 | 1211149.0942 | 451743801.0662 | 268809615.1276 | 182934185.9385 | 2586.4204 | 177257385.0331 | 149989.3256 | 410.9297 | 2546 | 6.98 | 152535.3256 | 417.905
COMED | 8226.6667 | 12 | 8167350.86 | 7883572.8067 | 335296567.1722 | 428513.5 | 0 | 480341 | 0 | 0 | 1841284.6421 | 0 | 0 | 1841284.6421 | 337137851.8143 | 210714286.2389 | 126423565.5754 | 3991.7235 | 122500637.2057 | 103655.98 | 283.989 | 2546 | 6.98 | 106201.98 | 290.9643
DAY | 8431.6667 | 1 | 9445215.42 | 9198063.92 | 423340168.3749 | 220378.5 | 0 | 254921.4 | 0 | 0 | 832966.1923 | 0 | 0 | 832966.1923 | 424173134.5672 | 237262973.2005 | 186910161.3668 | 0 | 181107859.3885 | 153247.4694 | 419.8561 | 2546 | 6.98 | 155793.4694 | 426.8314
DEOK | 8431.6667 | 1 | 9372643.6533 | 9082545.12 | 412872123.4283 | 242594.7 | 0 | 285611.6 | 0 | 0 | 932659.7338 | 0 | 0 | 932659.7338 | 413804783.1621 | 234181115.7711 | 179623667.391 | 11551.4304 | 174058723.8368 | 147282.7245 | 403.5143 | 2546 | 6.98 | 149828.7245 | 410.4897
DOM | 8160.6667 | 8.6667 | 7943606.4933 | 7316654.94 | 382752818.1571 | 502011.1 | 0 | 597807.3 | 0 | 0 | 1904133.8946 | 0 | 0 | 1904133.8946 | 384656952.0518 | 259102749.0447 | 125554203.0071 | 37491.66 | 121692157.9516 | 102971.8717 | 282.1147 | 2546 | 6.98 | 105517.8717 | 289.0901
DPL | 8235.3333 | 7.3333 | 8566018.52 | 7868699.08 | 395717121.7366 | 411502.4 | 0 | 512911.5 | 0 | 0 | 1888773.8978 | 0 | 0 | 1888773.8978 | 397605895.6344 | 249088053.2869 | 148517842.3475 | 16500.7367 | 143920722.818 | 121780.9467 | 333.6464 | 2546 | 6.98 | 124326.9467 | 340.6218
DUQ | 7792 | 17.6667 | 7603571.0467 | 7121482.8533 | 324088502.0456 | 471148.5 | 0 | 537479.6 | 0 | 0 | 1924668.8518 | 0 | 0 | 1924668.8518 | 326013170.8974 | 220697355.8052 | 105315815.0922 | 51375.1314 | 102096606.989 | 86390.7658 | 236.687 | 2546 | 6.98 | 88936.7658 | 243.6624
EKPC | 8422 | 1.3333 | 9277261.3267 | 8948425.6267 | 394923205.0812 | 267557.4 | 0 | 319028.8 | 0 | 0 | 1162528.0352 | 0 | 0 | 1162528.0352 | 396085733.1164 | 227877060.5574 | 168208672.559 | 0 | 162987065.3013 | 137914.2539 | 377.8473 | 2546 | 6.98 | 140460.2539 | 384.8226
JCPL | 8155.6667 | 8.6667 | 8105998.38 | 7564445.0733 | 333912669.3892 | 523875 | 0 | 564296.1 | 0 | 0 | 2195088.282 | 0 | 0 | 2195088.282 | 336107757.6712 | 237985371.0123 | 98122386.6589 | 45605.6298 | 95119911.1684 | 80487.3169 | 220.5132 | 2546 | 6.98 | 83033.3169 | 227.4885
METED | 8110 | 10.6667 | 8126082.9533 | 7528226.48 | 364623464.9901 | 474172.3 | 0 | 553957.6 | 0 | 0 | 1840620.8412 | 0 | 0 | 1840620.8412 | 366464085.8312 | 243511845.263 | 122952240.5683 | 42217.2507 | 119176016.8021 | 100842.7964 | 276.2816 | 2546 | 6.98 | 103388.7964 | 283.257
OVEC | 8432 | 1 | 9643103.6533 | 9464697.5533 | 399243887.0757 | 168570.6 | 0 | 195004.9 | 0 | 0 | 789395.7118 | 0 | 0 | 789395.7118 | 400033282.7875 | 214281978.2833 | 185751304.5042 | 0 | 179984799.9147 | 152297.1737 | 417.2525 | 2546 | 6.98 | 154843.1737 | 424.2279
PECO | 7809.3333 | 16 | 7327249.7067 | 6711003.9533 | 298092078.0803 | 571249.8 | 0 | 628431.2 | 0 | 0 | 2497891.3624 | 0 | 0 | 2497891.3624 | 300589969.4427 | 217208285.4017 | 83381684.041 | 37000.7796 | 80829420.0163 | 68395.1769 | 187.384 | 2546 | 6.98 | 70941.1769 | 194.3594
PENELEC | 8432 | 1 | 9623338.7533 | 9481961.1867 | 433307014.4349 | 175935.2 | 0 | 191321.9 | 0 | 0 | 663066.0368 | 0 | 0 | 663066.0368 | 433970080.4717 | 233379598.7812 | 200590481.6905 | 0 | 194364178.9873 | 164464.5278 | 450.5877 | 2546 | 6.98 | 167010.5278 | 457.5631
PEPCO | 8186 | 8.3333 | 8098292.8133 | 7523266.0667 | 398736039.2401 | 461534.5 | 0 | 552476.7 | 0 | 0 | 1766403.5032 | 0 | 0 | 1766403.5032 | 400502442.7433 | 266497767.0926 | 134004675.6507 | 24462.4122 | 129867917.4232 | 109889.9284 | 301.0683 | 2546 | 6.98 | 112435.9284 | 308.0436
PPL | 7990.3333 | 13 | 7819588.6067 | 7249444.66 | 332846807.3874 | 518290.2 | 0 | 578387.8 | 0 | 0 | 2055811.0246 | 0 | 0 | 2055811.0246 | 334902618.412 | 233795752.5084 | 101106865.9037 | 64847.4455 | 98031571.2192 | 82951.0672 | 227.2632 | 2546 | 6.98 | 85497.0672 | 234.2385
PSEG | 8127.6667 | 10 | 8041630.7267 | 7420608.7333 | 328446418.6542 | 523608.5 | 0 | 591104.6 | 0 | 0 | 2230472.4404 | 0 | 0 | 2230472.4404 | 330676891.0946 | 233545534.441 | 97131356.6536 | 16599.0724 | 94132442.9055 | 79651.754 | 218.224 | 2546 | 6.98 | 82197.754 | 225.1993
RECO | 8172.3333 | 9 | 8277952.0267 | 7601681.88 | 347356378.8955 | 469847.8 | 0 | 558041.4 | 0 | 0 | 1986381.2173 | 0 | 0 | 1986381.2173 | 349342760.1129 | 236812617.5355 | 112530142.5773 | 40683.1953 | 109074684.6968 | 92295.3839 | 252.8641 | 2546 | 6.98 | 94841.3839 | 259.8394
RTO | 8321 | 5.3333 | 8495220.4667 | 7996829.34 | 372303672.6991 | 439292 | 0 | 505936.5 | 0 | 0 | 1680603.1839 | 0 | 0 | 1680603.1839 | 373984275.883 | 250505974.971 | 123478300.912 | 13143.7778 | 119658098.399 | 101250.7179 | 277.3992 | 2546 | 6.98 | 103796.7179 | 284.3746
Zonal Average | 8233.9365 | 6.7619 | 8624314.4641 | 8187659.5765 | 377677929.2009 | 373532.6619 | 0 | 430866.719 | 0 | 0 | 1550039.0541 | 0 | 0 | 1550039.0541 | 379227968.255 | 235168735.5867 | 144059232.6683 | 20395.2623 | 139606624.2918 | 118130.4995 | 323.6452 | 2546 | 6.98 | 120676.4995 | 330.6205