## Triennial Review
PJM MRC
Triennial Review of VRR Curve
Triennial review of: (1) the shape of the VRR Curve, (2) the Cost of New Entry (CONE) for each CONE area, and (3) the methodology for determining the Net Energy and Ancillary Services Revenue Offset (E&AS Offset) for the PJM Region and for each Zone
Updated September 20, 2011
ID | Design Component | Importance | Component Solution Options |  |  |  | Component Solution Options |  | Component Solution Options |  |  | Component Solution Options | Component Solution Options
|  |  | PJM Recommendation | A | B | C | D | E | F | G | H | I | J
1 | Gross CONE | High | Update CONE values for 15/16 BRA (kW-year): CONE Area 1: $134.00 CONE Area 2: $123.70 CONE Area 3: $123.50 CONE Area 4: $130.10 CONE Area 5: $111.00 RTO region-wide gross CONE value: $123.50 (Attachment DD section 5.10(a)) | If we update using nominal level values then hold constant until next TR. | If update with level real, then escalate with HWI until next TR. | Use Gross CONE with SCR costs excluded. | Update Brattle CONE estimate to account for missing costs and locational differences as follows: 1. Land Costs (including easement costs) 2. Property Taxes (account for Payment in Lieu of Taxes (PILOT) agreements and other similar tax arrangements) 3. Electrical Interconnection Costs (reflect specific CONE Areas) 4. Other Costs (Contingency, Financing Fees, Other interconnection costs, etc.) (New since last meeting - Submitted by LS Power) | Update Gross CONE to the following extent: 1. Recalculate gross CONE annually; do not use indexing; a. If HW Index is to be used, fix method to ensure that history is accurately reflected. 2. Use union labor in SWMAAC; 3. Use transmission interconnection costs consistent with interconnection of a new unit rather than history (New since last meeting - Submitted by IMM) | Assume WACC of 10% for all CONE Areas to better reflect riskiness of peaker development (New since last meeting - Submitted by Constellation) | Update CONE Area 2 Overnight Cost to reflect Union construction labor (~$51/kw) (New since last meeting - Submitted by Constellation) | Update CONE Area 2 Overnight Cost to reflect interconnection cost at needed locations, not average of historic locations near gas or transmission (New since last meeting - Submitted by Constellation) | Update CONE Area 1 CT reference unit to include: 1. Increase current union rates for New Jersey of $99 per hour (in 2011 dollars) and assume 50 hour work week. 2. Assume use of steel piles to 80 foot depth for foundation instead of “spread footing” foundation. 3. Increase estimate cost of combustion turbine at about $50 million in increased costs. (New since last meeting - Submitted by PSEG) | Update CONE Area 1 CC reference unit to include: 1.Increase current union rates for New Jersey of $99 per hour (in 2011 dollars) and assume 50 hour work week. 2. Assume use of steel piles to 80 foot depth for foundation instead of “spread footing” foundation. 3. Increase estimate cost of combustion turbine at about $50 million in increased costs. 4. Increase estimate to complete CC construction at 1.8 M direct hours. Estimate impact at $45 M in increased costs. 5. Assume enclosures required for all equipment. Estimate impact at $15 M in increased costs. 6. Increase estimate of piping costs. Estimate impact at about $10 million in increased costs. 7. Increase estimate of HSRG w/SCR. Estimate impact at about $5 million in increased costs. 8. Increase estimate of steam turbine costs. Estimate impact at about $10 million in increased costs for CC unit. 9. Assume “dry” cooling tower instead of “wet” cooling tower cost for the reference CC unit. Estimate impact at about $55 million in increased costs (compared to assumed value in report for “wet” cooling tower.) (9a). If "wet" tower is used, Increase estimate of “wet” cooling tower cost. Estimate impact at about $29 million in increased costs. 10. Increase value of cost escalation. Estimate impact at about $20 million in increased costs. (New since last meeting - Submitted by PSEG)
2 | Levelization Method | High | Retain level-nominal method | A: Real levelization method; B: Real levelization method contingent upon a forward looking E&AS offset
3 | Reference Resource Technology | High | Combustion Turbine (CT) | A: The technology with the lowest Net CONE. Use a cross section of potential resources {CC, Coal, Wind, DR}; B: The technology with the lowest Net CONE. Use a cross section of potential resources {CCGT or CT}
4 | Net E&AS Revenue Offset Methodology | High | Revise peak-hour dispatch method to reflect actual dispatch operations (i.e. dispatch CT first against DA LMPs and then against RT LMPs if DA LMPs do not support CT commitment) | PJM's methodology allowing for further examination of blocks to be used. Both time and duration of blocks. | Reducing the E&AS offset size by the amount of historical error. | Status Quo | Modify offset for RTO demand curve: (a). Use the Net CONE from the 5 CONE areas; or, (b). Use the zone from the rest of the RTO with the highest E&AS offset. | Look at Gen weighted average LMP by zone instead of load weight LMP average | E&AS offset should include energy market revenues based on nodal pricing consistent with the location of the unit for each CONE area (New since last meeting - Submitted by IMM) | E&AS offset should be based on unit dispatch DA or RT depending solely on economics and reflecting parameters for unit per physical capabilities (New since last meeting - Submitted by IMM)
5 | VRR Curve Shape | High | Raise Point "a" to (1.0 x CONE) above Point "b" | A: Status Quo (1.5 Net CONE) point "a"; B: Set point "a" greater of (1.5 Net CONE) or, (Gross CONE [if nominal Gross CONE; if real 1.15 * Gross CONE]); C: Point "a" use E&AS = MAX(E&AS) or (x * Gross CONE); Component Solution Options D: Look for backstops to address reliability concerns versus looking at VRR curve shape.; Component Solution Options E: Raise Point "a" to (0.5 x Gross CONE) above Point "b"
6 | Net CONE | High | There should be no limits on the annual change in net CONE (status quo). (New since last meeting - Submitted by IMM) | A: Percentage limit on year-to-year Net CONE changes
Solution Packages
Package 1 | PJM Recommendation Column
Package 2 | 1B 2A 3 (PJM) 4 (PJM) + 4D 5B Subject to potential refinement of Gross CONE
Package 3 | 1A 2 (PJM) 3 (PJM) 4 (PJM) +4D 5B Subject to potential refinement of Gross CONE
Package 4 | 1B + 1C 2A 3 (PJM) 4 (PJM) + 4D 5B Subject to potential refinement of Gross CONE
Package 5 | 1A + 1C 2A 3 (PJM) 4 (PJM) + 4D 5B Subject to potential refinement of Gross CONE

## TR Solution Packages
PJM MRC
Triennial Review of VRR Curve
triennial review of: (1) the shape of the VRR Curve, (2) the Cost of New Entry (CONE) for each CONE area, and (3) the methodology for determining the Net Energy and Ancillary Services Revenue Offset (E&AS Offset) for the PJM Region and for each Zone
Updated September 23, 2011
| Design Component | Importance | Solution Package Options | [5 empty] | Solution Package Options
|  |  | Package 1 - PJM Recommendation | Package 2 | Package 3 | Package 4 | Package 5 | Package 6 | Package 7 | Package 8 | Package 9
|  |  | PJM Recommendation Column | 1B, 2A, 3 (PJM), 4 (PJM) + 4D, 5B | 1A, 2 (PJM), 3 (PJM), 4 (PJM) +4D, 5B | 1A, 2 (PJM), 3 (PJM), 4 (PJM) +4D, 5B | 1A + 1C, 2A, 3 (PJM), 4 (PJM) + 4D, 5B | 1D, 2 (PJM), 3 (PJM), 4F+4G, 5 (PJM), 6 (PJM) (New since last meeting -- Submitted by EMC2) | 1B, 2A, 3B, 4(PJM)+G, 5D, 6A (New since last meeting -- Submitted by Susan Bruce) | 1E, 2 (PJM), 3 (PJM), 4 F + G, 5A, 6D (New since last meeting -- Submitted by IMM) | 1E, 2 (PJM), 3 (PJM), 4 F + G, 5A, 6D (New since last meeting -- Submitted by Competitive Power Ventures)
1 | Gross CONE | High | update CONE values for 15/16 BRA (kW-year): CONE Area 1: $134.00 CONE Area 2: $123.70 CONE Area 3: $123.50 CONE Area 4: $130.10 CONE Area 5: $111.00 RTO region-wide gross CONE value: $123.50 (DD section 5.10(a)) | If update with level real, then escalate with HWI until next TR. | If we update using nominal level values then hold constant until next TR. | If update with level real, then escalate with HWI until next TR. + Use Gross CONE with SCR costs excluded. | If we update using nominal level values then hold constant until next TR. + Use Gross CONE with SCR costs excluded. | Update Brattle CONE estimate to account for missing costs and locational differences as follows: 1. Land Costs (including easement costs) 2. Property Taxes (account for Payment in Lieu of Taxes (PILOT) agreements and other similar tax arrangements) 3. Electrical Interconnection Costs (reflect specific CONE Areas) 4. Other Costs (Contingency, Financing Fees, Other interconnection costs, etc.) (New since last meeting - Submitted by LS Power) | If update with level real, then escalate with HWI until next TR. | Update Gross CONE to the following extent: 1. Recalculate gross CONE annually; do not use indexing; a. If HW Index is to be used, fix method to ensure that history is accurately reflected. 2. Use union labor in SWMAAC; 3. Use transmission interconnection costs consistent with interconnection of a new unit rather than history (New since last meeting - Submitted by IMM) | Update CONE values for 15/16 BRA (kW-year): CONE Area 1: $134.00 CONE Area 2: $123.70 CONE Area 3: $123.50 CONE Area 4: $130.10 CONE Area 5: $111.00 RTO region-wide gross CONE value: $123.50 (Attachment DD section 5.10(a)) + Update Brattle CONE estimate to account for missing costs and locational differences as follows: 1. Land Costs (including easement costs) 2. Property Taxes (account for Payment in Lieu of Taxes (PILOT) agreements and other similar tax arrangements) 3. Electrical Interconnection Costs (reflect specific CONE Areas) 4. Other Costs (Contingency, Financing Fees, Other interconnection costs, etc.) (New since last meeting - Submitted by LS Power) + Assume WACC of 10% for all CONE Areas to better reflect riskiness of peaker development (New since last meeting - Submitted by Constellation)
2 | Levelization Method | High | retain level-nominal method | real levelization method | retain level-nominal method | real levelization method | real levelization method | Retain level-nominal method | Real levelization method | Retain level-nominal method | Retain level-nominal method
3 | Reference Resource Technology | High | Combustion Turbine (CT) | Combustion Turbine (CT) | Combustion Turbine (CT) | Combustion Turbine (CT) | Combustion Turbine (CT) | Combustion Turbine (CT) | The technology with the lowest Net CONE. Use a cross section of potential resources {CCGT or CT} | Combustion Turbine (CT) | Combustion Turbine (CT)
4 | Net E&AS Revenue Offset Methodology | High | revise peak-hour dispatch method to reflect actual dispatch operations (i.e. dispatch CT first against DA LMPs and then against RT LMPs if DA LMPs do not support CT commitment) | revise peak-hour dispatch method to reflect actual dispatch operations (i.e. dispatch CT first against DA LMPs and then against RT LMPs if DA LMPs do not support CT commitment) + Modify offset for RTO demand curve: (a). Use the Net CONE from the 5 CONE areas; or, (b). Use the zone from the rest of the RTO with the highest E&AS offset. | revise peak-hour dispatch method to reflect actual dispatch operations (i.e. dispatch CT first against DA LMPs and then against RT LMPs if DA LMPs do not support CT commitment) + Modify offset for RTO demand curve: (a). Use the Net CONE from the 5 CONE areas; or, (b). Use the zone from the rest of the RTO with the highest E&AS offset. | revise peak-hour dispatch method to reflect actual dispatch operations (i.e. dispatch CT first against DA LMPs and then against RT LMPs if DA LMPs do not support CT commitment) + Modify offset for RTO demand curve: (a). Use the Net CONE from the 5 CONE areas; or, (b). Use the zone from the rest of the RTO with the highest E&AS offset. | revise peak-hour dispatch method to reflect actual dispatch operations (i.e. dispatch CT first against DA LMPs and then against RT LMPs if DA LMPs do not support CT commitment) + Modify offset for RTO demand curve: (a). Use the Net CONE from the 5 CONE areas; or, (b). Use the zone from the rest of the RTO with the highest E&AS offset. | E&AS offset should include energy market revenues based on nodal pricing consistent with the location of the unit for each CONE area (New since last meeting - Submitted by IMM) + E&AS offset should be based on unit dispatch DA or RT depending solely on economics and reflecting parameters for unit per physical capabilities (New since last meeting - Submitted by IMM) | PJM's methodology allowing for further examination of blocks to be used. Both time and duration of blocks. + E&AS offset should be based on unit dispatch DA or RT depending solely on economics and reflecting parameters for unit per physical capabilities (New since last meeting - Submitted by IMM) | E&AS offset should include energy market revenues based on nodal pricing consistent with the location of the unit for each CONE area (New since last meeting - Submitted by IMM) + E&AS offset should be based on unit dispatch DA or RT depending solely on economics and reflecting parameters for unit per physical capabilities (New since last meeting - Submitted by IMM) | Revise peak-hour dispatch method to reflect actual dispatch operations (i.e. dispatch CT first against DA LMPs and then against RT LMPs if DA LMPs do not support CT commitment)
5 | VRR Curve Shape | High | Raise Point "a" to (1.0 x CONE) above Point "b" | Set point "a" greater of (1.5 Net CONE) or, (Gross CONE [if nominal Gross CONE; if real 1.15 * Gross CONE]) | Set point "a" greater of (1.5 Net CONE) or, (Gross CONE [if nominal Gross CONE; if real 1.15 * Gross CONE]) | Set point "a" greater of (1.5 Net CONE) or, (Gross CONE [if nominal Gross CONE; if real 1.15 * Gross CONE]) | Set point "a" greater of (1.5 Net CONE) or, (Gross CONE [if nominal Gross CONE; if real 1.15 * Gross CONE]) | Raise Point "a" to (1.0 x CONE) above Point "b" | Look for backstops to address reliability concerns versus looking at VRR curve shape. | Status Quo (1.5 Net CONE) point "a" | Raise Point "a" to (1.0 x CONE) above Point "b"
6 | Net CONE | High | There should be no limits on the annual change in net CONE (status quo). |  |  |  |  | There should be no limits on the annual change in net CONE (status quo). (New since last meeting - Submitted by IMM) | Percentage limit on year-to-year Net CONE changes | There should be no limits on the annual change in net CONE (status quo). (New since last meeting - Submitted by IMM) | There should be no limits on the annual change in net CONE (status quo). (New since last meeting - Submitted by IMM)

## Interests
PJM MRC
Triennial Review of VRR Curve
triennial review of: (1) the shape of the VRR Curve, (2) the Cost of New Entry (CONE) for each CONE area, and (3) the methodology for determining the Net Energy and Ancillary Services Revenue Offset (E&AS Offset) for the PJM Region and for each Zone
Last Updated September 12, 2011
ID | Stakeholder Interests and Concerns
1 | As realistic as possible the assumptions about environmental controls used for determining CONE
2 | Improved predictability in capacity prices.
3 | Having an accurate capturing of the E&AS offsets by actual reference units.
4 | Ensuring adequate capacity; not prejuding the VRR curve.
5
6
7
8
9
10
11