## Setup
Enter Stakeholder Group Name in cell A2:
Markets & Reliability Committee
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Transparency and End of Life Planning

## 1. Interest Identification
Markets & Reliability Committee
Transparency and End of Life Planning
Interest Identification
# | Category | Interest
2 | Consistency | Improve consistency in determination of EOL by TO
6 | Consistency | Improve consistency in planning of EOL replacement projects
8 | Cost Effectiveness | Cost effective solutions which satisfy all needs and drivers after EOL determination is made
10 | Cost Effectiveness | Planning approach should optimize investments in infrastructure
3 | EOL Determination Replicability | Ability to replicate TO EOL determinations
4 | EOL Determination Replicability | Standardized data reporting for EOL determinations
5 | Process Definition | Best possible planning entity(ies) to determine solution for EOL replacement projects
12 | Process Definition | Uniform designation for EOL projects
19 | Process Definition | Outcome must ensure current level of reliability (e.g. PJM planning and TO planning criteria) and consider the impacts to operational performance and market efficiency
20 | Process Definition | Determine under what circumstances PJM would assert authority to identify more efficient or cost effective regional solutions to replace a retired facility (i.e. define incidental, voltage level, class of equipment, etc.)
23 | Process Definition | EOL retirement or replacement process does not result in the creation of CIP critical facilities
26 | Process Definition | Planning process should provide flexibility in determination of end-of-life decisions (e.g., risks, outages, resources, timing, etc.)
28 | Process Definition | Planning process should preserve appropriate levels of confidentiality for proprietary or business-sensitive information
31 | Process Definition | Planning process should recognize that end-of-life decisions are asset management decisions that transmission owners choose to address, for risk-management purposes, either through Attachment M-3 planning process or FERC Form 715 planning criteria
32 | Process Definition | Stakeholder process should recognize FERC approval of Attachment M-3 planning process and voluntary decision by transmission owners to use that process to address end-of-life decisions
9 | Respect Jurisdiction/Agreements/Authorities | Respect jurisdictional role boundaries
13 | Respect Jurisdiction/Agreements/Authorities | Adhering to existing agreements including CTOA
15 | Respect Jurisdiction/Agreements/Authorities | Transparency and End of Life Planning stakeholder process must honor the principle that PJM not have the authority or expertise to assume responsibility for asset management decisions or to determine when a facility is at the end of its useful life or otherwise needs to be replaced
16 | Respect Jurisdiction/Agreements/Authorities | Any process should honor separate individual TO EOL determination methodologies
17 | Respect Jurisdiction/Agreements/Authorities | Any process should allow TO flexibility recognizing, for example, differing geographical impacts on asset life and TO risk profiles
22 | Respect Jurisdiction/Agreements/Authorities | Work product must not conflict with and should incorporate modifications based on clarifications provided by FERC (e.g. PJM filing ER20-45)
24 | Respect Jurisdiction/Agreements/Authorities | Planning process should recognize the obligations transmission owners have to customers and regulators
27 | Respect Jurisdiction/Agreements/Authorities | Stakeholder process should not be used as a substitute for litigation or to pursue proposals that conflict with established case law
29 | Respect Jurisdiction/Agreements/Authorities | Planning process should be consistent with PJM Board’s recognition that PJM does not have the authority or expertise to assume responsibility for asset management decisions
30 | Respect Jurisdiction/Agreements/Authorities | Planning process should recognize that asset management decisions are not subject to Order No. 890 or Order No. 1000
11 | Timing | Process that avoids immediate need designation for EOL projects
18 | Timing | TO EOL determination methodology supports and aligns with RTEP established 5 year planning analysis
21 | Timing | PJM has the ability to incorporate EOL determination into its 5 year RTEP planning cycle.
1 | Transparency | Increased transparency for determination of EOL by TO
7 | Transparency | Improve transparency in planning of EOL replacement projects
25 | Transparency | Planning process should facilitate understanding by stakeholders of end-of-life decision making by transmission owners
14 |  | Properly account for regional benefits of EOL projects (interest was removed by requestor)

## 2. Options Matrix- Design Comp.
Markets & Reliability Committee
Transparency and End of Life Planning
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo - N/A | Status Quo | A | B | C | D | E | F | G
1 | Final determination of EOL process
1a | Time horizon for final EOL decision | High | No defined time horizon | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | 5 years (RTEP timing) | 7 year notification | TOs to provide notification of its determination of an EOL Condition to PJM and stakeholders a minimum of 6 years from EOL date in order to ensure inclusion in 5 year models and to enable PJM to hold open window competition for EOL Projects. | TO to provide Notification of its EOL determination a minimum of 6 years from EOL date (in order to ensure inclusion in 5 year models). Facilities 230 kV and higher should have a minimum of 8 years notification. | PJM runs its annual RTEP analysis to identify potential reliability violations, and identifies other issues which may be included in the review of the RTEP short term proposal window, e.g. FERC Form 715 violations. If PJM identifies any overlap with a facility(ies) on the EOL retirement/replacement candidate projection list and potential RTEP issues to be included in the short term proposal window, PJM will note the EOL facility(ies) in the posting of the identified RTEP issues and include both in a competitive proposal window problem statement for the short term window. Otherwise, where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings.
1b | Individual TO criteria/guidelines for final EOL decisions | High | Transmission Owner decision. For those Transmission Owners who address EOL through Attachment M-3, the design component is provided in Assumptions presented in Assumptions Meetings. For those Transmission Owners who address EOL through FERC Form 715, the design component is provided in transmission owner planning criteria filed in FERC Form 715. | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | TO specific program/process for final EOL determination | Minimum guideline based on industry averages, manufacturers recommendations and good utility practice | TO specific program/process for final EOL determination to the extent that TO does not have criteria described above: Minimum guideline based on industry averages, manufacturers recommendations and good utility practice | TO specific program/process for final EOL determination that must meet: Minimum guideline based on industry averages, manufacturers recommendations and good utility practice | TO specific program/process for using criteria to make final EOL determination to the extent that TO does not have criteria described above: Minimum guideline based on industry averages, manufacturers recommendations and good utility practice | All TOs must have a program/process for EOL determinations on their PJM Tariffed facilities. If a TO does not already have a program/process, then that TO must develop a program/process and it shall be based on industry averages, manufacturers recommendations and good utility practice | Mandatory TO-specific program/process for (i) asset condition assessments which may consider frequency of assessments based upon age and (ii) EOL determination process which may consider industry averages, manufacturers recommendations and good utility practice.
1c | Program transparency for final EOL decisions | High | Limited via 715 criteria | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | Annually present TO EOL program and show compliance with TO program to stakeholders | Annually present minimum guidelines and show compliance to stakeholders | TO Notification provided to PJM/stakeholders to provide adequate documentation and transparency | Annually present TO EOL program | Annually present the details of the methodology of TO EOL program in sufficient detail that stakeholders can understand and to the extent feasible replicate the results for individual facilities determined to be EOL | TO will annually present the details of TO EOL program as part of TEAC meeting.
1d | Asset EOL determination transparency | High | Identification of EOL need communicated in sub-regional RTEP meetings and TEAC meetings | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | Regularly present final TO EOL projects to stakeholders with specific information for replication of determination | Regularly present final TO EOL projects to stakeholders with specific information for replication of determination, and to allow stakeholders to ensure determination was done consistent with TO program | Regularly present final TO EOL facilities to stakeholders with specific information for understanding and to allow stakeholders to ensure determination was done consistent with TO program | PJM runs its annual RTEP analysis to identify potential reliability violations, and identifies other issues which may be included in the review of the RTEP short term proposal window, e.g. FERC Form 715 violations. If PJM identifies any overlap with a facility(ies) on the EOL retirement/replacement candidate projection list and potential RTEP issues to be included in the short term proposal window, PJM will note the EOL facility(ies) in the posting of the identified RTEP issues and include both in a competitive proposal window problem statement for the short term window. Otherwise, where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings.
2 | Forward look-ahead process
2a | Time horizon for look-ahead process | High | No defined time horizon | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | All TOs to have a minimum 10 year look-ahead EOL program | EOL information and notification provided to PJM and stakeholders on all facilities on an annual basis looking 7 years out | All TOs to have a minimum 10 year look-ahead EOL program. EOL information and notification provided to PJM and stakeholders on all facilities on an annual basis looking 7 years out | All TOs to have a minimum 10 year look-ahead EOL program on all PJM-tariff facilities | Transmission Owners to provide to PJM 5 years EOL retirement/replacement candidate projection list (limited to transmission lines, including associated transmission line support equipment such as tower structures, and transformers).
2b | Individual TO criteria/guidelines for look-ahead process | High | Undocumented | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | TO specific criteria/guidelines based on TOs program | Minimum guideline based on industry averages, manufacturers recommendations and good utility practice | TO dataset of asset life expectancy | TO specific criteria/guidelines based on TOs program to the extent that TO does not have criteria described above: Minimum guideline based on industry averages, manufacturers recommendations and good utility practice | TO specific criteria/guidelines based on TOs program that must meet: Minimum guideline based on industry averages, manufacturers recommendations and good utility practice | All TOs must have a program/process for 10 year look ahead on their PJM Tariffed facilities. If a TO does not already have a program/process, then that TO must develop a program/process and it shall be based on industry averages, manufacturers recommendations and good utility practice | Mandatory TO-specific program/process for (i) asset condition assessments which may consider frequency of assessments based upon age and (ii) EOL determination process which may consider industry averages, manufacturers recommendations and good utility practice.
2c | Program transparency for look-ahead process | High | No consistent transparency | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | Present each TOs EOL look-ahead program with their criteria/guidelines to stakeholders with at least annual updates presenting changes and justification for such changes | TO will annually present the details of TO EOL program as part of TEAC meeting.
2d | Transparency for EOL facilities in the look-ahead process | High | No consistent transparency | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | Annually present TO EOL look-ahead projects as part of EOL program to stakeholders with sufficient information for stakeholders to replicate TOs evaluation | Annually present TO EOL look-ahead facilities as part of EOL program to stakeholders with sufficient information for stakeholders to understand how the EOL designations align with and support the TO's overall program | TO will annually present the details of TO EOL program as part of TEAC meeting.
3 | Planning entity process
3a | Notification of final EOL determination | High | Communicated via sub-regional RTEP and TEAC meetings | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | Utilize existing committees presenting in common form | Annually present TO EOL look-ahead projects (minimum 5 years) consistent with identification of RTEP violations | TO EOL notification for all PJM tariff facilities, accompanied by sufficient documentation for stakeholders to be able to understand and replicate TO EOL determination. This notification is the trigger point for the PJM regional planning process and it must be given a minimum of 6 years from EOL date in order to ensure inclusion in 5 year models. All EOL Condition determinations are eligible for PJM Dispute Resolution (DR) process. All EOL Condition determinations are eligible for competitive windows with the exception of substation and for projects required within one year from EOL determination decision. | Required 6 year EOL notification for all PJM-Tariff facilities (8 year notification for 230 kV and higher facilities), accompanied by sufficient documentation for stakeholders to be able to understand and replicate TO decision. This notification is the trigger point for PJM regional planning process and all EOL notifications to be included in PJM models used in Proposal Windows. | Required 6 year EOL notification for all PJM-Tariff facilities accompanied by sufficient documentation for stakeholders to be able to understand and replicate TO decision. This notification is the trigger point for PJM regional planning process and all EOL notifications to be included in PJM models used in Proposal Windows. | PJM runs its annual RTEP analysis to identify potential reliability violations, and identifies other issues which may be included in the review of the RTEP short term proposal window, e.g. FERC Form 715 violations. If PJM identifies any overlap with a facility(ies) on the EOL retirement/replacement candidate projection list and potential RTEP issues to be included in the short term proposal window, PJM will note the EOL facility(ies) in the posting of the identified RTEP issues and include both in a competitive proposal window problem statement for the short term window. Otherwise, where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings.
3b | EOL replacement/retirement competitive planning process | High | Communicated via sub-regional RTEP and TEAC meetings EOL Supplemental Projects: Not eligible for competition. EOL Form 715 Projects: Existing competitive process rules (as of 1/1/2020). | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | PJM performs planning processes for all TO EOL determinations including competitive bidding window per PJM rules | EOL solutions are a part of an additional competitive bidding via procurement process | EOL solutions are a part of the competitive bidding via existing PJM process | EOL solutions are a part of the competitive bidding via SPP sponsorship/competitive bid process | EOL notification "needs" solutions are a part of the competitive bidding via existing PJM process (Long-lead Project window)
3c | EOL replacement/retirement planning analysis | High | EOL Supplemental Projects: TO develops a solutions. PJM performs Do No Harm analysis. EOL Form 715 Projects: PJM evaluates proposals and performs Do No Harm analysis. | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | PJM performs planning processes for TO EOL replacement/retirement with regional impacts, ensuring current level of reliability and considering impacts to operational performance and market efficiency AND to ensure solution does not result in the creation of CIP-014 critical facilities. | PJM performs planning processes for all TO EOL determinations. | PJM performs planning processes for all TO EOL replacement/retirement, ensuring current level of reliability and considering impacts to operational performance and market efficiency including competitive bidding window per PJM rules AND to ensure solution does not result in the creation of CIP-014 critical facilities. | PJM performs planning processes for all TO EOL replacement/retirement, ensuring current level of reliability and considering impacts to operational performance and market efficiency to ensure solution does not result in the creation of CIP-014 critical facilities. | PJM performs planning processes for all TO EOL retirement determinations for facilities identified as under PJM’s Markets & Reliability and Reliability BES, ensuring the current level of reliability and considering impacts to operational performance; market efficiency and to ensure the solution does not result in the creation of CIP-014 critical facilities. PJM runs its annual RTEP analysis to identify potential reliability violations, and identifies other issues which may be included in the review of the RTEP short term proposal window, e.g. FERC Form 715 violations. If PJM identifies any overlap with a facility(ies) on the EOL retirement/replacement candidate projection list and potential RTEP issues to be included in the short term proposal window, PJM will note the EOL facility(ies) in the posting of the identified RTEP issues and include both in a competitive proposal window problem statement for the short term window. Otherwise, where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Additionally, consistent with current practices (M14B Section 1.4.2.1 & 1.4.2.2), PJM will provide notice of the potential interaction associated with EOL needs in the M-3 process or EOL supplemental project(s) submitted for inclusion in the Local Plan and any identified violation, system condition, economic constraint, or public policy requirement included in the PJM open proposal window.
4 | Documentation of determination process and planning process | High | Portions of it included in Form 715 and Attachment M-3 | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | PJM to create a new process for summary/tracking of look-ahead projects by zone from the TOs look-ahead presentations | look-ahead tracking coordinates with PJM project tracking already in place | Document and track forecasted EOL project drivers to geographically depict interaction with other reliability drivers | PJM to create a new process for summary/tracking of look-ahead EOL facilities by zone from the TOs look-ahead presentations
5 | Dispute resolution | High | Defined in OA Schedule 5 | Defined in OA Schedule 5 | Streamline dispute resolution for EOL issues
6 | Supplemental Project Definition | High | Defined in OA Section 1. Definitions. See Component Detials tab. | Defined in OA Section 1. Definitions. See Component Detials tab. | Supplemental Project definition modified to exclude any EOL notification projects.
7 | EOL Notifications and appropriate EOL definitions | High | Not currently in Operating Agreement | Not currently in Operating Agreement | Added to Operating Agreement as a regionally planned projects and as a distinct category from reliability projects
8 | RTEP / subregional RTEP Definition | High | Defined in OA Section 1. Definitions. See Component Detials tab. | Defined in OA Section 1. Definitions. See Component Detials tab. | Definition modified to include EOL notification projects
9
* | Implementation
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attribute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Component Details
Markets & Reliability Committee
Transparency and End of Life Planning
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component |  | Detailed Description
1c | Program transparency for final EOL decisions | This design component addresses a structured approach for TOs to provide transparency into their process for screening transmission assets and making EOL determinations (decision criteria used, general assumptions which are applied, data benchmarks considered: manufacturer's recommendations vs. industry averages, etc.)
1d | Asset EOL determination transparency | This design component addresses a structured approach for TOs to review the list of each transmission assets which was determined to have reached its EOL, and the criteria/justification used to make that determination.
2 | Forward look-ahead process | A process executed by TOs to determine a set of potential EOL projects over the next x years.
6 | Supplemental Project Definition | “Supplemental Project” shall mean a transmission expansion or enhancement that is not required for compliance with the following PJM criteria: system reliability, operational performance or economic criteria, pursuant to a determination by the Office of the Interconnection and is not a state public policy project pursuant to Operating Agreement, Schedule 6, section 1.5.9(a)(ii). Any system upgrades required to maintain the reliability of the system that are driven by a Supplemental Project are considered part of that Supplemental Project and are the responsibility of the entity sponsoring that Supplemental Project.
8 | RTEP / subregional RTEP Definition | "Subregional RTEP Project" shall mean a transmission expansion or enhancement rated below 230 kV which is required for compliance with the following PJM criteria: system reliability, operational performance or economic criteria, pursuant to a determination by the Office of the Interconnection. "Regional RTEP Project" shall mean a transmission expansion or enhancement rated at 230 kV or above which is required for compliance with the following PJM criteria: system reliability, operational performance or economic criteria, pursuant to a determination by the Office of the Interconnection.

## 2b. Solution Details
Markets & Reliability Committee
Transparency and End of Life Planning
SOLUTION DETAILS
Instructions: Complete this form as needed. Potential solutions should be populated from the Proposal Matrix
Package Solutions2
| A | B | C | D | E
1
2
3
4
5

## 3. Package Matrix
Transparency and End of Life Planning
PACKAGE/ PROPOSAL MATRIX
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1 | Final determination of EOL process
1a | Time horizon for final EOL decision | High | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | TOs to provide notification of its determination of an EOL Condition to PJM and stakeholders a minimum of 6 years from EOL date in order to ensure inclusion in 5 year models and to enable PJM to hold open window competition for EOL Projects. | TO to provide Notification of its EOL determination a minimum of 6 years from EOL date (in order to ensure inclusion in 5 year models). Facilities 230 kV and higher should have a minimum of 8 years notification. | PJM runs its annual RTEP analysis to identify potential reliability violations, and identifies other issues which may be included in the review of the RTEP short term proposal window, e.g. FERC Form 715 violations. If PJM identifies any overlap with a facility(ies) on the EOL retirement/replacement candidate projection list and potential RTEP issues to be included in the short term proposal window, PJM will note the EOL facility(ies) in the posting of the identified RTEP issues and include both in a competitive proposal window problem statement for the short term window. Otherwise, where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings.
1b | Individual TO criteria/guidelines for final EOL decisions | High | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | All TOs must have a program/process for EOL determinations on their PJM Tariffed facilities. If a TO does not already have a program/process, then that TO must develop a program/process and it shall be based on industry averages, manufacturers recommendations and good utility practice | Package A | Mandatory TO-specific program/process for (i) asset condition assessments which may consider frequency of assessments based upon age and (ii) EOL determination process which may consider industry averages, manufacturers recommendations and good utility practice.
1c | Program transparency for final EOL decisions | High | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | Annually present the details of the methodology of TO EOL program in sufficient detail that stakeholders can understand and to the extent feasible replicate the results for individual facilities determined to be EOL | Package A | TO will annually present the details of TO EOL program as part of TEAC meeting.
1d | Asset EOL determination transparency | High | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | Regularly present final TO EOL facilities to stakeholders with specific information for understanding and to allow stakeholders to ensure determination was done consistent with TO program | Package A | PJM runs its annual RTEP analysis to identify potential reliability violations, and identifies other issues which may be included in the review of the RTEP short term proposal window, e.g. FERC Form 715 violations. If PJM identifies any overlap with a facility(ies) on the EOL retirement/replacement candidate projection list and potential RTEP issues to be included in the short term proposal window, PJM will note the EOL facility(ies) in the posting of the identified RTEP issues and include both in a competitive proposal window problem statement for the short term window. Otherwise, where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings.
2 | Forward look-ahead process
2a | Time horizon for look-ahead process | High | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | All TOs to have a minimum 10 year look-ahead EOL program on all PJM-tariff facilities | Package A | Transmission Owners to provide to PJM 5 years EOL retirement/replacement candidate projection list (limited to transmission lines, including associated transmission line support equipment such as tower structures, and transformers).
2b | Individual TO criteria/guidelines for look-ahead process | High | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | All TOs must have a program/process for 10 year look ahead on their PJM Tariffed facilities. If a TO does not already have a program/process, then that TO must develop a program/process and it shall be based on industry averages, manufacturers recommendations and good utility practice | Package A | Mandatory TO-specific program/process for (i) asset condition assessments which may consider frequency of assessments based upon age and (ii) EOL determination process which may consider industry averages, manufacturers recommendations and good utility practice.
2c | Program transparency for look-ahead process | High | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | Present each TOs EOL look-ahead program with their criteria/guidelines to stakeholders with at least annual updates presenting changes and justification for such changes | Package A | TO will annually present the details of TO EOL program as part of TEAC meeting.
2d | Transparency for EOL facilities in the look-ahead process | High | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | Annually present TO EOL look-ahead facilities as part of EOL program to stakeholders with sufficient information for stakeholders to understand how the EOL designations align with and support the TO's overall program | Package A | TO will annually present the details of TO EOL program as part of TEAC meeting.
3 | Planning entity process
3a | Notification of final EOL determination | High | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | Required 6 year EOL notification for all PJM-Tariff facilities accompanied by sufficient documentation for stakeholders to be able to understand and replicate TO decision. This notification is the trigger point for PJM regional planning process and all EOL notifications to be included in PJM models used in Proposal Windows. | Required 6 year EOL notification for all PJM-Tariff facilities (8 year notification for 230 kV and higher facilities), accompanied by sufficient documentation for stakeholders to be able to understand and replicate TO decision. This notification is the trigger point for PJM regional planning process and all EOL notifications to be included in PJM models used in Proposal Windows. | PJM runs its annual RTEP analysis to identify potential reliability violations, and identifies other issues which may be included in the review of the RTEP short term proposal window, e.g. FERC Form 715 violations. If PJM identifies any overlap with a facility(ies) on the EOL retirement/replacement candidate projection list and potential RTEP issues to be included in the short term proposal window, PJM will note the EOL facility(ies) in the posting of the identified RTEP issues and include both in a competitive proposal window problem statement for the short term window. Otherwise, where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings.
3b | EOL replacement/retirement competitive planning process | High | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | EOL notification "needs" solutions are a part of the competitive bidding via existing PJM process. | Package A | Status Quo
3c | EOL replacement/retirement planning analysis | High | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | PJM performs planning processes for all TO EOL replacement/retirement, ensuring current level of reliability and considering impacts to operational performance and market efficiency to ensure solution does not result in the creation of CIP-014 critical facilities. | Package A | PJM performs planning processes for all TO EOL retirement determinations for facilities identified as under PJM’s Markets & Reliability and Reliability BES, ensuring the current level of reliability and considering impacts to operational performance; market efficiency and to ensure the solution does not result in the creation of CIP-014 critical facilities. PJM runs its annual RTEP analysis to identify potential reliability violations, and identifies other issues which may be included in the review of the RTEP short term proposal window, e.g. FERC Form 715 violations. If PJM identifies any overlap with a facility(ies) on the EOL retirement/replacement candidate projection list and potential RTEP issues to be included in the short term proposal window, PJM will note the EOL facility(ies) in the posting of the identified RTEP issues and include both in a competitive proposal window problem statement for the short term window. Otherwise, where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Additionally, consistent with current practices (M14B Section 1.4.2.1 & 1.4.2.2), PJM will provide notice of the potential interaction associated with EOL needs in the M-3 process or EOL supplemental project(s) submitted for inclusion in the Local Plan and any identified violation, system condition, economic constraint, or public policy requirement included in the PJM open proposal window.
4 | Documentation of determination process and planning process | High | Where Transmission Owners address EOL through Attachment M-3, the design component is provided through Assumptions presented in the Assumptions Meetings and Needs presented in the Needs Meetings. Where Transmission Owners include EOL in FERC Form 715 planning criteria, the design component is provided though transmission owner planning criteria filed in FERC Form 715 and needs presented in TEAC/SRRTEP meetings. | PJM to create a new process for summary/tracking of look-ahead EOL facilities by zone from the TOs look-ahead presentations | Package A | Status Quo
5 | Dispute resolution | High | TBD | Status Quo | Package A | Out of Scope
6 | Supplemental Project Definition | High | Defined in OA Section 1. Definitions. See Component Detials tab. | Supplemental Project definition modified to exclude any EOL notification projects. | Package A | Status Quo
7 | EOL Notifications and appropriate EOL definitions | High | Not currently in Operating Agreement | Added to Operating Agreement as a regionally planned projects and as a distinct category from reliability projects | Package A | NA
8 | RTEP / subregional RTEP Definition | High | Defined in OA Section 1. Definitions. See Component Detials tab. | Definition modified to include EOL notification projects | Package A | Status Quo
Low
Low - Medium
Low - High
Medium
Medium - High
High

## Parking Lot
Markets & Reliability Committee
Transparency and End of Life Planning
Interest Identification
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Markets & Reliability Committee
Transparency and End of Life Planning
Revision History
Current Spreadsheet Version:
Version | Posting Date | Description of changes
1 | 2020-01-16 | Includes updates provided during the 1/15/2020 working session
2 | 2020-02-04 | Contains several PJM additions to the Options Matrix
3 | 2020-02-07 | Contains updates provided during 2/7/2020 working session
4 | 2020-03-04 | Contains stakeholder submitted draft packages
5 | 2020-03-05 | Contains updates provided during 3/5/2020 working session
6 | 2020-03-19 | Contains additional edits to Packages A and B
7 | 2020-04-09 | Package C (PJM) added