## Open Questions
Question Created Date | Question Created By | Title | Body
2020-01-27 | AMP | AEP-2018-AP010 | In regards to AEP's proposed solution to address need number AEP-2018-010 please provide the followings details and responses to the questions below: 1. Life expectancy of the proposed solution as compared to that of the Alternative considered 2. Parameters and requirements used to size the battery storage project 3. Overall size and MWh capability of the battery 4. Additional details regarding the voltage level at which the battery will connect to the transmission system. Will it connect at distribution level voltages or will it connect directly to the 69kV network. Does AEP's cost include cost to connect the battery. 5. What referenced criteria or assumption were used to quantify the need for the battery installation. 6. Under what situations will the proposed battery operate? For example when the radial line is out of service. 7. Will the battery participate as a PJM market participant including but not limited frequency regulation, energy or capacity? 8. Will the battery be owned by AEP's Kentucky Power Company or will it be owned by AEP's Kentucky Transco company? 9. Will the battery enter into the PJM generation connection queue? 10. What organization will control the dispatch of the battery resource, AEP Transmission or PJM? 11. For what period of time has the line between AEP's system and EKPC's system operated normally open?