## Open Questions
Question Created Date | Question Created By | Title | Body
2020-01-31 | AMP | Batteries and Other Energy Storage devices | Does the PJM OA definition of "Transmission Facilities" include Batteries or Storage devices? If so, what parameters or test must a battery or storage device meet to be determined as transmission?
2020-02-06 | LS Power | AEP-2018-AP010 | LS Power has questions about AEP-2018-AP010, as presented at a recent January 2020 Subregional TEAC meeting. The project proposes a 2 MW BEES solution at Middle Creek Substation, as a supplemental Project. A supplemental project must meet the definition of a Transmission Facility under the PJM Operating Agreement, in order for the Transmission Facility to be included in the RTEP (and meet the RTEP definition of Transmission). This battery has not had a FERC ruling classifying it as Transmission; therefore, it does not meet the definition of Transmission Facilities in the Operating Agreement. It is not eligible to included in the Supplemental Project category. In addition, we have overarching concerns about setting the precedent of batteries in Supplemental Project category
2020-02-07 | Sonny Nguyen | Correct line rating | Which case has the correct line rating for Laurel to Short 69 kV line? Is it 57 MVA or 93 MVA? I'm looking at the cases: MMWG_2024SUM_2019Series_Final.sav and 2023_AF1_Queue_Study_Summer_NonDiv_MTX_Op1.sav.
2020-06-03 | AMP | Doub's - Goose Creek 500kV End-of-Life Reliability Violation | In PJM's TEAC presentation from 6/2/2020​, PJM noted in bullet item #3 that a stability (non-convergence) issue was identified using PJM's Winter 2025 RTEP models after the Doubs - Goose Creek 500kV line was remove from service and a single contingency outage of the Bismark - Doubs 500kV line. In this analysis, was the requested generation deactivation of Dickerson Units 1,2,3 represented? Also, what units were identified as having stability issues leading to non-convergence?