## 2020-2021 M2M Congestion
2020 + 2021 PJM-MISO M2M Historical Congestion (PRELIMINARY) - CSP Study Flowgate Candidates
ID | Monitored Facility | Flowgate Description | 2020 Total PJM-MISO Congestion | 2021 Total PJM-MISO Congestion | 2-Year Total Congestion | Area | Notes | 2022 TMEP Candidate? (Y/N)
1 | Northwest Tap - Purdue 138 kV | Northwest Tap - Purdue 138 kV l/o Westwood - W Lafayette 138 kV | 6764617.22 | 58114818.36 | 64879435.58 | DEI | Planned project: MTEP22 P22265 | N
2 | Sandburg xfmr 3 | Sandburg xfmr 3 l/o Oak Grove - Sandburg 345 kV | 2485053.8 | 34192039.84 | 36677093.64 | AMIL | Planned project: LRTP Tranche 1 | N
3 | Sub85 - Sub18 161 | Sub85 - Sub18 161 flo OakGrove - Louisa 345 | 20028101.44 | 6842151.97 | 26870253.41 | MEC | Planned project: MTEP21 P4247 | N
4 | Mt Vernon-W Salem 138 kV | Mt Vernon-W Salem 138 kV l/o Newton-Xenia 345 kV | 1946509.43 | 18962377.77 | 20908887.2 | AMIL | Planned project: MTEP20 P16704 | N
5 | Paradise_BR_Tap_161kV | Paradise_BR_Tap_161kV_flo_Gibson_AB_Brown_345kV | 17442680.78 | 3048576.39 | 20491257.17 | TVA-BREC | Planned project: MTEP18 P16204 | N
6 | QuadCities-RockCreek 345 kV | QuadCities-RockCreek 345 kV l/o QuadCities-Sub91 345/161 kV Sub91 XF | 2614448.08 | 17662505.59 | 20276953.67 | COMED-ALTW | Flowgate still under review for outage causes and potential fixes. Potential project candidate to upgrade ComEd terminal equipment (wave trap). | Y
7 | Mohomet - ChampTP 138 kV | Mohomet - ChampTP 138 kV l/o Clinton - Oreana - GooseCrk 345 kV | 12807817.43 | 6524602.08 | 19332419.51 | AMIL | Congestion appears persistent; evaluating condutor and swtich replacement as a potential fix. | Y
8 | Cayuga 345/230 XFMR 9 | Cayuga 345/230 XFMR 9 (flo) Cayuga 345/230 XFMR 10 | 8789575.03 | 9834534.4 | 18624109.43 | DEI | Planned project: MTEP22 P22226 | N
9 | MapleST - Chrysler 138 kV | MapleST - Chrysler 138 kV l/o HighlandPark - New London 230 kV | 4767532.24 | 10239552.18 | 15007084.42 | DEI | Congestion likely associated with nearby outages; no low cost upgrades available | N
10 | Tanners Creek - Miami Fort 345 kV | Tanners Creek - Miami Fort 345 kV l/o East Bend-Terminal 345 kV | 4556487.09 | 7635750.22 | 12192237.31 | AEP-DEOK | Congestion likely associated with nearby outages | N
11 | Maroa E-GooseCreek 345 kV | Maroa E-GooseCreek 345 kV l/o Wilton Center-Dumont 765 kV | 1496668.96 | 9780126.81 | 11276795.77 | AMIL | Planned project: MTEP20 P16706 | N
12 | Chicago-Praxair 13831 | Chicago-Praxair 13831 l/o Wilton CenterDumont 765 | 7358027.22 | 2284316.09 | 9642343.31 | NIPSCO | Flowgate still under review for outage causes and potential fixes. | Y
13 | N Coultervil 138/230 kV | N Coultervil 138/230 kV l/o Prairie State - W Mt.Vernon 3 | 4165304.25 | 4779259.8 | 8944564.05 | AMIL | Planned project: MTEP19 P11929 | N
14 | Cayuga_HilsdaleN_230 | Cayuga_HilsdaleN_230_flo_Dresser_SugarCreek_345 | 768991.74 | 6811722.4 | 7580714.14 | DEI | Planned project: MTEP22 P22226 | N
15 | Crete-St Johns Tap 345 kV | Crete-St Johns Tap 345 kV l/o Dumont-Wilton Center 765 kV line | 1442842.81 | 5192113.67 | 6634956.48 | COMED | Being evaluated in 2022 PJM multi-driver window | N
16 | Vermilion-Tilton 138 kV | Vermilion-Tilton 138 kV l/o Bunsonville-Sidney 345 kV | 3904670.25 | 1078722.65 | 4983392.9 | AMIL | Planned project: MTEP20 P18077 | N
17 | Stillwell-Dumont 345 kV | Stillwell-Dumont 345 kV l/o Wilton Center-Dumont 765 kV | 1741882.14 | 2981320.69 | 4723202.83 | NIPSCO-AEP | Being evaluated in 2022 PJM multi-driver window | N
18 | Powerton - Towerline 138 kV | Powerton - Towerline 138 kV l/o Fargo - Sandburg 345 kV | 3679355.68 | 935043.14 | 4614398.82 | COMED-AMIL | Limited by ComEd terminal equipment (wave trap); Low cost upgrade(s) available. Outage causes still under review. | Y
19 | RockCreek_BeaverChannel_161kV | RockCreek_BeaverChannel_161kV_flo_QuadCity_Sub91_345kV | 2668806.19 | 1459310.92 | 4128117.11 | ALTW | Majority of congestion associated with various outages | N
20 | Sheffield_Amoco138kV_13877 | Sheffield_Amoco138kV_13877_flo_Sheffied_Marktown138kV_13878 | 693345.61 | 2981211.22 | 3674556.83 | NIPSCO | Majority of congestion associated with various outages | N
21 | College - Collinsville 138 kV | College - Collinsville 138 kV l/o Marysville - Sorenson 765 kV | 1326824.7 | 2229086.33 | 3555911.03 | AEP-DEOK | Majority of congestion associated with various outages | N
22 | Burnham_Munster_345 | Burnham_Munster_345_flo_Dumont_Wilton_Center_765 | 1303329.54 | 518378.33 | 1821707.87 | COMED-NIPSCO | Planned project: Previous MISO-PJM TMEP. Now in service | N
23 | Shadeland-Lafayette South 13808 | Shadeland-Lafayette South 13808 l/o Westwood-NW Tap 13806 | 593754.7 | 874067.48 | 1467822.18 | DEI | Planned project: MTEP21 project P20247 | N
Total |  |  | 113346626.33 | 214961588.33 | 328308214.66