## Poll Comments
1. Can you support the proposal (Packages A and B) for wide-area aggregation, which includes the following (Design Component 3)?
The aggregation Total of 1MW is problematic. We can see a real possibility of a single customer (a University or school system) with more than one location and totaling more than 1MW that may wish to aggregate for performance reasons. An exception for such circumstances would make these supportable.
While we accept bullets one and three, we prefer a much higher aggregation total listed in bullet two. 1 MW is far too small.
We could accept these rules (these aggregation issues are not the most important among all issues for us) but would prefer PJM conduct more analysis to identify if the size requirements from DR aggregations should apply to DERs. For instance, are transmission and distribution constraints real or perceived limiting factors to the size of an aggregation? Considering a DER will be studied (unlike DR), it may make more sense to cap aggregations to a higher value.
OK with other areas but can't support 3.2. There should be no max.
The FERC NOPR suggests the minimum size be no larger than 100kW stating in part: ( minimum size) may be necessary to ensure that the RTOs/ISOs can effectively model and dispatch the resources participating in their markets Dispatch of transmission resources relies on continuous security analysis. ISOs do not model the distribution system. A minimum size aids in ensuring resource response is observable which is not attained at even 100kW minimum. The current method models units as equivalized resources at a transmission bus that is modelled in the market. 100 kW changes at these busses do not identify reliability issues on the distribution system. A minimum lower than 100 kW cannot be supported without an effective distribution operating model in the market systems. A single dispatch to an aggregate over the whole EDC ignores the potential reliability impacts of individual or groups of resources within that aggregate. Reliability impacts are locational and this option ignores the need to monitor and dispatch to relieve impacts. Issues involving voltage control and thermal overload are to be specifically addressed. Unit commitments to the market are not to over-ride the EDC’s commitment to maintain voltage. Similarly the EDC is not to be impaired from managing outages and loading issues and may need to curtail units. Language should be integrated to address the EDC actions to maintain reliability, and that the distribution system is fundamentally different in that the fundamental purpose is to serve load.
Single EDC seems too large for the long haul, perhaps start with EDC, but goal should probably be nodal or zip code.
There should be no cap on total aggregation size and no max on individual DER.
Aggregation anywhere within a single EDC does not consider unique distribution system design, topology or constraints. The upcoming multi-day, seven panel FERC Technical Conference highlights the multitude of considerations and complexity associated with integrating Aggregated DER. The language within the packages is insufficient to fully understand the potential system impacts. The technical conference should help inform the group.
We have concerns with allowing aggregation within a single EDC. We believe it is important to have a locational specific price. How would the aggregate be studied and modeled? The stakeholder community may benefit from FERC guidance on aggregation.
No minimum size is an issue. The technical conference should flush out these items and it is premature to have this discussion until after the conference.
- the aggregation size (across the entire EDC) leads to potential wrong price signals - there should be the requirement to allow for sub-zonal dispatch
smaller size allowance complicates tracking for LSE billing
These limits are somewhat arbitrary, but we understand they are workable. As the industry evolves, these limits should be revisited to ensure that they don't present unnecessary barriers to DER participation.
2. Can you support the following business rules related to approving an aggregation (Package A; Design Component 4.2)?
EDC's should not need to approve again after approving the retail interconnection agreement. PJM would have no leverage over any rejected resource decision, forcing the owners to go to the State for resolution. Review is acceptable.
Assuming that DER systems have already gone through an interconnection processes, these additional requirements are a burden and unnecessary. A review has already occurred.
can't support the EDC having exclusive ability to review and approve. This should be a function of an ISO type organization at the distribution level.
No for new DER aggregations. An agreement modification is required. The interconnection is state jurisdictional and existing rules do not match those of market resources. The distribution system is operated differently and is far more dynamic. Units may inject at several different busses depending on distribution system conditions. Distribution systems have evolved to serve load from a variety of sources. Units that may in the future participate in markets have not been studied for deliverability through these optional configurations. Units that become committed to the market either alone or through aggregation must be restudied for deliverability consistent with these new commitments. No for changes to existing DER aggregations. An agreement modification is required. Market obligations are to be entered following a state jurisdictional interconnection study and reinforcement completion. Until now DER resources that these market changes are intended to address have been studied under different assumptions. Existing resources may inject energy in magnitudes that are very small percentages of feeder load. Market changes should aspire to attract large amounts of DER. Studies should be conducted with assumptions appropriate for identifying and mitigating impacts associated with large amounts of DER. Planning and operating rules to address distribution reliability impacts must be addressed prior to aggregate participation in markets. These proposals are premature as they come before reliability concerns are addressed. By contrast, market rules for transmission level interconnected resources incorporate relief of reliability issues through market drivers. Planning and operations reliability monitoring must be incorporated into unit control prior to market commitments.
There should be specific limitations on EDC's ability to create barriers to entry.
EDCs should first provide proposal on how they are going to evaluate the data they are asking for. They need to identify a process for evaluation, a time limit, and be held to a reasonableness standard (they can't simply reject a DER aggregation, they need to have a justified reason why.) There's no evidence either regarding the purported reliability concerns. The issues raised are already addressed during the interconnection process, making this additional layer of EDC review redundant and arbitrary. 30 days is also much too long.
The EDC must have binding authority to review and approve all individual and/or aggregate DER resources seeking to interconnect and provide services on the distribution system, regardless of location. Any proposed modification to existing individual DER sites or aggregations must also receive approval from the EDC. We disagree with limiting review and approval to the same or adjacent feeder.
We can only support if the EDC has sole approval in a DSO model if the states created an open access process.
If this is narrowly defined and specific to only same or adjacent feeders than this is not acceptable. Anywhere on the system is appropriate. Could support if the statement is not narrowly defined.
Need explicit process and time limits worked out, otherwise create impediments to reasonable and timely ability to participate and not willing to give open ended review at this point
- this review should be required (not just an opportunity) with any necessary upgrades identified - the limit to the same/adjacent feeder is not an acceptable limiting factor - and the review should always occur.
Could support if review/approval related only to aggregation definition and not to review/approval of individual site participation.
There is concern about transparency on changes to existing DERs and new DERs connected to EDCs. EDCs need to know what kind of services DERs are providing to PJM. Our company is supportive of PJM’s package and it is important that transparency of DERs be maintained between PJM and the EDCs within the PJM footprint.
There is currently no evidence of reliability issues supporting this restriction. The issues raised are already addressed during the interconnection process, making this additional layer of EDC review redundant and potentially arbitrary. PJM could revisit putting a review mechanism in place as DER penetration increases, but at this point we see no need to give EDCs a gatekeeper role.
3. Can you support the Package A options for DER individual unit-specific approval process (Design Component 4.1)?
EDC's should not need to approve again after approving the retail interconnection agreement. PJM would have no leverage over any rejected resource decision, forcing the owners to go to the State for resolution. Review only is acceptable.
All are unnecessary.
Small but important tweak here: If EDC does not act after 10 days the details are automatically approved.
No. Pigtails should be disallowed. The term does not appear in the NOPR. While this example has been discussed, it is still unclear that the configuration will not be gamed through retail and wholesale payments. Reliability requirements are to be determined under state jurisdictional interconnection rules. Requirements of 10 days to confirm, and 30 days to approve are inappropriately placed on the EDC. Imposing these requirements would be similar to imposing requirements for permits on the permit issuing agencies instead of the interconnection customer. Instead the requirement should be that the interconnection customer must provide evidence of such confirmation or agreement. This proposal improperly places requirements in the EDC. PJM presented that the physical interconnection is state jurisdictional if selling to the EDC. Rooftop solar which is the subject of this process is selling to the EDC. Language should specify that individual units may be subject to output reduction and VAR output changes at the direction of the EDC. This may occur in the planning or operations timeframe and may change over the operating life of the unit(s). As an option, language should be developed to address the potential need for other system upgrades such as re-conductoring or voltage control devices when agreements to commit to wholesale markets are made.
10 days might be tight, 14 days better. Everything else is good.
If EDC fails to confirm, DER units may participate. If unit is selling wholesale, it is under PJM and FERC jurisdiction.
10 days is too short a timeframe, especially given no consideration for operational events at the time the details are being provided (storm, peak load, etc.) Recommend changing approval period for new DER and existing DER to a 30 day time period (same as regulation).
The EDC review is too sweeping and redundant under PJM's tariff.
The EDC must have all relevant information as deemed necessary by the EDC for resources seeking use of its system. 10 days is arbitrary and not reasonable. Does the industry have a common understanding of the use of the word ‘pigtail’?
The timelines as proposed are extremely tight. The treatment and use of pigtails is not clear. For changes, an annual election process should be considered.
An EDC needs more than 10 days to confirm a DER request. This is not the same as a DR request that needs to be validated by the EDC. What is a pigtail definition?
Although we could support an EDC review to confirm basic site details, we can not support granting EDC over changes to site configuration or configuration in the regulation market. EDC authority over those areas are properly handled through distribution tariffs outside of PJM jurisdiction.
Based on our experience in Europe, 10 days is sufficient time period.
- the "basic site details" is not clear - but likely is not sufficient amount of information to properly model - the 10/30 day timeline is not realistic - especially with a potential for a large number of requests - should be an auto-deny not auto-confirm process built in - there could be impacts on the distribution system causing costs/operational impacts to existing retail customers
Clarity needed to understand if above unit-specific approval process applies to only wholesale DER or if it includes non-wholesale DER as well.
If any individual DER site exceeds 500 kW, or if>500 kW of DER is interconnected to common EDC assets, or aggregate DER of 500 kW or less with different DER types/technologies involved or there are any modifications/construction required in the field, a 30 day approval process is inadequate. In some cases it could take up to 120 days to complete a full analysis and PJM needs to continue discussions with EDCs to develop the appropriate timeframe needed for analysis"
Distribution system interconnections granted under retail tariffs already provide rules for EDCs to limit or review changes to site configurations. Granting EDCs a second review under PJM's tariff is redundant and could enable discriminatory treatment of DERs that participate in wholesale markets. A more limited EDC review limited to confirming administrative details could be acceptable.
4. Can you support the hardware requirements for metering and telemetry associated with Package A or Package B? (If your company cannot support, please briefly describe why or what would need to change in order for you to support these business rules.):
It would be helpful if PJM clarified the differences between these proposals, which have not been adequately discussed in stakeholder group. By most accounts these look to be the same so it is important to understand if there are differences.
Metering standards for the wholesale markets need to meet the requirements to settle in the power markets as required by PJM. EDC hardware requirements fall under the jurisdiction of the state regulatory bodies and legislators with settings and minimum standards implemented to protect the distribution system. PJM hardware requirements are in addition to the requirements of the local EDC. Any DER looking to enter the wholesale markets must first meet all minimum hardware requirements designated by the local EDC.
Unclear when telemetry is required and how it needs to be presented.
These telemetry requirements are too expensive and not adequately justified. We recommend ensuring here that all resources under 10 kW do not require telemetry. Aggregations of these less than 10 kW should also not require telemetry since it would be impossible to scale these aggregations. Projects with a large number of smaller resources will be unable to participate in these markets.
More discussion of system and hardware requirement is required to make an informed decision.
Need better understanding of interconnection rules but not opposed conceptually
- standards should be developed - there needs to be appropriate revenue quality metering and sufficient telemetry installed - not a self-assessed approach
We understand the packages follow existing metering and telemetry rules for generation requiring interval meters for all resources and telemetry for all capacity resources. Smaller capacity resources (less than 10MW) may be granted exceptions to telemetry requirements on a case by case basis. PJM and stakeholders should consider granting these exceptions on a categorical basis to smaller resources to avoid imposing disproportionate burdens that would inhibit their participation. DER providers in CAISO point to burdensome telemetry requirements as a reason to not participate in the CAISO DER aggregation mechanism. In any case, this requirement should be revisited and assessed periodically.
5. In general, can you support the proposal to submeter all DER that have the ability to serve retail load (i.e., are located behind a customer’s meter) for the purposes are more granular performance measurement, gross load calculations, and, in the case
Unneeded expense for small resources.
Can a single meter achieve the goals of the Grid Integrated Resource? It would be useful to explore this more in stakeholder group. This is an important issue especially for customers/developers who would bear the cost, potentially preventing projects from development.
If submetering is needed to meet the PJM requirements for market resolution, the additional hardware configuration should be standardized across the solution sets. All facilities receiving retail load are required to meet local EDC specifications in addition to any PJM standards.
These rules create additional costs for DER providers that are not justified. In addition, they seem to be in an effort to not pay DERs their full LMP.
Cannot support as written. We support granular metering of DER to measure generation and consumption of energy consistent with each of the wholesale and retail services provided from and to a DER installation. Further discussion and clarification is required before providing a final answer to support.
We are fine with submetering but it is unclear who will be responsible for managing it. It is unclear what party will have the responsibility for data verification for the submeters.
We support the "Grid Integrated Resource" approach, which does not require sub metering of all individual DERs. We can support submetering for purposes of frequency regulation or storage energy accounting.
- standards should be developed for appropriate metering - production meter data for all resources needs to be required and the data fed into utility SCADA systems
Unless required for certain ancillary markets, retail load and DER should be measured at the POI with the EDC.
At this time, we worry that the proposed submetering rules create additional costs for DER providers and could allow for discriminatory treatment of DERs, in particular compensating them at less than LMP.
6. Can you support the options for EDC coordination associated with Package A (Design Component 10)?
This would be a burden to the developer. Not necessary.
We agree with this in general, but would like additional components to be made clear. A key issue is that a confidentiality agreement should be in place between the DER aggregator, PJM and the EDC. It should especially be required for the EDC that is receiving information from the DER. The agreement will emphasize that the marketing affiliate of the EDC should not receive confidential developer information. In addition, it seems important to clarify that the DER aggregator will not be sharing operational information directly, but rather PJM will be the clearing house.
Market rules should aspire to attract large amounts of DER. With these rules, all wholesale agreements must recognize the EDC commitments for the distribution system to meet the reliability requirements which are regulated by state regulators and legislators. EDC responsibilities require that all of these resources reflect the potential to curtail operation of or redistribute flow of each power source in order to ensure reliability of customer load. PJM must recognize the EDC responsibility and cede control of the dispatch of those resources or work in coordination with the EDC to provide real time flow management of the lower voltage systems. As the primary purpose of the distribution system is to serve load, reliability of the load serving system is paramount and takes priority over facilitating access of generators to wholesale markets. EDC outage analysis is much more dynamic than transmission outage analysis. Power flow studies must be performed on the interconnected distribution systems reflecting the same contingency evaluations used for transmission systems OR recognition of the limitations of those interconnecting generation sources must be accounted for in the market pricing of those resources. Telemetry required for EDCs should be specified by the EDC and is regulated by state regulators and legislators. This will become more important with higher levels of DER penetration.
We would need rules about the permissible use of data in order for us to support. For example, data is specifically for operations, and EDC cannot use data to gain an unfair competitive advantage over third party provider in the market. Possibly, EDC should pay for data.
Further discussion related to the process is required – who, what, when, where, how. The FERC Technical Conference has a panel on this topic which should help inform the group of additional considerations.
EDC should have access to the schedules and telemetry as a requirement. We should not get the is information upon request.
Can support PROVIDED it is explicit that there are confidentiality agreements on data with EDC and there exists an automated/standardized interface to communicate data with EDC -- so willing to change position with that understanding
- this data exchange should be required - not made "upon request" - this information is needed for situational awareness by both the TO and the distribution company - there needs to be more detail on how the communication/coordination will occur between all impacted entities
don't understand the purpose of the additional coordination
Proposed EDC coordination is outside of PJM scope and jurisdiction. State commissions are the appropriate venue for determination of EDC-proposed coordination activities
7. Can you support the concept of a ‘Grid Integrated Resource’ – a single wholesale market resource that consists of both wholesale DER and customer load curtailment? This concept is similar to combining a generation and demand response resource when bot
Cannot support GIR as currently designed. Believe with additional work it is a workable concept.
No. The reliability issues identified above must be addressed before this second step should be considered. This could also involve complex operations conditions that may create gaming or reliability problems. Straight DER and Storage integration should be completed first.
Not sure that DR will continue to be a capacity resource in the long term. More details are necessary about the implications of a single resource.
Generation and Demand Response participation frameworks and settlement processes are separate and unique. Both have their own requirements which must be maintained.
We have concerns with accounting mechanisms associated with GIRs. We need to ensure that there is no double counting of value and no opportunities for gaming.
No. Shouldn't combine the two.
- there needs to be metering for all resources - there should not be a mixing of market rules (as they differ between DR and DER) - this provides an opportunity to game the market Overall comment - the DER task force should taking guidance from the upcoming April technical conference as there will be a number of panels addressing this issue with actual experiences being shared
Our company supports the PJM package and the transparency that it brings in all aspects to PJM and the EDCs.