## Setup
Enter Stakeholder Committee Name in cell A2:
Markets Implementation Committee
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Stability Limits in Markets and Operations

## 1. Interest Identification
Markets Implementation Committee
Stability Limits in Markets and Operations
Interest Identification
Instructions: List interests of all parties on this page.
Reliability
1 | Maintain compliance with NERC standards to ensure there are no System Operating Limit (SOL) exceedances
2 | Accurate tracking of reserves and regulation
3 | Ensure feasibility of market cleared solution in Real Time in order to maintain system reliability
4 | Incent resources to follow PJM dispatch instructions
Market Rule Adherence
5 | Solutions are consistent with must offer requirements
6 | Solutions are consistent with outage reporting requirements
Fair and Efficient Market Outcomes
7 | Consistent and uniform treatment across all stability limitations
8 | Minimize out of market payments
9 | Minimize gaming opportunities
10 | Efficient Market Prices
11 | Adequate and accurate compensation
12 | Consistent with competitive market outcomes
13 | Non discriminitory treatment of resources
14 | Appropriate pricing of FTRs
Data Confidentiality and Transparency
15 | Solution respects data confidentiality for market participant data
16 | Transparent transmission limitations that in place across DA and RT
17 | Respect CEII notification and posting limitations

## 2. Options Matrix- Design Comp.
Markets Implementation Committee
Stability Limits in Markets and Operations
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo(Unit Parameter Reduction option) | Status Quo( Thermal Surrogate option) | A | B | C | D | E
* | Implementation
I | Economic Max Reduction Option ( eDART option)
1 | Treatment of Emergency Max
1a | Day Ahead Market |  | Reduce Emergency Max to Stability Limit | N/A | Reduction of Emergency Max limit by PJM Day-Ahead Market Operator
1b | Real Time Market |  | Reduce Emergency Max to Stability Limit | N/A | Reduction of Emergency Max limit by PJM System Operator
2 | Treatment of Economic Max |  |  | N/A
2a | Day Ahead Market |  | Reduce Economic Max to Stability Limit | N/A | Reduction of Emergency Max limit by PJM Day-Ahead Market Operator
2b | Real Time Market |  | Reduce Economic Max to Stability Limit | N/A | Reduction of Emergency Max limit by PJM System Operator
3 | Outage Ticket Submission Requirement |  |  | N/A
3a | Type |  | A Maintenance Ticket needs to be submitted in eDART and eGADS | N/A | Status quo - submit as a Maintenance outage with Transmission Problem as cause type
3b | MW |  | Economic Maximum of the units needs to lowered to less than the stability limit | N/A | Economic and Emergency Maximum of the units needs to lowered to less than the stability limit
3c | eFORD impacts |  | None | N/A | Status quo - Unit Parameter Reduction Option
4 | Communication
4a | Parties that must be notified in DA and RT |  | Market Seller | Market Seller | Status quo and after the fact reporting on the PJM Website | Previously identified stability limitations are documented in CEII section of M-3, section 5. Consider additional reporting to track additional cost to system of reducing otherwise economic units.
4b | Method |  | Phone call | Phone call
4c | Timing |  | Prior to Day Ahead Market Close or as soon as possible for emergent conditions | Prior to Day Ahead Market Close or as soon as possible for emergent conditions
4d | Information that needs to be communicated |  | Stability Limit | Stability Limit
5 | Allocation of limit to multiple units |  | No current rules in place to address this scenario. | No current rules in place to address this scenario. Difficult to define an equitable thermal surrogate that only targets a subset of units/substation ( for multiple units) | Allocate Eco Limit reduction based on bid curves and DFAX, most expensive unit is limited first | Limit will apply to the sum of the output of the affected units. The units will dispatched in economic merit order up to the stated limit. If a stability limitation has been identified during the planning process and the unit chooses not to remedy the stability limitation, the operating restrictions for the unit as documented in the ISA will be utilized prior to other units being reduced.
6 | Penalty/Financial incentive |  | Economic Dispatch | Thermal surrogate volatility may lead to deviation and manual dispatch from not following basepoint | Following PJM Dispatch Instructions falls under NERC requirements. No LOC payments under the limit adjustment option
Low
II | Thermal Surrogate Option |  | change to "constraint" option | [6 empty] | Low - Medium
7 | Modeling of stability limit in SCED |  | N/A | [6 empty] | Low - High
| Day Ahead Market |  | N/A | Engineers develop a MP1 'thermal surrogate' consisting of a transmission element or elements that carry 100% of the generator's output. The rating of the thermal surrogate is manually reduced to reflect the generator stability limit. It is used in the Day Ahead and Real Time Market so that LMP will be utilized to reflect the stability constraints |  | Model as a capacity constraint on the affected generators: The limit will be determined by reliability studies using the TSA tool prior to the Day-ahead run. The Day-ahead engine will enforce the (MW) output of these resources relative to the stability limit. The Day-ahead market will not directly reflect this constraint in LMP. |  |  |  | Medium
| Real Time Market |  | N/A | Engineers develop a MP1 'thermal surrogate' consisting of a transmission element or elements that carry 100% of the generator's output. The rating of the thermal surrogate is manually reduced to reflect the generator stability limit. It is used in the Day Ahead and Real Time Market so that LMP will be utilized to reflect the stability constraints |  | Model as a capacity constraint on the affected generators : The limit will be determined by real time reliability studies using the TSA tool. The SCED engine will enforce the (MW) output of these resources relative to the stability limit. The real time market will not directly reflect this constraint in LMP. |  |  |  | Medium - High
8 | Determination of stability limit |  | N/A | [6 empty] | High
| Day Ahead Market |  | N/A | The generator stability limit is determined based on TSA study results + special operating procedures addressing stability limit issues that are presented in Manual 3, Section 5. This limit is then reflected to the thermal surrogate by manually reducing the rating of the transmission equipment to reflect the stability limit |  | The generator stability limit is determined based on TSA study results + special operating procedures addressing stability limit issues that are presented in Manual 3, Section 5. This limit is then reflected as a constraint on the output of the affected units.
| Real Time Market |  | N/A | Transmission Stability Assessment (TSA) tool computes stability limits by using real time network models. It interfaces with the EMS and uses the State Estimation solution. Engineers then manually adjust the thermal surrogate rating used in SCED accordingly. |  | Transmission Stability Assessment (TSA) tool computes stability limits by using real time network models. It interfaces with the EMS and uses the State Estimation solution. Engineers then manually adjust the generator capacity constraint used in SCED accordingly.
9 | Impact on Reserves |  | Reduction of Economic Max limits available Ancillary Service (AS) MW so reserves are estimated correctly. | Reduction in available AS MW is not reflected in this method |  | Model as a capacity constraint on the affected generators : The capacity constraint will be modeled such that the stability limitation will include the total energy and ancillary service MW ( reg/synchronized reserve/ NSR/DASR) that can be provided by the unit.
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attribute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Markets Implementation Committee
Stability Limits in Markets and Operations
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
Markets Implementation Committee
Stability Limits in Markets and Operations
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Markets Implementation Committee
Stability Limits in Markets and Operations
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9 | [8 empty] | Low
10 | [8 empty] | Low - Medium
Low - High
Medium
Instructions: | [8 empty] | Medium - High
1. Copy over design component, priority, and status quo columns from options matrix | [8 empty] | High
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Markets Implementation Committee
Stability Limits in Markets and Operations
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Markets Implementation Committee
Stability Limits in Markets and Operations
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Markets Implementation Committee
Stability Limits in Markets and Operations
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1 | 2019-11-05 | Populated PJM interests and initial design components and status quo
2 | 2019-11-13 | Updates made to interests + design components based on stakeholder feedback at MIC. Posted as post meeting version
3 | 2019-12-04 | Bucketed interests into groups + addeddesign components 4b and 5
4 | 2020-01-10 | Added PJM's preferred design options