## Setup
Enter Stakeholder Group Name in cell A2:
MIC Special Session
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Quadrennial Review of VRR Curve Parameters

## 1. Interest Identification
MIC Special Session
Quadrennial Review of VRR Curve Parameters
Interest Identification
Instructions: List interests of all parties on this page.
Quadrennial Review of VRR Curve
Quadrennial review of: (1) the shape of the VRR Curve, (2) the Cost of New Entry (CONE) for each CONE area, and (3) the methodology for determining the Net Energy and Ancillary Services Revenue Offset (E&AS Offset) for the PJM Region and for each Zone
*****Updated September 12, 2011
ID | Stakeholder Interests and Concerns
1 | As realistic as possible the assumptions about environmental controls used for determining CONE
2 | Improved predictability in capacity prices.
3 | Having an accurate capturing of the E&AS offsets by actual reference units.
4 | Ensuring adequate capacity; not prejudging the VRR curve.
Energy and Ancillary Service Offset
Identify benefits and costs of changing from real-time to day-ahead LMP.
*****Updated October 20, 2011
ID | Stakeholder Interests and Concerns
1 | Accurate modeling of Reference Resources, whether CT or CCGT, regarding where energy revenues are generated. Desire is for use of actual dispatch conditions.
2 | Accurate modeling related to minimum run requirements.
3 | Desire consistency in application of the calculation of EAS Offset. (MOPR Screen and VRR Curve)
4 | Allow new capacity to enter when needed but not when there is a large surplus of capacity.
5 | Accuracy of calculation (e.g. LMP point utilized such as generation bus or load bus)
6 | Represent how units obtain EAS revenue from the market.
7 | EAS Offset should not be calculated such that a merchant model is favored over other business models.
8 | Does hour ending 0800 preclude potential revenues that could be received?
9 | Is the historic nature of the EAS Offset calculation appropriate? Is there a better approach?
10 | Desire a final report that identifies pros/cons for consistent versus custom treatment of EAS offset for all uses
11 | Desire ability to use method for all market participants (e.g. market seller offer cap)
12 | Avoid further increases in the hurdle for new supply to enter the market
*****Updated June 2, 2014
ID | Stakeholder Interests and Concerns
1 | Interest in understanding whether forwards are good enough to calculate 4 years out.
2 | Understanding how locational basis could be forecast.
3 | In general, interested in having some transparency behind the simulations that conclude that we need more reliability or need to shift the curves.
4 | Interested in understanding how all of the other changes just made in RPM interact with PJM's other recommendations, specifically how much reliability we need to procure and how much we did just procure.
5 | Is there a current failure in the VRR curve for meeting reliabilty in the BRA?
6 | Interest in changing the shape of the curve is to eliminate administrative volatility due to slope of curve.
7 | Interest in adjusting parameters to minimize price supression identified by IMM.
8 | Interest in assuring that reliability is retained in the most cost effective method possible.
9 | Ensure that we understand the costs of the packages.
10 | Ensure that we understand the market power incentive consequences of the packages.
11 | Ensure we examine all market costs in both the short, and long-term.
12 | Ensure that we examine the impact on energy markets of shifting the VRR curve.
13 | Ensure the market doesn't just pay short-term marginal costs so that resources can recover their long-run marginal costs over time.
14 | Consider the market impacts of clearing large excesses of capacity.
15 | Interest in understanding the basis and the support for the Brattle recommendations and the extent to which they will be relied upon by PJM currently and in the future.
*****No New Interested Identified in 2018
Newly identified interests as of May 20, 2022
ID | Stakeholder Interests and Concerns
1 | Competitive capacity market outcomes
2 | VRR curve - should be designed as to not overprocure or overpay for capacity
3 | Ensuring that the VRR curve reflects dynamic changes we may see over time with the capacity market, not just a one year snapshot. Not assuming that no changes could be made after the BRA.
4 | VRR process should allow curve inputs to change within 4 year period if underlying conditions of market change
5
6
7
8
9
10
11
12
13
14
15

## 2. Options Matrix-Design Comp.
MIC Special Session
Quadrennial Review of VRR Curve Parameters
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo (Current Tariff Values) | Brattle Updated CT Values (2022) | Brattle Recommendations (2022) | A | B | C | D | E
* | Implementation
1 | Reference Resource Technology for purpose of VRR Curve |  | Combustion Turbine (CT) GE Frame 7HA: • Configuration: single unit • Net Summer ICAP: 320 MW • Power Augmentation: evaporative cooling • Environmental Controls: selective catalytic reduction (SCR) technology in all CONE areas • dual fuel capability in all CONE areas • heat rate @ 9,134 Btu/kWh • variable O&M @ $6.93/MWh | Combustion Turbine (CT) GE Frame 7HA: • Configuration: single unit • Net Summer ICAP: 357 MW • Power Augmentation: evaporative cooling • Environmental Controls: selective catalytic reduction (SCR) technology in all CONE areas • firm gas transportation in all CONE areas • heat rate @ 9,313 Btu/kWh • variable O&M @ $1.19/MWh | Combined Cycle - GE 7HA.02(CT), ST F-A650(ST): • Configuration: Double Train 1x1 Single Shaft • Net Summer ICAP(without Duct Firing): 1,030 MW • Net Summer ICAP (with Duct Firing): 1,156 MW • Power Augmentation: evaporative cooling • Cooling System: dry air cooled • Environmental Controls: selective catalytic reduction (SCR) technology in all CONE areas • firm gas transportation in all CONE areas • heat rate @ 6,369 Btu/kWh without duct firing • heat rate @ 6,604 Btu/kWh with duct firing • variable O&M @ $2.10/MWh | Adopt Brattle Recommendation | Brattle Recommendation, but for: • potential for firm gas transportation • Short Run Marginal Cost (water, sewer, chemicals, lubricants) @ $0.62/MWh
2 | Gross CONE for purpose of VRR Curve |  | Update CONE values for 22/23 BRA ($/MW-year): (MM in VOM) CONE Area 1: $108,000 CONE Area 2: $109,700 CONE Area 3: $105,500 CONE Area 4: $105,500 | Update CONE values for 26/27 BRA (MM in VOM) ($/MW-year ICAP): CONE Area 1: $136,100 CONE Area 2: $141,700 CONE Area 3: $146,600 CONE Area 4: $143,000 ($/MW-day UCAP) CONE Area 1: $392 CONE Area 2: $408 CONE Area 3: $409 CONE Area 4: $400 | Update CONE values for 26/27 BRA (MM in VOM) ($/MW-year ICAP): CONE Area 1: $182,700 CONE Area 2: $178,700 CONE Area 3: $183,100 CONE Area 4: $184,500 ($/MW-day UCAP) CONE Area 1: $517 CONE Area 2: $506 CONE Area 3: $516 CONE Area 4: $517 | Adopt Brattle Recommendation | Update CONE values for 26/27 BRA (non firm gas, MM in Gross CONE) ($/MW-year ICAP): CONE Area 1: $173,743 CONE Area 2: $165,602 CONE Area 3: $164,469 CONE Area 4: $160,969 Update CONE values for 26/27 BRA (firm gas, MM in Gross CONE) ($/MW-year ICAP): CONE Area 1: $181,779 CONE Area 2: $177,390 CONE Area 3: $179,334 CONE Area 4: $170,325
3 | Index used for Gross CONE escalation |  | For CT, a composite BLS Index of the BLS Quarterly Census of Employment and Wages for Utility System Construction (weighted 20%), the BLS Producer Price Index for Construction Materials and Components (weighted 55%), and the BLS Producer Price Index Turbines and Turbine Generator Sets (weighted 25%). | For CT, a composite BLS Index of the BLS Quarterly Census of Employment and Wages for Utility System Construction (weighted 30%), the BLS Producer Price Index for Construction Materials and Components (weighted 45%), and the BLS Producer Price Index Turbines and Turbine Generator Sets (weighted 25%). | For CC, a composite BLS Index of the BLS Quarterly Census of Employment and Wages for Utility System Construction (weighted 40%), the BLS Producer Price Index for Construction Materials and Components (weighted 45%), and the BLS Producer Price Index Turbines and Turbine Generator Sets (weighted 15%). | Adopt Brattle Recommendation | 2.0% escalation
4 | RTO-Wide Gross CONE |  | Use average Gross CONE of the four CONE Areas |  | Status Quo | Status Quo | Lowest CONE Area Gross CONE
5a | EAS Offset Methodology Historical or Forward - note whether details below reference historical or forward |  | Historical |  | Forward | Forward | Forward
5 | Simulation Method for calculating Net Energy Revenues for the Reference Resource |  | Peak-Hour Dispatch Method: For CT, Peak-Hour Dispatch: Economic commitment of Reference Resource considered for four distinct blocks of four hours of continuous output for each block, for the 16-hour peak-hour period, beginning with hour ending 0800 EPT through to the hour ending 2300 EPT of each day |  | Optimized Method: Projected EAS Dispatch, defined as simulated dispatch with the objective of committing and dispatching a resource for the purpose of maximizing its net energy and ancillary services revenues, subject to operating parameters and cost of the resource | Adopt Brattle Recommendation | Forward looking EAS using simulated dispatch at cost-based offers, no 10 percent adder, using PLS parameters.
6 | Net Energy and Ancillary Services Revenue Offset Input Data Time Horizon |  | Historical-looking inputs (additional details below) |  | Forward-looking inputs (additional details below) | Forward-looking inputs (additional details below) | Forward-looking inputs (additional details below)
6a | Energy |  | Input prior 3 calendar years of LMP |  | Input prior 3 calendar years of LMP scaled using forward LMPs for the Delivery Year. Caculate revenues using Projected EAS Dispatch. | Adopt Brattle Recommendation | Forward energy and gas prices. Basis differentials per three years history.
6b | Regulation |  | N/A |  | Remove Regulation from Projected EAS Dispatch. | Adopt Brattle Recommendation | Do not include regulation revenues.
6c | Sync & Non-sync Reserves |  | N/A |  | Inputs historical hourly sync and non-sync reserve prices scaled by forward energy prices. Caculate revenues using Projected EAS Dispatch. | Adopt Brattle Recommendation | none
6d | Natural Gas Prices |  | Input prior 3 calendar years of gas prices, using the following zone to hub mappings: APS - Dominion-South DUQ - Tetco M3 PENELEC - Dominion-South PEPCO - Transco-Z5 Dlv PPL - Tetco M3 PSEG - Transco Z6 (NY) AE - Transco Z6 (non-NY) DPL - Transco Z6 (non-NY) BGE - Transco Z6 (non-NY) RECO - Transco-Z6 (NY) MetEd - Tetco M3 PECO - Tetco M3 JCPL - Transco Z6 (non-NY) DOM - Transco-Z5 Dlv AEP - Columbia Appalachia TCO ATSI - Mich Con EKPC - Tenn LA 500 Leg DAY - Mich Con DEOK - Mich Con COMED - Chicago Citygates |  | Input prior 3 calendar years of gas prices scaled using forwards. Status Quo zone to hub mappings, with exception of EKPC to switch to Michcon | Adopt Brattle Recommendation | Forward energy and gas prices. Basis differentials per three years history. Pipeline mapping (see slides)
6e | Emissions allowance cost |  | Current historical approach includes NOx and SO2 allowance costs |  |  | NOx and SO2 allowance costs for all zone escalated to forward delivery year, and CO2 allowance costs for delivery year for zones in RGGI states | CO2 allowances should only be applied in states with RGGI
7 | Method for calculating Net Energy Revenues for the Reference Resource and Net CONE for the RTO |  | Determine Net EAS for Reference Resource using Peak-Hour Dispatch Method against historical-looking hourly PJM RTO LMP and a gas price based on the average of all gas price indices assigned to PJM zones. Determine Net CONE for the RTO by subtracting the calculated Net EAS from the RTO-wide Gross CONE. |  | Determine Net EAS for Reference Resource using Projected EAS Dispatch against forward-looking hourly PJM RTO LMP and a gas price based on the average of all gas price indices assigned to PJM zones. Determine Net CONE for the RTO by subtracting the calculated Net EAS from the RTO-wide Gross CONE. | Adopt Brattle Recommendation | Net CONE for RTO is the lowest zonal Net CONE.
8 | Method for calculating Net CONE for each LDA |  | Determine Net EAS for Reference Resource assumed to be constructed in each zone using Peak-Hour Dispatch against historical-looking zonal LMP and gas price index point for zone. Determine Net CONE for each zone by subtracting the Net EAS determined for each zone from the Gross CONE of the zone. For zonal or sub-zonal LDA, use the Net CONE determined for that zone. For multi-zone LDA, determine the Net CONE as average Net CONE of the zones comprising the LDA. |  | Determine Net EAS for Reference Resource assumed to be constructed in each zone using Projected EAS Dispatch against forward-looking zonal LMP and gas price index point for zone. Determine Net CONE for each zone by subtracting the Net EAS determined for each zone from the Gross CONE of the zone. For zonal or sub-zonal LDA, use the Net CONE determined for that zone. For multi-zone LDA, determine the Net CONE as average Net CONE of the zones comprising the LDA. | Adopt Brattle Recommendation | Net CONE for each LDA is the lowest zonal Net CONE.
9 | Reactive Service |  | Static Reactive Service revenue |  | Status Quo | Status Quo | Currently included $3,350/MW-Yr of reactive capability revenue from the 2020 SOM. Should be updated to $2,648/MW-Yr Reactive revenues should be excluded. Reactive should be part of the capacity market.
10 | Cost Adder for Net Energy & Ancillary Services Offset |  | Current method does not include a 10% adder | CT- 10% uncertainty adder natural gas cost for CTs | CC - Status Quo |  | There is no cost adder.
11 | VRR Curve Shape - System |  | Point a) quantity = IRM - 1.2%, price = greater (CONE or 1.5*Net CONE) Point b) quantity = IRM + 1.9%, price = 0.75*Net CONE Point c) quantity = IRM + 7.8%, price = 0 |  | Point a) quantity = Reliability Requirement (RR) - 1% (currently equivalent to IRM - 1.1%), price = greater (CONE or 1.75*Net CONE) Point b) quantity = RR + 1.5% (currently equivalent to IRM + 1.7%), price = 0.75*Net CONE Point c) quantity = RR + 4.5% (currently equivalent to IRM + 5.2%), price = 0 | Adopt Brattle Recommendation | Point a) quantity = IRM - 1.2%, price = greater (CONE or 1.5*Net CONE) Point b) quantity = IRM + 0.95%, price = 0.75*Net CONE Point c) quantity = IRM + 3.9%, price = 0
12 | VRR Curve Shape - Local |  | (same as curve shape for the system) |  | Status Quo | Status Quo | (same formula as IMM proposed curve shape for the system)
13 | Use of bonus depreciation in Gross CONE escalation |  | Apply an additional gross up of 1.022 for CT and 1.025 for CC to account for declining bonus depreciation schedule beginning in 2023 |  | Just for the 2027/2028 BRA, apply an additional gross up of 1.017 for CT and 1.021 for CC to account for declining bonus depreciation schedule. No further gross up for subsequent auctions. |  | IMM only calculated Gross CONE for the 2026/2027 capacity year.
14 | Financial Assumptions
14a | Peer Group considered |  | Companies publically available in 2018 report and memo |  | Companies publically available in 2022 report | Adopt Brattle Recommendation | No peer group consideration.
14b | Debt to Equity ratio |  | 55/45 |  | Status Quo | Status Quo | 55/45
14c | Debt Rate |  | 6% |  | 4.7% | Adopt Brattle Recommendation | 4.7%
14d | Equity Rate |  | 13% |  | 13.6% | Adopt Brattle Recommendation | 13.6%
14e | ATWACC |  | ATWACC = 8.2% |  | 8% | Adopt Brattle Recommendation | 8%
14f | Economic Life |  | 20 Years |  | Status Quo | Status Quo | 20 years
14g | Fixed O&M Escalation |  | 2.2% |  | 2.9% | Adopt Brattle Recommendation | 2%
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attribute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
MIC Special Session
Quadrennial Review of VRR Curve Parameters
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
MIC Special Session
Quadrennial Review of VRR Curve Parameters
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Quadrennial Review of VRR Curve Parameters
PACKAGE / PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C | D
1 | Reference Resource Technology for purpose of VRR Curve |  | Combustion Turbine (CT) GE Frame 7HA: • Configuration: single unit • Net Summer ICAP: 320 MW • Power Augmentation: evaporative cooling • Environmental Controls: selective catalytic reduction (SCR) technology in all CONE areas • dual fuel capability in all CONE areas • heat rate @ 9,134 Btu/kWh • variable O&M @ $6.93/MWh | Combined Cycle - GE 7HA.02(CT), ST F-A650(ST): • Configuration: Double Train 1x1 Single Shaft • Net Summer ICAP(without Duct Firing): 1,030 MW • Net Summer ICAP (with Duct Firing): 1,156 MW • Power Augmentation: evaporative cooling • Cooling System: dry air cooled • Environmental Controls: selective catalytic reduction (SCR) technology in all CONE areas • firm gas transportation in all CONE areas • heat rate @ 6,369 Btu/kWh without duct firing • heat rate @ 6,604 Btu/kWh with duct firing • variable O&M @ $2.10/MWh | Brattle Recommendation, but for: • potential for firm gas transportation • Short Run Marginal Cost (water, sewer, chemicals, lubricants) @ $0.62/MWh | Combined Cycle - GE 7HA.02(CT), ST F-A650(ST): • Configuration: Double Train 1x1 Single Shaft • Net Summer ICAP(without Duct Firing): 1,030 MW • Net Summer ICAP (with Duct Firing): 1,156 MW • Power Augmentation: evaporative cooling • Cooling System: dry air cooled • Environmental Controls: selective catalytic reduction (SCR) technology in all CONE areas • firm gas transportation in all CONE areas • heat rate @ 6,369 Btu/kWh without duct firing • heat rate @ 6,604 Btu/kWh with duct firing • variable O&M @ $2.10/MWh | Status Quo
2 | Gross CONE for purpose of VRR Curve |  | Update CONE values for 22/23 BRA ($/MW-year): (MM in VOM) CONE Area 1: $108,000 CONE Area 2: $109,700 CONE Area 3: $105,500 CONE Area 4: $105,500 | Update CONE values for 26/27 BRA (MM in VOM) ($/MW-year ICAP): CONE Area 1: $182,700 CONE Area 2: $178,700 CONE Area 3: $183,100 CONE Area 4: $184,500 ($/MW-day UCAP) CONE Area 1: $517 CONE Area 2: $506 CONE Area 3: $516 CONE Area 4: $517 | Update CONE values for 26/27 BRA (non firm gas, MM in Gross CONE) ($/MW-year ICAP): CONE Area 1: $173,743 CONE Area 2: $165,602 CONE Area 3: $164,469 CONE Area 4: $160,969 Update CONE values for 26/27 BRA (firm gas, MM in Gross CONE) ($/MW-year ICAP): CONE Area 1: $181,779 CONE Area 2: $177,390 CONE Area 3: $179,334 CONE Area 4: $170,325 | Update CONE values for 26/27 BRA (MM in VOM) ($/MW-year ICAP): CONE Area 1: $182,700 CONE Area 2: $178,700 CONE Area 3: $183,100 CONE Area 4: $184,500 ($/MW-day UCAP) CONE Area 1: $517 CONE Area 2: $506 CONE Area 3: $516 CONE Area 4: $517 | Status Quo, updated for 26/27
3 | Index used for Gross CONE escalation |  | For CT, a composite BLS Index of the BLS Quarterly Census of Employment and Wages for Utility System Construction (weighted 20%), the BLS Producer Price Index for Construction Materials and Components (weighted 55%), and the BLS Producer Price Index Turbines and Turbine Generator Sets (weighted 25%). | For CC, a composite BLS Index of the BLS Quarterly Census of Employment and Wages for Utility System Construction (weighted 40%), the BLS Producer Price Index for Construction Materials and Components (weighted 45%), and the BLS Producer Price Index Turbines and Turbine Generator Sets (weighted 15%). | 2.0% escalation | For CC, a composite BLS Index of the BLS Quarterly Census of Employment and Wages for Utility System Construction (weighted 40%), the BLS Producer Price Index for Construction Materials and Components (weighted 45%), and the BLS Producer Price Index Turbines and Turbine Generator Sets (weighted 15%). | For CC, a composite BLS Index of the BLS Quarterly Census of Employment and Wages for Utility System Construction (weighted 40%), the BLS Producer Price Index for Construction Materials and Components (weighted 45%), and the BLS Producer Price Index Turbines and Turbine Generator Sets (weighted 15%). | 291.5068
4 | RTO-Wide Gross CONE |  | Use average Gross CONE of the four CONE Areas | Status Quo | Lowest CONE Area Gross CONE | Status Quo | Status Quo
5 | Simulation Method for calculating Net Energy Revenues for the Reference Resource |  | Peak-Hour Dispatch Method: For CT, Peak-Hour Dispatch: Economic commitment of Reference Resource considered for four distinct blocks of four hours of continuous output for each block, for the 16-hour peak-hour period, beginning with hour ending 0800 EPT through to the hour ending 2300 EPT of each day | Optimized Method: Projected EAS Dispatch, defined as simulated dispatch with the objective of committing and dispatching a resource for the purpose of maximizing its net energy and ancillary services revenues, subject to operating parameters and cost of the resource | Forward looking EAS using simulated dispatch at cost-based offers, no 10 percent adder, using PLS parameters. | Optimized Method: Projected EAS Dispatch, defined as simulated dispatch with the objective of committing and dispatching a resource for the purpose of maximizing its net energy and ancillary services revenues, subject to operating parameters and cost of the resource | Status Quo
6 | Net Energy and Ancillary Services Revenue Offset Input Data Time Horizon |  | Historical-looking inputs (additional details below) | Forward-looking inputs (additional details below) | Forward-looking inputs (additional details below) | Status Quo | Status Quo
6a | Energy |  | Input prior 3 calendar years of LMP | Input prior 3 calendar years of LMP scaled using forward LMPs for the Delivery Year. Caculate revenues using Projected EAS Dispatch. | Forward energy and gas prices. Basis differentials per three years history. | Status Quo | Status Quo
6b | Regulation |  | N/A | Remove Regulation from Projected EAS Dispatch. | Do not include regulation revenues. | Status Quo | Status Quo
6c | Sync & Non-sync Reserves |  | N/A | Inputs historical hourly sync and non-sync reserve prices scaled by forward energy prices. Caculate revenues using Projected EAS Dispatch. | none | Status Quo | Status Quo
6d | Natural Gas Prices |  | Input prior 3 calendar years of gas prices, using the following zone to hub mappings: APS - Dominion-South DUQ - Tetco M3 PENELEC - Dominion-South PEPCO - Transco-Z5 Dlv PPL - Tetco M3 PSEG - Transco Z6 (NY) AE - Transco Z6 (non-NY) DPL - Transco Z6 (non-NY) BGE - Transco Z6 (non-NY) RECO - Transco-Z6 (NY) MetEd - Tetco M3 PECO - Tetco M3 JCPL - Transco Z6 (non-NY) DOM - Transco-Z5 Dlv AEP - Columbia Appalachia TCO ATSI - Mich Con EKPC - Tenn LA 500 Leg DAY - Mich Con DEOK - Mich Con COMED - Chicago Citygates | Input prior 3 calendar years of gas prices scaled using forwards. Status Quo zone to hub mappings, with exception of EKPC to switch to Michcon | Forward energy and gas prices. Basis differentials per three years history. Pipeline mapping (see slides) | Status Quo | Status Quo
6e | Emissions allowance cost |  | Current historical approach includes NOx and SO2 allowance costs | NOx and SO2 allowance costs for all zone escalated to forward delivery year, and CO2 allowance costs for delivery year for zones in RGGI states | CO2 allowances should only be applied in states with RGGI | Status Quo | Status Quo
7 | Method for calculating Net Energy Revenues for the Reference Resource and Net CONE for the RTO |  | Determine Net EAS for Reference Resource using Peak-Hour Dispatch Method against historical-looking hourly PJM RTO LMP and a gas price based on the average of all gas price indices assigned to PJM zones. Determine Net CONE for the RTO by subtracting the calculated Net EAS from the RTO-wide Gross CONE. | Determine Net EAS for Reference Resource using Projected EAS Dispatch against forward-looking hourly PJM RTO LMP and a gas price based on the average of all gas price indices assigned to PJM zones. Determine Net CONE for the RTO by subtracting the calculated Net EAS from the RTO-wide Gross CONE. | Net CONE for RTO is the lowest zonal Net CONE. | Determine Net EAS for Reference Resource using Projected EAS Dispatch against forward-looking hourly PJM RTO LMP and a gas price based on the average of all gas price indices assigned to PJM zones. Determine Net CONE for the RTO by subtracting the calculated Net EAS from the RTO-wide Gross CONE. | Determine Net EAS for Reference Resource using Projected EAS Dispatch against forward-looking hourly PJM RTO LMP and a gas price based on the average of all gas price indices assigned to PJM zones. Determine Net CONE for the RTO by subtracting the calculated Net EAS from the RTO-wide Gross CONE.
8 | Method for calculating Net CONE for each LDA |  | Determine Net EAS for Reference Resource assumed to be constructed in each zone using Peak-Hour Dispatch against historical-looking zonal LMP and gas price index point for zone. Determine Net CONE for each zone by subtracting the Net EAS determined for each zone from the Gross CONE of the zone. For zonal or sub-zonal LDA, use the Net CONE determined for that zone. For multi-zone LDA, determine the Net CONE as average Net CONE of the zones comprising the LDA. | Determine Net EAS for Reference Resource assumed to be constructed in each zone using Projected EAS Dispatch against forward-looking zonal LMP and gas price index point for zone. Determine Net CONE for each zone by subtracting the Net EAS determined for each zone from the Gross CONE of the zone. For zonal or sub-zonal LDA, use the Net CONE determined for that zone. For multi-zone LDA, determine the Net CONE as average Net CONE of the zones comprising the LDA. | Net CONE for each LDA is the lowest zonal Net CONE. | Determine Net EAS for Reference Resource assumed to be constructed in each zone using Projected EAS Dispatch against forward-looking zonal LMP and gas price index point for zone. Determine Net CONE for each zone by subtracting the Net EAS determined for each zone from the Gross CONE of the zone. For zonal or sub-zonal LDA, use the Net CONE determined for that zone. For multi-zone LDA, determine the Net CONE as average Net CONE of the zones comprising the LDA. | Determine Net EAS for Reference Resource assumed to be constructed in each zone using Projected EAS Dispatch against forward-looking zonal LMP and gas price index point for zone. Determine Net CONE for each zone by subtracting the Net EAS determined for each zone from the Gross CONE of the zone. For zonal or sub-zonal LDA, use the Net CONE determined for that zone. For multi-zone LDA, determine the Net CONE as average Net CONE of the zones comprising the LDA.
9 | Reactive Service |  | Static Reactive Service revenue | Status Quo | Currently included $3,350/MW-Yr of reactive capability revenue from the 2020 SOM. Should be updated to $2,648/MW-Yr Reactive revenues should be excluded. Reactive should be part of the capacity market. | Status Quo | Status Quo
10 | Cost Adder for Net Energy & Ancillary Services Offset |  | Current method does not include a 10% adder | CC - Status Quo | There is no cost adder. | CC - Status Quo | CC - Status Quo
11 | VRR Curve Shape - System |  | Point a) quantity = IRM - 1.2%, price = greater (CONE or 1.5*Net CONE) Point b) quantity = IRM + 1.9%, price = 0.75*Net CONE Point c) quantity = IRM + 7.8%, price = 0 | Point a) quantity = Reliability Requirement (RR) - 1% (currently equivalent to IRM - 1.1%), price = greater (Gross CONE or 1.75*Net CONE) Point b) quantity = RR + 1.5% (currently equivalent to IRM + 1.7%), price = 0.75*Net CONE Point c) quantity = RR + 4.5% (currently equivalent to IRM + 5.2%), price = 0 | Point a) quantity = IRM - 1.2%, price = greater (Gross CONE or 1.5*Net CONE) Point b) quantity = IRM + 0.95%, price = 0.75*Net CONE Point c) quantity = IRM + 3.9%, price = 0 | Point a) quantity = Reliability Requirement (RR) - 1% (currently equivalent to IRM - 1.1%), price = greater (Gross CONE or 1.75*Net CONE) Point b) quantity = RR + 1.5% (currently equivalent to IRM + 1.7%), price = 0.75*Net CONE Point c) quantity = RR + 4.5% (currently equivalent to IRM + 5.2%), price = 0 | Point a) quantity = Reliability Requirement (RR) - 1% (currently equivalent to IRM - 1.1%), price = greater (Gross CONE or 1.75*Net CONE) Point b) quantity = RR + 1.5% (currently equivalent to IRM + 1.7%), price = 0.75*Net CONE Point c) quantity = RR + 4.5% (currently equivalent to IRM + 5.2%), price = 0 |  | Low
12 | VRR Curve Shape - Local |  | (same as curve shape for the system) | Status Quo | (same formula as IMM proposed curve shape for the system) | Status Quo | Status Quo |  | Low - Medium
13 | Use of bonus depreciation in Gross CONE escalation |  | Apply an additional gross up of 1.022 for CT and 1.025 for CC to account for declining bonus depreciation schedule beginning in 2023 | Just for the 2027/2028 BRA, apply an additional gross up of 1.017 for CT and 1.021 for CC to account for declining bonus depreciation schedule. No further gross up for subsequent auctions. | IMM only calculated Gross CONE for the 2026/2027 capacity year. | Just for the 2027/2028 BRA, apply an additional gross up of 1.017 for CT and 1.021 for CC to account for declining bonus depreciation schedule. No further gross up for subsequent auctions. | Just for the 2027/2028 BRA, apply an additional gross up of 1.017 for CT and 1.021 for CC to account for declining bonus depreciation schedule. No further gross up for subsequent auctions. |  | Low - High
14 | Financial Assumptions | [7 empty] | Medium
14a | Peer Group considered |  | Companies publically available in 2018 report and memo | Companies publically available in 2022 report | No peer group consideration. | Companies publically available in 2022 report | Companies publically available in 2022 report
14b | Debt to Equity ratio |  | 55/45 | Status Quo | Status Quo | Status Quo | Status Quo
14c | Debt Rate |  | 6% | 4.7% | 4.7% | 4.7% | 4.7%
14d | Equity Rate |  | 13% | 13.6% | 13.6% | 13.6% | 13.6%
14e | ATWACC |  | ATWACC = 8.2% | 8% | 8% | 8% | 8%
14f | Economic Life |  | 20 Years | Status Quo | Status Quo | Status Quo | Status Quo
14g | Fixed O&M Escalation |  | 2.2% | 2.9% | 2% | 2.9% | 2.9%
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
MIC Special Session
Quadrennial Review of VRR Curve Parameters
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
MIC Special Session
Quadrennial Review of VRR Curve Parameters
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
MIC Special Session
Quadrennial Review of VRR Curve Parameters
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3