## New Allocation
Bergen - Linden Double Circuit 345 kV Project Configuration
July 8th, 2015
Upgrade ID | Backbone / Necessary LVF ? | Single Zone Allocation ? | Description | Cost Estimate ($M) | Trans Owner | AEC | AEP | APS | ATSI | BGE | ComEd | Coned | Dayton | DEOK | DL | Dominion | DPL | ECP | EKPC | HTP | JCPL | ME | Neptune | PECO | PENELEC | PEPCO | PPL | PSEG | RE | UGI | AEC | AEP | APS | ATSI | BGE | ComEd | Coned | Dayton | DEOK | DL | Dominion | DPL | ECP | EKPC | HTP | JCPL | ME | Neptune | PECO | PENELEC | PEPCO | PPL | PSEG | RE | UGI
b2436.10_DFAX_Allocation | No | No | Convert the Bergen - Marion 138 kV path to double circuit 345 kV and associated substation upgrades. (50% of allocation based on DFAX) | 77.165 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 93% | 0% | 0% | 0% | 0% | 0% | 5.761% | 0% | 0.2452% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.9606% | 0.0379% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 71.7601 | 0 | 0 | 0 | 0 | 0 | 4.4452 | 0 | 0.1892 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.74126 | 0.029248 | 0
b2436.10_Load_Ratio_Share_Allocation | Yes | No | Convert the Bergen - Marion 138 kV path to double circuit 345 kV and associated substation upgrades. (50% of allocation based on load ratio share) | 77.165 | PSEG | 1.53% | 15.32% | 5.87% | 7.76% | 4.18% | 12.38% | 0.57% | 2.01% | 3.21% | 1.69% | 12.42% | 2.43% | 0.2% | 2.15% | 0.2% | 3.54% | 1.77% | 0.42% | 5.18% | 1.92% | 3.98% | 5.05% | 5.97% | 0.25% | 0% | 1.1806 | 11.8217 | 4.5296 | 5.988 | 3.2255 | 9.553 | 0.43984 | 1.551 | 2.477 | 1.3041 | 9.5839 | 1.8751 | 0.15433 | 1.659 | 0.15433 | 2.7316 | 1.3658 | 0.32409 | 3.9971 | 1.4816 | 3.0712 | 3.8968 | 4.6068 | 0.19291 | 0
b2436.21_DFAX_Allocation | No | No | Convert the Marion - Bayonne "L" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on DFAX) | 33.91 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 87.69% | 0% | 0% | 0% | 0% | 0% | 0.5967% | 0% | 11.72% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 29.7343 | 0 | 0 | 0 | 0 | 0 | 0.20236 | 0 | 3.9733 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2436.21_Load_Ratio_Share_Allocation | Yes | No | Convert the Marion - Bayonne "L" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on load ratio share) | 33.91 | PSEG | 1.53% | 15.32% | 5.87% | 7.76% | 4.18% | 12.38% | 0.57% | 2.01% | 3.21% | 1.69% | 12.42% | 2.43% | 0.2% | 2.15% | 0.2% | 3.54% | 1.77% | 0.42% | 5.18% | 1.92% | 3.98% | 5.05% | 5.97% | 0.25% | 0% | 0.51882 | 5.195 | 1.9905 | 2.6314 | 1.4174 | 4.1981 | 0.19329 | 0.68159 | 1.0885 | 0.57308 | 4.2116 | 0.82401 | 0.06782 | 0.72906 | 0.06782 | 1.2004 | 0.60021 | 0.14242 | 1.7565 | 0.65107 | 1.3496 | 1.7125 | 2.0244 | 0.084775 | 0
b2436.22_DFAX_Allocation | No | No | Convert the Marion - Bayonne "C" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on DFAX) | 28.32 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 87.69% | 0% | 0% | 0% | 0% | 0% | 0.5967% | 0% | 11.72% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 24.8329 | 0 | 0 | 0 | 0 | 0 | 0.16898 | 0 | 3.3181 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2436.22_Load_Ratio_Share_Allocation | Yes | No | Convert the Marion - Bayonne "C" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on load ratio share) | 28.32 | PSEG | 1.53% | 15.32% | 5.87% | 7.76% | 4.18% | 12.38% | 0.57% | 2.01% | 3.21% | 1.69% | 12.42% | 2.43% | 0.2% | 2.15% | 0.2% | 3.54% | 1.77% | 0.42% | 5.18% | 1.92% | 3.98% | 5.05% | 5.97% | 0.25% | 0% | 0.4333 | 4.3386 | 1.6624 | 2.1976 | 1.1838 | 3.506 | 0.16142 | 0.56923 | 0.90907 | 0.47861 | 3.5173 | 0.68818 | 0.05664 | 0.60888 | 0.05664 | 1.0025 | 0.50126 | 0.11894 | 1.467 | 0.54374 | 1.1271 | 1.4302 | 1.6907 | 0.0708 | 0
b2436.33 | No | No | Construct a new Bayway - Bayonne 345 kV circuit and any associated substation upgrades | 160.38 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 86.07% | 0% | 0% | 0% | 0% | 0% | 0.2987% | 0% | 13.63% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 138.0465 | 0 | 0 | 0 | 0 | 0 | 0.47899 | 0 | 21.8545 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2436.34 | No | No | Construct a new North Ave - Bayonne 345 kV circuit and any associated substation upgrades | 139.77 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 86.05% | 0% | 0% | 0% | 0% | 0% | 0.3293% | 0% | 13.62% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 120.2691 | 0 | 0 | 0 | 0 | 0 | 0.46021 | 0 | 19.0407 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2436.50 | No | No | Construct a new North Ave - Airport 345 kV circuit and any associated substation upgrades | 80.43 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 85.84% | 0% | 0% | 0% | 0% | 0% | 0.5636% | 0% | 13.59% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 69.0431 | 0 | 0 | 0 | 0 | 0 | 0.45334 | 0 | 10.9335 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2436.60 | No | No | Relocate the underground portion of North Ave - Linden "T" 138 kV circuit to Bayway, convert it to 345 kV, and any associated substation upgrades | 52.75 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 86.19% | 0% | 0% | 0% | 0% | 0% | 0.1599% | 0% | 13.65% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 45.4664 | 0 | 0 | 0 | 0 | 0 | 0.084335 | 0 | 7.1992 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2436.70 | No | No | Construct a new Airport - Bayway 345 kV circuit and any associated substation upgrades | 102 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 86.26% | 0% | 0% | 0% | 0% | 0% | 0.08477% | 0% | 13.66% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 87.9811 | 0 | 0 | 0 | 0 | 0 | 0.086461 | 0 | 13.9325 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2436.81_DFAX_Allocation | No | No | Relocate the overhead portion of Linden - North Ave "T" 138 kV circuit to Bayway, convert it to 345 kV, and any associated substation upgrades. (50% of allocation based on DFAX) | 24.135 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 12.79% | 0% | 0% | 0% | 0% | 0% | 0.02358% | 0% | 6.598% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 77.53% | 3.059% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 3.0878 | 0 | 0 | 0 | 0 | 0 | 0.0056907 | 0 | 1.5923 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.7109 | 0.73828 | 0
b2436.81_Load_Ratio_Share_Allocation | Yes | No | Relocate the overhead portion of Linden - North Ave "T" 138 kV circuit to Bayway, convert it to 345 kV, and any associated substation upgrades. (50% of allocation based on load ratio share) | 24.135 | PSEG | 1.53% | 15.32% | 5.87% | 7.76% | 4.18% | 12.38% | 0.57% | 2.01% | 3.21% | 1.69% | 12.42% | 2.43% | 0.2% | 2.15% | 0.2% | 3.54% | 1.77% | 0.42% | 5.18% | 1.92% | 3.98% | 5.05% | 5.97% | 0.25% | 0% | 0.36927 | 3.6975 | 1.4167 | 1.8729 | 1.0088 | 2.9879 | 0.13757 | 0.48511 | 0.77473 | 0.40788 | 2.9976 | 0.58648 | 0.04827 | 0.5189 | 0.04827 | 0.85438 | 0.42719 | 0.10137 | 1.2502 | 0.46339 | 0.96057 | 1.2188 | 1.4409 | 0.060338 | 0
b2436.83_DFAX_Allocation | No | No | Convert the Bayway - Linden "Z" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on DFAX) | 24.135 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 12.8% | 0% | 0% | 0% | 0% | 0% | 0.02358% | 0% | 6.599% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 77.52% | 3.059% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 3.0893 | 0 | 0 | 0 | 0 | 0 | 0.0056907 | 0 | 1.5927 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.7091 | 0.7382 | 0
b2436.83_Load_Ratio_Share_Allocation | Yes | No | Convert the Bayway - Linden "Z" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on load ratio share) | 24.135 | PSEG | 1.53% | 15.32% | 5.87% | 7.76% | 4.18% | 12.38% | 0.57% | 2.01% | 3.21% | 1.69% | 12.42% | 2.43% | 0.2% | 2.15% | 0.2% | 3.54% | 1.77% | 0.42% | 5.18% | 1.92% | 3.98% | 5.05% | 5.97% | 0.25% | 0% | 0.36927 | 3.6975 | 1.4167 | 1.8729 | 1.0088 | 2.9879 | 0.13757 | 0.48511 | 0.77473 | 0.40788 | 2.9976 | 0.58648 | 0.04827 | 0.5189 | 0.04827 | 0.85438 | 0.42719 | 0.10137 | 1.2502 | 0.46339 | 0.96057 | 1.2188 | 1.4409 | 0.060338 | 0
b2436.84_DFAX_Allocation | No | No | Convert the Bayway - Linden "W" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on DFAX) | 23.845 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 65.97% | 0% | 0% | 0% | 0% | 0% | 0.0237% | 0% | 34.01% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 15.7305 | 0 | 0 | 0 | 0 | 0 | 0.0056522 | 0 | 8.1089 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2436.84_Load_Ratio_Share_Allocation | Yes | No | Convert the Bayway - Linden "W" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on load ratio share) | 23.845 | PSEG | 1.53% | 15.32% | 5.87% | 7.76% | 4.18% | 12.38% | 0.57% | 2.01% | 3.21% | 1.69% | 12.42% | 2.43% | 0.2% | 2.15% | 0.2% | 3.54% | 1.77% | 0.42% | 5.18% | 1.92% | 3.98% | 5.05% | 5.97% | 0.25% | 0% | 0.36483 | 3.6531 | 1.3997 | 1.8504 | 0.99672 | 2.952 | 0.13592 | 0.47928 | 0.76542 | 0.40298 | 2.9615 | 0.57943 | 0.04769 | 0.51267 | 0.04769 | 0.84411 | 0.42206 | 0.10015 | 1.2352 | 0.45782 | 0.94903 | 1.2042 | 1.4235 | 0.059612 | 0
b2436.85_DFAX_Allocation | No | No | Convert the Bayway - Linden "M" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on DFAX) | 23.845 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 65.97% | 0% | 0% | 0% | 0% | 0% | 0.0237% | 0% | 34.01% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 15.7305 | 0 | 0 | 0 | 0 | 0 | 0.0056522 | 0 | 8.1089 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2436.85_Load_Ratio_Share_Allocation | Yes | No | Convert the Bayway - Linden "M" 138 kV circuit to 345 kV and any associated substation upgrades. (50% of allocation based on load ratio share) | 23.845 | PSEG | 1.53% | 15.32% | 5.87% | 7.76% | 4.18% | 12.38% | 0.57% | 2.01% | 3.21% | 1.69% | 12.42% | 2.43% | 0.2% | 2.15% | 0.2% | 3.54% | 1.77% | 0.42% | 5.18% | 1.92% | 3.98% | 5.05% | 5.97% | 0.25% | 0% | 0.36483 | 3.6531 | 1.3997 | 1.8504 | 0.99672 | 2.952 | 0.13592 | 0.47928 | 0.76542 | 0.40298 | 2.9615 | 0.57943 | 0.04769 | 0.51267 | 0.04769 | 0.84411 | 0.42206 | 0.10015 | 1.2352 | 0.45782 | 0.94903 | 1.2042 | 1.4235 | 0.059612 | 0
b2436.90_DFAX_Allocation | No | No | Relocate Farragut - Hudson "B" and "C" 345 kV circuits to Marion 345 kV and any associated substation upgrades. (50% of allocation based on DFAX) | 19.125 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 99.16% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.04878% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.763% | 0.03011% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 18.964 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0093287 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14592 | 0.0057577 | 0
b2436.90_Load_Ratio_Share_Allocation | Yes | No | Relocate Farragut - Hudson "B" and "C" 345 kV circuits to Marion 345 kV and any associated substation upgrades. (50% of allocation based on load ratio share) | 19.125 | PSEG | 1.53% | 15.32% | 5.87% | 7.76% | 4.18% | 12.38% | 0.57% | 2.01% | 3.21% | 1.69% | 12.42% | 2.43% | 0.2% | 2.15% | 0.2% | 3.54% | 1.77% | 0.42% | 5.18% | 1.92% | 3.98% | 5.05% | 5.97% | 0.25% | 0% | 0.29261 | 2.9299 | 1.1226 | 1.4841 | 0.79943 | 2.3677 | 0.10901 | 0.38441 | 0.61391 | 0.32321 | 2.3753 | 0.46474 | 0.03825 | 0.41119 | 0.03825 | 0.67702 | 0.33851 | 0.080325 | 0.99067 | 0.3672 | 0.76118 | 0.96581 | 1.1418 | 0.047813 | 0
b2436.91 | No | Yes | Relocate the Hudson 2 generation to inject into the 345 kV at Marion and any associated upgrades | 23.92 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.92 | 0 | 0
b2437.10 | No | No | New Bergen 345/230 kV transformer and any associated substation upgrades | 29.72 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 89.34% | 0% | 0% | 0% | 0% | 0% | 5.577% | 0% | 1.074% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 3.861% | 0.1523% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 26.5506 | 0 | 0 | 0 | 0 | 0 | 1.6575 | 0 | 0.31923 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1474 | 0.045274 | 0
b2437.11 | No | No | New Bergen 345/138 kV transformer #1 and any associated substation upgrades | 29.72 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 95.12% | 0% | 0% | 0% | 0% | 0% | 4.88% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 28.2696 | 0 | 0 | 0 | 0 | 0 | 1.4504 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2437.20 | No | No | New Bayway 345/138 kV transformer #1 and any associated substation upgrades | 15.27 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0.3245% | 0% | 0% | 0% | 0% | 0% | 0.03155% | 0% | 3.269% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 92.72% | 3.658% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0.049545 | 0 | 0 | 0 | 0 | 0 | 0.0048174 | 0 | 0.49914 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.1579 | 0.55863 | 0
b2437.21 | No | No | New Bayway 345/138 kV transformer #2 and any associated substation upgrades | 15.27 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 0.1549% | 0% | 0% | 0% | 0% | 0% | 0.01511% | 0% | 2.906% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 93.25% | 3.679% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0.02365 | 0 | 0 | 0 | 0 | 0 | 0.0023068 | 0 | 0.44372 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.2385 | 0.56181 | 0
b2437.30 | No | No | New Linden 345/230 kV transformer and any associated substation upgrades | 24.91 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 19.61% | 0% | 0% | 0% | 0% | 0% | 0.251% | 0% | 8.434% | 0% | 0% | 0.05106% | 0% | 0% | 0% | 0% | 68.93% | 2.72% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 4.886 | 0 | 0 | 0 | 0 | 0 | 0.062529 | 0 | 2.1009 | 0 | 0 | 0.012718 | 0 | 0 | 0 | 0 | 17.1703 | 0.67749 | 0
b2437.33 | No | Yes | New Bayonne 345/69 kV transformer and any associated substation upgrades | 16.9 | PSEG | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 16.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | TOTAL COST ESTIMATE ($M) | 1200 | [26 empty] | 3.8935 | 38.9863 | 14.938 | 19.7476 | 10.6373 | 31.5046 | 721.8654 | 5.115 | 8.1688 | 4.3007 | 31.6064 | 6.1839 | 10.0891 | 5.4713 | 103.7251 | 9.0086 | 4.5043 | 1.0815 | 13.1821 | 4.886 | 10.1283 | 12.8512 | 124.1338 | 3.9909 | 0

## Legend
SHORT NAME | FULL NAME
AEC | Atlantic City Electric Company
AEP | AEP East Zone
APS | Allegheny Power
ATSI | American Transmission Systems, Incorporated
BGE | Baltimore Gas and Electric Company
ComEd | Commonwealth Edison Company
ConEd | Consolidated Edison Company
Dayton | The Dayton Power and Light Company
DEOK | Duke Energy Ohio, Inc. and Duke Energy Kentucky, Inc.
DL | Duquesne Light Company
Dominion | Virginia Electric and Power Company
DPL | Delmarva Power and Light Company
ECP | East Coast Power, LLC
EKPC | East Kentucky Power Cooperative, Inc.
HTP | Hudson Transmission Partners, LLC
JCPL | Jersey Central Power and Light Company
ME | Metropolitan Edison Company
NEPTUNE | Neptune Regional Transmission System, LLC
PECO | PECO Energy Company
PENELEC | Pennsylvania Electric Company
PEPCO | Potomac Electric Power Company
PPL | PPL Electric Utilities Corporation
PSEG | Public Service Electric and Gas Company
RE | Rockland Electric Company
UGI | UGI Utilities, Inc.