## Open Questions
Question Created Date | Question Created By | Title | Body
2020-09-16 | LS Power | LS Power requested that PJM perform DFAX analysis | LS Power requested that PJM perform DFAX analysis for the AEP-2018-OH008 solution as discussed during the Subregional RTEP-West Region meeting on September 11, 2020
2020-09-16 | LS Power | LS Power requests that PJM perform DFAX analysis | LS Power requests that PJM perform DFAX analysis to determine the DFAX for the two lines added to the Dominion appendix (Fudge Hollow – AEP Interconnect 138kV, and Chesterfield – Brown Boveri Tap 115kV) as indicated in the presentation to the Subregional RTEP-South Region meeting on September 10, 2020 at the following link (https://www.pjm.com/-/media/committees-groups/committees/srrtep-s/2020/20200910/20200910-dominion-local-planning-assumptions-2020.ashx)