## 2022-2023 M2M Congestion
2022 + 2023 PJM-MISO M2M Historical Congestion PRELIMINARY
Monitored Facility | Flowgate Description | PJM Total Congestion ($) | MISO Total Congestion ($) | Total PJM+MISO Congestion ($, sorted by absolute value)
Prest-Tibb 138kV | Prest-Tibb 138kV l/o AMO13050 NewBourbon-StFrancois 138kV | -15219.2 | 570137.22 | 90605072.45
Prest-Tibb 138kV | Prest-Tibb 138kV l/o CMDR 345/230kV | -87278.4 | 692259.83
Prest-Tibb 138kV | Prest-Tibb 138kV l/o NewBourbon-SMNY 138kV | 252213.4 | 577123.85
Prest-Tibb 138kV | Prest-Tibb 138kV l/o PrairieState-W.Mt. Vernon 345kV | 37072335.4 | 51360184.35
Prest-Tibb 138kV | Prest-Tibb 138kV l/o St.Francis-Lutesville 345kV | 183316 | 0
E.Goose Creek-Maroa 345kV | E.Goose Creek-Maroa 345kV l/o Dumont-WiltonCenter 765kV | 27969503.6 | 17332084.28 | 69457905.61
E.Goose Creek-Maroa 345kV | E.Goose Creek-Maroa 345kV l/o Faraday-Arlond 345kV | 2053179 | 224990.93
E.Goose Creek-Maroa 345kV | E.Goose Creek-Maroa 345kV l/o Faraday-Kansas 345kV | 12831409 | 8489666.13
E.Goose Creek-Maroa 345kV | E.Goose Creek-Maroa 345kV l/o Holland-Neoga 345kV | 453386.8 | 103685.87
LafayetteSouth-Shadeland 138kV | LafayetteSouth-Shadeland 138kV l/o Westwood-NW Tap 138kV | 5444114.8 | 58274140.65 | 63718255.45
Lallendorf-Monroe 345kV | Lallendorf-Monroe 345kV l/o AllenJct-Morocco 345kV | 14070369 | 23251274.49 | 45063329.63
Lallendorf-Monroe 345kV | Lallendorf-Monroe 345kV l/o Lemoyne-Majestic 345kV | 299031.8 | 736544.33
Lallendorf-Monroe 345kV | Lallendorf-Monroe 345kV l/o LuluSub 345kV | 4273225.4 | 0
Lallendorf-Monroe 345kV | Monroe_Lallendorf_345kVfloMoroc_Monroe_Milan345kV | 0 | 2432884.61
Nucor-Whitestown 345kV | Nucor-Whitestown 345kV l/o Dresser-SugarCreek 345kV | 7255714 | 16221767.43 | 42093523.48
Nucor-Whitestown 345kV | Nucor-Whitestown 345kV l/o Jefferson-Rockport 765kV | 13755598 | 4860444.05
Chicago to Praxair 138kV | 13831ChicagoAve_Praxair3_flo_Burnham_Munster | 0 | 1423690.27 | 32679361.23
Chicago to Praxair 138kV | Chicago_Praxair_13831_flo_WiltonCenter_Dumont765 | 0 | 31255670.96
CayugaStarbus T9 345/230kV | CayugaStarbus T9 345/230kV l/o Cayuga T10 345/230kV | -7051811 | 19987985.7 | 26594395.44
CayugaStarbus T9 345/230kV | CayugaStarbus T9 345/230kV l/o Cayuga-Nucor 345kV | 773122.2 | 0
CayugaStarbus T9 345/230kV | CayugaStarbus T9 345/230kV l/o Dresser-SugarCreek 345kV | -355818 | 13240916.54
Cayuga-Hilsdale 230kV | Cayuga-HillsdaleN 230kV l/o Dresser-SugarCreek 345kV | 552852.8 | 25394188.07 | 26473867.09
Cayuga-Hilsdale 230kV | Cayuga-HillsdaleN 230kV l/o Nuccor-Cayuga 345kV | -51760.4 | 578586.62
Weedman-Mahomet 138kV | Weedman-Mahomet 138kV l/o Clinton-Orean 138kV | 12879907 | 0 | 26406724.99
Weedman-Mahomet 138kV | Weedman-Mahomet 138kV l/o Clinton-Oreana-Goosecrk 345kV | -1470579.2 | 12721504.17
Weedman-Mahomet 138kV | Weedman-Mahomet 138kV l/o Pontiac-Dresden 345kV | -231505.8 | 219248.74
Weedman-Mahomet 138kV | Weedman-Mahomet 138kV l/o Pontiac-Mclean 345kV | 501597 | 1786553.08
TurkeyHill-Mascouta 138kV | TurkeyHill-Mascouta 138kV l/o Coffeen-Roxford 345kV | 43131.8 | 44979.73 | 23976239.72
TurkeyHill-Mascouta 138kV | TurkeyHill-Mascouta 138kV l/o PrairieState-MtVernon 345kV | 8219418 | 15668710.19
TurkeyHill-Hilgard 138kV | TurkeyHill-Hilgard 138kV l/o PrairieState-Mt.Vernon 345kV | 7986147.2 | 15510567.89 | 23496715.09
Crete-St.John 345kV | Crete-St.John 345kV | 162735 | 744377.08 | 20235768.3
Crete-St.John 345kV | Crete-StJohn 345kV l/o Burnham-Munster 345kV | 3526207 | 610694.14
Crete-St.John 345kV | Crete-StJohn 345kV l/o Dumont-WiltonCenter 765kV | 5281403 | 9910352.08
Austin-Taylor 138kV | Austin-Taylor 138kV l/o Pana-Austin 345kV | 11261428.6 | 8170349.12 | 19431777.72
Chrysler-Maple 138kV | Chrysler-Maple 138kV l/o Greentown-Delco 138kV | -5469644.6 | 19293460.2 | 15492243.74
Chrysler-Maple 138kV | Chrysler-Maple 138kV l/o Kokomohighlandpark-Delco 138kV | -162177.8 | 952808.68
Chrysler-Maple 138kV | Chrysler-Maple 138kV l/o NewLondon-KokomoHighlandPark 230kV | -960000 | 1444045.64
Chrysler-Maple 138kV | MapleSt_Chrysler13811_flo_Leesburg_Deedsville345kV | 0 | 393751.62
Northwest to Purdue Tap 138kV | Northwest_tap_Purdue_138_flo_Westwood_W_Lafayette_138 | 0 | 15133234.1 | 15133234.1
Mahomet-OCB 1303 138kV | Mahomet_Mahomet_TP_138kV_FLO_Clinton_Oreana_GooseCrk_345kV | 0 | 1381826.4 | 15024873.12
Mahomet-OCB 1303 138kV | Mahomet-OCB 1303 138kV l/o Dumont-WiltonCenter 765kV | 8455667.6 | 5057757.72
Mahomet-OCB 1303 138kV | Mahomet-OCB 1303 138kV l/o Paxton-Gifford 138kV | 94620.4 | 35001
Dumont-Stillwell 345kV | Dumont_Stillwell_345_flo_Dumont_Wilton_Center_765 | 0 | -1330208 | 13153358.31
Dumont-Stillwell 345kV | Dumont-Stillwell 345kV l/o Cook-Dumont 765kV | -61201.8 | 278012
Dumont-Stillwell 345kV | Dumont-Stillwell 345kV l/o Dumont T3 765/345kV | 451296.2 | 0
Dumont-Stillwell 345kV | Dumont-Stillwell 345kV l/o GreenAcres-Olive 345kV | -14937 | -4522
Dumont-Stillwell 345kV | Dumont-Stillwell 345kV l/o WiltonCenter-Dumont 765kV | 7868988 | 5965930.91
MichiganCity-TrailCreek 138kV | MichiganCity-TrailCreek 138kV l/o Bosserman-MichiganCity 138kV | 6645484 | 9301 | 10797783.2
MichiganCity-TrailCreek 138kV | MichiganCity-TrailCreek 138kV l/o WiltonCenter-Dumont 765kV | 1154977 | 733021.08
MichiganCity-TrailCreek 138kV | TrailCreek_MichCity_138_flo_Bosserman_MichCity_138 | 0 | 2255000.12
Lafayette T1 230/138kV | Lafayette T1 230/138kV l/o Lafayette T4 138/230kV | 9288119.2 | 462590.97 | 10465538.65
Lafayette T1 230/138kV | Lafayette_138_230_kv_TR1_l_o_Dumont_Sorenson_765_kv | 0 | 135447.99
Lafayette T1 230/138kV | Lafayette_138_230_TR1_flo_Lafayette_138_230_TR4 | 0 | 370826.24
Lafayette T1 230/138kV | Lafayette_138_230_TR1_flo_Sorenson_Marysvil_765kV | 0 | 208554.25
Burnham-Munster 345kV | Burnham_Munster_345_flo_Dumont_Wilton_Center_765 | 0 | 7458605.23 | 10350986.83
Burnham-Munster 345kV | Burnham-Munster 345kV l/o Dumont T3 765/345kV | 2892381.6 | 0
Northwest to West Lafayette 138kv | 08NW_WLAFY_138kV_FLO_CAYUGA_CAYUGA_345 | 0 | 1347391.51 | 9063819.46
Northwest to West Lafayette 138kv | Northwest_Tap_West_Lafayette_138_flo_Rockport_Jefferson_765 | 0 | 178889.96
Northwest to West Lafayette 138kv | Northwest_Tap_West_Lafayette_138_flo_Rockport_Rockportworks_765_ | 0 | 63618.15
Northwest to West Lafayette 138kv | Northwest_tap_WestLafayette138_flo_Springboro_Monticello_13807 | 0 | 4645179.04
Northwest to West Lafayette 138kv | NorthwestTap_WestLafayette138_flo_Cayuga345_230XF9 | 0 | 28515
Northwest to West Lafayette 138kv | NW_Tap_West_Lafayette_138_flo_Reynolds_765_345_xfmr | 0 | 2800225.8
SugarCreek-Dresser 345kV | SugarCreek-Dresser 345kV l/o Cayuga T10 345/230kV | 3637 | 134644 | 9037045.09
SugarCreek-Dresser 345kV | SugarCreek-Dresser 345kV l/o Cayuga-CayugaCT 345kV | 157641.6 | 1053583.79
SugarCreek-Dresser 345kV | SugarCreek-Dresser 345kV l/o Cayuga-Eugene 345kV | 25861.2 | 0
SugarCreek-Dresser 345kV | SugarCreek-Dresser 345kV l/o Nucor Cayuga 345kV | 2477667 | 5184010.5
Joppa-Shawnee 161kV | Joppa_345_S_TAP_161_flo_G_TAP_854_161 | 0 | 1403671.79 | 8352978.48
Joppa-Shawnee 161kV | Joppa-Shawnee 161kV l/o Shawnee T11 500/345kV | 9068.8 | 316308.5
Joppa-Shawnee 161kV | Joppa-Shawnee 3 161kV l/o Joppa-Shawnee 4 161kV | 2029783 | 4594146.39
MiamiFort T9 345/138kV | MiamiFort T9 345/138kV | 157418.6 | 0 | 7827532.49
MiamiFort T9 345/138kV | MiamiFort T9 345/138kV l/o MiamiFort T10 345/138kV | -209502.2 | 398339.26
MiamiFort T9 345/138kV | MiamiFort T9 345/138kV l/o MiamiFort-Terminal 345kV | 1021069 | 27261
MiamiFort T9 345/138kV | MiamiFort T9 345/138kV l/o TannersCreek-Dearborn 345kV | -9510.4 | 0
MiamiFort T9 345/138kV | MiamiFort T9 345/138kV l/o WestMilton-MiamiFort 345kV | 5823874 | 618583.23
St.John-Greenacre 138kV | St.John-Greenacre 138kV l/o St.John-GreenAcre 345kV | -3117474.2 | 1514241.98 | 7189568.26
St.John-Greenacre 138kV | St.John-Greenacre 138kV l/o St.John-Schahfer 345kV | 181213.2 | 0
St.John-Greenacre 138kV | St.John-Greenacre 138kV l/o WiltonCenter-Dumont 765kV | 6498609 | 2112978.28
Tazewell T2 345/138kV | Tazewell T2 345/138kV l/o Loretto-WiltonCenter 345kV | 702.2 | 0 | 7114989.76
Tazewell T2 345/138kV | Tazewell T2 345/138kV l/o MapleRidge-Tazewell 345kV | 873195 | 1359852.01
Tazewell T2 345/138kV | Tazewell T2 345/138kV l/o Nelson-ElectricJct 345kV | 1654429.6 | 2017046.8
Tazewell T2 345/138kV | Tazewell T2 345/138kV l/o Nevada-Goodings 345kV | 180320 | -211583.07
Tazewell T2 345/138kV | Tazewell T2 345/138kV l/o Powerton U6 | 647212 | 470173.21
Tazewell T2 345/138kV | Tazewell_TR2_138_345_Xfmr_flo_Quad_Cities_Sterling_Steel_345 | 0 | 123642.01
Batesville-Hubble 138kV | Batesvil_Hubb_138_flo_EastBend_Terminal_345 | 0 | -111146.88 | 6885361.55
Batesville-Hubble 138kV | Batesville-Hubble 138kV l/o Sorenson-Marysville 765kV | 546284 | 1849201.3
Batesville-Hubble 138kV | Batesville-Hubble 138kV l/o Tannerscreek-Dearborn 345kV | -30906.8 | 59442.59
Batesville-Hubble 138kV | Batesville-Hubble 138kV l/o Tannerscreek-MiamiFort 345kV | 972231.4 | 3600255.94
Gibson Francisco 345kV | Gibson_Francisco_345_flo_Gibson_Abbrown_345 | 0 | 6847627.57 | 6847627.57
Magnetation-Reynolds 138kV | Magnetation-Reynolds 138kV l/o BurrOak-Reynolds 345kV | 4042247.8 | 2760912.85 | 6803160.65
Mt.Vernon-W.Salem 138kV | Mt.Vernon-W.Salem 138kV l/o Coffeen-Roxfd 345 345kV | 440083.2 | 3074655.09 | 6656590.83
Mt.Vernon-W.Salem 138kV | Mt.Vernon-W.Salem 138kV l/o Xenia-Newton 345kV | 593299.2 | 2548553.34
Sub71-Sub88 161kV | Sub71-Sub88 161kV l/o Cordova-Sub 39 345kV | 786326.4 | 5863037.1 | 6649363.5
BlueMound-Butler 138kV | Butler-Bluemound 138kV l/o Arcadian-Granvil 345kV | 1102340.6 | 4558965.4 | 5661306
Delcocin to Kokomops 138kV | DELCOCIN_KOKOMOPS_138_FLO_LEESBURG_DEEDSVIL_345 | 0 | 5555669.81 | 5555669.81
Tanners Creek-Dearborn 345kV | TannersCreek-Dearborn 345kV l/o EastBend-Terminal 345kV | 1962958 | 0 | 5359125.2
Tanners Creek-Dearborn 345kV | TannersCreek-Dearborn 345kV l/o Marysville-Sorenson 765kV | 637648 | 0
Tanners Creek-Dearborn 345kV | TannersCreek-Dearborn 345kV l/o MiamiFort-Terminal 345kV | -228505.6 | 0
Tanners Creek-Dearborn 345kV | TannersCreek-Dearborn 345kV l/o MiamiFort-Woodsdale 345kV | 55453.6 | 0
Tanners Creek-Dearborn 345kV | TannersCreek-Dearborn 345kV l/o TannersCreek-MiamiFort 345kV | 2865511 | 0
Tanners Creek-Dearborn 345kV | TannersCreek-Dearborn 345kV l/o WestMilton-MiamiFort 345kV | 66060.2 | 0
Crescent-OglesbyTap 7713 138kV | Crescent-OglesbyTap 7713 138kV l/o Corbin-Hennepin 138kV | -8.2 | 0 | 4634599.8
Crescent-OglesbyTap 7713 138kV | Crescent-OglesbyTap 7713 138kV l/o Corbin-Oglesby 138kV | 635432 | 0
Crescent-OglesbyTap 7713 138kV | Crescent-OglesbyTap 7713 138kV l/o Hennepin-EKSTap3-HKOK 1556 138kV | 361659 | 0
Crescent-OglesbyTap 7713 138kV | Crescent-OglesbyTap 7713 138kV l/o Kewanee-CrescentRidge 138kV | 6908 | 0
Crescent-OglesbyTap 7713 138kV | Crescent-OglesbyTap 7713 138kV l/o KewaneeEast-Bureau 138kV | 292540.6 | 0
Crescent-OglesbyTap 7713 138kV | Crescent-OglesbyTap 7713 138kV l/o Kewanee-Hennepin 138kV | 3338068.4 | 0
W.Frankfort-E.Frankfort 138kV | W.Frankfort-E.Frankfort 138kV l/o WestFrankfortE-Mt.Vernon 345kV | 3554457.6 | 996202.69 | 4550660.29
Rising T1 345/138kV | Rising T1 345/138kV l/o Faraday-Arland 345kV | 158495 | 158815 | 4023965.06
Rising T1 345/138kV | Rising T1 345/138kV l/o Rising Sidney 345kV | 1003476 | 2703179.06
Greentown T3 765/138kV | Greentown T3 765/138kV l/o Dumont-Sorenson 765kV | -11370579.8 | 7581028.28 | -3789551.52
QuadCities-RockCreek 345kV | QuadCities-RockCreek 345kV l/o Cordova-Sub39 345kV | -35587.2 | -574730.81 | 3429970.7
QuadCities-RockCreek 345kV | QuadCities-RockCreek 345kV l/o MorganValley-Tiffin 345kV | -468.4 | -1851.41
QuadCities-RockCreek 345kV | QuadCities-RockCreek 345kV l/o QuadCities-Sub91 345kV | 803612 | 3238996.52
Duff-Francisco 345kV | Duff-Francisco 345kV l/o Gibson-ABBrown 345kV | 1136194 | 2181693 | 3317887
BayShore T1 345/138kV | BayShore T1 345/138kV | -1178 | 0 | 3264955.69
BayShore T1 345/138kV | BayShore T1 345/138kV l/o FostoriaCentral-Lallendorf 345kV | 1743539 | 1733582.49
BayShore T1 345/138kV | BayShore T1 345/138kV l/o Monroe-Wayne 345kV | -210987.8 | 0
Stillwell T1 345/138kV | Stillwell T1 345/138kV l/o Dumont-Stillwell 345kV | -916644 | 4110610.16 | 3193966.16
Bondville-Rising 138kV | Bondville-Rising 138kV l/o Rising Sidney 345kV | 1364766 | 1790403.7 | 3155169.7
Duneacre-MichiganCity 43 138kV | Duneacre-MichiganCity 43 138kV l/o WiltonCenter-Dumont 765kV | 1641485.8 | 1457011.22 | 3098497.02
Wempletown Transformer | Wempletown_TR_84_xfmr_flo_Cherry_Valley_TR82_xfmr | 0 | 3079503.49 | 3079503.49
GardenPlain-15518 Z1 138kV | GardenPlain 15518 Z1 138kV | -55681 | 0 | 3017638.9
GardenPlain-15518 Z1 138kV | GardenPlain 15518 Z1 138kV l/o H471-Nelson 15504 345kV | 116857 | -2382.45
GardenPlain-15518 Z1 138kV | GardenPlain 15518 Z1 138kV l/o QuadCities-Sub91 345kV | 30569.6 | 0
GardenPlain-15518 Z1 138kV | GardenPlain 15518 Z1 138kV l/o QuadCity-RockCreek 345kV | 489338 | 2438937.75
Champaign-Mohomet 138kV | Champaign-Mohomet 138kV l/o Clinton-Oreana-GooseCrk 345kV | 1602694 | 1292929.28 | 2895623.28
CherryValley-SilverLake 15616 345kV | Cherry Valley-Silver Lake 15616 345kV l/o Byron-Wayne 0626 345kV | 2890534.8 | 0 | 2890534.8
Sheffield Amco | SHEFFLD_AMCO_FLO_WC_DUM | 0 | 2813519.76 | 2813519.76
McCracken to Bryan 161 kV | McCracken_Bryan_161_flo_Shawnee_Marshal_161 | 0 | 2662560.66 | 2662560.66
Marblehead N. Transformer 161kV/138kV | Marblehead_North_161_138_xfmr_flo_Maywood_Herelman_345_kV | 0 | 2490921.72 | 2490921.72
Powerton-Towerline 138kV | Powerton-Towerline 138kV l/o Fargo-Sandburg 345kV | 1490696.6 | 0 | 2300409.6
Powerton-Towerline 138kV | Powerton-Towerline 138kV l/o Hennepin-Kewanee-Streator 138kV | 54000.4 | 0
Powerton-Towerline 138kV | Powerton-Towerline 138kV l/o KewaneeEast-Bureau 138kV | 460663.2 | 0
Powerton-Towerline 138kV | Powerton-Towerline 138kV l/o Kewanee-Putnam 138kV | 295049.4 | 0
Burnham-Sheffield 345kV | Burnham-Sheffield 345kV l/o Dumont-Wilton Center 765kV | 1351805 | 855359 | 2207164
Labadie-GraySummit 1 345kV | Labadie-GraySummit 1 345kV l/o Mason-Wildwood-Labadie 345kV | 1484727.2 | 709663.77 | 2194390.97
MiamiFort T10 345/138kV | MiamiFort T10 345/138kV | 80974.8 | 0 | 1951556.6
MiamiFort T10 345/138kV | MiamiFort T10 345/138kV l/o MiamiFort T9 345/138kV | 1489968 | 1821
MiamiFort T10 345/138kV | MiamiFort T10 345/138kV l/o MiamiFort-Woodsdale 345kV | 378792.8 | 0
Montgomery Labadie 345kV | Montgomery_Labadie_4_345_kV_flo_Belleau_Montgomery_345_kV | 0 | 1699364.1 | 1699364.1
Kewanee 138kV | 74_KEWAN_6101_138_KV_l_o_KewaneeEast_Bureau_138_kV | 0 | 555802.4 | 1652325.99
Kewanee 138kV | 74_KEWAN_6101_138kV_flo_L138_Powerton_Towerline_L1404_Tie_Line | 0 | 10622.36
Kewanee 138kV | Kewanee_6101_138_l_o_Mazon_7713_Crescent_Oglesby_138 | 0 | 356174.83
Kewanee 138kV | Kewanee_Hennepin_1552_flo_Hennepin_Woodhall_1512 | 0 | 729726.4
Paradise BR Tap 161kV | BREC_Paradise_Tap_Paradise_FP_161_kV_flo_Barkly_Princeton_161_kV | 0 | -35470.4 | 1615788.58
Paradise BR Tap 161kV | Paradise_Big_River_Tap_FLO_Wilson1 | 0 | 301668.03
Paradise BR Tap 161kV | Paradise_BR_Tap_161kV_flo_Phipps_Bend_Volunteer_500kV | 0 | 1349590.95
Meridian-Twinbranch 345kV | Meridian-Twinbranch 345kV l/o Dumont-Sorenson 765kV | 1614249 | 0 | 1614249
Westwood-NWTap 06 138kV | Westwood-NWTap 06 138kV l/o Cayuga2-Cayuga3 345kV | -1614796.2 | 0 | -1508136.2
Westwood-NWTap 06 138kV | Westwood-NWTap 06 138kV l/o Dequine-Eugene 345kV | 106660 | 0
Powerton Tazewell 345kV | Powerton_Tazewell_345_FTLO_Dresden_Mulberry_345 | 0 | 1500153.61 | 1500153.61
Stateline Transformer | Stateline_TR82_XFMR_l_o_177_Burnham_150_Calumet_153_Taylor_3 | 0 | 1242215 | 1242215
Grand Mound Maquoketa 161 kV | Grand_Mound_Maquoketa_161_flo_Rock_Creek_Salem_345 | 0 | 1200935.32 | 1200935.32
Bealleau Huster 138kV | BELLEAU_HUSTER_A_138_flo_LABADIE_MONTGOMERY_345 | 0 | 1182299.38 | 1182299.38
Westwood Breaker 345kV/138kV | Westwood_345_138_BK1_flo_Westwood_345_138_BK2 | 0 | 1170141.35 | 1170141.35