## Sheet1
CDS Proposed Topics | Priority | Bucket | Manual Section
Discuss Block load offers and average heat rate – No No-load in incremental cost offer | High | A | 2.1
Include incremental cost curve calculation section into M-15. | High | A | 2.1
Discuss different no load cost calculations | High | A | 2.5
CC Start Cost – how to value MWh produced during CC start | High | B | 2.4
Discuss consistency of start cost parameters and start/notification times | High | B | 2.4
Discuss "additional labor costs" component | Mid | B | 2.4
Discuss CT/Diesels Unit Aggregates (starts) | Low | B | 2.4
Annual VOM Review Process (mechanics of the process) | High | C | 2.6
Should water treatment and controls be allowed in VOM costs? | Low | C | 2.6
Discuss definition of regulation VOM | Low | C | 2.8
Revisit Condensing Costs (VOM, Formula, Definitions) | Mid | C | 6.7
VOM approval coordination between PJM and Market Monitor | High | C | 2.6
Fuel Cost Policy acceptable fuel estimation practices during illiquid conditions | High | D | 2.3
Discuss nonzero cost-based offers for units that are not dispatched / not committed by PJM | Low | D | 2.3
Revisit Pumping Costs | Low | E | 7.1
Discuss need for different Manual 15 sections by unit type | Mid | E | 3;4;5;6;7
Manual 15 Reviews |  | E | All
Discuss various CC Heat Input Options / Modeling |  | E | 5.1
Bucket A - Incremental and no load offer development
Bucket B - Start offer development
Bucket C - VOM development
Bucket D - Fuel Cost Policy
Bucket E - Other