## Setup
Enter Stakeholder Committee Name in cell A2:
Cost Development Subcommittee
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Incremental and No Load Offer Development (Bucket A)

## 1. Interest Identification
Cost Development Subcommittee
Incremental and No Load Offer Development (Bucket A)
Interest Identification
Instructions: List interests of all parties on this page.
1 | Clarify formulas for incremental cost and no load cost in M-15
2 | Apply consistent methodolgy in for cost offer development
3 | Ensure cost offer development is as accurate as possible
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20

## 2. Options Matrix- Design Comp.
Cost Development Subcommittee
Incremental and No Load Offer Development (Bucket A)
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo | Governing Document Section | A | B | C | D | E
* | Implementation
1 | Tariff definitions of No Load Cost and Incremental Offer
1a | Incremental Energy Offer |  | OATT Incremental Energy Offer shall mean offer segments comprised of a pairing of price (in dollars per MWh) and megawatt quantities, which must be a non-decreasing function and taken together produce all of the energy segments above a resource’s Economic minimum. No load Costs are not included in the Incremental Energy Offer. Incremental Energy Cost Offer not defined. Manual 15 The incremental energy cost is the cost per MWh to produce all of the energy segments above the Economic Minimum level (minimum generation level with the unit available for economic dispatch). No-Load Costs are not included in the incremental costs. It is calculated by summing the cost of each segment of energy in the unit’s incremental cost curve up to the generation level. This cost is a dollar per hour ($/MWh) rate. Incremental Energy Cost –The incremental heat or fuel required to produce an incremental MWh at a specific unit loading level multiplied by the applicable Performance Factor, multiplied by the fuel cost plus the appropriate maintenance cost. | OATT (Definitions) M-15, Section 1.7.4 M-15, Section 2.3.4
1b | No Load Cost |  | No load Cost shall mean the hourly cost required to create the starting point of a monotonically increasing incremental offer curve for a generating unit. | OATT (Definitions) M-15, Section 1.7.3
2 | No Load equation definition |  | 1) The initial estimate of a unit’s No-Load Cost ($/Hr) is the No-Load fuel Cost multiplied by the Performance Factor, multiplied by the (Total Fuel-Related Cost (TFRC)) NoLoadCost($/Hour) = (NoLoadFuel*PerformanceFactor*TFRC) Alternative No Load Calculations: 2) NoLoadCost($/Hour) = (EconomicMinimumHeatInput*PerformanceFactor* (TFRC + VOM) − (EconomicMinimumIncrementalCost $/MWℎ *EconomicMinimum MW )) 3) Note that if the unit of Variable Operations and Maintenance (VOM) cost is in terms of dollars per Equivalent Service Hours (ESH), the equation changes to: NoLoadCost($/Hour) = (EconomicMinimumHeadInput*PerformanceFactor*TFRC) + VOM −(EconomicMinimumIncrementalCost($/MWℎ)*EconomicMinimum(MW)) | M-15, Section 2.5.3
2a | No Load rules for Slope Offers |  | Manual 15, Sec 2.5.3 When using the alternative incremental cost method to calculate No-Load Cost, the Market Seller must submit incremental cost and select “Use Offer Slope” when entering cost information into Markets Gateway. | M-15, Section 2.5.3
2b | No Load Rules for Block Offers |  | Manual 15, Sec 2.5.3 When using No-Load Fuel to calculate No-Load Cost, the Market Seller must submit block average cost and cannot select “Use Offer Slope” when entering cost information into Markets Gateway. | M-15, Section 2.5.3
2c | No Load Rules for units using Average Heat Rates |  | Not defined in M15
3 | No Load Fuel (Heat) calculation method |  | All Market Sellers shall develop No-Load Costs for their units. The no-load heat input may be determined by collecting heat input values as a function of output and performing a regression analysis. The heat input values as a function of output may be either created from heat rate test data or the initial design heat input curve for an immature unit. The minimum number of points to develop a heat input curve shall be 2 points for a dispatchable unit with a variable output and 1 point for a unit with a fixed output. Sufficient documentation for each generating unit's no-load point in MMBtu’s (or fuel) per hour shall consist of a single contact person and/or document to serve as a consistent basis for scheduling, operating and accounting applications PJM and the MMU can verify calculation methods used are in accordance with the currently approved Fuel Cost Policy and the elements of Attachment B. | M-15, Section 2.5.2
4 | Incremental Energy Cost
4a | Incremental Offer equation |  | The incremental energy equation is not specified in M15
4b | Slope Offer Rules |  | Not defined in M15
4c | Block Offer Rules |  | Not defined in M15
4d | Use of Peaking factor in offers |  | The equivalent service hours shall be calculated based on history. Equivalent Service Hours = Cyclic Starting Factor*Number of Starts + Total Operating Hours at any load level + Cyclic Peaking Factor* Total Operating Hours above base load temperature limit CTs shall use OEM supplied values for cyclic starting factors and cyclic peaking factors even if the CT technology is no longer being built. Only OEM-specified cyclic starting and peaking factors can be applied to the Maintenance Adder of the unit’s cost-based offer. If the OEM documentation does not specify a cyclic starting factor and/or cyclic peaking factor, then the cyclic starting factor and/or cyclic peaking factor shall be zero. | M-15, Section 5.6.3 (Combined Cycle Units) M-15, Section 6.6.3 (Combustion Turbine Units)
5 | Heat Input |  | Heat Input equals a point on the heat input curve (in MMbtu/hr) describing the resource’s operational characteristics for converting the applicable fuel input (MMBtu) into energy (MWh). Heat Input curves are typically obtained via plant performance testing or from the original equipment manufacturer. | M-15, Section 2.1
5a | Heat Input Equation |  | Not defined in M15 | M-15, Section 2.1.1
6 | Heat Rate |  | Heat Rate equals the MMBtu content of the heat input divided by the MWh of power output. The smaller the heat rate value the greater the efficiency. The heat rate can also be referred to as the input-output function. Total Heat Rate=MMBtuMWh=Heat InputNet MW | M-15, Section 2.1
6a | Incremental heat rate equation |  | The Incremental heat rate is the relationship between an additional MW of output and the heat input necessary to produce it. Graphically, the incremental heat rate can be determined from the ratio of the change in fuel input to the change in unit MW output; which is the slope of the input/output curve. Mathematically, the incremental heat rate curve can be expressed as the first derivative of the heat rate curve (input heat versus MW output). Incremental Heat Rate = ∆ MMBtu/ ∆ MWℎ = (Cℎange in Fuel Going in)/(Cℎange in Energy Coming Out) = (dy/dx) Total Heat Rate | M-15, Section 2.1 | [5 empty] | Low
6b | Average heat rate equation |  | Not defined in M-15. Incremental heat rate curve where only the B coeffiecient is non-zero. | [6 empty] | Low - Medium
Medium - High
High
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Cost Development Subcommittee
Incremental and No Load Offer Development (Bucket A)
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
Cost Development Subcommittee
Incremental and No Load Offer Development (Bucket A)
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Cost Development Subcommittee
Incremental and No Load Offer Development (Bucket A)
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9 | [8 empty] | Low
10 | [8 empty] | Low - Medium
Low - High
Medium
Instructions: | [8 empty] | Medium - High
1. Copy over design component, priority, and status quo columns from options matrix | [8 empty] | High
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Cost Development Subcommittee
Incremental and No Load Offer Development (Bucket A)
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Cost Development Subcommittee
Incremental and No Load Offer Development (Bucket A)
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Cost Development Subcommittee
Incremental and No Load Offer Development (Bucket A)
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3