## Annual forwards sample
EXAMPLE 100MW MFO resource ("dy" = delivery year) | milestone | class ELCC% for accreditation: listed dy+0 | class ELCC% for accreditation: dy+3 | class ELCC% for advisory dy+5 | CIR metric (summer test or 368-hour rule or X-hour rule) | UCAP offer eligibility in BRA for listed dy+3 | 3d IA transaction for listed dy+0 | delivered UCAP in listed dy | CIRs | Performance Adjustment for accreditation for the listed dy | Actual performance metric for the listed dy | Backcast performance metric for the listed dy
2016/17 |  | - | - | - |  | - | - | - | - | - | - | 1.08
2017/18 |  | - | - | - |  | - | - | - | - | - | - | 1.08
2018/19 |  | - | - | - |  | - | - | - | - | - | - | 1.08
2019/20 |  | - | - | - |  | - | - | - | - | - | - | 1.09
2020/21 |  | - | - | - |  | - | - | - | - | - | - | 1.07
2021/22 |  | - | - | - |  | - | - | - | - | - | - | 1.07
2022/23 |  | - | - | - |  | - | - | - | - | - | - | 1.07
2023/24 |  | - | - | - |  | - | - | - | - | - | - | 1.08
2024/25 |  | - | - | - |  | - | - | - | - | - | - | 1.09
2025/26 |  | - | - | - |  | - | - | - | - | - | - | 1.09
2026/27 | Resource enters Queue, requests all CIRs | - | - | 59% | 62% | - | - | - | 62 | 1.08 | - | 1.07
2027/28 | Resource executes Facilities Study Agreement | - | - | 58% | - | - | - | - | 62 | 1.079 | - | 1.07
2028/29 | Resource executes ISA, exits Queue | - | 59% | 57% | - | 62 | - | - | 62 | 1.078 | - | 1.08
2029/30 |  | - | 58% | 56% | - | 62 | - | - | 62 | 1.078 | - | 1.07
2030/31 | Resource enters service at the end of the year | - | 57% | 55% | - | 61.332 | - | - | 62 | 1.076 | - | 1.08
2031/32 | First delivery year being delivered | 59% | 56% | 54% | 58% | 60.3556 | 0 | 62 | 62 | 1.0778 | 1.08 | -
2032/33 |  | 58% | 55% | 53% | 62% | 59.3389 | 0 | 62 | 62 | 1.0789 | 1.08 | -
2033/34 |  | 57% | 54% | 52% | 61% | 58.26 | 0.16467 | 61.4967 | 62 | 1.0789 | 1.07 | -
2034/35 |  | 56% | 53% | 51% | 60% | 57.0633 | -0.062222 | 60.2933 | 62 | 1.0767 | 1.05 | -
2035/36 |  | 55% | 52% | 50% | 58% | 55.7556 | -0.36667 | 58.9722 | 61 | 1.0722 | 1.08 | -
2036/37 |  | 54% | 51% | 49% | 58% | 54.74 | -0.3 | 57.96 | 60 | 1.0733 | 1.08 | -
2037/38 |  | 53% | 50% | 48% | 62% | 53.7222 | -0.11778 | 56.9456 | 60 | 1.0744 | 1.05
2038/39 |  | 52% | 49% | 47% | 61% | 52.4844 | -0.057778 | 55.6978 | 60 | 1.0711 | 1.07
2039/40 |  | 51% | 48% | 46% | 61% | 51.4133 | -0.11333 | 54.6267 | 60 | 1.0711 | 1.05
2040/41 |  | 50% | 47% | 45% | 58% | 50.1856 | -0.33333 | 53.3889 | 60 | 1.0678 | 1.04
2041/42 |  | 49% | 46% | 44% | 58% | 48.9133 | -0.38111 | 52.1033 | 60 | 1.0633 | 1.05
2042/43 |  | 48% | 45% | 43% | 63% | 47.7 | -0.53333 | 50.88 | 60 | 1.06 | 1.06
2043/44 |  | 47% | 44% | 42% | 62% | 46.5911 | -0.41778 | 49.7678 | 60 | 1.0589 | 1.08
2044/45 |  | 46% | 43% | 41% | 61% | 45.6756 | -0.051111 | 48.8622 | 60 | 1.0622 | 1.07
2045/46 |  | 45% | 42% | 40% | 61% | 44.5667 | 0.05 | 47.75 | 60 | 1.0611 | 1.05
2046/47 |  | 44% | 41% | 39% | 60% | 43.3689 | -0.048889 | 46.5422 | 60 | 1.0578 | 1.04
2047/48 |  | 43% | 40% | 38% | 62% | 42.2667 | -0.23889 | 45.4367 | 60 | 1.0567 | 1.04
2048/49 |  | 42% | 39% | 37% | 58% | 41.08 | -0.32667 | 44.24 | 60 | 1.0533 | 1.05
2049/50 |  | 41% | 38% | 36% | 58% | 40.0267 | -0.18222 | 43.1867 | 60 | 1.0533 | 1.07
2050/51 |  | 40% | 37% | 35% | 60% | 39.0967 | 0 | 42.2667 | 60 | 1.0567 | 1.05

## Annual forwards sample-rounding
EXAMPLE 100MW MFO resource ("dy" = delivery year) | milestone | ELCC analysis % results: listed dy+0 | ELCC analysis % results: dy+3 | ELCC analysis % results: dy+5 | class ELCC% for accreditation: listed dy+0 | class ELCC% for accreditation: dy+3 | class ELCC% for advisory dy+5 | CIR metric (summer test or 368-hour rule or X-hour rule) | UCAP offer eligibility in BRA for listed dy+3 | 3d IA transaction for listed dy+0 | delivered UCAP in listed dy | CIRs | performance adjustment for accreditation for the listed dy | actual performance metric for the listed dy | backcast performance metric for the listed dy | Rounding band values
2016/17 |  | - | - | - | - | - | - |  | - | - | - | - | - | - | 1.08 | 60%
2017/18 |  | - | - | - | - | - | - |  | - | - | - | - | - | - | 1.08 | 52%
2018/19 |  | - | - | - | - | - | - |  | - | - | - | - | - | - | 1.08 | 45%
2019/20 |  | - | - | - | - | - | - |  | - | - | - | - | - | - | 1.09 | 40%
2020/21 |  | - | - | - | - | - | - |  | - | - | - | - | - | - | 1.07 | 35%
2021/22 |  | - | - | - | - | - | - |  | - | - | - | - | - | - | 1.07 | 31%
2022/23 |  | - | - | - | - | - | - |  | - | - | - | - | - | - | 1.07 | 27%
2023/24 |  | - | - | - | - | - | - |  | - | - | - | - | - | - | 1.08 | 25%
2024/25 |  | - | - | - | - | - | - |  | - | - | - | - | - | - | 1.09 | 23%
2025/26 |  | - | - | - | - | - | - |  | - | - | - | - | - | - | 1.09 | 22%
2026/27 | Resource enters Queue, requests all CIRs | - | - | 59% | - | - | 60% | 62% | - | - | - | 62 | 1.08 | - | 1.07 | 21%
2027/28 | Resource executes Facilities Study Agreement | - | - | 58% | - | - | 60% | - | - | - | - | 62 | 1.079 | - | 1.07
2028/29 | Resource executes ISA, exits Queue | - | 59% | 57% | - | 60% | 60% | - | 62 | - | - | 62 | 1.078 | - | 1.08
2029/30 |  | - | 58% | 56% | - | 60% | 60% | - | 62 | - | - | 62 | 1.078 | - | 1.07
2030/31 | Resource enters service at the end of the year | - | 57% | 55% | - | 60% | 52% | - | 62 | - | - | 62 | 1.076 | - | 1.08
2031/32 | First delivery year being delivered | 59% | 56% | 54% | 60% | 60% | 52% | - | 62 | 0 | 62 | 62 | 1.0778 | 1.08 | -
2032/33 |  | 58% | 55% | 53% | 60% | 52% | 52% | 62% | 56.1022 | 0 | 62 | 62 | 1.0789 | 1.08 | -
2033/34 |  | 57% | 54% | 52% | 60% | 52% | 52% | 61% | 56.1022 | 0 | 62 | 62 | 1.0789 | 1.07 | -
2034/35 |  | 56% | 53% | 51% | 60% | 52% | 52% | 60% | 55.9867 | 0 | 62 | 62 | 1.0767 | 1.05 | -
2035/36 |  | 55% | 52% | 50% | 52% | 52% | 52% | 58% | 55.7556 | -0.34667 | 55.7556 | 61 | 1.0722 | 1.08 | -
2036/37 |  | 54% | 51% | 49% | 52% | 52% | 52% | 58% | 55.8133 | -0.28889 | 55.8133 | 60 | 1.0733 | 1.08 | -
2037/38 |  | 53% | 50% | 48% | 52% | 52% | 45% | 62% | 55.8711 | -0.11556 | 55.8711 | 60 | 1.0744 | 1.09
2038/39 |  | 52% | 49% | 47% | 52% | 52% | 45% | 61% | 55.9289 | 0.17333 | 55.9289 | 60 | 1.0756 | 1.1
2039/40 |  | 51% | 48% | 46% | 52% | 45% | 45% | 61% | 48.55 | 0.28889 | 56.1022 | 60 | 1.0789 | 1.05
2040/41 |  | 50% | 47% | 45% | 52% | 45% | 45% | 58% | 48.4 | 0.057778 | 55.9289 | 60 | 1.0756 | 1.04
2041/42 |  | 49% | 46% | 44% | 52% | 45% | 45% | 58% | 48.2 | -0.23111 | 55.6978 | 60 | 1.0711 | 1.05
2042/43 |  | 48% | 45% | 43% | 45% | 45% | 45% | 63% | 48.05 | -0.5 | 48.05 | 60 | 1.0678 | 1.06
2043/44 |  | 47% | 44% | 42% | 45% | 45% | 40% | 62% | 48 | -0.4 | 48 | 60 | 1.0667 | 1.08
2044/45 |  | 46% | 43% | 41% | 45% | 45% | 40% | 61% | 48.15 | -0.05 | 48.15 | 60 | 1.07 | 1.07
2045/46 |  | 45% | 42% | 40% | 45% | 40% | 40% | 61% | 42.7556 | 0.05 | 48.1 | 60 | 1.0689 | 1.05
2046/47 |  | 44% | 41% | 39% | 45% | 40% | 40% | 60% | 42.6222 | -0.05 | 47.95 | 60 | 1.0656 | 1.04
2047/48 |  | 43% | 40% | 38% | 45% | 40% | 40% | 62% | 42.4 | -0.45 | 47.7 | 60 | 1.06 | 1.04
2048/49 |  | 42% | 39% | 37% | 40% | 40% | 35% | 58% | 42.1333 | -0.62222 | 42.1333 | 60 | 1.0533 | 1.05
2049/50 |  | 41% | 38% | 36% | 40% | 40% | 35% | 58% | 42.1333 | -0.48889 | 42.1333 | 60 | 1.0533 | 1.07
2050/51 |  | 40% | 37% | 35% | 40% | 35% | 35% | 60% | 36.9833 | -0.13333 | 42.2667 | 60 | 1.0567 | 1.05

## Annual forwards sample-vintage
EXAMPLE 100MW MFO resource ("dy" = delivery year) | milestone | ELCC analysis % results: listed dy+0 | ELCC analysis % results: dy+3 | ELCC analysis % results: dy+5 | class ELCC% for accreditation: listed dy+0 | class ELCC% for accreditation: dy+3 | class ELCC% for advisory dy+5 | CIR metric (summer test or 368-hour rule or X-hour rule) | UCAP offer eligibility in BRA for listed dy+3 | 3d IA transaction for listed dy+0 | delivered UCAP in listed dy | CIRs | performance adjustment for accreditation for the listed dy | actual performance metric for the listed dy | backcast performance metric for the listed dy
2016/17 |  | - | - | - | - | - | - |  | - | - | - | - | - | - | 1.08
2017/18 |  | - | - | - | - | - | - |  | - | - | - | - | - | - | 1.08
2018/19 |  | - | - | - | - | - | - |  | - | - | - | - | - | - | 1.08
2019/20 |  | - | - | - | - | - | - |  | - | - | - | - | - | - | 1.09
2020/21 |  | - | - | - | - | - | - |  | - | - | - | - | - | - | 1.07
2021/22 |  | - | - | - | - | - | - |  | - | - | - | - | - | - | 1.07
2022/23 |  | - | - | - | - | - | - |  | - | - | - | - | - | - | 1.07
2023/24 |  | - | - | - | - | - | - |  | - | - | - | - | - | - | 1.08
2024/25 |  | - | - | - | - | - | - |  | - | - | - | - | - | - | 1.09
2025/26 |  | - | - | - | - | - | - |  | - | - | - | - | - | - | 1.09
2026/27 | Resource enters Queue, requests all CIRs | - | - | 59% | - | - | 0% | 62% | - | - | - | 62 | 1.08 | - | 1.07
2027/28 | Resource executes Facilities Study Agreement | - | - | 58% | - | - | 0% | - | - | - | - | 62 | 1.079 | - | 1.07
2028/29 | Resource executes ISA, exits Queue | - | 59% | 57% | - | 57% | 0% | - | 61.446 | - | - | 62 | 1.078 | - | 1.08
2029/30 |  | - | 58% | 56% | - | 57% | 0% | - | 61.446 | - | - | 62 | 1.078 | - | 1.07
2030/31 | Resource enters service at the end of the year | - | 57% | 55% | - | 57% | 0% | - | 61.332 | - | - | 62 | 1.076 | - | 1.08
2031/32 | First delivery year being delivered | 59% | 56% | 54% | 57% | 57% | 0% | - | 61.4333 | -0.012667 | 61.4333 | 62 | 1.0778 | 1.02 | -
2032/33 |  | 58% | 55% | 53% | 57% | 57% | 0% | 62% | 61.1167 | -0.32933 | 61.1167 | 62 | 1.0722 | 1.08 | -
2033/34 |  | 57% | 54% | 52% | 57% | 57% | 0% | 61% | 61.1167 | -0.21533 | 61.1167 | 62 | 1.0722 | 1.07 | -
2034/35 |  | 56% | 53% | 51% | 57% | 57% | 0% | 60% | 60.99 | -0.44333 | 60.99 | 62 | 1.07 | 1.05 | -
2035/36 |  | 55% | 52% | 50% | 57% | 57% | 0% | 58% | 60.7367 | -0.38 | 60.7367 | 61 | 1.0656 | 1.08 | -
2036/37 |  | 54% | 51% | 49% | 57% | 57% | 0% | 58% | 60 | -1.1167 | 60 | 60 | 1.0667 | 1.08 | -
2037/38 |  | 53% | 50% | 48% | 57% | 57% | 0% | 62% | 60 | -0.99 | 60 | 60 | 1.0678 | 1.09
2038/39 |  | 52% | 49% | 47% | 57% | 57% | 0% | 61% | 60 | -0.73667 | 60 | 60 | 1.0689 | 1.1
2039/40 |  | 51% | 48% | 46% | 57% | 57% | 0% | 61% | 60 | 0 | 60 | 60 | 1.0722 | 1.05
2040/41 |  | 50% | 47% | 45% | 57% | 57% | 0% | 58% | 60 | 0 | 60 | 60 | 1.0689 | 1.04
2041/42 |  | 49% | 46% | 44% | 57% | 57% | 0% | 58% | 60 | 0 | 60 | 60 | 1.0711 | 1.05
2042/43 |  | 48% | 45% | 43% | 57% | 57% | 0% | 63% | 60 | 0 | 60 | 60 | 1.0678 | 1.06
2043/44 |  | 47% | 44% | 42% | 57% | 57% | 0% | 62% | 60 | 0 | 60 | 60 | 1.0667 | 1.08
2044/45 |  | 46% | 43% | 41% | 57% | 57% | 0% | 61% | 60 | 0 | 60 | 60 | 1.07 | 1.07
2045/46 |  | 45% | 42% | 40% | 57% | 57% | 0% | 61% | 60 | 0 | 60 | 60 | 1.0689 | 1.05
2046/47 |  | 44% | 41% | 39% | 57% | 57% | 0% | 60% | 60 | 0 | 60 | 60 | 1.0656 | 1.04
2047/48 |  | 43% | 40% | 38% | 57% | 57% | 0% | 62% | 60 | 0 | 60 | 60 | 1.06 | 1.04
2048/49 |  | 42% | 39% | 37% | 57% | 57% | 0% | 58% | 60 | 0 | 60 | 60 | 1.0533 | 1.05
2049/50 |  | 41% | 38% | 36% | 57% | 57% | 0% | 58% | 60 | 0 | 60 | 60 | 1.0533 | 1.07
2050/51 |  | 40% | 37% | 35% | 57% | 57% | 0% | 60% | 60 | 0 | 60 | 60 | 1.0567 | 1.05