## Setup
Enter Stakeholder Group Name in cell A2:
[GroupName]
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
[IssueTitle]

## 1. Interest Identification
Metering Task Force
Interest Identification
Instructions: List interests of all parties on this page.
1 | ANSI and IEEE meter standards - references in M01 - interest is in exploring more specific and explicit refences in M01
2 | text segregation of real-time and settlement metering - interest is to strictly separate real-time and revenue metering requirements in M01
3 | PJM interest in new categorizations and definitions of tie lines in M01
4 | interest in reviewing Tie Line meter redundancy for existing definitions of Tie Line, and new meter redundancy requirements for new definitions of Tie Line
5 | interest in a precise definition of Accuracy
6 | interest in a standard accepted calculation of Accuracy for a metering system
7 | interest in reviewing and optimizing Meter calibration and/or maintenance intervals
8 | interest in optimizing the Meter calibration and/or maintenance stated devices and applicable tests
9 | Non-categorized or Misc. meter category accuracy requirement
10 | Accuracy versus measurement availability/penetration - is more metering versus more accurate metering an interchangable commodity?
11 | interest in reviewing CCVT unique issues with reliability, drift, and suitabililty in metering
12
13
14
15
16
17
18
19
20

## 2. Options Matrix- Design Comp.
Metering Task Force
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E
* | Implementation
1 | Accuracy Definition | Medium - High | Expressed as: x%
2 | Accuracy Calculation | Medium | Undefined, implied summing.
3 | Meter Definitions | High | Division between real-time and revenue metering, but mixed in some places
4 | Meter Accuracy | High | 2% on everything defined, 2% overall
5 | Meter Measurement Density/Location | Medium | No mention, or only implicit mention. | [5 empty] | Low
6 | Tie Line Definitions | Medium - High | Internal and External tie lines defined together | [5 empty] | Low - Medium
7 | Tie Line Telemetry/Measurement Requirements | Medium - High | As in M01 R31 5.3.5 | [5 empty] | Low - High
8 | ANSI/IEEE References | Medium | Passing non-specific reference to ANSI | [5 empty] | Medium
9 | Maintenance Calibration Intervals | Medium | 2 years | [5 empty] | Medium - High
10 | Grandfather Clause | High | Grandfather Clause for prior to 1997 | [5 empty] | High
11
12
13
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
[GroupName]
[IssueTitle]
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component |  | Detailed Description
1 | Accuracy Definition | Accuracy is a fundamental performance aspect of metering. Defining and referencing accuracy in different ways can have subtle but important nuances, and settling on the best way to express accuracy requirements can help clarify and specify what actually needs be done.
2 | Accuracy Calculation | Individual metering components, like CTs and meters, are typically purchased with some performance gaurantee based on an ANSI class or other rating. How these individual components are together calculated to obtain overall system accuracy may affect the result. A standardized explicit approach would eleminate variability and confusion.
3 | Meter Definitions | Identification of meter categories and subcategories is important for creating requirements suited for each unique operational and market application.
4 | Meter Accuracy | Meter accuracy is the most fundamental performance metric of a metering system. The accuracy affects billing and operational systems downstream. Accuracy is more important in certain categories of metering, such as billing metering or external tie lines. Accuracy is not easily improved with existing infrastructure.
5 | Meter Measurement Density/Location | To some degree for PJM, more metering/telemetry has the same positive effect on State Estimator solution as more accurate metering does. Also, more metering/telemetry increases resiliency of SE and other BA applications.
6 | Tie Line Definitions | Identification of what lines are and are not tie lines is fundamental to clear and explicit requirements. The kinds of tie lines has also recently expanded, and require redefinition.
7 | Tie Line Telemetry/Measurement Requirements | Requirements for number of meters, meter location, and meter data datapaths for each category of tie line.
8 | ANSI/IEEE References | ANSI and IEEE standards capture testing methodologies, accuracy and performance criteria, of metering systems and metering components. Inclusion of references to these standards may help to clarify and specify metering requirements or guarantee actual system performance. References that are too specific may unintentionally and unnecessarily limit engineering options to a given requirement.
9 | Maintenance Calibration Intervals | PJM M01 specifies some meter testing once every two years. This interval could be adjusted or made more intelligent to account for modern solid-state digital meters.
10 | Grandfather Clause | The Grandfather Clause in PJM M01 has been in M01 since revision 0. The date of the clause, 1997, coincides with the date M01 R0 was published. This was presumably to grandfather in all existing metering infrastructure in order to avoid significant financial and technological upheaval as part of integration into the then new PJM Balancing Authority area. Since the MTF may have outcomes and recommendations that signficantly impact metering requirements, revisiting the grandfather date and applicability is called for.
11
12
13

## 2b. Option Details
[GroupName]
[IssueTitle]
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
[GroupName]
[IssueTitle]
PACKAGE/ PROPOSAL MATRIX
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9 | [8 empty] | Low
10 | [8 empty] | Low - Medium
Low - High
Medium
Medium - High
High

## 3a. Package Details
[GroupName]
[IssueTitle]
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
[GroupName]
[IssueTitle]
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
[GroupName]
[IssueTitle]
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3

## Addendum A Meters
|  | Definitions | Required Accuracy | Scan Frequency | Respect to M01 R31
System Control and Monitoring
System Control Data (Balancing)
|  | System control data is required to match load demand with available generation. Measured tie-flow values and frequency values are used in a calculation with the scheduled total tie-line summation and the scheduled frequency | See Addendum A Tie Lines. *** Note the NERC BAL accuracy table applies here, and perhaps should inform external tie line accuracy requirement according to the new accuracy calculation methodology | See Addendum A Tie Lines | Addendum A Tie Lines structure significant change from R31.
Area Regulation
|  | Area regulation data is required to ensure that the instantaneous mismatches of load and generation are corrected by sending a generation control signal to those plants/stations/PJM Members scheduled to provide this ancillary service. | ±2% | <4 seconds | Unchanged.
Generation Dispatch Data
|  | The plant/station/PJM Member with generation provides PJM with all necessary information to dispatch individual units. | ±2% | <10 seconds | Unchanged.
Generation Reserve
|  | The availability of Generation Reserve is transmitted to PJM from the individual plant/station/PJM Member. | ±2% | <10 seconds | Unchanged.
System Restoration Data
|  | System Restoration Data is required to facilitate system restoration (see the PJM Manual for System Restoration (M-36)). Specifically, a system frequency measurement is required to be transmitted to PJM from each Transmission Zone. | ±2% | <4 seconds | Unchanged.
Transmission Operations Meters
|  | These are meters installed on any other equipment in PJM including transmission lines within a transmission owners footprint for the purpose of Transmission Operations. | ±X% | <10 seconds | New.
Billing Meters
|  | In general billing meters are meters used for transactions with PJM. Billing meters may also function as Balancing Meters. Billing metering systems are capable of collecting and storing bi-directional data. This section provides the minimum standard requirements for the billing metering to be used in transactions with PJM. | The manufactured accuracy class of all energy interchange billing devices should be accurate within ±0.3% of full scale. An individual metering system at a metering point location includes all components from the meter location through to the system operator destination. The accuracy of the total energy interchange billing metering system, for each location, is to be within ±1.0%. More restrictive standards may be required by local or state regulations, host utilities, service providers or as are mutually agreed upon by the parties involved. | Billing meters collect or accumulate watt-hours over a specified time interval. Common time intervals are fifteen minutes, thirty minutes, and sixty minutes. For some services billing meter data may be transmitted or submitted at a larger time interval than originally collected or accumulated as the metering system permits. | Nearly unchanged. Some wording differences from R31.

## Addendum B Tie Lines
Tie Lines |  |  | Definitions | Required Accuracy | Scan Frequency | Metering Required | Source Required
External Tie Lines
|  | Physical Tie | Connects PJM w/ another BA | +/- 2% | Minimum 4 Second | Primary & Secondary Meters | Each meter goes to both TO/LBA. Each TO/LBA feeds their BA.
Dynamic Transfers
|  | Pseudo-Tie | Connects PJM w/ individual asset located in external BA | +/- 2% | Minimum 4 Second | Primary & Secondary Meters | Each POI meter goes to MOC/TO. MOC/TO feeds PJM. MOC feeds their BA.
|  | Dynamic Schedule | Similar to pseudo-tie, NERC defined | +/- 2% | Minimum 4 Second | Primary & Secondary Meters | Each POI meter goes to MOC/TO. MOC/TO feeds PJM. MOC feeds their BA.
Internal Tie Lines
|  | Control Zone Tie | Connects PJM control zones as defined in M35 | +/- 2% | Minimum 4 Second | Primary & Secondary Meters | Each meter goes to the owning TO. TO feeds PJM.
|  | Transmission Zone Tie | Connects PJM transmission zones as defined in Tariff | +/- 2% | Minimum 4 Second | Primary | Meter goes to the owning TO and secondary-side TO. Both TOs feed PJM.
|  | Fully-Metered EDC Tie | Connects PJM fully-metered EDCs | +/- 2% | Minimum 4 Second | Primary | Meter goes to the owning TO and secondary-side TO. Both TOs feed PJM.
|  | East EHV Tie | Connects a PJM TO to the PJM East EHV 500 kV network | +/- 2% | Minimum 4 Second | Primary | Meter goes to the owning TO and secondary-side TO. Both TOs feed PJM.
Special Case
|  | Transformer Tie | Any tie that is a transformer, not a line | +/- 2% | Minimum 4 Second | Primary on High or Low Side | Meter goes to both TOs/BAs. Both TOs/BAs feed PJM.