## Setup
Enter Stakeholder Committee Name in cell A2:
Resource Adequacy Senior Task Force
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Performance Assessment - KWA 4

## 1. Interest Identification
Resource Adequacy Senior Task Force
Performance Assessment - KWA 4
Interest Identification
Instructions: List interests of all parties on this page.
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20

## 2. Options Matrix- Design Comp.
Resource Adequacy Senior Task Force
Performance Assessment - KWA 4
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E
* | Implementation
Performance Assessment (PAIs)
1 | Timing of Performance Assessment(s) |  | Resources are assessed for each Performance Assessment Interval (PAI), or every 5-minute settlement interval for which an Emergency Action has been declared by PJM. Emergency Actions that trigger a PAI include: • Pre-Emergency Load Management Reduction Action (30 / 60 / 120 min.) • Emergency Load Management Reduction Action (30 / 60 / 120 min.) • Primary Reserve Warning • Max Gen Emergency Action • Emergency Voluntary Energy-Only DR Reduction Action • Voltage Reduction Warning & Reduction of Critical Plant Load • Curtailment of Non-Essential Building Load • Deploy All Resources Action • Manual Load Dump Warning • Voltage Reduction Action • Manual Load Dump Action • Load Shed Directive
2 | Assessed Resources |  | All resources (capacity and energy-only) located in the area defined by the Emergency Action. • When Emergency Procedures called for RTO or a given Zone, all resources in the defined region are assessed • For sub-zonal transmission related PAIs, list of assessed units is based on ability to help the constraint (i.e. dfax) • Demand Resources (DR) only assessed if dispatched for 30 min. or more of clock hour during Emergency Action • Energy Efficiency (EE) Resources only assessed for capacity related PAIs called at a zonal or higher basis (not sub-zonal events) • External Generation Capacity Resources assigned to a PJM zone prior to the DY for PAI purposes
3 | Expected Performance level of Assessed Resources |  | By Resource Type: • Generation Capacity Resources: Committed UCAP * Balancing Ratio • DR: Committed ICAP • EE: Committed ICAP • Price Responsive Demand (PRD): Nominal PRD Value Committed • Qualifying Transmission Upgrade (QTU): Committed UCAP • Energy-Only Resources / Imports: 0 MW Balancing Ratio = [Total Generation & Storage Actual Performance + Net Energy Imports (when external resources included in assessment) + DR Bonus + PRD Bonus] / Total Generation & Storage Committed UCAP
4 | Actual Performance level of Assessed Resources |  | By Resource Type: • Generation: Metered Energy Output + Reserve/Regulation Assignment • DR: Load Reduction + Reserve/Regulation Assignment • EE: PJM Approved Post Installation Load Reduction • PRD: Load Reduction • QTU: Committed UCAP value if in service, otherwise 0 MW • Net Energy Imports: Imports - Exports - Energy from External Generation Capacity Resources (floored at 0 MW) | [5 empty] | Low
5 | Performance Shortfall Calculation |  | Performance Shortfall = Expected Performance - Actual Performance, where a positive number indicates a potential underperformance (shortfall) and a negative number indicates potential over-performance (bonus). • A positive shortfall may be adjusted downward due to excusals • DR performance in the PAI is netted within a seller's portfolio to determine a net positive or negative shortfall MW for the seller | [5 empty] | Low - Medium
6 | Excusals from Performance Shortfalls |  | Resources may be excused for the following: • Maintenance and/or Planned Outages approved by PJM (in eDART) • MW not scheduled, or scheduled down, by PJM for reasons other than a parameter limitation and/or submission of a market-based offer above cost | [5 empty] | Low - High
7 | Non-Performance Charge |  | Non-Performance Charge for each PAI = Shortfall MW * Non-Performance Charge Rate To avoid a double penalty, a greater-of provision applies if the resource was subject to a Non-Performance Charge during 1 or more PAIs occurring during a continuous time period of a commitment / upgrade delay / testing shortfall. | [5 empty] | Medium
8 | Non-Performance Charge Rate |  | Non-Performance Charge Rate ($/MW-interval) = LDA Net CONE ($/MW-day in ICAP terms) for which the resource resides * Number of days in DY / 30 hours / 12 settlement intervals | [5 empty] | Medium - High
9 | Stop-Loss for Non-Performance Charges |  | Stop-loss limits the total Non-Performance Charge that can be assessed on each Capacity Resource. Annual stop-loss = 1.5 * Applicable LDA Net CONE * number of days in DY * Max Daily UCAP Commitment from June of DY through the end of billing month for which the charge was assessed For seasonal capacity resources, stop-loss formula based on number of days in season | [5 empty] | High
10 | Allocation of Non-Performance Charges and other funding details |  | Revenue collected from payment of Non-Performance Charges is distributed to resources of any type (including energy-only) that perform above expectations during each PAI (i.e. have Bonus MW > 0). Credit is based on the ratio of resource's Bonus MW to the total Bonus Performance (from all resources for the same PAI).
11 | Bonus Performance Calculation |  | Bonus Performance = Actual Performance - Expected Performance (represented as a negative value in Performance Shortfall calculation). For purposes of Bonus Performance, Actual Performance is capped at scheduled MW determined from the offer curve the unit was dispatched on and the unit's bid in economic limits (or emergency limits when applicable based on what Emergency Procedures have been issued).
12 | Bonus Rate |  | Bonus Rate ($/Bonus MW) = Total Non-Performance Charges for PAI / Total Bonus Performance MW
13 | Assessment Billing Timing |  | The billing of any Non-Performance Charges incurred in any given month will be done within three calendar months after the calendar month that included such Performance Assessment Intervals and such billing of charges will be spread over the remaining months in the Delivery Year (e.g. PAIs in June will be billed starting in September monthly bill)
14 | FRR Considerations |  | FRR Entities may choose to be subject to financial or physical non-performance assessments prior to each DY. Financial assessments are handled in the same manner as RPM commitments. Physical penalties refer to the additional MW quantity that the FRR entity is required to commit to its FRR Plan the following DY when assessed a net shortfall, rather than pay penalty charges. For physical assessments: • Under and over-performance is netted across assessed resources within the FRR entity's portfolio to determine a net performance shortfall • Physical penalty MW = Net Performance Shortfall * 0.00139 MW / PAI, which represents the additional MW quantity that the FRR entity must add to its FRR Plan the following DY • The annual stop-loss for physical penalty MW is set at 0.5 * total committed MW in the FRR Plan for the current DY • FRR entities that elect the physical assessment are not eligible to receive bonus credits
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Resource Adequacy Senior Task Force
Performance Assessment - KWA 4
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
Resource Adequacy Senior Task Force
Performance Assessment - KWA 4
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Resource Adequacy Senior Task Force
Performance Assessment - KWA 4
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9 | [8 empty] | Low
10 | [8 empty] | Low - Medium
Low - High
Medium
Instructions: | [8 empty] | Medium - High
1. Copy over design component, priority, and status quo columns from options matrix | [8 empty] | High
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Resource Adequacy Senior Task Force
Performance Assessment - KWA 4
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Resource Adequacy Senior Task Force
Performance Assessment - KWA 4
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Resource Adequacy Senior Task Force
Performance Assessment - KWA 4
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1 | 2022-05-25 | Interests and Design Components
2 | 2022-06-20 | Interests and Design Components
3