## Setup
Enter Stakeholder Committee Name in cell A2:
Reserve Certainty Senior Task Force
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Reserve Certainty and Resource Flexibility Incentives

## 1. Interest Identification
Reserve Certainty Senior Task Force
Reserve Certainty and Resource Flexibility Incentives
Interest Identification
Instructions: List interests of all parties on this page.
General Interests
1 | Reserve and energy prices reflect system conditions and appropriately value scarcity.
2 | Resources assigned reserves will provide them when deployed.
3 | ORDCs reflect the reliability value of reserves.
4 | Market power is mitigated.
5 | The actual reserve capability on the system is accurately measured.
6 | Proper locational market signals that guide optimal investments.
7 | Rules that encourage robust participation and create efficient market results.
8 | Solutions that are nimble with evolution.
9 | Simplicity in market design where possible.
10 | Market rules that are non-discriminatory.
11 | Transparency
12 | Reflection of other FERC approved tariffs (gas)
13 | Accurate reflection of generator operation
14 | Prices reflect actual generator operational constraints in both of the energy and reserve markets
15 | Reserve deployment signals are consistent with generator operational constraints
16 | During contingency events, energy and reserve prices reflect the contingency
Additional KWA Interests
17 | Confidence that resources assigned reserve will perform when called upon
18 | Correct market incentives (pricing, penalties, offer structures) for performance
19 | Clarity on reserve event start/stop times and transparent rules on how resources should respond
20 | Prompt recovery of ACE following a disturbance event
21 | Maintaining existing PJM and NERC BAL compliance requirements, and grid reliability
22 | Alignment of performance evaluation with resource expectations
23 | Improved reflection of reserve deployment in pricing during events
24 | Consistency in how PJM issues dispatch instructions such that resources can easily deploy reserves.
25 | Resource parameters accurately reflect resource reserve capabilities.
26 | Prompt recovery of reserves following a reserve deployment event
27 | Reserve deployment manages constraint control
28 | Accurately capture reserve capability for different technology types and operating conditions and configurations, in the Day Ahead and Real Time Reserve Markets

## 2. Options Matrix- Design Comp.
Reserve Certainty Senior Task Force
Reserve Certainty and Resource Flexibility Incentives
OPTIONS MATRIX
Solution Options2
# | KWA | Design Components1 | Priority | Status Quo | A | B | C | D | E
* |  | Implementation
| KWA2 | Key Work Activity 2 - Reserve Resource Performance and Penalty Structure
| KWA2 | Event Definition and Triggers
1 | KWA2 | Start of the synchronized reserve event |  | The time that the synchronized event is initiatied by the operator via the EMS.
2 | KWA2 | End of the synchronized reserve event |  | The time when the synchronized event is terminated by the operator via the EMS.
| KWA2 | Performance Evaluation
3 | KWA2 | Synchronized reserve performance evaulation |  | Resource response for every minute during the initial 10 minutes of the event is calculated as the difference between the resource output at the start of the evaluation period (taken as the minimum output during the minute before, minute of, and minute after the start of the period) and the resource output at the end of the 10 minutes (taken as the maximum of the minute before, the minute of, and the minute after the end of the period). For events longer than 10 minutes, any minutes after minute ten are averaged into the total response, where each minute's response is calculated as the difference between that minute's output and the output calculated for the start of the evaluation period.
4 | KWA2 | Non-synchronized reserve performance evaluation |  | Same methodology to SR performance evaluation. There has not been a Non-synch reserve event since the implementation of Reserve Price Formation. [OATT Attachment K Section 3.2.3A.001(g)] NSR resources are not evaluated for NSR performance when they are called for energy. | NSR is evaluated when it's called on during spin events and outside of spin events
5 | KWA2 | Secondary reserve performance evaluation |  | Secondary reserve performance for offline generation resources is evaluated when they are deployed for energy. Settlements evaluates whether the resource has reached EcoMin output within 30 minutes as instructed by PJM. For Real-Time Economic Demand Response with a SecR assignment, this evaluation is done based on whether it has reduced by at least EcoMin within 30 minutes as instructed by PJM. If an offline SECR resource extends its notification time longer than 30 minutes during the operating day, the resource will not clear for RT SECR and will need to buy back its DA commitment based on the RT clearing price.
| KWA2 | Penalties and Compensation
6 | KWA2 | Penalties in settlement for non-performance during synchronized reserve events |  | Synchronized Reserves: Failure to provide sync reserve assignment results in an obligation to repay all or a portion of the synchronized reserve credits received on both: 1.) The day of the event and 2.) Over the immediate past interval, which is equal to the lesser of: 1. The average number of days between events (21-days for 2023) OR 2.) The number of days since resource’s last non-performance. The MW subject to refund in each interval are the Shortfall MW capped at the real-time MW the resource received SRMCP credits for. This refund is charged at the RT SRMCP for each 5-minute interval. RT Synch Reserve Shortfall Charge = Min (Shortfall MW, Capped RT SR Assignment) * RT SRMCP / 12 | Repayment of reserve capacity payments and a buy-back of undelivered reserve MWs at the real-time LMP. | Update status quo methodology to capture revenues since last successful performance was a successful performance in an event that was 10 minutes or more.
7 | KWA2 | Penalities in settlement for non-performance during an NSR event |  | If a resource fails to provide the Non-Synchronized Reserve assignment in response to a Non-Synchronized Reserve Event, the resource will only be credited for Non-Synchronized Reserve capacity in the amount that actually responded for the continuous five (5) minute intervals the resource was assigned Non-Synchronized Reserves during which the event occurred. [OATT Attachment K Section 3.2.3A.001(h)] No retroactive portion of penalty. | Repayment of reserve capacity payments and a buy-back of undelivered reserve MWs at the real-time LMP. | Update status quo methodology to capture revenues since last successful performance. | Mirror status quo for SR
8 | KWA2 | Penalities in settlement for non-performance of NSR when they are called on for energy. |  | No explicit penalties derived from the NSR assignment for failure to perform when called online for energy. | Same penalty structure as secondary reserves
9 | KWA2 | Penalities in settlement for non-performance of NSR during a synchronized reserve event if called on for energy. |  | No explicit penalties derived from the NSR assignment for failure to perform when called online for energy during a synchronized reserve event. | Penalize if called on during a synchronized reserve event for energy
10 | KWA2 | Penalities in settlement for SecR for non-performance |  | For offline generating resources, the MW shortfall is applied to all prior intervals in which the resource was assigned to provide real-time Secondary Reserve starting at the later of (A) the last interval the resource was online or (B) the beginning of that Operating Day and continuing up to the interval the resource failed to come online. For DR, the MW shortfall is applied to all prior intervals in which the resource was assigned to provide real-time Secondary Reserve starting at the later of (A) the last interval the resource reduced load at PJM’s instruction or (B) the beginning of that Operating Day, through the earlier of (C) the next interval in which the resource is dispatched to reduce load or (D) the end of the Operating Day.
11 | KWA2 | Allocation of non-performance penalty revenues from synchronized reserves |  | Day Of Penalty: The shortfall penalties in each five minute interval reduce the Total Synchronized Reserve Market Clearing Price Credits for the interval, which are allocated to LSEs based on their Synchronized Reserve Obligation Ratio Share (load ratio share adjusted by synchronized reserve bilaterals). Retroactive Penalty: The retroactive shortfall penalties in each five minute interval are allocated to LSEs that did not have any shortfalls for the event based on their Synch Reserve Obligation Ratio Share in each five minute interval, excluding the obligations of those receiving a Retroactive Penalty Charge for a performance shortfall.
12 | KWA2 | Allocation of non-performance penalty revenues from non-synchronized reserves |  | The reduction in credits to NSR resources due to non-performance during a non-synchronized reserve event reduces the charges to load for procuring that NSR for that operating day.
13 | KWA2 | Allocation of non-performance penalty revenues from secondary reserves |  | The reduction in credits due to non-performance reduces the charges to load for that operating day.
14 | KWA2 | Make-whole payment eligibility during synchronized events or if a resource fails to provide assigned reserves |  | Make-whole payments are not currently handled differently based on reserve assignments
15 | KWA2 | Reserves shortfall charge when resource report outage or derate |  | If a resource reports themselves as unavailable in Markets Gateway, they will not be cleared for reserves in real-time and will have to buy back any day ahead reserve assignment. | If they report the outage after the fact and didn't have it reflected as unavailable in Markets Gateway, then they still have the same repercussions (buy back assignment).
16 | KWA2 | Settlement-impacts for not carrying assigned reserves outside of deployment |  | In settlements, payments for real-time synchronized reserve assignments are capped at the actual reserve quantities. In other words, if the Min (Eco Max, Sync Max) – RT MW < RT reserve assignment, the RT reserve assignment is capped at the actual amount of headroom available. For online SecR, a similar calculation is done where SecR revenues are capped based on actual available headroom during real-time.
17 | KWA2 | Aggregation of individual unit response in settlements |  | Market Participants that own multiple resources assigned or self-scheduled to provide synchronized reserves are permitted to demonstrate aggregate response, such that any resource that responds greater than their assignment or self-schedule can be used to offset any resource that responds less than their assignment or self-schedule a synchronized event. The Market Participant’s aggregate response does not affect how an individual resource is credited for synchronized reserves it provides, but is used to determine what the Market Participant owes in retroactive refund charges for each resource that was assigned or self-scheduled to provide synchronized reserves and responded less than their assignment or self-schedule. Resource Retroactive Shortfall MW = Resource Shortfall MW−( Resource Shortfall MW ÷ Participant′s Total Shortfall MW *Participant′s Total Over Response )
18 | KWA2 | Eligibility for Balancing Operating Reserve Generator Deviation charges during an Synchronized Reserve event |  | Resources that respond to a Synchronized Reserve Event are exempt from BOR Generator Deviations during the event.
19 | KWA2 | Synchronized Reserve Lost Opportunity Cost Credits for non-performance during synchronized events. |  | On the day-of the event, Synchronized Reserve RT Lost Opportunity Costs reflect a reduction in the RT Sync Reserve Assignment by the amount of the shortfall MW. The retroactive penalty does not include any SR LOC Credits.
| KWA3 | Key Work Activity 3 - Reserve Offer structure appropriately reflects resource capabilities and aligns with resource fuel procurement
| KWA3 | Resource Reserve Capability & Offer Structure
20 | KWA3 | Must-offer requirement |  | All generation capacity resources, excluding solar, wind, and nuclear, are required to offer in their available reserve capability.
21 | KWA3 | Reserve offer MW |  | Synchronized Reserves: For resources using the ESR participation model, Hydro, and DR, offer MWs are submitted by resource owner. For all other resource types, the offer MWs are calculated by PJM based on submitted energy offer and reserve specific parameters. Non-Synchronized Reserves: For Hydro, offer MWs are submitted by resource owner. For all other resource types, the offer MWs are calculated by PJM based on submitted energy offer and reserve specific parameters. Resources using the ESR participation model and DR are not eligible to provide NSR Secondary Reserves: For resources using the ESR participation model, Hydro and DR, offer MWs are submitted by resource owner. For all other resource types, the offer MWs are calculated by PJM based on submitted energy offer and reserve specific parameters. ESR and DR are not eligible to provide off-line SECR.
22 | KWA3 | Testing of resource reserve capability |  | N/A
23 | KWA3 | Reserve offer $ |  | Synchronized reserves: offers are capped at the expected value of the synchronized reserve penalty, calculated based on historical data. Non-Synchronized Reserves: offers are capped at $0/MW. Secondary Reserves: offers are capped at $0/MW. No additional costs (outside of expected penalties) are currently incorporated into reserve offers.
| KWA3 | Representation of Fuel Procurement
KWA3
| KWA4 | Key Work Activity 4 - Reserve Deployment
| KWA4 | Reserve Deployment
24 | KWA4 | Synchronized reserve deployment/termination mechanism |  | Operator initiates/terminates synchronized event in EMS and sends out the all-call message for non-DR resources. DR initiation/termination happens through DR hub.
25 | KWA4 | Documentation of procedures related to termination of a synchronized reserve event. |  | PJM procedures for returning to normal operations after a synchronized reserve event are documented in Manual 12 Section 4.1.2. | Increase transparency into criteria that dispatchers use to determine when to end a synchronized reserve event and memorialize them through inclusion in a manual or publishing them in some other public posting.
26 | KWA4 | Communication channels for deploying synchronized reserves |  | All-call, telemetry, and DR Hub. The reserve event is also posted on emergency procedures. | Add the reserve deployment assignment to the basepoint.
27 | KWA4 | Communication requirements |  | Resources must have 24x7 communication capabilities and staff to support communication (per NERC) and must be able to receive the all-call. Telemetry is optional. | All resources providing reserves must have telemetry to receive the reserve deployment within the basepoint.
28 | KWA4 | Constraint control in reserve deployment |  | Sub-zone deployment. Operator chooses whether to initiate the synchronized event in the RTO or in a sub-zone (i.e., MAD historically). | Change the sub-zone definition or create multiple active sub-zones.
29 | KWA4 | Resources included in synchronized reserve deployment during a synchronized event |  | All-call goes to all units in the region, regardless of reserve assignment. No new dispatch instructions are provided - units are told to ramp up to maximum capability. | All resources to continue to follow their basepoints. Synchronized reserve assignments are added to the basepoints of resources with reserve assignments as needed.
30 | KWA4 | Requested MWs from resources providing synchronized reserves during a synchronized event |  | Typically 100% synchronized reserves are requested. However, PJM may request less than 100% (rarely, if ever, done).
31 | KWA4 | Reserve deployment and dispatch procedures |  | During a synchronized reserve event, the manual direction to load reserves supersedes the current economic basepoint that the resource is receiving | Resources will continue to follow their basepoints.
32 | KWA4 | NSR deployment |  | Operators can call an NSR event through the All-Call or can call on NSR resources for energy as needed. | Deploy NSR anytime a synchronized reserve event is called. | Develop operating procedures or guidelines for when NSR should be called during a synchronized reserve event.
33 | KWA4 | Secondary reserve deployment |  | Resource is called on for energy as needed.
| KWA5 | Key Work Activity 5 - Reserve procurement quantities
| KWA5 | Energy Prices
34 | KWA5 | Energy prices during synchronized reserve events |  | LMP is based on the last approved SCED case prior to the start of the synchronized event and until another SCED case is approved. In other words, there are no special pricing rules for synchronized events unless the conversion of reserves into energy leads to a shortage of reserves, thereby causing shortage pricing to hit the LMP.
35 | KWA5 | RT SCED case approval during sychronized reserve events |  | Dispatchers continue to approve SCED cases during a synchronized event, but may wait until a SCED case reflects the system changes that triggered the synchronized event before approving a new case.
| KWA5 | Procurement
36 | KWA5 | Accounting for reserve performance in reserve market clearing |  | Operators have the ability to adjust the reliability requirement, which impacts the reserve requirements, based on reliability considerations and historical resource performance. Currently, the reliability requirement is set to 130% of the largest contingency. | Documented criteria for ending adjustments to the reserve requirements
37 | KWA5 | Reserve requirements reflect operational uncertainty |  | Operators can manually commit additional reserves under hot and cold weather conditions for reliability purposes. (Review/update language.)
38 | KWA5 | Constraint control in reserve clearing |  | Reserve resources are committed within a reserve sub-zone to meet the reserve requirement within that sub-zone. Any shortfall is made up with available reserve resources with respect to their import capability as determined by the active constraints. | Change the sub-zone definition or create multiple active sub-zones.
39 | KWA5 | Reserve clearing price calculation |  | Resources are cleared based on their offer price (capped at the expected penalty) and lost opportunity cost, which are both included in the reserve clearing price.
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Reserve Certainty Senior Task Force
Reserve Certainty and Resource Flexibility Incentives
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
Reserve Certainty Senior Task Force
Reserve Certainty and Resource Flexibility Incentives
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Reserve Certainty Senior Task Force
Reserve Certainty and Resource Flexibility Incentives
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9 | [8 empty] | Low
10 | [8 empty] | Low - Medium
Low - High
Medium
Instructions: | [8 empty] | Medium - High
1. Copy over design component, priority, and status quo columns from options matrix | [8 empty] | High
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Reserve Certainty Senior Task Force
Reserve Certainty and Resource Flexibility Incentives
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Reserve Certainty Senior Task Force
Reserve Certainty and Resource Flexibility Incentives
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Reserve Certainty Senior Task Force
Reserve Certainty and Resource Flexibility Incentives
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3