## 1. Interest Identification
Regulation Market Design Senior Task Force
Interest Identification
Instructions: List interests of all parties on this page.
1 | Reflect current and future reliability and operational needs in market design.
2 | Address previously identified market design issues in redesign effort
3 | Simplify market design where possible.
4 | Compensate commensurate with the actual service provided
5 | Evaluate performance to reflect the quality of service provided.
6 | Accurately model the operational characteristics of regulating resource types and how they impact system control.
7 | Ensure a comprehensive clearing mechanism.
8 | Comply with relevant FERC orders and NERC standards.
9 | Ensure all market calculations yield competitive outcomes
10 | Minimize compliance risk to all stakeholders
11 | Analyze and review the existing regulation requirement as renewable penetration increases and the resource mix changes in PJM
12 | Develop a sustainable regulation market solution that correctly incentivizes and compensates resources for their actual contributions to regulation.
13 | Consider technical requirements for regulation participation in light of changing resource mix
14 | Correct current issues with the marginal rate of technical substitution. Establish a framework which values the contributions of different resources
15
16
17
18
19
20

## 2. Options Matrix- Design Comp.
Regulation Market Design Senior Task Force
#REF!
OPTIONS MATRIX
RMISTF (2017) Design Component
New RMDSTF (2022) Design Component
Solution Options2
# | Design Components | Priority | Status Quo | 2017 RMISTF Filed | A | B | C | D | E | F
* | Implementation
A | Regulation Signal
1 | Signal type | High | 2 - Regulation A ("traditional signal"/ramp limited) & Regulation D ("dynamic signal"/energy limited) | n/a | RegA and RegD signals, but eliminating energy neutrality | Single signal with energy neutrality managed by dispatch | Single Signal - resource agnostic/ neutral, signal manages ACE | Status quo with reg up and reg down options | Reg-Ramp Up/Down signals with 15-minute neutrality and ramp-rate threshold. Reg-Energy Up/Down signals whose funcitons are to relieve Reg-Ramp resources and ensure neutrality between Reg-Ramp Up/Down
2 | Product type | High | Combined/bi-directional, symmetric | n/a | Reg Up and Reg Down | New product - Fast ramping regulation but strict on energy neutrality which gets paid for mileage, second product to charge when resources are depleted | Reg-Ramp and Reg-Energy are split between Up and Down signals
B | Regulation Requirement
3 | Requirement level. Static or Dynamic. | Medium - High | 525 Effective MW for Non-Ramp Hours, 800 Effective MW for Ramp Hours; Seasonally and hourly determined static values based on historic regulation requirement levels, which were calculated using a % of 2012 system peak/valley load. Static + PJM dispatch may adjust the requirement as needed to accommodate system conditions (Manual 12 Section 4.4.3). | n/a | Adequate to keep reg signal within regulation band, except in extreme conditions | Aligned with PJM load, dynamic hourly requirement as % of load for a given hour | Carry additional MW for high renewable penetration | Dynamic determined by expected system conditions (hourly or daily), formulaic combination of multiple factors | Define requirement as MW per minute of ramping instead of MW |  | Low
C | Benefits Factor (BF) or Marginal Rate of Technical Substitution (MRTS) | [9 empty] | Low - High
5 | Operational characteristics considered (ramping, sustain output, etc.) | High | n/a | 30 minutes conditional neutrality on RegD, ramp limitation | Elimination of conditional neutrality of RegD | MRTS or BF eliminated | MRTS with separate clearing prices for RegA and RegD | Discarded - Tradeoffs between resource types are explicitly discovered through pricing of the products. |  |  | Medium
6 | X-axis | High | % of RegD performance adjusted MW against the effective requirement (Manual 11 Section 3.2.7) | RegD Performance Adjusted MW | Discarded | [5 empty] | Medium - High
7 | Y-axis | High | Benefits Factor, ranging from 0 to 2.9 | Rate of Technical Substitution (RTS), varying based on ramping period and season (RMISTF curves from 0 to 6.2) | Discarded | [5 empty] | High
8 | Static or dynamic | High | Static | Static ranges, determined for each season and ramping period | Discarded - Required quantities for each product may be dynamic
9 | Effective MW calculation | High | Offer MW * BF * PerfScore; Block (rectangle) | Offer MW * PerfScore * Area under the Regulation Rate of Technical Substitution curve | Discarded - Effective MW of each cleared product is 1 provided resource meets ramp-rate threshold. If not, Effective MWs are scaled down by the ratio of actual ramp-rate to threshold ramp-rate. Threshold for Reg-Ramp will be much higher than for Reg-Energy.
10 | Procurement floor | High | Floor at BF = 0.1 | Floor at 0 for all hours (following transition) | BF/RTS floor at 1 | Discarded
11 | Treatment of self schedule and $0 offers | High | Self Schedule and $0 offer are subject to a tie breaker based on performance score for BF assignment | n/a | Discarded
D | Lost Opportunity Cost
12 | Schedule used for LOC | Medium | Cheapest of price or most expensive of cost schedule | For online resources, the schedule on which the resource is committed, or for offline resources, the cheapest of the price-based or cost-based available energy schedules | LOC removed from regulation | No LOC for Reg Ramp. LOC for Reg Energy TBD.
13 | Use of desired MW at LMP vs. desired MW at ramp limited | Medium | Desired MW at LMP | n/a | Limiting desired MW calculation to ramp limits within the hour
E | Performance Scoring
14 | Qualification testing | Medium | New unit tests -Meet or exceed 75% on 3 consecutive test ( limited to one test per calendar day.) Up-rate tests- Meet or exceed 75% on 1 test ( limited to one test per calendar day.) Signal change tests- Meet or exceed 75% on 1 test ( limited to one test per calendar day.) | Up-rate testing once per month Up-rate testing is categorized as two attempts at an updated capability (one failed test and one re-test) per month | Status quo with eliminating self-testing option, addition of derate test with same qualification as uprate test, remove differences between new and existing owners for signal change test (set new test scores vs. keeping historical scores) | RMISTF Filed with eliminating self-testing option, addition of derate test with same qualification as uprate test, remove differences between new and existing owners for signal change test (set new test scores vs. keeping historical scores)
15 | Type specific testing/scoring | High | Reg A signal or RegD signal testing. Requirements/thresholds are the same for both signals | n/a
16 | Components of performance scoring and weighting | High | Resources measured on a composite performance score = 1/3 accuracy + 1/3 delay + 1/3 precision | Precision only; that is, performance score = 100% precision score | Comparsion of cumulative absolute Regulation Response Deficiency to cumulative absolute Expected Reguation Response.
16a | Accuracy calculation | Low | The correlation between the signal and the response evaluated for 0 to 5 minutes | No longer use
16b | Delay calculation | Low | The timeliness of response measured at the highest correlation | No longer use
16c | Precision calculation | High | The absolute error between the signal at t0 and the response at t10 | The lowest of the absolute error between the signal at t0 and the response at t0 and t10. The denominator in the precision calculation will be an average of the regulation award and the absolute average hourly signal. | Signal should be scored at fixed point (Collapse two time intervals into a single time interval (i.e. t2/t5 etc.))
17 | Minimum allowable participation threshold | Low - Medium | Maintain a 40% historic performance score (average across last 100 operating hours) | Minimum allowable participation threshold to be raised from status quo 40 percent to 50 percent
18 | Minimum allowable compensation threshold | Medium | 25% composite score for the hour | n/a
18a | Change in cleared commitment - performance score | Medium | Self de-selection does not have an impact on performance score | Self de-selection results in zero score for remainder of hour. PJM dispatcher de-selection does not impact performance.
18b | Minimum allowable price-setting threshold | Low | None | n/a | If falling below performance threshold, unit not eligible to set price
18c | Minimum energy storage capability for storage participating in the Regulation Market. | Low | None - Reg D resources are not required to sustain their charge or discharge state for any predetermined amount of time. | n/a
F | Settlement
19 | Application of a substitution factor | High | Mileage ratio is applied to the performance credit For Reg A resources the mileage ratio is fixed at 1 Credit = CCP*MW*PS + PCP*MW*PS*MR where MR = Mileage Ratio | Replace Mileage Ratio from the Regulation Performance Credit with Marginal Rate of Technical Substitution and add the Marginal Rate of Technical Substitution Multiplier to the regulation capability credit Credit = CCP*MW*PS*MRTS + PCP*MW*PS*MRTS | Settlement does not include the benefits factor (assumes single signal) | Switch mileage ratio to hourly mileage of each signal | Separate clearing prices for regA and regD | Price per mile rather than price per MW | Price per mile rather than price per MW (for Reg-Ramp performance payment). Price per MWh absolute deviation from load basepoint for Reg-Energy.
20 | Settlement components | Low | 5-minute pricing, hourly settlement | n/a | Separate capability price for for all four products (Reg-Ramp Up/Down, Reg-Energy Up/Down). Separate performance price for for all four products. Reg-Ramp performace payments are for mileage, Reg-Energy performance payments are for absolute deviation from load basepoint.
G | Mileage
21 | Calculation of mileage | High | All movement regardless of direction | n/a | Mileage value should not go below 1 | Performance for miles and performance absolute deviation from load basepoint | Movement in direction of ACE control | Suspend calculation of mileage during conditional neutrality
H | Offer Structure
22 | Components of offer | Medium - High | Performance and Capability | Performance and Capability
22a | Inclusion of VOM in regulation offer | Medium | Increased VOM is allowed in the regulation performance cost offer per M-15 in Section 2.8 | n/a | Remove VOM regulation performance cost offer | Allow VOM for regulation only resources
22b | Adjusted capability offer definition | Medium | Offer Price/(BF*PS) | Offer Price/(RTS * PS)
22c | Adjusted Performance offer definition | Medium | (Offer Price * delta mileage)/(BF*PS) | (Offer Price * delta mileage)/(RTS*PS)
23 | Dual offer capability/process | High | Not Applicable | n/a | Resource decides MW offers for different signals | In the absence of an clearing engine able to manage dual offers, resources must choose, by hour, to choose to offer as RegA or RegD.
24 | Clearing timing | Medium | 30 minutes before, one hour commitments (Informal process allows resources to decommit intra-hour without impact on performance score) | n/a | Closer to operating hour and intrahour updates
25 | Change in commitment process | High | None | n/a | Release and replace resources to maintain least cost market solution
I | Implementation and Transition Plan
26a | Qualification testing transition plan |  | n/a | n/a
26b | Performance threshold transition plan |  | n/a | n/a
27 | Signal/MRTS evaluation/adjustment period | Medium - High | n/a | The first 12 months of the 24-month transition period will have a minimum (floor) Regulation Rate of Technical Substitution value of 0.65. The last 12 months of the 24-month transition period would have a minimum (floor) Regulation Rate of Technical Substitution value of 0.50. At the end of the 24-month transition period, the minimum MRTS (floor) will go to 0.
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attribute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Regulation Market Design Senior Task Force
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component |  |  | Detailed Description
1 | Regulation Signals | Signal Types | The different type of signal types PJM sends regulation resources.
2 |  | Characteristics of signals | Specific design components of the signals themselves.
3 |  | Product type | Various product types that reflect different approaches to the regulation market. For example this could be an up/down market or a signal that handles both up and down together.
4 | Regulation Requirement | Requirement level | The amount of total regulation MW that PJM will carry for the regulation product.
5 |  | Static or Dynamic | The regulation requirement either remaining static during given time periods, or dynamically changing based on load levels or other operational characteristics.
6 | Benefit Factor Curve - Shape | Operational characteristics considered | How the benefit factor curve is derived. During its initial implementation, the curve was developed based on the trade off of the neutrality component of Regulation D and the ramp limitation of Regulation A, to come up with a rate of substitution between the two products.
7 |  | X axis | The units for the X axis of the benefit factor curve.
8 |  | Y axis | The units and range for the Y axis of the benefit factor curve.
9 |  | Static or Dynamic | Characteristics of the benefit factor curve changing based on other factors, either during set time frames or completely dynamic.
10 | Benefit Factor Curve - Application and Clearing | Effective MW Calculation | How the effective MW is calculated for Regulation D resources using the benefit factor curve.
11 |  | Procurement floor | This is the point where no additional Regulation D will be procured, based on a benefit factor threshold.
12 |  | Treatment of Self Schedule and $0 offers | The way resources are treated when offered in as self schedule or $0 offer. Relation to non-zero offers.
13 | Lost Opportunity Cost | Schedule used for LOC | Which resource energy schedules are used for the calculation of LOC.
14 | Performance Scoring | Qualification testing | The performance requirements to pass regulation testing and qualify to provide regulation.
15 |  | Type specific testing/scoring | Scoring and testing being either the same or different for varying resource types or signal types.
16 |  | Components of performance scoring and weighting | The components that make up the performance score, and how these various factors should be weighted in order to get the final score.
17 |  | Minimum allowable participation threshold | The minimum performance score required to remain in the regulation market.
18 |  | Minimum allowable price-setting threshold | This is an option to allow regulation resources to set price only when they are above a given performance threshold.
18A |  | Change in cleared commitment - performance score | Performance score impact from participant self-deselecting in middle of commitment
19 | Settlements | Application of a substitution factor | How the substitution factor (between the various regulation signals) is used in settlements. The measurement of mileage is based on the movement of the signal itself, not the movement of units in response to that signal. A unit’s performance score is based on how well the unit follows the signal.
20 |  | Settlement components | The components that make up the settlement amount.
21 | Mileage | Calculation of mileage | How regulation mileage is calculated. This could either be that all mileage counts toward physical movement, or only mileage in the direction of ACE control counts toward physical movement.
22 | Offer Structure | Components of offer | The various components that are offered into the market for participation in regulation.
23 |  | Clearing timing | When the regulation market is cleared in order to give regulation resources their assignments.
24 |  | Change in commitment - process

## 2b. Option Details
Regulation Market Design Senior Task Force
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Regulation Market Design Senior Task Force
PACKAGE/ PROPOSAL MATRIX
Different Proposal than Package 1
Same Proposal Package 1
Packages
# | Design Components | Priority | Status Quo | 2017 RMISTF Filed | Package 1 | Package 2 | Package 3 | D | E | Column1
* | Implementation
A | Regulation Signal
1 | Signal type | High | 2 - Regulation A ("traditional signal"/ramp limited) & Regulation D ("dynamic signal"/energy limited) | n/a | Single Signal - resource agnostic/ neutral, signal manages ACE | Single Signal - resource agnostic/ neutral, signal manages ACE | Single Signal - resource agnostic/ neutral, signal manages ACE
2 | Product type | High | Combined/bi-directional, symmetric | n/a | Reg Up and Reg Down | Bidirectional | Bidirectional
B | Regulation Requirement
3 | Requirement level. Static or Dynamic. | Medium - High | 525 Effective MW for Non-Ramp Hours, 800 Effective MW for Ramp Hours; Seasonally and hourly determined static values based on historic regulation requirement levels, which were calculated using a % of 2012 system peak/valley load. Static + PJM dispatch may adjust the requirement as needed to accommodate system conditions (Manual 12 Section 4.4.3). | n/a | Binary regulation requirement MW levels applicable based on season and hour of day. Influenced by recent ACE and CPS historic data (2022). Modifications to the status quo to align with observed control outcomes. PJM dispatch may adjust the requirement as needed to accommodate system conditions (Manual 12 Section 4.3.3) An initial bi-level regulation requirement, defined on the basis of season and hour of day, will be set using a modified status quo. Seasonal groupings and hourly definitions will be modified vs. the status quo based on recent historic ACE data. MW magnitudes of the initial bi-level requirement are modified vs. the status quo based on ACE, CPS historic data (2022) and on operations feedback. After the first year of operation on this modified schedule, real-time data on selected control statistics from each season will be used to adjust the next year's season's hourly requirement profile, based on a series of thresholds and conditions. PJM dispatch may adjust the requirement further as needed to accommodate system conditions. (Manual 12 Section 4.3.3) | Binary regulation requirement MW levels applicable based on season and hour of day. Influenced by recent ACE and CPS historic data (2022). Modifications to the status quo to align with observed control outcomes. PJM dispatch may adjust the requirement as needed to accommodate system conditions (Manual 12 Section 4.3.3) An initial bi-level regulation requirement, defined on the basis of season and hour of day, will be set using a modified status quo. Seasonal groupings and hourly definitions will be modified vs. the status quo based on recent historic ACE data. MW magnitudes of the initial bi-level requirement are modified vs. the status quo based on ACE, CPS historic data (2022) and on operations feedback. After the first year of operation on this modified schedule, real-time data on selected control statistics from each season will be used to adjust the next year's season's hourly requirement profile, based on a series of thresholds and conditions. PJM dispatch may adjust the requirement further as needed to accommodate system conditions. (Manual 12 Section 4.3.3) | Binary regulation requirement MW levels applicable based on season and hour of day. Influenced by recent ACE and CPS historic data (2022). Modifications to the status quo to align with observed control outcomes. PJM dispatch may adjust the requirement as needed to accommodate system conditions (Manual 12 Section 4.3.3)
C | Benefits Factor (BF) or Marginal Rate of Technical Substitution (MRTS)
5 | Operational characteristics considered (ramping, sustain output, etc.) | High | n/a | 30 minutes conditional neutrality on RegD, ramp limitation | n/a | NA | NA
6 | X-axis | High | % of RegD performance adjusted MW against the effective requirement (Manual 11 Section 3.2.7) | RegD Performance Adjusted MW | n/a | NA | NA |  |  |  | Low
7 | Y-axis | High | Benefits Factor, ranging from 0 to 2.9 | Rate of Technical Substitution (RTS), varying based on ramping period and season (RMISTF curves from 0 to 6.2) | n/a | NA | NA |  |  |  | Low - Medium
8 | Static or dynamic | High | Static | Static ranges, determined for each season and ramping period | n/a | NA | NA |  |  |  | Low - High
9 | Effective MW calculation | High | Offer MW * BF * PerfScore; Block (rectangle) | Offer MW * PerfScore * Area under the Regulation Rate of Technical Substitution curve | n/a | NA | NA
10 | Procurement floor | High | Floor at BF = 0.1 | Floor at 0 for all hours (following transition) | n/a | NA | NA
11 | Treatment of self schedule and $0 offers | High | Self Schedule and $0 offer are subject to a tie breaker based on performance score for BF assignment | n/a | n/a | NA | NA
D | Lost Opportunity Cost
12 | Schedule used for LOC | Medium | Cheapest of price or most expensive of cost schedule | For online resources, the schedule on which the resource is committed, or for offline resources, the cheapest of the price-based or cost-based available energy schedules | For online resources, the schedule on which the resource is committed, or for offline resources, the cheapest of the price-based or cost-based available energy schedules | For online resources, the schedule on which the resource is committed, or for offline resources, the cheapest of the price-based or cost-based available energy schedules | For online resources, the schedule on which the resource is committed, or for offline resources, the cheapest of the price-based or cost-based available energy schedules
13 | Use of desired MW at LMP vs. desired MW at ramp limited | Medium | Desired MW at LMP | n/a | Use tracking calculation of desired MW at LMP ramp rate limited. This approach captures both the physical limitation of the resource and expected output tracked over time as dictated by lmp. https://www.pjm.com/-/media/committees-groups/task-forces/rmdstf/2023/20230222/20230222-item-06---regloc---enhanced-calculation-of-the-desired-mw-at-lmp-ramp-rate-limited.ashx | The MMU recommends that the ramp rate limited desired MW output be used in the regulation uplift calculation, to reflect the physical limits of the unit’s ability to ramp and to eliminate overpayment for opportunity costs when the payment uses an unachievable MW. | No Opinion
E | Performance Scoring
14 | Qualification testing | Medium | New unit tests -Meet or exceed 75% on 3 consecutive test ( limited to one test per calendar day.) Up-rate tests- Meet or exceed 75% on 1 test ( limited to one test per calendar day.) Signal change tests- Meet or exceed 75% on 1 test ( limited to one test per calendar day.) | Up-rate testing once per month Up-rate testing is categorized as two attempts at an updated capability (one failed test and one re-test) per month | Reduce from 3 tests to 2 tests for new resources entering Regulation market, change language from uprate test to change in capability, remove differences between new and existing owners for signal change test (setting new test scores), disqualified resources only need 1 test. | Status Quo and PJM determined test times. | Status Quo and PJM determined test times.
15 | Type specific testing/scoring | High | Reg A signal or RegD signal testing. Requirements/thresholds are the same for both signals | n/a | Reg Up signal or Reg Down signal testing. Requirements/thresholds are the same for both signals | Status Quo | Status Quo
16 | Components of performance scoring and weighting | High | Resources measured on a composite performance score = 1/3 accuracy + 1/3 delay + 1/3 precision | Precision only; that is, performance score = 100% precision score | Precision only; that is, performance score = 100% precision score | Precision only; that is, performance score = 100% precision score | Precision only; that is, performance score = 100% precision score
16a | Accuracy calculation | Low | The correlation between the signal and the response evaluated for 0 to 5 minutes | No longer use | n/a | NA | NA
16b | Delay calculation | Low | The timeliness of response measured at the highest correlation | No longer use | n/a | NA | NA
16c | Precision calculation | High | The absolute error between the signal at t0 and the response at t10 | The lowest of the absolute error between the signal at t0 and the response at t0 and t10. The denominator in the precision calculation will be an average of the regulation award and the absolute average hourly signal. | RMISTF The lowest of the absolute error between the signal at t0 and the response at t0 and t10. The denominator in the precision calculation will be an average of the regulation award and the absolute average hourly signal. | Status quo calculation for precision: The absolute error between the signal at t0 and the response at t10/divided by Assigned Reg | The absolute error between the signal at t0 and the response at t+10, Error calculated with the denominator of Areg.
17 | Minimum allowable participation threshold | Low - Medium | Maintain a 40% historic performance score (average across last 100 operating hours) | Minimum allowable participation threshold to be raised from status quo 40 percent to 50 percent | Status Quo. That is, maintain a 40% historic performance score (average across last 100 operating hours) | Maintain a 40% historic performance score (average across last 100 operating hours) | Status Quo
18 | Minimum allowable compensation threshold | Medium | 25% composite score for the hour | n/a | 25% score for the interval | 25% score for the interval | 25% score for the interval
18a | Change in cleared commitment - performance score | Medium | Self de-selection does not have an impact on performance score | Self de-selection results in zero score for remainder of hour. PJM dispatcher de-selection does not impact performance. | Self deselection results in zero score the cleared commitment period. PJM dispatcher de-selection does not impact performance. | Self deselection results in zero score the cleared commitment period. PJM dispatcher de-selection does not impact performance. | Self deselection results in zero score the cleared commitment period. PJM dispatcher de-selection does not impact performance.
18b | Minimum allowable price-setting threshold | Low | None | n/a | Status Quo | a resource with less than or equal to 25% actual 5 mins performance score can not set the price | Status Quo
18c | Minimum energy storage capability for storage participating in the Regulation Market. | Low | None - Reg D resources are not required to sustain their charge or discharge state for any predetermined amount of time. | n/a | N/A | NA | NA
F | Settlement
19 | Application of a substitution factor | High | Mileage ratio is applied to the performance credit For Reg A resources the mileage ratio is fixed at 1 Credit = CCP*MW*PS + PCP*MW*PS*MR where MR = Mileage Ratio | Replace Mileage Ratio from the Regulation Performance Credit with Marginal Rate of Technical Substitution and add the Marginal Rate of Technical Substitution Multiplier to the regulation capability credit Credit = CCP*MW*PS*MRTS + PCP*MW*PS*MRTS | n/a | N/A | NA
20 | Settlement components | Low | 5-minute pricing, hourly settlement | n/a | 5-minute pricing and settlement | Hourly price if 60 minute market, 30 minute price if a 30 minute market. Price determined as the highest cost per MW offer over the commitment period. | 5 minute pricing, settlement, and clearing
G | Mileage
21 | Calculation of mileage | High | All movement regardless of direction | n/a | Movement in support of ACE control | Movement in support of ACE control | Movement in support of ACE control
H | Offer Structure
22 | Components of offer | Medium - High | Performance and Capability | Performance and Capability | Mileage and Capability | LOC in $/MW, mileage in $/MW and and Capability in $/MW. | Mileage and Capability
22a | Inclusion of VOM in regulation offer | Medium | Increased VOM is allowed in the regulation performance cost offer per M-15 in Section 2.8 | n/a | No VOM included in regulation offer, except for regulation-only resources | No VOM included in regulation offer | No VOM included in regulation offer
22b | Adjusted capability offer definition | Medium | Offer Price/(BF*PS) | Offer Price/(RTS * PS) | Offer Price/historic PS for clearing and pricing | Offer Price/PS for clearing only, not for pricing, Price determined after each market period (30 minutes if 30 minute market), after all components of cost of supply is known (mileage, performance and LOC)
22c | Adjusted Performance offer definition | Medium | (Offer Price * delta mileage)/(BF*PS) | (Offer Price * delta mileage)/(RTS*PS) | Offer Price * product type historic mileage/historic PS for clearing and pricing | Offer Price * forecasted mileage/PS for clearing only, not for pricing
23 | Dual offer capability/process | High | Not Applicable | n/a | n/a | NA
24 | Clearing timing | Medium | 30 minutes before, one hour commitments (Informal process allows resources to decommit intra-hour without impact on performance score) | n/a | Clearing every 30 minutes, with 30 minutes commitment period, and case execution of 30 minutes ahead of the operating (regulation) time. https://www.pjm.com/-/media/committees-groups/task-forces/rmdstf/2023/20230124/item-05-regulation-clearing-process-enhancements-01242023.ashx | Clearing every 30 minutes, with 30 minutes commitment period, and case execution of 30 minutes ahead of the operating (regulation) time. https://www.pjm.com/-/media/committees-groups/task-forces/rmdstf/2023/20230124/item-05-regulation-clearing-process-enhancements-01242023.ashx | Status Quo - 60 minute clearing
24a | Regulation Range |  | Not Applicable | Not Applicable | All resources participating in both energy and regulation must submit regulation range capability to PJM, if different than than EcoMin/EcoMax. This documentation is required annually for resources with limitation where regulation range is not equal to the with economic range. Example: such limitation may include low ramp capability on the head and tail part of the energy curve, duct burner range, etc. | •Regulation range (Regulation Min and Regulation Max) should match economic dispatch range (limited by ramp rates and by economic min and economic max), unless explained by physical limitations (not fuel limit). PJM should be able to move the regulation set point over time to minimize LOC.
25 | Change in commitment process | High | None | n/a | (TBD) Day-Ahead market for Regulation service 30 minutes commitment period with clearing every 30 minutes. | 30 minutes commitment period with clearing every 30 minutes. | Status Quo - 60 minute clearing
I | Implementation and Transition Plan
26a | Qualification testing transition plan |  | n/a | n/a | Resources will not need to requalify for the phase 1 implementation of the new signal development. Re-qualification efforts will be required for the reg up/down market and a testing window will be developed no less than 3 months before go-live. An abbreviated testing option will be available for existing regulation resources (ex. 1 test vs. 2) | NA
26b | Performance threshold transition plan |  | n/a | n/a | n/a
27 | Signal/MRTS evaluation/adjustment period | Medium - High | n/a | The first 12 months of the 24-month transition period will have a minimum (floor) Regulation Rate of Technical Substitution value of 0.65. The last 12 months of the 24-month transition period would have a minimum (floor) Regulation Rate of Technical Substitution value of 0.50. At the end of the 24-month transition period, the minimum MRTS (floor) will go to 0. | PJM will plan to transition to the new signal, requirements, performance scoring and clearing/commitment timing within 12 months of the proposal being approved at FERC. The new product definition, reg up/ reg down is phase 2 of effectuating the proposal and will occur 24 months after phase 1 implementation. | PJM will plan to transition to the new signal, requirements, performance scoring and clearing/commitment timing within 12 months of the proposal being approved at FERC.
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Regulation Market Design Senior Task Force
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Regulation Market Design Senior Task Force
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Regulation Market Design Senior Task Force
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1 | 2022-04-21 | Initial matrix posted
2
3