## Version Control
Version | Date | Version Notes / Updates
1 | 2018-05-29 | Initial version. Answered first 8 questions, generally around process and rationale
1.1 | 2018-06-08 | Updated format from Word document to Excel spreadsheet for tracking purposes. Created separate tracking tab for action items/data requests. Addressed or consolidated 48 questions. Roughly 23 unique questions remain.
2 | 2018-07-06 | Updated version
3 | 2018-07-25 | Updated version. Slightly modified 5 answers (see red text and strike throughs for edits), answered 33 new questions. Sort on Date Modified = '7/23/2018'
3.1 | 2018-08-05 | Updated version. Slightly modified FAQ #3 to reflect Demand Response's capacity value among resource types.

## FAQ
PJM FUEL SECURITY FAQs
Updated - August 5, 2018
Area | Sub-Area | ID | FAQ | Response | Date Modified | Ops | Markets | SGP
General | Rationale | 1 | What is fuel security? | For PJM, fuel security is an aspect of resilience and refers to risks in the fuel supply and delivery systems to critical generators. Fuel security is the ability of the system’s supply portfolio to continue serving electricity demand through credible disturbance events, such as coordinated physical or cyberattacks or extreme weather, that could lead to disruptions in fuel delivery systems and impact the availability of generation over extended periods of time. As with reliability standards, PJM believes the most effective way to address fuel security is to define and establish fuel security criteria and then use markets to allow all resources to compete to meet those criteria. PJM is identifying potential system vulnerabilities and developing fuel security criteria to address those vulnerabilities. | 2018-05-29 | M. Bryson | S. Bresler | D. Foster
General | Rationale | 2 | Why is PJM doing this? Will the system soon be unreliable? | No. The system is reliable. In PJM’s March 2017 analysis, PJM’s Evolving Resource Mix and System Reliability, we concluded that the PJM system can remain reliable with the addition of more natural gas and renewable resources, but that an increased reliance on any one resource type and, in particular, the associated fuel delivery infrastructure introduces potential resilience risks not included under existing reliability standards. A combination of public policies, lower fuel prices and technology improvements has altered the traditional mix of resources serving customers. These factors raise questions about the long-term fuel security of the PJM system as the generation fleet evolves. | 2018-05-29 | D. Souder | C. Hendrzak | D. Phillips
General | Rationale | 3 | Isn’t this about helping coal and nuclear units? | No. PJM is fuel neutral. The energy industry and the PJM fuel mix is evolving. This evolution includes retirements due to market forces or the age of generators. While coal and nuclear have been in the news, aging gas plants also have retired. PJM’s current resource mix is more diverse than it has ever been, at approximately 30 percent coal, 30 percent nuclear, 30 percent gas and 10 percent renewables. From a capacity perspective, PJM recently cleared 11,000 megawatts of year-round demand response. As PJM President and CEO Andrew Ott testified before Congress earlier this year, PJM needed all of those resources – including gas, nuclear and coal – to get through the cold snap this past December and January. The competitive markets remain the best mechanism to maintain a reliable and secure system at the lowest reasonable cost to customers. The March 2017 PJM evolving resource mix analysis concluded that the PJM system can remain reliable with the addition of more natural gas and renewable resources, but that an increased reliance on any one fuel delivery infrastructure introduces potential resilience risks not captured by existing reliability standards. | 2018-08-05 | P. McGlynn | A. Keech | T. Burdis
General | Stakeholder Process | 4 | How will stakeholders participate in this process? | PJM welcomes all stakeholder feedback, including from federal and state agencies, regarding the scope, methodology and results of this analysis. To that end, PJM requested written comments on the draft study scope within 30 days of its posting. PJM also will hold periodic Special MRC meetings on fuel security to inform stakeholders of our progress and to invite further discussion and input. PJM anticipates completing the fuel security study outlined in our scope document within the next six months. | 2018-05-29
Study | Resource Adequacy | 5 | What is PJM considering its baseline system? | Resources that are currently in the generation interconnection queues that PJM can reasonably expect to be constructed. | 2018-05-29
Study | Resource Adequacy | 6 | How will PJM look at rate-based and subsidized assets? | PJM is not looking at how resources are funded to assess risk. PJM is looking at a framework for assessing the fuel delivery infrastructure and fuel assurance of resources. | 2018-05-29
Study | Sensitivities / Constraints | 7 | Will PJM look at distribution and transmission disruptions? | Transmission and distribution may be outside the current scope for fuel security, but may inform some of the disruption scenarios. However, distribution outage impacts and transmission are related to other resilience efforts PJM is working on. | 2018-05-29
Study | Process | 8 | Can you describe these different phases a bit more? How long will each phase take? What can the stakeholders expect? Where will these discussions take place? Will there be gradual and ongoing sharing of info or will PJM go off and come back in a few months? | A In Phase 1, PJM will identify the data needed, get feedback from members on the assumptions and start the analysis. PJM will schedule more special MRC meetings to communicate with stakeholders once results begin to come in. This process likely will take four to six months. In Phase 2, PJM will work on modeling and figuring out how to tackle any identified issues through a market construct. That will also include working with stakeholders, and will take several months. In Phase 3, PJM will engage federal and state entities for input into what PJM should consider as a credible threat. PJM is open to ongoing coordination that could happen at any time in the process, including in parallel to the other phases. | 2018-05-29
Study | Sensitivities / Constraints | 9 | How will PJM identify realistic scenarios? What tools and metrics will PJM use to evaluate them? | See PJM's 7/26/18 MRC slides for additional detail Weather: PJM anayzed historic weather data for the current PJM footprint to forecast peak load and hourly profiles for an average (Base) winter and an extreme winter. Physical disruptions to fuel delivery infrastructure: Considerations of historical disruptions and information obtained in outreach efforts. | 2018-07-23
General | Rationale | 10 | How is fuel security different from Capacity Performance? | Capacity Performance places the requirements on individual generators to perform when needed by the system. Fuel security is the ability of the system’s supply portfolio to continue serving electricity demand through credible disturbance events, such as coordinated physical or cyberattacks or extreme weather, | 2018-06-08
Study | Resource Adequacy | 11 | Will PJM consider the growth of renewable resources? | Yes, to the extent that this growth in reflected in the interconnection queue. Commercial probabilities will be taken into account when selecting replacement energy for retirement scenario. | 2018-07-23
General | Stakeholder Process | 12 | Is PJM really going to use stakeholder feedback in designing this analysis? How will it use the comments? | PJM is capturing stakeholder feedback and will utilize this input as appropriate in designing model sensititives and constraints. | 2018-06-15
General | Definition | 13 | Is fuel security being considered at a system level or a unit level? | Fuel security is achieved at system or sub-system -level. The individual supply resources themselves are assessed in contributing to fuel security | 2018-06-15
General | Definition | 14 | What are the fuel security baseline characteristics? | The actual fuel security baseline characterisitcs or definition will be informed by Phase 1 study results but determined through the Phase II stakeholder process. One possible definition is the ability of a resource to generate continuously for xx hours at specified MW capabililty. See PJM's 7/26/18 MRC slides for additional detail | 2018-07-23
Post Study | Findings | 15 | How will PJM model constraints in the capacity market? | This will be addressed in Phase 2 of the effort. PJM is open to input on how to accomplish this. | 2018-06-15
General | Stakeholder Process | 16 | How will PJM communicate the phase process, timeline and results? | PJM has established an 'Issues Tracking' work space as part of the webpage at PJM.com > Committeees & Groups > Markets & Reliability Committee. This space will contain materials and notifictaions related to this topic throughout the effort. PJM will also setup additional opportunities to review progress at stakeholder meetings. | 2018-06-15
Study | Resource Adequacy | 17 | How will PJM anticipate the role of further technological advancement in fuel security? | A definition of fuel secure resource will be developed such that any technology can qualify so long as it can demonstrate it meets the fuel security baseline characteristics or definition. This approach will allow for future technology solutions. | 2018-07-23
Study | Sensitivities / Constraints | 18 | What risk factors will PJM identify? | PJM is focusing on fuel delivery supply chain risks. | 2018-07-23
Study | Resource Adequacy | 19 | Will PJM consider the number of emergency hours as well as their duration? | The study will focus on the number of unserved energy hours across the study scenario period which may include some of PJM's current (M13) emergency procedure periods. | 2018-07-23
General | Definition | 20 | How will PJM differentiate running out of fuel for economic reasons vs. running out for reliability reasons? | The available fuel inventory of the resource, under differing sensitivities, will be assessed. The planned approach is to focus on physical capabilities in the analysis. | 2018-06-15
General | Definition | 21 | How will a resource qualify to be fuel secure? | This will be determined through the Phase II stakeholder process | 2018-07-23
Study | Sensitivities / Constraints | 22 | What about economic resilience? Will PJM consider the volatility of fuel prices and the impact on the solution to the customers? | No. Fuel price volatility is a financial risk not a reliability risk. Managing financial risk is up to the market participant given their willingness to accept risk. There are financial tools available to manage this risk. That said, economics of generation in terms of fuel prices will be taken into account in the simulation of economic dispatch. Fuel prices will be derived from currently forecasted futures pricing for January 2024 and historical day-to-day volatility consistent with average and extreme winter weather scenarios. | 2018-07-23
General | Definition | 23 | Why isn’t PJM focusing on fuel diversity? | Fuel diversity is more of a potential outcome than solution in and of itself. Unlike fuel security, fuel diversity does not signal requirements needed by system operators to ensure the continued service of electricity through credible disturbance events. One potential outcome of a fuel secure system may be a fuel diverse system. | 2018-06-15
Post Study | Findings | 24 | What expectations or requirements might PJM have for technology vendors? | The intent is to articulate the fuel security requirements to allow a response by those technologies who may be able to achieve the requirements. | 2018-06-15
Study | Sensitivities / Constraints | 25 | Is PJM considering LDAs and locations? | Yes | 2018-06-08
Study | Sensitivities / Constraints | 26 | Is PJM considering an RTO level of fuel security as well as locational requirements? | Yes | 2018-06-08
Study | Resource Adequacy | 27 | Is PJM considering maximums/minimums allowed? | The study will need to identify what is the adequate level of required fuel security for a given region. How that is ultimately modeled - as a minimum of fuel security assets, or a maximum on non-fuel secure assets - will be explored in Phases 2 and 3 of this effort. | 2018-07-06
Study | Sensitivities / Constraints | 28 | How is PJM factoring in non-wholesale DERs and energy-only resources? | Non-wholesale DER is reflected in the load forecast. All wholesale resources (including Energy-only) that are currently modeled in the 2023/24 RTEP case will be included in the study. | 2018-07-23
Post Study | Findings | 29 | Has PJM considered the trade-offs of focusing on fuel security? Will it mean giving up flexibility? | PJM will consider how to manage this potential tradeoff in phase II of the scope. To first assess any tradeoff, it will require knowing what required levels of fuel security exist, in which locations, and what resources may qualify today or in the immediate future as being fuel secure. | 2018-06-15
Study | Sensitivities / Constraints | 30 | Will PJM consider the correlation of different risk factors, for example, fuel assurance, supply chain risk factor, common mode of failure, weather-related factors? How will PJM include them in the analysis? | Correlation is considered but not quantified. The analysis will consider the impact of both weather and physical supply chain disruptions. | 2018-07-23
Study | Sensitivities / Constraints | 31 | Will PJM consider how geography impacts these risks? For example, things may be different for the Northeast than for the South. | Similar to question ID # 26 Yes | 2018-06-08
Post Study | Findings | 32 | Will the fuel security characteristics favor older units vs. new units? Since eFORd is higher for older units, is it possible the characteristic will send a signal to a retiring unit to stay around and keep out new units? How will PJM balance this? | PJM will consider how to manage this potential tradeoff in Phase 2 of the effort | 2018-06-08
Post Study | Findings | 33 | How will we incent resources owned by public utilities and subsidized assets if they are not as dependent on PJM for funding? | PJM will consider how to manage this potential tradeoff in Phase 2 of the effort | 2018-06-08
Study | Sensitivities / Constraints | 34 | Will PJM look at barriers to other fuels, why they exist and how to remove them (e.g., wind)? | PJM will consider all resources in the analysis. | 2018-06-08
Study | Resource Adequacy | 35 | Will PJM look at how firm critical load units are? Will PJM look at the blackstart component as well? | The fuel security study does not analyze restoration. There is a separate stakeholder initiative dealing with fuel assurance of blackstart resources. | 2018-07-23
Study | Sensitivities / Constraints | 36 | What is PJM’s process, tools and metrics for identifying, evaluating and measuring realistic scenarios? | Similar to question ID # 9, 30 Weather: PJM anayzed historic weather data for the current PJM footprint to forecast peak load and hourly profiles for an average (Base) winter and an extreme winter. Physical disruptions to fuel delivery infrastructure: Considerations of historical disruptions and information obtained in outreach efforts. Correlation is considered but not quantified. The analysis will consider the impact of both weather and physical supply chain disruptions. See PJM's 7/26/18 MRC slides for additional detail | 2018-07-23
Study | Resource Adequacy | 37 | How many Capacity Performance resources have firmed themselves up with dual fuel or otherwise, and how will PJM consider this in its assumptions?
Post Study | Findings | 38 | Why do customers need to pay additional money for something they already paid for with Capacity Performance? | Fuel security and Capacity Performance value distinct attributes to serve load amid undergoing an evolving fuel mix. To the extent fuel security attributes require specific valuation because a need exists, establishing a discrete, locational market signal best specifies the need for this attribute by demand. | 2018-06-08
Study | Sensitivities / Constraints | 39 | Why is PJM focusing on the duration of cold weather versus the number of emergency hours within the day? | Fuel security is focused on mitigating fuel delivery risk under a sustained period of extreme weather - fleet wide concern. Capacity Performance is focused on unit specific performance during emergency hours. This study should identify "unserved energy" hours throughout the period of study as well. | 2018-07-23
Post Study | Findings | 40 | How is PJM going to model constraints in RPM? | This will be addressed in Phase 2 of the effort. | 2018-06-08
Study | Resource Adequacy | 41 | How will the study consider subsidized units? | Similar to question ID # 6 PJM is not looking at how resources are funded to assess risk. PJM is looking at a framework for assessing the fuel delivery infrastructure and fuel assurance of resources. | 2018-05-29
Study | Resource Adequacy | 42 | What impact did Capacity Performance have on incenting generators to switch to dual fuels? | Similar to question ID # 37
Study | Resource Adequacy | 43 | How many generators does PJM currently have with dual fuels? How many generators did PJM have with dual fuels when Capacity Performance began? | Similar to question ID # 37
Study | Resource Adequacy | 44 | What report or reports does PJM have that provide(s) the results of the changes made to the capacity market as a result of Capacity Performance? | Please refer to PJM's June 2018 report, 'Strengthening Reliability: An Analysis of Capacity Performance" | 2018-07-23
Study | Sensitivities / Constraints | 45 | Can PJM provide some examples of "potential portfolios" that will be examined in PJM's study of fuel security? | PJM is using a 2023/24 base case to include all announced retirements and transmission upgrades. The base case portfolio is stressed through various conditions (e.g., weather sensitivities resulting in increased demand, retirement scenario, and a simulation that focused on the impact of an extended duration event). PJM can provide details as part of Fuel Security report | 2018-07-23
General | Definition | 46 | What does PJM consider to be "significant disruptive events"? | Physical fuel delivery disruptions that impact the availability of clusters of PJM generation, and potentially, PJM's ability to serve load. | 2018-07-23
Study | Resource Adequacy | 47 | How many units currently have dual fuel in each area and how can other fuels substitute? Did capacity performance really incent resources to add dual fuel capabilities? | Similar to question ID # 37
Study | Resource Adequacy | 48 | How will PJM balance fuel security needs when some “fuel free” resources can also add value? | PJM plans to utilize a resource's capacity factor in assessing a baseline level of contribution. | 2018-06-08
N/A | N/A | 49 | Why doesn’t PJM have more renewables? What are the barriers? | This particular assessment would be out of scope for this project. The leading contributor to renewable capability would be the respective solar penetration and wind speed profiles of a given region. As documented by the NREL Geospatial Data Science Team, the PJM region offers lower levels of solar penetration and lower levels of wind speed capability than the profiles of other regions of the country. | 2018-06-08
Study | Resource Adequacy | 50 | How do we address lack of deliverability if the transmission and distribution system is adversely affected? | Similar to question ID # 7 Transmission and distribution may be outside the current scope for fuel security, but may inform some of the disruption scenarios. However, distribution outage impacts and transmission are related to other resilience efforts PJM is working on. | 2018-06-08
Study | Sensitivities / Constraints | 51 | Will there be locational component to fuel security as well as a global component? | Similar to question ID # 26 Yes | 2018-06-08
Post Study | Findings | 52 | How is PJM footprint different from other areas in the country? | This will be better understood once PJM completes its initial assessment in Phase 1, however, the NERC's 2018 Summer Reliability Assessment offers an initial comparative outlook for the different regions. | 2018-06-08
N/A | N/A | 53 | In a restoration, critical load units are primarily gas. These may not have firm fuel. Will PJM look more closely at this? | Out of scope. As a separate initiative, the PJM Operating Committee will be asked to endorse a Problem Statement/Issue Charge at its July 2018 meeting to address the topic of fuel assurance for system restoration. The intent is to update business rules | 2018-06-08
Study | Resource Adequacy | 54 | Is there a good way to differentiate between resources using oil for economics vs. resources running on oil due to physical restriction on other fuel types?
Study | Sensitivities / Constraints | 55 | Should there some form of at-risk assessment done? Does PJM want to solicit resource owner thoughts on their equipment? | As part of the sensitivity analysis, as PJM does in modeling LDAs as part of the CETO/CETL ratio analysis, PJM will apply differing levels of at-risk resource assessments to define if a region is at risk of not being fuel secure. Additionally, the PJM IMM conducted an assessment of at-risk resources which may help inform this sensitivity over a longer-term outlook. | 2018-06-08
Post Study | Findings | 56 | What is the right level of granularity for fuel security? | At this point, it is premature to identify and is better addressed in Phase 2 of the effort. At the outset, a deliverability area appears the most logical level of granulaity to ensure adequate power supplies amid modeled scenarios. | 2018-06-08
Study | Sensitivities / Constraints | 57 | Is PJM open to considering what would replace retiring coal and nuclear resources? | Yes. PJM believes it is the most logical to use the existing interconnection queue as the starting point for replacement. It is expected the queue would be assessed to account for the historical probability of commercial operation for various resource types and locations. PJM believes feedback on how to assess the existing interconnection queue may prove the most beneficial. | 2018-06-08
Study | Sensitivities / Constraints | 58 | What are PJM’s assumptions around dual fuel usage? | Similar to question ID # 54 The study will simulate generation switching fuels for both economic and physical reasons based on weather-related and physical distruption assumptions. | 2018-07-23
Post Study | Findings | 59 | Who does PJM see as determining if constraints go into the capacity market? | This will be addressed in Phase 2 of the effort. | 2018-06-08
Data Request |  | 60 | Did keeping units running and partially loaded vs. cycling them during the cold snap improve performance? Can PJM capture this operational paradigm in the analysis? | MOVED TO ACTION ITEMS | 2018-06-08
General | Stakeholder Process | 61 | Since this is a fuel impact item, will PJM engage fuel industries as part of the study? | PJM has engaged fuel industry companies as well as trade associations to assess credible scenarios and vulnerabilities in defining the scope of this assessment. Regular involvement in the PJM stakeholder is encouraged. | 2018-06-08
Study | Sensitivities / Constraints | 62 | Is PJM doing sensitivity studies on how dual fuel can improve performance if other fuel types are stressed? | Addressed in question ID # 54 The study will simulate generation switching fuels for both economic and physical reasons based on weather-related and physical distruption assumptions. | 2018-07-23
Post Study | Findings | 63 | How would PJM handle fuel cost volatility resiliency? Should “economic resilience” be incorporated in the analysis? | Similar to question ID # 22 No. Fuel price volatility is a financial risk not a reliability risk. Managing financial risk is up to the market participant given their willingness to accept risk. There are financial tools available to manage this risk. That said, economics of generation in terms of fuel prices will be taken into account in the simulation of economic dispatch. Fuel prices will be derived from currently forecasted futures pricing for January 2024 and historical day-to-day volatility consistent with average and extreme winter weather scenarios. | 2018-07-23
Post Study | Findings | 64 | Will the locations be the same LDAs used for transmission constraints? Or will they be based on the location of fuel secure resources? | The LDA is PJM's initial thinking as a logical locational assessment. This will be addressed in Phase 2 of the effort, however. | 2018-06-08
Study | Definition | 65 | Will PJM place a minimum level of fuel secure resource or maximum on non-fuel secure resources when modeling? | Similar to question ID #27 The study will need to identify what is the adequate level of required fuel security for a given region. How that is ultimately modeled - as a minimum of fuel security assets, or a maximum on non-fuel secure assets - will be explored in Phases 2 and 3 of this effort. The study will suggest metrics for quantifying the level of fuel security for a given region, and also metrics for quantifying the contribution to fuel security (or to fuel insecurity) of individual resources. | 2018-07-06
Study | Sensitivities / Constraints | 66 | Would fuel assurance alone improve reliability and resilience, and at what cost? Will other types of factors impact reliability (i.e., plant issues)? | Fuel security is a reliability attribute of generation resources that improve reliability and resilience. For the purposes of the analysis, plant issues will be reflected in unit specific forced outage rates. The implemention of a fuel security solution would consider existing market constructs and operating procedures and will be addressed in Phase 2. | 2018-07-23
Study | Sensitivities / Constraints | 67 | Could valuation be approached with multiple constraints or layering attributes? | Approaches for valuing fuel security will be addressed in the Phase 2 stakeholder process | 2018-07-23
Post Study | Findings | 68 | What about non-wholesale (retail resources, etc.) and non-capacity resources that still impact reliability and resilience? | Similar to question ID # 28 Non-wholesale DER is reflected in the load forecast. All wholesale resources (including Energy-only) that are currently modeled in the 2023/24 RTEP case will be included in the study. | 2018-07-23
Post Study | Findings | 69 | How do PJM’s risk factors compare to other parts of the nation? What are PJM’s unique risk factors? | Similar to question ID # 52 This will be better understood once PJM completes its initial assessment in Phase 1, however, the NERC's 2018 Summer Reliability Assessment offers an initial comparative outlook for the different regions. | 2018-06-08
Post Study | Findings | 70 | Why should customers be paying additional money for attributes they are already supposed to be getting? | Similar to question ID # 38 Fuel security and Capacity Performance value distinct attributes to serve load amid undergoing an evolving fuel mix. To the extent fuel security attributes require specific valuation because a need exists, establishing a discrete, locational market signal best specifies the need for this attribute by demand. | 2018-06-08
Study | Sensitivities / Constraints | 71 | Will PJM look at coincidences of distribution system disruption where there are a large amount of distribution outages? Should we consider dynamic situations vs static situations? | Similar to question ID # 7 Transmission and distribution may be outside the current scope for fuel security, but may inform some of the disruption scenarios. However, distribution outage impacts and transmission are related to other resilience efforts PJM is working on. | 2018-06-08
General | Stakeholder Process | 72 | Should other parties beyond PJM stakeholders be brought into the process? Especially those that have dissenting thoughts on resilience (AGA, NGA, other gas, oil, coal associations)? | Similar to question ID # 61 PJM has engaged fuel industry companies as well as trade associations to assess credible scenarios and vulnerabilities in defining the scope of this assessment. Regular involvement in the PJM stakeholder is encouraged. | 2018-06-08
Post Study | Findings | 73 | Is there something we should lay out as requirements for different technologies (i.e., what is the requirement for storage technologies that should be considered?) | Similar to question ID # 24 The intent is to articulate the fuel security requirements to allow a response by those technologies who may be able to achieve the requirements. | 2018-06-08
General | Stakeholder Process | 74 | When would PJM like written feedback from stakeholders? | June 8, 2018 | 2018-06-08
Study | Sensitivities / Constraints | 75 | Does PJM have all of the operating history and generator survey data it needs or should there be a formal request sent out to resource owners? | PJM issued a generator survey in June to support the fuel security initiative and has continued outreach with members to ensure PJM has the information needed to perform the analysis | 2018-07-23
Study | Sensitivities / Constraints | 76 | How do we gain confidence that we understand where gas supply limits may exist? | PJM is focused on increasing knowledge of supply chain risks, and is conducting outreach with industry groups to better understand risks and make assumptions for purposes of the analysis. The fuel security study is a first step for enhancing PJM's understanding of these risks. | 2018-07-23
Study | Sensitivities / Constraints | 77 | How will PJM develop reasonable scenarios of threats without disclosing confidential or critical information? Should some aspects of the study remain confidential? | Today as part of the PJM capacity market planning parameters, PJM assess and posts information as it relates to the electric deliverability into a given deliverability region. The underlying models used to determined that information are classified under CEII protocols. To the extent similar concerns exist as the result of this study, PJM envisions the employment a similar process. | 2018-07-23
Study | Sensitivities / Constraints | 78 | Much of PJM’s threat assessment data is related to the electric grid – is PJM comfortable that it has the same level of understanding/assessment of critical or major fuel supplies? | Similar to question #76 PJM is focused on increasing knowledge of supply chain risks, and is conducting outreach with industry groups to better understand risks and make assumptions for purposes of the analysis. The fuel security study is a first step for enhancing PJM's understanding of these risks. | 2018-07-23
Study | Sensitivities / Constraints | 79 | How will PJM effectively integrate planning and forecasting information into the study, and what are the appropriate criteria? For example, the retirement of a handful of nuclear in western Pennsylvania/eastern Ohio will result in the loss of significant low-EFORd, baseload resources – should the planning assumptions be coordinated to that action? System EFORd would increase, and regionally the criteria could swing significantly, as would transfer capability in and around the region. In RPM, these are static inputs; is there a way to treat them dynamically in the study or maybe in some iterative fashion? | As part of the sensititivity analysis, as PJM does in modeling LDAs as part of the CETO/CETL ratio analysis, PJM will apply differing levels of at-risk resource assessments to define if a region is at risk of not being fuel secure. | 2018-07-06
General | Definition | 80 | Has the concept of resilience that PJM is using been approved by FERC? Wouldn't that be the first step before embarking on this path? | The FERC proceeding is looking at a large contingent of items related to resilience including transmission, operations, the role of markets, governance, etc. Fuel security is a component and one measure of the system's total resilience. This analysis is attempting to help inform how the PJM system views the concept of fuel security. | 2018-07-23
Study | Sensitivities / Constraints | 81 | How will PJM take into account the Fixed Resource Requirement entities? This reference does not mean "subsidized units", but entities entirely outside of the capacity auction/market mechanisms. | Resources that comprise FRR plans meet the same standards as those resources that are used to establish resource adequacy through the capacity market mechanism. This includes the location of FRR capacity resources to respect transmission constraints, meeting the total system installed reserve margin, and ensuring that in operation resources used to satisfy an FRR also meet capacity performance standards. It is therefore expected that should fuel security standards be established across the system, resources used to satisfy an FRR plan would meet similar standards. | 2018-07-23
Post Study | Findings | 82 | Will adding a fuel security requirement/market make PJM more than 1 day in 10 year reliable? | This will require a review after the initial analysis of Phase 1. | 2018-07-23
Study | Sensitivities / Constraints | 83 | The BRA, partly due to the downward-sloping demand curve, continually procures more than the required reserve margin. Wouldn't that be the base assumption in this study? | Yes | 2018-07-23

## Action Items_Data Requests
PJM FUEL SECURITY FAQs
Updated - July 23, 2018
ID | Requestor | Action Item / Data Request | Response | Date Modified
1 |  | Did keeping units running and partially loaded vs. cycling them during the cold snap improve performance? Can PJM capture this operational paradigm in the analysis? | Under review | 2018-08-05