## Sheet1
LMP Bus Model Update - September 17, 2021
Buses Added
Pnode ID | Tx Zone | Substation | Voltage | Equipment
2156112219 | AECO | ATCO | 69 KV | KETTLESP
2156112151 | AECO | PINEHILL | 69 KV | GEMSLFSP
2156112051 | AEP | ALPINES | 69 KV | HWNCOOP
2156112263 | AEP | ARBOLES | 138 KV | ACP1
2156111972 | AEP | ARBOLES | 138 KV | ACP2
2156112238 | AEP | BEARTOWN | 69 KV | LOAD1
2156111988 | AEP | BILLIAR | 69 KV | T1
2156112073 | AEP | BILLIAR | 69 KV | T2
2156112026 | AEP | CLIFFTOP | 138 KV | T1001
2156112122 | AEP | DEERCREE | 69 KV | DEANLOAD
2156112027 | AEP | GUERNSEY | 23 KV | 11CC
2156112284 | AEP | GUERNSEY | 23 KV | 21CC
2156111970 | AEP | GUERNSEY | 23 KV | 31CC
2156112230 | AEP | GUERNSEY | 23 KV | AUX1_LD
2156112144 | AEP | GUERNSEY | 23 KV | AUX2_LD
2156111968 | AEP | GUERNSEY | 23 KV | AUX3_LD
2156111969 | AEP | HUFFCREE | 138 KV | T4
2156111985 | AEP | LEAPERSW | 138 KV | T1
2156112038 | AEP | LUNDY | 69 KV | REDDEVIL
2156112009 | AEP | MUSEVILL | 34.5 KV | MAPLEWSP
2156112246 | AEP | NFREDRIC | 69 KV | LOAD1
2156112243 | AEP | SALERNO | 138 KV | T1
2156112105 | AEP | SOLIDA | 138 KV | T1
2156112110 | AEP | TRAILSW | 69 KV | T1
2156112063 | AEP | WESDEL | 138 KV | T1LD
2156112198 | AEP | WINESBUR | 69 KV | T1
2156112203 | ATSI | GLCRSTOE | 69 KV | BPOIL_LD
2156112068 | ATSI | GLCRSTOE | 69 KV | MCKNGHTS
2156111975 | ATSI | MEDINA | 69 KV | POE_LOAD
2156112045 | ATSI | STAR_FE | 69 KV | PORTAGE
2156112159 | ATSI | STAR_FE | 69 KV | WADS2_LD
2156112197 | ATSI | WRAVENNA | 69 KV | BRIMFIEL
2156111966 | COMED | 100 SHAD | 34.5 KV | GSG-7WF
2156112055 | COMED | 969 ECOG | 34.5 KV | LENAWF2
2156111991 | COMED | H447RR | 138 KV | LDCOR
2156112099 | DAY | HEC_ENER | 34.5 KV | GEN1SP
2156112216 | DAY | HEC_ENER | 34.5 KV | GEN2SP
2156112208 | DAY | HEC_ENER | 34.5 KV | GEN3SP
2156112113 | DAY | HEC_ENER | 34.5 KV | GEN4SP
2156112166 | DEOK | HALFACRE | 138 KV | BK1LOAD
2156112245 | DEOK | HALFACRE | 138 KV | MOBLOAD
2156112137 | DOM | CHASECTY | 13 KV | TX2
2156112224 | DOM | EASTERS | 115 KV | LD1
2156112286 | DOM | EASTERS | 115 KV | LD2
2156112062 | DOM | ENDCAVRN | 35 KV | ENDCA1SP
2156112092 | DOM | ENDCAVRN | 35 KV | ENDCA2SP
2156112281 | DOM | MTLAURE4 | 115 KV | MOBILELD
2156112126 | DOM | OWLTRAP | 34.5 KV | CARVERSP
2156112190 | DOM | PINEGLAD | 34.5 KV | PINEGLSP
2156112258 | DOM | SOJOURNR | 230 KV | LD1
2156112287 | DOM | SOJOURNR | 230 KV | LD2
2156112254 | DOM | SUFFOLK | 35 KV | STRATFSP
2156112264 | DOM | TYSONS | 230 KV | SR1
2156112008 | DOM | WINTERSB | 34 KV | TX1LOAD
2156112183 | DOM | WINTERSB | 34 KV | TX4LOAD
2156112084 | EKPC | SPEDWLRD | 69 KV | SPEED_LD
2156112119 | OVEC | DOEX555 | 12 KV | T1
2156111999 | OVEC | DOEX555 | 12 KV | T2
2156112217 | PECO | MITALTAP | 35 KV | LOAD1
2156112044 | PECO | MITALTAP | 35 KV | LOAD2
2156111993 | PECO | MITALTAP | 35 KV | LOAD3
2156112150 | PECO | MITALTAP | 35 KV | MITSTEEL
2156112164 | PENELEC | CAMBRIA | 46 KV | BETHMINE
2156111995 | PENELEC | LEWISTOW | 230 KV | T1_LOAD
2156112082 | PPL | AIRPROHT | 69 KV | HOAP1_LD
2156112143 | PPL | AIRPROHT | 69 KV | HOAP2_LD
2156112229 | PPL | DELANOPL | 69 KV | T1LOAD
2156112231 | PPL | FRACKVIL | 69 KV | ALTALOAD
2156112207 | PPL | GTI | 69 KV | GTI_LD1
2156112275 | PPL | GTI | 69 KV | GTI_LD2
2156111976 | PPL | KEYSTCEM | 69 KV | SUB1_LD1
2156112059 | PPL | KEYSTCEM | 69 KV | SUB1_LD2
2156112125 | PPL | KEYSTCEM | 69 KV | SUB2_LD1
2156112133 | PPL | KEYSTCEM | 69 KV | SUB2_LD2
2156112129 | PPL | LAURELTO | 69 KV | LAUR_LD
2156112022 | PPL | LAURELTO | 69 KV | MFBG_LD
2156112240 | PPL | LOGANTON | 69 KV | LOGA1_LD
2156112234 | PPL | LOGANTON | 69 KV | LOGA2_LD
2156112157 | PPL | MAHONYCI | 69 KV | GIMALOAD
2156112132 | PPL | MAHONYCI | 69 KV | MACILOAD
2156112033 | PPL | MAHONYCI | 69 KV | PRIMLOAD
2156112031 | PPL | MCGVRNVL | 69 KV | KELG2_LD
2156112233 | PPL | MCGVRNVL | 69 KV | LAND1_LD
2156112289 | PPL | MCGVRNVL | 69 KV | LAND2_LD
2156112002 | PPL | MCGVRNVL | 69 KV | SISP_LD
2156112212 | PPL | SHENAND | 69 KV | KEANLOAD
2156112066 | PPL | SHENAND | 69 KV | T1LOAD
2156112128 | PPL | SHENAND | 69 KV | T2LOAD
2156112069 | PPL | TAMANEND | 69 KV | T1LOAD
2156112176 | PPL | TAMANEND | 69 KV | T3LOAD
2156112189 | PPL | TUSCAROR | 69 KV | REYNLOAD
2156112181 | PPL | TUSCAROR | 69 KV | TUSCLOAD
2156112293 | PPL | UNIVERPL | 69 KV | UNIV_LD1
2156112162 | PPL | UNIVERPL | 69 KV | UNIV_LD2
2156112067 | PSEG | BUSTLETO | 13 KV | FLSP
2156112028 | PSEG | FAIRMNT | 69 KV | T1LD
2156112014 | PSEG | FAIRMNT | 69 KV | T2LD
Buses Deleted
Pnode ID | Tx Zone | Substation | Voltage | Equipment
32410919 | AEP | CLIFFVIE | 69 KV | T1
1552830718 | AEP | HARRISCS | 138 KV | T2
2156111870 | AEP | SHIEHILL | 69 KV | TRAIL
5021102 | APS | CABOT2 | 138 KV | CABOT
106856811 | ATSI | NEWCASOE | 69 KV | TEMPLD
1338431610 | DOM | COLUMBI4 | 115 KV | COLUMBBT
1356162998 | DPL | LINKWOOD | 69 KV | LINWOSLR
1097732632 | PPL | GRNWDTP | 69 KV | RYANTWSP
49133 | PPL | NAZARETH | 69 KV | BUS_1
49134 | PPL | NAZARETH | 69 KV | BUS_3
2156110602 | PSEG | BURLINGT | 26 KV | BURISLSP
2156111003 | PSEG | PLAINSBU | 230 KV | CRNBRYSP
2156111002 | PSEG | PLAINSBU | 230 KV | SCHALKSP
Changed From: |  |  |  |  | Changed To:
Pnode ID | Tx Zone | Substation | Voltage | Equipment | Pnode ID | Tx Zone | Substation | Voltage | Equipment
83734351 | DOM | CLARKVTP | 115 KV | TX1 | 2156112214 | DOM | CLARKVDP | 115 KV | TX1LD
2156111341 | DOM | LGHTFOOT | 35 KV | LITFOTSP | 2156112235 | DOM | LGHTFOOT | 35 KV | ROCHAMSP
53049033 | PPL | FRACKVIL | 69 KV | LRIDGWF1 | 2156112179 | PPL | MAHONYCI | 69 KV | LRIDGWF1
1097721317 | PPL | GRNWDTP | 69 KV | FRAC3 | 2156112174 | PPL | GRNWDTP | 69 KV | GRWOLOAD
2156110126 | PPL | LIMESTON | 69 KV | DUM_LOAD | 2156112185 | PPL | LIMESTON | 69 KV | LIME2_LD
1305117127 | PPL | MCGVRNVL | 69 KV | LOAD | 2156112116 | PPL | MCGVRNVL | 69 KV | MCGO2_LD
2156109881 | PPL | MCGVRNVL | 69 KV | LOAD2 | 2156112075 | PPL | MCGVRNVL | 69 KV | KELG1_LD
2156111324 | PSEG | PRNCTNPS | 69 KV | WESWINSP | 2156112177 | PSEG | PRNCTNPS | 69 KV | PUCGFCT
Aggregates Added
Pnode ID | Name
2156111904 | SOUTH
Aggregates Deleted
Pnode ID | Name