## 95% Loading
2016/2017 ARR Allocation - Facilities with MW Flow > 95% of Rating after Stage 1
Constraint | Contingency
02KYHS 138 KV 02K-OTT | L138.Ottawa-WestFremont.1
02KYHS 138 KV 02K-WFR1 | L138.Ottawa-WestFremont.1
0404 Quad Cities-H471 l/o 15503 Cordova-Nelson 345 kV | Flowgate
0621 Byron-Cherry Valley 345 kV l/o 0622 Byron-Cherry Valley 345 kV | Flowgate
0622 Byron-Cherry Valley 345 kV l/o 0621 Byron-Cherry Valley 345 kV | Flowgate
1 LASALL345 KV 0104 | L345.Braidwd-E.Frnkfrt-GoodingGr & BRAIDWD 7-8 CB
122 BELV138 KV 15623 2 | L345.CherryValley-SilverLake.15616
12204 138 KV 12204 1 | L345.CherryValley-SilverLake.15616
12205-151 Woodstock 138 kV l/o Cherry Valley-Silver Lake 345 kV | Flowgate
155 NELS345 KV 15502 | Actual
15508 138 KV 15508 3 | L345.Nelson-ElectricJunction.15502
156 CHER138 KV 15624 1 | L345.CherryValley-SilverLake.15616
156 CHER138 KV 15627 1 | L345.CherryValley-SilverLake.15616
156 CHER345 KV TR81CT-P | Actual
156 CHER345 KV TR82CT-P | L345.CherryValley-SilverLake.15616
15616 Cherry Valley-Silver Lake l/o 15502 Nelson-Electric Jct. | Flowgate
15623-Belvidere 138 l/o Cherry Valley-Silver Lake 345 | Flowgate
2221 Zion-PlsPr for 9922 Zion-Arcd | Flowgate
2543_Whitestown_Guion345kV_flo_Petersburg_Thompson345kV | Flowgate
4 QUAD C345 KV 0404 | L345.Nelson-Cordova.15503 SPOG 1-3-G
6 BYRON 345 KV 0622 | Actual
6 BYRON 345 KV 0622 | L345.Byron-CherryValley.0621
6101-Hennepin 138 l/o Oglesby Tap 138 sub | Flowgate
6101-Hennepin 138 l/o Princetp 138 Sub | Flowgate
6101tap_Hennepin138_FLO_Kewanee_CrescentRidgeWF138 | Flowgate
7713 138 KV 7713 1 | L345.Kendall-Tazewell.L93505 (Multi-P SPOG 1-3-B)
AEP76025_SDNY_SDNY_EGNE_4501_A | Flowgate
AEP76X13_EUGENE_BUNSOEUGEN34_1_1 | Flowgate
AEPCIN16_BREED_BRED-CSYW-1_1 | Flowgate
ALDENE 230 KV ALD-SPRG | Actual
AMI13055_MCBWPVS-MCBW-1_A | Flowgate
AMI13125_HENNEPINP-1512_1 | Flowgate
AMI13148_EDWARDS2_38L7423_38 | Flowgate
AMI34002_EFNW_E138-NEGS-1_A | Flowgate
AMI34002_LAS_LAS-VINC-1_1 | Flowgate
AMI34002_LOUS_LOUS-OLNN-1_A | Flowgate
AMI34002_NEWTON2_NWTY-ROBM-1_A | Flowgate
AMI34003_NEGS_TR_2_TR_2_345_138KV | Flowgate
AMI34004_NORN_ALBS-NORN-1_B | Flowgate
AMI34005_HAVS_HAV_MSCW_1406_A | Flowgate
AMI34008_SHLS_PANN-SHLS-1_A | Flowgate
AMI34010_RAME_TR_1_TR_1_345_138KV | Flowgate
AMI34010_SHLS_PANN-SHLS-1_A | Flowgate
AMI34012_MTVRNON0_TX00_TR4 | Flowgate
AMI34012_WFRK_WFRE-WFRK-1_A | Flowgate
AMI34017_BALDWIN_TX01_TR4 | Flowgate
AMI34023_BALDWIN_TX01_TR4 | Flowgate
AMI34025_STAUNTONP-1436_3 | Flowgate
AMI34X01_NEWTON2_TR_2_TR_2_345_138KV | Flowgate
AMI34X02_NEWTON2_TR_1_TR_1_345_138KV | Flowgate
AMI34X04_EDWARDS2_38L7423_38 | Flowgate
AMIAEP02_LAS_LAS-VINC-1_1 | Flowgate
AMICE1_HENNEPINP-1512_1 | Flowgate
AMICE58_HENNEPINP-1512_1 | Flowgate
AMICEK03_SHRAM_TPP-1466_2 | Flowgate
AMO34005_LABADIE_L_MTGY_4_A | Flowgate
AMO34017_BELU_BELU-MTGY-6_A | Flowgate
AMO34017_ENON_TP_BELU-MTGY-6_B | Flowgate
AMO34027_LABADIE_L_GRAY_2_A | Flowgate
AMO34X18_BALDWIN_TX01_TR4 | Flowgate
AP South for l/o BED-BLA | Interface
ATHENIA 230 KV ATH-CLIB | Actual
ATHENIA 230 KV ATH-CLIB | L230.CedarGrove-Clifton-Athenia.K-2263
ATHENIA 230 KV ATH-COO | L230.Hudson-Penhorn-Belville-NBergen-Bergen.X-2250
BASE_GBCS_GBCS_PAXE_1_B | Flowgate
Beaver_Channel_Albany_161_flo_Cordova_Nelson_345 | Flowgate
BEAVERBR230 KV BEA-GLO | L500.HopeCreek-RedLion.5015
BEAVERBR230 KV BEA-NEW | L500.HopeCreek-RedLion.5015
Belvidere-12205 138 l/o Cherry Valley-Silver Lake 345 | Flowgate
BERGEN 230 KV BER-NBE | L230.Athenia-Belleville.Z-2226
Braidwood-East Frankfurt 2001 345 l/o Braidwood-East Frankfurt 2003 345 | Flowgate
BROKAW_CNBELT_138_flo_BROKAW_NLEROY_WEEDMN_138 | Flowgate
Brokaw_Cornbelt_138Kv_flo_Kincaid_Pawnee_345Kv+Kincaid_Latham_Bluemound_345Kv | Flowgate
Brokaw_Cornbelt_138Kv_flo_Pontiac_Bluemound_345Kv | Flowgate
Brokaw_Cornbelt_flo_Kincaid_Lthm_BlueMnd_Lthm_XF | Flowgate
BROKAW_CRNBELT_138_flo_RISING_GOOSECRK_345 | Flowgate
BROKAW_CRNBELT_138_flo_VERMILION_NCHAMPGN_138 | Flowgate
Bunsonville_Eugene_345_flo_Rockport_Jefferson_765 | Flowgate
BUNSONVILLE_EUGENE_BREED_CASEY | Flowgate
BURLINGT230 KV BUR-CRO | L230.Camden-Richmond.C-220-29
Byron-Cherry Valley 0621 345 kV l/o Byron-Wempletown 345 kV | Flowgate
Byron-Cherry Valley 0622 345 l/o Byron-Wempletown 0624 345 | Flowgate
CAMDEN 230 KV CAM-GLOY | Actual
CAMDEN 230 KV CAM-GLOY | L500.HopeCreek-RedLion.5015
CARLLS 69 KV CAR-SHE | L230.Bridgeport-Mickleton.2315
CARNEYPT69 KV CAR-DEE2 | L230.Bridgeport-Mickleton.2315
CARNEYPT69 KV CAR-PENN | L230.Bridgeport-Mickleton.2315
CaseyWest_Breed345_flo_WiltonCenter_Dumont765 | Flowgate
Cayuga 345/230kV XFMR 10 (flo) Jefferson-Rockport 765kV | Flowgate
CEDARGRO230 KV CED-CLIK | Actual
CEDARGRO230 KV CED-CLIK | L230.CedarGrove-Clifton-Athenia.B-2228
CEDARSUB230 KV CED-CEDF | L230.CedarGrove-CedarSub-Roseland.Y-2277
CEDARSUB230 KV CED-CEDY | L230.Roseland-William.S-2297
CEDARSUB230 KV CED-ROSY | L230.Roseland-William.S-2297
CEDARSUB230 KV CED-WILF | L230.CedarGrove-CedarSub-Roseland.Y-2277
Cherry Valley-Silver Lake (15616) 345 kV line | Flowgate
CHESAPKE115 KV TGT4 | Actual
CHESTER4230 KV 217A | L230.Chesterfield-Basin.259
CHURCHTO230 KV CRCH #1 | L230.Bridgeport-Mickleton.2315
CHURCHTO69 KV CHU-DEE | L230.Bridgeport-Mickleton.2315
CIN34015_CAYUGA_9P_9P | Flowgate
Clifty Creek-Trimble County 345 | Flowgate
COOKRD 230 KV COO-KIN | L230.Hudson-Penhorn-Belville-NBergen-Bergen.X-2250
Cordova-Nelson 345 (flo) Quad Cities-H471 345 | Flowgate
Cordova-Nelson 345 kV (15503) l/o H471-Nelson 345 kV (15504) | Flowgate
Cornbelt_Brokaw_GBCS-1_2_138Kv_flo_Vermilion_4N_Champgnw_138Kv | Flowgate
CRNBELT_GIBCTY_138_flo_PAXE_SDNY_RANT_138 | Flowgate
Cumberland_Bush_138kV_flo_Cayuga_Cayuga3_345kV | Flowgate
CUTHBERT230 KV CUT-GLO | Actual
CUTHBERT230 KV CUT-GLO | L230.CuthbertBlvd-Gloucester.C-2308
CUTHBERT230 KV CUT-GLOC | Actual
DACOSTA 69 KV DAC-WIN | L230.NewFreedom-Cardiff.2310
DARLEYRD69 KV DAR-SIL | Actual
DEEPWATE138 KV T12 | L230.Bridgeport-Mickleton.2315
E Frankfort-Goodings Grove 345-kV (11601 line) | Flowgate
East Frankfort-Goodings Grove (11602) 345 kV line | Flowgate
EDGEMOOR230 KV EDG-LIN | Claymont-Edgemoor.23015
EMILIE 138 KV EMI-FAL | L500.Centerpoint-Elroy.5033
ESAYRE 115 KV ESA-ETO | L230.ETowanda-Hillside.2002 [NYISO]
ESAYRE 115 KV ESA-NWA | L230.ETowanda-Hillside.2002 [NYISO]
ETOWANDA230 KV ETO-HIL | Actual
ETOWANDA230 KV ETO-HIL | L115.Mainesburg-Mansfield
ETOWANDA230 KV ETO-HIL | L230.ErieSouth-Warren.2008
EUGENE 345 KV EUG-CAY1 | L765.Jefferson-Rockport
FOURRIVR230 KV 256A | L500.Elmont-Ladysmith.574
Galesburg 161/138 Xfm #2 flo Electric Jct.-Nelson B 345 | Flowgate
Galesburg 161/138 Xfmr 4 flo Nelson - Sterling (H471ESS) 345kV | Flowgate
GBCS_GBCS_PAXE-1_B_138Kv_flo_ | Flowgate
Gibson_GIBSOPETER34_1_1_345Kv_flo_Gibson_Francisco_345Kv | Flowgate
Gibson_Petersburg_345Kv_flo_Gibson_Bedford_345Kv_Bedford_TR5_345 | Flowgate
Gibson_Petersburg_345Kv_flo_Gibson_Bedford_345Kv+Bedford_TR5_345/138Kv | Flowgate
Gillespie Tap-Laclede Tap 138 (flo) Coffeen-Roxford 345 | Flowgate
GOUDEY 115 KV GOU-LAU | L230.ETowanda-Hillside.2002 [NYISO] + SPS.ESayre
GRACETON230 KV GRA-SAF | Actual
GRACETON230 KV GRA-SAF | L500.Conastone-PeachBottom.5012
HALIFAX 230 KV TX5 | L500.Clover-Rawlings.556
HAWTHORN230 KV HAW-HIN | L230.Hillsdale-Waldwick
HEBRON 69 KV HEB-MAR | L69.Nelson-Edgewood-NorthSalisbury.6743
HEBRON 69 KV HEB-ROC | L69.Nelson-Edgewood-NorthSalisbury.6743
Henepin_LTVSteelP_1512_flo_KickapooCreek_Lasal | Flowgate
Holland-Mason 138 l/o Loretto-Wilton Center 345 | Flowgate
HUMMELST230 KV HUM-HUM | Actual
HUMMELST230 KV HUM-HUM | L230.MiddletownJct-SouthLebanon.1004
IP-1512 Hennepin-LTV Steel 138kv (flo) Duck Creek-Tazewell 345kv | Flowgate
JOSHUAF2765 KV . 1 | 765/345.Cloverdale.T.10 Sectionalized
KEARNY 230 KV KEA-NJT | L230.Hudson-Penhorn-Belville-NBergen-Bergen.X-2250
Kenosha-Lakeview 138 PleasPr-Zion 345 | Flowgate
Kewanee_Edwards_7423_138_FLO_Nelson_ElectricJct3 | Flowgate
Kewanee-6101 138 l/o Nelson-Electric Junction 345 | Flowgate
Kewanee-6101 138 l/o Oglesby Tap 138 sub | Flowgate
Kewanee-Edwards 138 kv l/o Edwards unit 3 | Flowgate
Kewanee-Edwards 138 kV l/o Nelson-Electric Jct 345 kV | Flowgate
Kewanee-Edwards 138kV (flo) Duck Crk-Tazewell 345kV | Flowgate
KINGSLAN230 KV KIN-NJT | L230.Hudson-Penhorn-Belville-NBergen-Bergen.X-2250
Kyger Creek-Sporn 345 kV | Flowgate
Lakeview-Zion 138 kV line l/o Pleasant Prairie-Zion 345 kV line | Flowgate
Lakeview-Zion 138 l/o Pleasant Prairie-Zion 345+Pleasant Prairie-Zion EC 345 | Flowgate
LAUREL 69 KV LAU-ROA | L230.Bridgeport-Mickleton.2315
LAUREL 69 KV LAU-WOO | L230.Bridgeport-Mickleton.2315
LINDEN 138 KV LIN-NOR | L138.Essex-Kearny.W-1349
Loretto-Wilton Center 345 kV l/o Pontiac-Dresden 345 kV + TR82 | Flowgate
MARDELA 69 KV MAR-VIE | L69.Nelson-Edgewood-NorthSalisbury.6743
MarengoTap-PlsntValley(12204-2)138kV l/o ChryVly-SilverLake(15616)345kV | Flowgate
MARKWEST138 KV MAR-SEN | L500.Cabot-Cranberry
Mercer IP-Galesburg 161kV l/o Nelson-Electric Junction 345kV | Flowgate
Mercer IP-Galesburg 161kV l/o Sterling Steel-Nelson 345 kV | Flowgate
Merom_Dresser_345_flo_Merom_Worthington_345 | Flowgate
Merom_Dresser_345Kv_flo_Merom_Worthington_345Kv | Flowgate
Miami Fort 345/138 TB 9 (flo) Dearborn - Tanners Creek 345 | Flowgate
Miami Fort 345/138 Xfm flo East Bend-Terminal 345 | Flowgate
Miami Fort-Hebron 138kV l/o Eastbend-Terminal 345kV | Flowgate
MICKLETO69 KV MIC-RIV | L230.Bridgeport-Mickleton.2315
Monitcello_EWinamac138kV_flo_Walton345_230kVXFMR | Flowgate
MONR AE 230 KV MON-NEW | L500.HopeCreek-RedLion.5015
MONR AE 69 KV MON-VINE | L230.NewFreedom-Cardiff.2310
MONR AE 69 KV MON-WINA | L230.NewFreedom-Cardiff.2310
Monroe-Bayshore 345 kV l/o Lulu 345 kV Sub | Flowgate
Monticello_EWinamac138kV_flo_Dumont_Greentown765kV | Flowgate
Monticello_EWinamac138kV_flo_Greentown_Jefferson765kV | Flowgate
Monticello-East Winamac 138 kV l/o Rockport-Jefferson 765 kV | Flowgate
Nelson-Electric Jct (15502) l/o Cherry Val-Silver Lake (15616) | Flowgate
Nelson-Electric Junction (15502) l/o Byron-Cherry Valley (0621) | Flowgate
Newton - Casey 345 (flo) Neoga - Casey 345] | Flowgate
NMESHOPP230 KV NME-OXB | L500.Centerpoint-Elroy.5033
NMESHOPP230 KV NME-OXB | L500.Juniata-Keystone.5004
NSALISBU69 KV NSA-ROCK | L69.Nelson-Edgewood-NorthSalisbury.6743
Nucor_Whitestown_345_flo_Rockport_Jefferson_765 | Flowgate
Oak Grove-Mercer 161 kV l/o Byron-LeeCo 345 kV | Flowgate
Oak Grove-Mercer 161 kV l/o Cordova-Nelson 345 kV | Flowgate
Oak Grove-Mercer 161 kV l/o Nelson-Electric Junction 345 kV | Flowgate
Oak Grove-Mercer 161 kV l/o Sterling Steel-Nelson 345 kV | Flowgate
OLDMAN 69 KV OLD-PEN | L230.Bridgeport-Mickleton.2315
OTTAWATE138 KV OTT-WFR | L138.Ottawa-WestFremont.2
Paddock-Townline 138 (flo) Paddock-Blackhawk 138 | Flowgate
Pana_345by138kV_xfm_flo_Kincaid_Lanesville_345kV | Flowgate
Pana_345by138kV_xfmr_flo_Kincaid_Pawnee_345kV | Flowgate
Pana345_138kVXFMR_flo_Kincaid_Lanesvil_Kincaid_P | Flowgate
Pana345by138_flo_KncaidUnit2_Kncaid_Lnesvle345 | Flowgate
Pierce-Foster 345 | Flowgate
Pierce-Foster 345 kV l/o East Bend-Terminal 345 kV | Flowgate
Pleasant Prairie-Racine 345 (flo) Pleasant Prairie-Arcadian 345 | Flowgate
PleasPrairie-Arcadian345 FLO PleasPrairie-Racine345 | Flowgate
PleasPrairie-Arcadian345 FLO Zion-Arcanian345 | Flowgate
Pontiac-Wilton Ctr 345 (flo) Pontiac-Dresden 345 + Pontiac 345/138 xfmr | Flowgate
Quad Cities-Cordova 0402 345 l/o Quad Cities-Cordova 0403 345 | Flowgate
RANTJCT_PAXE_138_flo_GIBSONC_PAXE_138 | Flowgate
RantoulJ_PAXE_SDNY-1_A_138Kv_flo_Bunsonville_Eugene_345Kv | Flowgate
RantoulJ_PAXE_SDNY-1_B_138Kv_flo_TiltonEC_WTilton_138Kv | Flowgate
RICH PE 230 KV RIC-WAN | L500.HopeCreek-RedLion.5015
Rising 345/138 XFMR 1 (flo) Clinton - Brokaw 345kV | Flowgate
Rising_XFMR_TR1_FLO_Kincaid_Latham_BlueMound345 | Flowgate
RIVESVIL138 KV RIV-WOV | 500/138.502 Junction.T1
Rock Creek-Beaver Channel 161 l/o Salem-Rock Creek 345 | Flowgate
ROSELAND230 KV ROS-WHI | L500.Branchburg-Hopatcong.5060
ROSELAND230 KV ROS-WILS | L230.CedarGrove-CedarSub-Roseland.Y-2277
Staley_Lafayette138kV_flo_Cayuga_Cayuga3_345kV | Flowgate
Staley_Lafayette138kV_flo_Cayuga_Eugene345kV | Flowgate
Stillwell_Dumont345_flo_WiltonCenter_Dumont765 | Flowgate
Twin Branch-Argenta 345 kV l/o Cook-Segreto 345kV+BentonHarbor-Segreto 345kV | Flowgate
VERMILION_TILTONEC_138_flo_BUNSONVL_CASEY_345 | Flowgate
VermilioP-1572_VE_flo_Sidney2_138Kv_7Sidney_345Kv | Flowgate
Westwood345_138kVXFMR1_flo_Cayuga_Veedersburg230kV | Flowgate
Westwood345_138kVXFMR1_flo_Lafayette_Attica_Veedersburg230kV | Flowgate
Whitestown_WhiteGion34_1_1_138Kv_flo_Petersburg_TRF_E | Flowgate
YORKTOW4115 KV 34D | 230/115.Hayes.TX3
YORKTOW4115 KV 34D | L230.Hayes-Yorktown.2122
YORKTOW4115 KV 34D | L230.Waller-Denbigh-Yorktown.285
Zion-Waukegan 138kV l/o Zion-Pleasant Prairie 345kV | Flowgate