## Facilities
Constraint Name | Contingency Description | Required MW Increase in Capability Limits | Type | Reason for Infeasibility
Argenta-Tompkins 345 kV l/o Argent-_Battle Creek 345 kV |  | 55 | M2M Flowgate | Network Load
ASHBURN 230 KV 227A_Z | L230.Beaumead-Ashburn-PleasantView.274 | 553 | Internal PJM | Transmission Outage
ASHBURN 230 KV 227B_I | L230.Beaumead-Ashburn-PleasantView.274 | 519 | Internal PJM | Transmission Outage
Batesville-Hubble 138 l/o Tanners Crk-Miami Fort 345 |  | 85 | M2M Flowgate | Network Load
BLMNTDOM230 KV BEL-COCH_I | L230.Beaumead-Ashburn-PleasantView.274 | 274 | Internal PJM | Transmission Outage
Cherry Valley - Silver Lake (15616) 345 kV l/o Byron - Wayne 345 kV |  | 205 | M2M Flowgate | Network Load
CHURCH 69 KV CHU-NME_I | 230/138.Milford.AT20 | 12 | Internal PJM | Transmission Outage
CLINTON 230 KV CLI-SAE_Z | L230.Columbia-Montour | 12 | Internal PJM | Transmission Outage
COLORA 230 KV COL-CON2_Z | L230.Conowingo-Nottingham-220-03 | 28 | Internal PJM | Transmission Outage
Commodore 345-230 xfmr 2 l/o Prairie State-Mt Vernon 345 |  | 26 | M2M Flowgate | Network Load
CONASTON500 KV 500-4_I | L500.Brighton-Conastone.5011 | 80 | Internal PJM | Transmission Outage
CONASTON500 KV CNS-PEA_Z |  | 144 | Internal PJM | Transmission Outage
COOPERPE230 KV COO-GRA_I | L500.Conastone-PeachBottom.5012 | 510 | Internal PJM | Transmission Outage
COOPERPE230 KV COO-GRA_I |  | 14 | Internal PJM | Transmission Outage
COOPERPE230 KV COO-PEA_Z | L500.Conastone-PeachBottom.5012 | 517 | Internal PJM | Transmission Outage
COOPERPE230 KV COO-PEA_Z |  | 21 | Internal PJM | Transmission Outage
DICKERSH230 KV DIC-DIC4_I | L500.BurchesHill-PossumPoint.560 | 870 | Internal PJM | Transmission Outage
DICKERSH230 KV DIC-DIC4_I |  | 772 | Internal PJM | Transmission Outage
EDWSFERY230 KV 203A_I | L500.BurchesHill-PossumPoint.560 | 333 | Internal PJM | Transmission Outage
EDWSFERY230 KV 203A_I |  | 101 | Internal PJM | Transmission Outage
EDWSFERY230 KV 23111_Z | L500.BurchesHill-PossumPoint.560 | 271 | Internal PJM | Transmission Outage
EDWSFERY230 KV 23111_Z |  | 137 | Internal PJM | Transmission Outage
ELIMSPOR230 KV ELI-SUN_I | L230.Columbia-Montour | 698 | Internal PJM | Transmission Outage
ELIMSPOR230 KV ELI-SUN_I |  | 169 | Internal PJM | Transmission Outage
Elkhorn North Lake Geneva 138 l/o Sunrise White Water 138 |  | 66 | M2M Flowgate | Network Load
ELMONT4 230 KV 2103_Z | L500.Midlothian-NorthAnna.576 | 26 | Internal PJM | Transmission Outage
ESAYRE 115 KV ESA-NWA_I | L230.ETowanda-Hillside.2002 [NYISO] | 23 | Internal PJM | Transmission Outage
FALCONER115 KV FAL-WAR_Z | L230.Glade-Warren.2088 | 4 | Tie Line | Transmission Outage
Francisco - Duff 345 kV flo Gibson -ABBrown 345 kV |  | 56 | M2M Flowgate | Transmission Outage
HAMPSHIR138 KV HAM-RID_Z | L230.PleasntView-EdwardsFerry-Dickerson.23111/203A | 16 | Internal PJM | Transmission Outage
Joppa - Shawnee 3 161 kV l/o Joppa - Shawnee 4 161 kV |  | 3 | M2M Flowgate | Transmission Outage
Joppa North Shawnee LN_3 l/o Shawnee 500 345_T11 |  | 16 | M2M Flowgate | Network Load
Labadie-GraySummit 2 345 kV l/o Labadie-GraySummit 1 345 kV |  | 21 | M2M Flowgate | Network Load
LENOX 115 KV LEN-MAC_I | L230.EastTowanda-Canyon-NMeshoppen | 18 | Internal PJM | Transmission Outage
LENOX 115 KV LEN-NME_Z | L230.EastTowanda-Canyon-NMeshoppen | 34 | Internal PJM | Transmission Outage
LENOX 115 KV LEN-NME_Z |  | 9 | Internal PJM | Transmission Outage
MACNEW_T115 KV MAC-WIL_I | L230.EastTowanda-Canyon-NMeshoppen | 5 | Internal PJM | Transmission Outage
MALISZEW765 KV 1_I | 765/345.Vassell.T1 | 56 | Internal PJM | Transmission Outage
MIDDLJCT115 KV MID-YOR7_I | L500.Conastone-PeachBottom.5012 | 8 | Internal PJM | Transmission Outage
Monroe-Lallendorf 345 kV l/o Lulu 345 kV Sub |  | 554 | M2M Flowgate | Network Load
Monroe-Lallendorf l/o Morocco-Allen Junction |  | 607 | M2M Flowgate | Network Load
MONTOUR 230 KV MON-SAE_I | L230.Columbia-Montour | 659 | Internal PJM | Transmission Outage
N Lake Geneva Tap Burlington 138kV l/o University Mukwonago 138 |  | 15 | M2M Flowgate | Network Load
North Lake Geneva Burlington 138 l/o Balsam Spring Valley 138 |  | 26 | M2M Flowgate | Network Load
NOTTINGH230 KV 1-3_I | L500.Conastone-PeachBottom.5012 | 533 | Internal PJM | Transmission Outage
NOTTINGH230 KV 1-3_I |  | 22 | Internal PJM | Transmission Outage
NOTTINGH230 KV 2-3_I | L500.Conastone-PeachBottom.5012 | 533 | Internal PJM | Transmission Outage
NOTTINGH230 KV 2-3_I |  | 22 | Internal PJM | Transmission Outage
NOTTINGH230 KV NOT-PEA_I | L500.Conastone-PeachBottom.5012 | 518 | Internal PJM | Transmission Outage
NOTTINGH230 KV NOT-PEA_I |  | 22 | Internal PJM | Transmission Outage
Paradise - BR_Tap 161 kV l/o Gibson Unit 1 |  | 21 | M2M Flowgate | Network Load
Paradise-Big River Tap l/o Wilson1 |  | 21 | M2M Flowgate | Network Load
Paradise-BR Tap 161kV (flo) Phipps Bend-Volunteer 500kV |  | 5 | M2M Flowgate | Network Load
Pleasant Prairie-Zion EC 345 kV l/o Pleasant Prairie-Zion 345 kV |  | 12 | M2M Flowgate | Network Load
POE 230 KV 2002A_Z | L500.Carson-Midlothian.563 | 26 | Internal PJM | Transmission Outage
POSSUMP4230 KV 2078Z_I | L230.PleasntView-EdwardsFerry-Dickerson.23111/203A | 198 | Internal PJM | Transmission Outage
POSSUMP4500 KV TX1_I | L230.PleasntView-EdwardsFerry-Dickerson.23111/203A | 288 | Internal PJM | Transmission Outage
Quad Cities - Cordova 0402 345kV l/o Quad Cities - Cordova 0403 345kV |  | 96 | M2M Flowgate | Network Load
QuadCities-RockCreek 345 kV l/o QuadCities-Sub91 345/161 kV Sub91 XF |  | 10 | M2M Flowgate | Network Load
ROXBURY 115 KV ROX-SHA_Z | L500.Conastone-PeachBottom.5012 | 7 | Internal PJM | Transmission Outage
Sandburg xfmr 3 l/o Oak Grove - Sandburg 345 kV |  | 107 | M2M Flowgate | Network Load
SEWARD 230 KV T11_I | L230.Johnstown-Seward.2018 | 30 | Internal PJM | Transmission Outage
Sioux - Roxford 345 kV l/o Graysum - Labadie 1 345 kV |  | 109 | M2M Flowgate | Network Load
Sugar Creek Dresser 345 l/o Nucor Cayuga 345 |  | 3 | M2M Flowgate | Transmission Outage
TMI 500 KV 1 BANK_I | L500.Conastone-PeachBottom.5012 | 214 | Internal PJM | Transmission Outage
TMI 500 KV 1 BANK_I |  | 6 | Internal PJM | Transmission Outage
TYLER 230 KV 2003A1_I | L500.Carson-Midlothian.563 | 88 | Internal PJM | Transmission Outage
TYLER 230 KV 2003B1_Z | L500.Carson-Midlothian.563 | 110 | Internal PJM | Transmission Outage

## ARR Paths
Source | Sink | Infeasible MW Quantity
100 SHAD34.5 KV GSG6WF | COMED_RESID_AGG | 2.7
100 SHAD34.5 KV GSG6WF | NAPERVILLE | 0.1
107 DIXO34.5 KV SUBLETTE | COMED_RESID_AGG | 0.8
139 MEND34.5 KV WBROOKWF | COMED_RESID_AGG | 0.5
4 QUAD C18 KV QC-1 | BATAVIA | 1.9
4 QUAD C18 KV QC-1 | COMED_RESID_AGG | 449.2
4 QUAD C18 KV QC-1 | GENEVA | 1.1
4 QUAD C18 KV QC-1 | N ILLINOIS HUB | 87.2
4 QUAD C18 KV QC-1 | NAPERVILLE | 7.6
4 QUAD C18 KV QC-1 | ST. CHARLES | 2.6
4 QUAD C18 KV QC-2 | BATAVIA | 1.9
4 QUAD C18 KV QC-2 | COMED_RESID_AGG | 449.1
4 QUAD C18 KV QC-2 | GENEVA | 1.1
4 QUAD C18 KV QC-2 | N ILLINOIS HUB | 203.6
4 QUAD C18 KV QC-2 | NAPERVILLE | 7.6
4 QUAD C18 KV QC-2 | ST. CHARLES | 2.6
6 BYRON 25 KV BY-1 | BATAVIA | 2.1
6 BYRON 25 KV BY-1 | COMED_RESID_AGG | 586.6
6 BYRON 25 KV BY-1 | GENEVA | 1.3
6 BYRON 25 KV BY-1 | N ILLINOIS HUB | 61.6
6 BYRON 25 KV BY-1 | NAPERVILLE | 9.7
6 BYRON 25 KV BY-1 | ST. CHARLES | 3
6 BYRON 25 KV BY-2 | BATAVIA | 2
6 BYRON 25 KV BY-2 | COMED_RESID_AGG | 572.3
6 BYRON 25 KV BY-2 | GENEVA | 1.3
6 BYRON 25 KV BY-2 | N ILLINOIS HUB | 143.8
6 BYRON 25 KV BY-2 | NAPERVILLE | 9.5
6 BYRON 25 KV BY-2 | ST. CHARLES | 2.9
937 LEE 13.5 KV LEE31-1 | BATAVIA | 0.1
937 LEE 13.5 KV LEE31-1 | COMED_RESID_AGG | 34.6
937 LEE 13.5 KV LEE31-1 | GENEVA | 0.1
937 LEE 13.5 KV LEE31-1 | NAPERVILLE | 0.6
937 LEE 13.5 KV LEE31-1 | ST. CHARLES | 0.2
937 LEE 13.5 KV LEE31-2 | BATAVIA | 0.1
937 LEE 13.5 KV LEE31-2 | COMED_RESID_AGG | 34.6
937 LEE 13.5 KV LEE31-2 | GENEVA | 0.1
937 LEE 13.5 KV LEE31-2 | NAPERVILLE | 0.6
937 LEE 13.5 KV LEE31-2 | ST. CHARLES | 0.2
937 LEE 13.5 KV LEE32-1 | COMED_RESID_AGG | 15.8
937 LEE 13.5 KV LEE32-1 | NAPERVILLE | 0.3
937 LEE 13.5 KV LEE32-1 | ST. CHARLES | 0.1
937 LEE 13.5 KV LEE32-2 | COMED_RESID_AGG | 15.8
937 LEE 13.5 KV LEE32-2 | NAPERVILLE | 0.3
937 LEE 13.5 KV LEE32-2 | ST. CHARLES | 0.1
937 LEE 13.5 KV LEE33-1 | BATAVIA | 0.1
937 LEE 13.5 KV LEE33-1 | COMED_RESID_AGG | 34
937 LEE 13.5 KV LEE33-1 | GENEVA | 0.1
937 LEE 13.5 KV LEE33-1 | NAPERVILLE | 0.6
937 LEE 13.5 KV LEE33-1 | ST. CHARLES | 0.2
937 LEE 13.5 KV LEE33-2 | BATAVIA | 0.1
937 LEE 13.5 KV LEE33-2 | COMED_RESID_AGG | 33.9
937 LEE 13.5 KV LEE33-2 | GENEVA | 0.1
937 LEE 13.5 KV LEE33-2 | NAPERVILLE | 0.6
937 LEE 13.5 KV LEE33-2 | ST. CHARLES | 0.2
937 LEE 13.5 KV LEE34-1 | COMED_RESID_AGG | 15.8
937 LEE 13.5 KV LEE34-1 | NAPERVILLE | 0.3
937 LEE 13.5 KV LEE34-1 | ST. CHARLES | 0.1
937 LEE 13.5 KV LEE34-2 | COMED_RESID_AGG | 15.8
937 LEE 13.5 KV LEE34-2 | NAPERVILLE | 0.3
937 LEE 13.5 KV LEE34-2 | ST. CHARLES | 0.1
940 CORD18 KV CD-1 | BATAVIA | 0.3
940 CORD18 KV CD-1 | COMED_RESID_AGG | 80.5
940 CORD18 KV CD-1 | GENEVA | 0.1
940 CORD18 KV CD-1 | NAPERVILLE | 1.4
940 CORD18 KV CD-1 | ST. CHARLES | 0.4
940 CORD18 KV CD-2 | BATAVIA | 0.3
940 CORD18 KV CD-2 | COMED_RESID_AGG | 80.4
940 CORD18 KV CD-2 | GENEVA | 0.1
940 CORD18 KV CD-2 | NAPERVILLE | 1.4
940 CORD18 KV CD-2 | ST. CHARLES | 0.4
952 ROCK16 KV RO11 | BATAVIA | 0.2
952 ROCK16 KV RO11 | COMED_RESID_AGG | 84.6
952 ROCK16 KV RO11 | GENEVA | 0.1
952 ROCK16 KV RO11 | NAPERVILLE | 1.2
952 ROCK16 KV RO11 | ST. CHARLES | 0.3
952 ROCK16 KV RO12 | BATAVIA | 0.2
952 ROCK16 KV RO12 | COMED_RESID_AGG | 83.7
952 ROCK16 KV RO12 | GENEVA | 0.1
952 ROCK16 KV RO12 | NAPERVILLE | 1.2
952 ROCK16 KV RO12 | ST. CHARLES | 0.3
959ERDBS34.5 KV BSWFBRS1 | COMED_RESID_AGG | 12.5
959ERDBS34.5 KV BSWFBRS1 | NAPERVILLE | 0.2
969 ECOG34.5 KV LENAWF | COMED_RESID_AGG | 9.4
969 ECOG34.5 KV LENAWF | NAPERVILLE | 0.1
981 CRES34.5 KV CRIDGEWF | COMED_RESID_AGG | 0.5
981 CRES34.5 KV PROVIDWF | COMED_RESID_AGG | 0.8
982 ROCK16 KV RO21 | BATAVIA | 0.2
982 ROCK16 KV RO21 | COMED_RESID_AGG | 86.8
982 ROCK16 KV RO21 | GENEVA | 0.1
982 ROCK16 KV RO21 | NAPERVILLE | 1.3
982 ROCK16 KV RO21 | ST. CHARLES | 0.3
AEP-DAYTON HUB | DOM_RESID_AGG | 41.6
AMOS 26 KV AM1 | AEPOHIO W.O. MON POWER | 3.1
AMOS 26 KV AM1 | AMP-OHIO | 0.6
AMOS 26 KV AM1 | BLUE RIDGE | 0.8
AMOS 26 KV AM2 | AEPOHIO W.O. MON POWER | 3.7
AMOS 26 KV AM2 | AMP-OHIO | 0.3
AMOS 26 KV AM3 | AEPOHIO W.O. MON POWER | 6.5
AMOS 26 KV AM3 | AMP-OHIO | 0.9
AMOS 26 KV AM3 | BLUE RIDGE | 1.4
ARCHBTAP13 KV PEI 1 | CITIZENS | 0.3
ARCHBTAP13 KV PEI 1 | EPHRATA | 0.1
ARCHBTAP13 KV PEI 1 | PERKASIE | 0.1
ARCHBTAP13 KV PEI 1 | PPL_RESID_AGG | 18.8
ARCHBTAP13 KV PEI 2 | CITIZENS | 0.2
ARCHBTAP13 KV PEI 2 | EPHRATA | 0.1
ARCHBTAP13 KV PEI 2 | PERKASIE | 0.1
ARCHBTAP13 KV PEI 2 | PPL_RESID_AGG | 26
ASYLUM 23 KV LIBRTY10 | BGE_RESID_AGG | 15.7
ASYLUM 23 KV LIBRTY10 | PENELEC_RESID_AGG | 91.5
ASYLUM 23 KV LIBRTY10 | PEPCO DC | 4.2
ASYLUM 23 KV LIBRTY10 | PEPCO MD | 6.9
ASYLUM 23 KV LIBRTY10 | SMECO_RESID_AGG | 1.3
BATHCO 20 KV GM1 | DOM_RESID_AGG | 164.4
BATHCO 20 KV GM2 | DOM_RESID_AGG | 164.4
BATHCO 20 KV GM3 | DOM_RESID_AGG | 164.1
BATHCO 20 KV GM4 | DOM_RESID_AGG | 164
BATHCO 20 KV GM5 | DOM_RESID_AGG | 164.8
BATHCO 20 KV GM6 | DOM_RESID_AGG | 165.4
BEARGRDN18 KV ST1C | DOM_RESID_AGG | 142.5
BEAV DUQ22 KV UNIT1 | AMP-ATSI OH | 21.7
BEAV DUQ22 KV UNIT1 | FEOHIO_RESID_AGG | 491.9
BEAV DUQ22 KV UNIT2 | AMP-ATSI OH | 21.4
BEAV DUQ22 KV UNIT2 | FEOHIO_RESID_AGG | 466.5
BERRHYD 4 KV BR1 | AEPAPCO_RESID_AGG | 0.4
BERRHYD 4 KV BR1 | AEPIM_RESID_AGG | 1.2
BERRHYD 4 KV BR1 | AEPOHIO W.O. MON POWER | 5.1
BERRHYD 4 KV BR1 | AK STEEL | 0.1
BERRHYD 4 KV BR1 | BLUE RIDGE | 0.3
BERRHYD 4 KV BR10 | AEPAPCO_RESID_AGG | 0.4
BERRHYD 4 KV BR10 | AEPIM_RESID_AGG | 1.2
BERRHYD 4 KV BR10 | AEPOHIO W.O. MON POWER | 4.9
BERRHYD 4 KV BR10 | AK STEEL | 0.1
BERRHYD 4 KV BR10 | BLUE RIDGE | 0.3
BERRHYD 4 KV BR11 | AEPAPCO_RESID_AGG | 0.4
BERRHYD 4 KV BR11 | AEPIM_RESID_AGG | 1.2
BERRHYD 4 KV BR11 | AEPOHIO W.O. MON POWER | 4.9
BERRHYD 4 KV BR11 | AK STEEL | 0.1
BERRHYD 4 KV BR11 | BLUE RIDGE | 0.3
BERRHYD 4 KV BR12 | AEPAPCO_RESID_AGG | 0.4
BERRHYD 4 KV BR12 | AEPIM_RESID_AGG | 1.1
BERRHYD 4 KV BR12 | AEPOHIO W.O. MON POWER | 4.2
BERRHYD 4 KV BR12 | AK STEEL | 0.1
BERRHYD 4 KV BR12 | BLUE RIDGE | 0.3
BERRHYD 4 KV BR2 | AEPAPCO_RESID_AGG | 0.4
BERRHYD 4 KV BR2 | AEPIM_RESID_AGG | 1.1
BERRHYD 4 KV BR2 | AEPOHIO W.O. MON POWER | 4.3
BERRHYD 4 KV BR2 | AK STEEL | 0.1
BERRHYD 4 KV BR2 | BLUE RIDGE | 0.3
BERRHYD 4 KV BR3 | AEPAPCO_RESID_AGG | 0.4
BERRHYD 4 KV BR3 | AEPIM_RESID_AGG | 1.2
BERRHYD 4 KV BR3 | AEPOHIO W.O. MON POWER | 4.1
BERRHYD 4 KV BR3 | AK STEEL | 0.1
BERRHYD 4 KV BR3 | BLUE RIDGE | 0.3
BERRHYD 4 KV BR4 | AEPAPCO_RESID_AGG | 0.3
BERRHYD 4 KV BR4 | AEPIM_RESID_AGG | 1.1
BERRHYD 4 KV BR4 | AEPOHIO W.O. MON POWER | 4
BERRHYD 4 KV BR4 | AK STEEL | 0.1
BERRHYD 4 KV BR4 | BLUE RIDGE | 0.3
BERRHYD 4 KV BR5 | AEPAPCO_RESID_AGG | 0.3
BERRHYD 4 KV BR5 | AEPIM_RESID_AGG | 1.2
BERRHYD 4 KV BR5 | AEPOHIO W.O. MON POWER | 3.8
BERRHYD 4 KV BR5 | AK STEEL | 0.1
BERRHYD 4 KV BR5 | BLUE RIDGE | 0.3
BERRHYD 4 KV BR6 | AEPAPCO_RESID_AGG | 0.3
BERRHYD 4 KV BR6 | AEPIM_RESID_AGG | 1.1
BERRHYD 4 KV BR6 | AEPOHIO W.O. MON POWER | 3.8
BERRHYD 4 KV BR6 | AK STEEL | 0.1
BERRHYD 4 KV BR6 | BLUE RIDGE | 0.3
BERRHYD 4 KV BR7 | AEPAPCO_RESID_AGG | 0.3
BERRHYD 4 KV BR7 | AEPIM_RESID_AGG | 1
BERRHYD 4 KV BR7 | AEPOHIO W.O. MON POWER | 3.8
BERRHYD 4 KV BR7 | AK STEEL | 0.1
BERRHYD 4 KV BR7 | BLUE RIDGE | 0.3
BERRHYD 4 KV BR8 | AEPAPCO_RESID_AGG | 0.3
BERRHYD 4 KV BR8 | AEPIM_RESID_AGG | 1
BERRHYD 4 KV BR8 | AEPOHIO W.O. MON POWER | 3.8
BERRHYD 4 KV BR8 | AK STEEL | 0.1
BERRHYD 4 KV BR8 | BLUE RIDGE | 0.3
BERRHYD 4 KV BR9 | AEPAPCO_RESID_AGG | 0.3
BERRHYD 4 KV BR9 | AEPIM_RESID_AGG | 1.2
BERRHYD 4 KV BR9 | AEPOHIO W.O. MON POWER | 3.8
BERRHYD 4 KV BR9 | AK STEEL | 0.1
BERRHYD 4 KV BR9 | BLUE RIDGE | 0.3
BIGSANDY22 KV BS1 | AEPOHIO W.O. MON POWER | 0.1
BIGSANDY22 KV BS1 | AMP-OHIO | 0.1
BIGSANDY22 KV BS1 | BLUE RIDGE | 0.2
BIRDBORO23 KV CT1 | PENELEC_RESID_AGG | 72.2
BIRDBORO23 KV CT1 | WELLSBORO | 0.9
BIRDNECK34.5 KV CVOWPLWF | DOM_RESID_AGG | 0.2
BLAIRSVE22 KV CONMDMUN | PENELEC_RESID_AGG | 0.9
BLMNTDOM19 KV STONEST | DOM_RESID_AGG | 216.6
BLOSSBUR13 KV UNITCT | PENELEC_RESID_AGG | 15.4
BLUECREE34.5 KV BLUEC3WF | BLUE RIDGE | 0.1
BOARDMAN69 KV MAHONILF | AMP-ATSI OH | 2.8
BRUNSCOL21 KV BRUNSST | DOM_RESID_AGG | 377.9
BSPEAKER138 KV 1 | AEPOHIO W.O. MON POWER | 5.2
BSPEAKER138 KV 1 | BLUE RIDGE | 0.1
BSPEAKER138 KV 2 | AEPOHIO W.O. MON POWER | 5.2
BSPEAKER138 KV 2 | BLUE RIDGE | 0.1
BSPEAKER138 KV 3 | AEPOHIO W.O. MON POWER | 5.2
BSPEAKER138 KV 3 | BLUE RIDGE | 0.1
BSPEAKER138 KV 4 | AEPOHIO W.O. MON POWER | 5.2
BSPEAKER138 KV 4 | BLUE RIDGE | 0.1
BSPEAKER138 KV 5 | AEPOHIO W.O. MON POWER | 5.2
BSPEAKER138 KV 5 | BLUE RIDGE | 0.1
BSPEAKER138 KV 6 | AEPOHIO W.O. MON POWER | 5.2
BSPEAKER138 KV 6 | BLUE RIDGE | 0.1
BUCHANAN2 KV BU1 | AEPAPCO_RESID_AGG | 0.4
BUCHANAN2 KV BU1 | AEPOHIO W.O. MON POWER | 4.7
BUCHANAN2 KV BU1 | BLUE RIDGE | 0.3
BUCHANAN2 KV BU10 | AEPAPCO_RESID_AGG | 0.4
BUCHANAN2 KV BU10 | AEPOHIO W.O. MON POWER | 4.4
BUCHANAN2 KV BU10 | BLUE RIDGE | 0.3
BUCHANAN2 KV BU2 | AEPAPCO_RESID_AGG | 0.4
BUCHANAN2 KV BU2 | AEPOHIO W.O. MON POWER | 4.4
BUCHANAN2 KV BU2 | BLUE RIDGE | 0.3
BUCHANAN2 KV BU3 | AEPAPCO_RESID_AGG | 0.4
BUCHANAN2 KV BU3 | AEPOHIO W.O. MON POWER | 4.1
BUCHANAN2 KV BU3 | BLUE RIDGE | 0.3
BUCHANAN2 KV BU4 | AEPAPCO_RESID_AGG | 0.4
BUCHANAN2 KV BU4 | AEPOHIO W.O. MON POWER | 4.1
BUCHANAN2 KV BU4 | BLUE RIDGE | 0.3
BUCHANAN2 KV BU5 | AEPAPCO_RESID_AGG | 0.4
BUCHANAN2 KV BU5 | AEPOHIO W.O. MON POWER | 4
BUCHANAN2 KV BU5 | BLUE RIDGE | 0.3
BUCHANAN2 KV BU6 | AEPAPCO_RESID_AGG | 0.4
BUCHANAN2 KV BU6 | AEPOHIO W.O. MON POWER | 4
BUCHANAN2 KV BU6 | BLUE RIDGE | 0.3
BUCHANAN2 KV BU7 | AEPAPCO_RESID_AGG | 0.4
BUCHANAN2 KV BU7 | AEPOHIO W.O. MON POWER | 3.9
BUCHANAN2 KV BU7 | BLUE RIDGE | 0.3
BUCHANAN2 KV BU8 | AEPAPCO_RESID_AGG | 0.4
BUCHANAN2 KV BU8 | AEPOHIO W.O. MON POWER | 3.7
BUCHANAN2 KV BU8 | BLUE RIDGE | 0.3
BUCHANAN2 KV BU9 | AEPAPCO_RESID_AGG | 0.4
BUCHANAN2 KV BU9 | AEPOHIO W.O. MON POWER | 3.7
BUCHANAN2 KV BU9 | BLUE RIDGE | 0.3
BUCK 13 KV BK1 | AEPOHIO W.O. MON POWER | 0.1
BUCK 13 KV BK2 | AEPOHIO W.O. MON POWER | 0.1
BUCK 13 KV BK3 | AEPOHIO W.O. MON POWER | 0.1
BUXTON 34.5 KV GEN12 | DOM_RESID_AGG | 0.9
BUXTON 34.5 KV GEN34 | DOM_RESID_AGG | 0.9
BUXTON 34.5 KV GEN5 | DOM_RESID_AGG | 0.4
BUXTON 34.5 KV OCRACOK1 | DOM_RESID_AGG | 0.4
CAPITALA34.5 KV STJOESP | AEPIM_RESID_AGG | 3.3
CARTANZA13.8 KV GARRISON | DPL_ODEC | 0.9
CHESTER422 KV G6 | DOM_RESID_AGG | 0.1
CHINQUPN23 KV CONET2SP | DOM_RESID_AGG | 52.1
CHR138 12 KV G11 | DEMEC | 0.1
CHR138 12 KV G11 | DPL_ODEC | 0.9
CHR138 12 KV G14 | DEMEC | 0.1
CHR138 12 KV G14 | DPL_ODEC | 0.9
CLIFTYCR15.5 KV CC1 | BUCKEYE - AEPOH | 16.3
CLIFTYCR15.5 KV CC1 | DAY_RESID_AGG | 20.4
CLOVER 25 KV G1 | DOM_RESID_AGG | 134
CLOVER 25 KV G2 | DOM_RESID_AGG | 133.5
COLVERPO13 KV NUG GE | PENELEC_RESID_AGG | 13.5
CONEMAUG115 KV DIESEL | PSEG_RESID_AGG | 0.3
CONEMAUG22 KV UNIT 1 | DPL_ODEC | 1
CONEMAUG22 KV UNIT 1 | PSEG_RESID_AGG | 0.4
CONEMAUG22 KV UNIT02 | DPL_ODEC | 1
CONEMAUG22 KV UNIT02 | PSEG_RESID_AGG | 0.4
CONOWING13 KV G10 | PECO_RESID_AGG | 26.1
CONOWING13 KV G11 | PECO_RESID_AGG | 26.1
CONOWING13 KV GEN1 | PECO_RESID_AGG | 18.5
CONOWING13 KV GEN2 | PECO_RESID_AGG | 13.4
CONOWING13 KV GEN3 | PECO_RESID_AGG | 18.5
CONOWING13 KV GEN4 | PECO_RESID_AGG | 18.5
CONOWING13 KV GEN5 | PECO_RESID_AGG | 13.4
CONOWING13 KV GEN6 | PECO_RESID_AGG | 18.5
CONOWING13 KV GEN8 | PECO_RESID_AGG | 26.1
CONOWING13 KV GEN9 | PECO_RESID_AGG | 26.1
CONOWING13 KV UNIT07 | PECO_RESID_AGG | 18.5
CONSTANT2 KV CO1 | AEPAPCO_RESID_AGG | 0.3
CONSTANT2 KV CO1 | AEPOHIO W.O. MON POWER | 4.2
CONSTANT2 KV CO1 | AK STEEL | 0.1
CONSTANT2 KV CO1 | BLUE RIDGE | 0.3
CONSTANT2 KV CO2 | AEPAPCO_RESID_AGG | 0.3
CONSTANT2 KV CO2 | AEPOHIO W.O. MON POWER | 4.1
CONSTANT2 KV CO2 | AK STEEL | 0.1
CONSTANT2 KV CO2 | BLUE RIDGE | 0.3
CONSTANT2 KV CO3 | AEPAPCO_RESID_AGG | 0.3
CONSTANT2 KV CO3 | AEPOHIO W.O. MON POWER | 4
CONSTANT2 KV CO3 | AK STEEL | 0.1
CONSTANT2 KV CO3 | BLUE RIDGE | 0.3
CONSTANT2 KV CO4 | AEPAPCO_RESID_AGG | 0.3
CONSTANT2 KV CO4 | AEPOHIO W.O. MON POWER | 4
CONSTANT2 KV CO4 | AK STEEL | 0.1
CONSTANT2 KV CO4 | BLUE RIDGE | 0.3
COOK 26 KV CK1 | AEPAPCO_RESID_AGG | 223.2
COOK 26 KV CK1 | AEPIM_RESID_AGG | 114.1
COOK 26 KV CK1 | AEPKY_RESID_AGG | 40.2
COOK 26 KV CK1 | AEPOHIO W.O. MON POWER | 379.3
COOK 26 KV CK1 | AK STEEL | 1.1
COOK 26 KV CK1 | AMP-OHIO | 3.8
COOK 26 KV CK1 | BLUE RIDGE | 12.4
COOK 26 KV CK1 | BUCK-CIN | 0.4
COOK 26 KV CK1 | BUCKEYE - AEPOH | 7.7
COOK 26 KV CK1 | BUCKEYE - DPL | 1.9
COOK 26 KV CK1 | BUCK-FE | 1.4
COOK 26 KV CK1 | MERIDIAN EWHITLEY | 1.3
COOK 26 KV CK2 | AEPAPCO_RESID_AGG | 191.5
COOK 26 KV CK2 | AEPKY_RESID_AGG | 33.7
COOK 26 KV CK2 | AEPOHIO W.O. MON POWER | 368.6
COOK 26 KV CK2 | AK STEEL | 0.8
COOK 26 KV CK2 | AMP-OHIO | 3.8
COOK 26 KV CK2 | BLUE RIDGE | 11.2
COOK 26 KV CK2 | BUCK-CIN | 0.4
COOK 26 KV CK2 | BUCKEYE - AEPOH | 8.1
COOK 26 KV CK2 | BUCKEYE - DPL | 2
COOK 26 KV CK2 | BUCK-FE | 1.5
CORNU 18 KV 1GT1 | AEPOHIO W.O. MON POWER | 3.1
CORNU 18 KV 1GT1 | AMP-OHIO | 0.1
CORNU 18 KV 1GT2 | AEPOHIO W.O. MON POWER | 1.4
CORNU 18 KV 1GT2 | AMP-OHIO | 0.1
CORNU 18 KV 2GT1 | AEPOHIO W.O. MON POWER | 3
CORNU 18 KV 2GT1 | AMP-OHIO | 0.1
CORNU 18 KV 2GT2 | AEPOHIO W.O. MON POWER | 2.5
CORNU 18 KV 2GT2 | AMP-OHIO | 0.1
CORNU 18 KV ST1 | AEPOHIO W.O. MON POWER | 0.7
CORNU 18 KV ST1 | AMP-OHIO | 0.1
CORNU 18 KV ST2 | AEPOHIO W.O. MON POWER | 2.5
CORNU 18 KV ST2 | AMP-OHIO | 0.1
COVERT 16 KV 1GTG | AEPAPCO_RESID_AGG | 242.2
COVERT 16 KV 1GTG | AEPIM_RESID_AGG | 152.9
COVERT 16 KV 1GTG | AEPKY_RESID_AGG | 43.8
COVERT 16 KV 1GTG | AEPOHIO W.O. MON POWER | 402.6
COVERT 16 KV 1GTG | AK STEEL | 1.2
COVERT 16 KV 1GTG | AMP-OHIO | 4.2
COVERT 16 KV 1GTG | BLUE RIDGE | 13.1
COVERT 16 KV 1GTG | BUCK-CIN | 0.5
COVERT 16 KV 1GTG | BUCKEYE - AEPOH | 9.6
COVERT 16 KV 1GTG | BUCKEYE - DPL | 2.6
COVERT 16 KV 1GTG | BUCK-FE | 2.1
COVERT 16 KV 1GTG | MERIDIAN EWHITLEY | 1.6
CUSHAW 2 KV G15 | DOM_RESID_AGG | 1
DELA DPL13 KV G1 | DEMEC | 0.4
DELA DPL13 KV G1 | DPL_ODEC | 2.2
DELA DPL13 KV G10 | DEMEC | 0.1
DELA DPL13 KV G10 | DPL_ODEC | 0.7
DELA DPL13 KV G2 | DEMEC | 0.4
DELA DPL13 KV G2 | DPL_ODEC | 2.3
DENAWASH18 KV UN1 | BLUE RIDGE | 1.3
DENAWASH18 KV UN2 | BLUE RIDGE | 1.1
DENAWASH18 KV UN3 | BLUE RIDGE | 1.1
DICKERSH13 KV HCT1 | PEPCO DC | 43.1
DICKERSH13 KV HCT1 | PEPCO MD | 62
DICKERSH13 KV HCT1 | SMECO_RESID_AGG | 16.6
DICKERSH13 KV HCT2 | PEPCO DC | 43
DICKERSH13 KV HCT2 | PEPCO MD | 61.8
DICKERSH13 KV HCT2 | SMECO_RESID_AGG | 16.6
DICKERSH13 KV RESREC | PEPCO DC | 15.3
DICKERSH13 KV RESREC | PEPCO MD | 22.3
DICKERSH13 KV RESREC | SMECO_RESID_AGG | 6
DLTAPLNT13.8 KV GEN1 | AMP-ATSI OH | 1.1
DLTAPLNT13.8 KV GEN1 | AMP-ATSI PA | 0.1
DLTAPLNT13.8 KV GEN1 | BGE_RESID_AGG | 11
DLTAPLNT13.8 KV GEN1 | CPP | 0.8
DLTAPLNT13.8 KV GEN1 | DEK | 0.6
DLTAPLNT13.8 KV GEN1 | DEOK | 2.7
DLTAPLNT13.8 KV GEN1 | DEOK_RESID_AGG | 26.6
DLTAPLNT13.8 KV GEN1 | DUQ_RESID_AGG | 14.8
DLTAPLNT13.8 KV GEN1 | EKPC_RESID_AGG | 3.7
DLTAPLNT13.8 KV GEN1 | EKPC-DEOK LOAD | 0.1
DLTAPLNT13.8 KV GEN1 | FEOHIO_RESID_AGG | 41.4
DLTAPLNT13.8 KV GEN1 | PENNPOWER_RESID_AGG | 5.9
DLTAPLNT13.8 KV GEN1 | PEPCO DC | 1.2
DLTAPLNT13.8 KV GEN1 | PEPCO MD | 1.9
DLTAPLNT13.8 KV GEN1 | SMECO_RESID_AGG | 0.7
DLTAPLNT13.8 KV GEN1 | WILLIAMSTOWN | 0.1
DLTAPLNT13.8 KV GEN2 | AMP-ATSI OH | 1.2
DLTAPLNT13.8 KV GEN2 | AMP-ATSI PA | 0.1
DLTAPLNT13.8 KV GEN2 | BGE_RESID_AGG | 11.5
DLTAPLNT13.8 KV GEN2 | CPP | 0.8
DLTAPLNT13.8 KV GEN2 | DEK | 0.6
DLTAPLNT13.8 KV GEN2 | DEOK | 3
DLTAPLNT13.8 KV GEN2 | DEOK_RESID_AGG | 27.8
DLTAPLNT13.8 KV GEN2 | DUQ_RESID_AGG | 14.8
DLTAPLNT13.8 KV GEN2 | EKPC_RESID_AGG | 4.1
DLTAPLNT13.8 KV GEN2 | EKPC-DEOK LOAD | 0.1
DLTAPLNT13.8 KV GEN2 | FEOHIO_RESID_AGG | 42.1
DLTAPLNT13.8 KV GEN2 | PENNPOWER_RESID_AGG | 5
DLTAPLNT13.8 KV GEN2 | PEPCO DC | 1.5
DLTAPLNT13.8 KV GEN2 | PEPCO MD | 2
DLTAPLNT13.8 KV GEN2 | SMECO_RESID_AGG | 0.8
DLTAPLNT13.8 KV GEN2 | WILLIAMSTOWN | 0.1
DLTAPLNT13.8 KV GEN3 | AMP-ATSI OH | 1.2
DLTAPLNT13.8 KV GEN3 | AMP-ATSI PA | 0.1
DLTAPLNT13.8 KV GEN3 | BGE_RESID_AGG | 11.4
DLTAPLNT13.8 KV GEN3 | CPP | 0.8
DLTAPLNT13.8 KV GEN3 | DEK | 0.6
DLTAPLNT13.8 KV GEN3 | DEOK | 3
DLTAPLNT13.8 KV GEN3 | DEOK_RESID_AGG | 27.4
DLTAPLNT13.8 KV GEN3 | DUQ_RESID_AGG | 14.9
DLTAPLNT13.8 KV GEN3 | EKPC_RESID_AGG | 4.1
DLTAPLNT13.8 KV GEN3 | EKPC-DEOK LOAD | 0.1
DLTAPLNT13.8 KV GEN3 | FEOHIO_RESID_AGG | 41.2
DLTAPLNT13.8 KV GEN3 | PENNPOWER_RESID_AGG | 4.8
DLTAPLNT13.8 KV GEN3 | PEPCO DC | 1.5
DLTAPLNT13.8 KV GEN3 | PEPCO MD | 2
DLTAPLNT13.8 KV GEN3 | SMECO_RESID_AGG | 0.8
DLTAPLNT13.8 KV GEN3 | WILLIAMSTOWN | 0.1
DLTAPLNT18 KV GEN4 | AMP-ATSI OH | 1.8
DLTAPLNT18 KV GEN4 | AMP-ATSI PA | 0.1
DLTAPLNT18 KV GEN4 | BGE_RESID_AGG | 13.4
DLTAPLNT18 KV GEN4 | CPP | 1.2
DLTAPLNT18 KV GEN4 | DEK | 1
DLTAPLNT18 KV GEN4 | DEOK | 4.3
DLTAPLNT18 KV GEN4 | DEOK_RESID_AGG | 39.7
DLTAPLNT18 KV GEN4 | DUQ_RESID_AGG | 20.5
DLTAPLNT18 KV GEN4 | EKPC_RESID_AGG | 6.2
DLTAPLNT18 KV GEN4 | EKPC-DEOK LOAD | 0.1
DLTAPLNT18 KV GEN4 | FEOHIO_RESID_AGG | 56.3
DLTAPLNT18 KV GEN4 | PENNPOWER_RESID_AGG | 5
DLTAPLNT18 KV GEN4 | PEPCO DC | 2.4
DLTAPLNT18 KV GEN4 | PEPCO MD | 3.4
DLTAPLNT18 KV GEN4 | SMECO_RESID_AGG | 1.2
DLTAPLNT18 KV GEN4 | WILLIAMSTOWN | 0.1
DLTAPLNT18 KV ST7 | BGE_RESID_AGG | 181.4
DRYBREAD34.5 KV DRYBRDSP | DOM_RESID_AGG | 67
EBEND 20 KV EB2 | DAY_RESID_AGG | 35.7
EBENSBUR13 KV NUG GE | PENELEC_RESID_AGG | 17.9
EDGEMOOR12 KV G10 | DEMEC | 0.1
EDGEMOOR12 KV G10 | DPL_ODEC | 0.5
EDGEMOOR13 KV HAYRD1 | DEMEC | 0.8
EDGEMOOR13 KV HAYRD1 | DPL_ODEC | 4.7
EDGEMOOR13 KV HAYRD2 | DEMEC | 0.8
EDGEMOOR13 KV HAYRD2 | DPL_ODEC | 4.7
EDGEMOOR13 KV HAYRD3 | DEMEC | 0.8
EDGEMOOR13 KV HAYRD3 | DPL_ODEC | 4.7
EDGEMOOR13 KV HAYRD4 | DEMEC | 1.1
EDGEMOOR13 KV HAYRD4 | DPL_ODEC | 6.4
EDGEMOOR13 KV HAYRD5 | AMP-ATSI OH | 1.4
EDGEMOOR13 KV HAYRD5 | AMP-ATSI PA | 0.1
EDGEMOOR13 KV HAYRD5 | BGE_RESID_AGG | 11.1
EDGEMOOR13 KV HAYRD5 | CPP | 1
EDGEMOOR13 KV HAYRD5 | DEK | 0.7
EDGEMOOR13 KV HAYRD5 | DEOK | 3.3
EDGEMOOR13 KV HAYRD5 | DEOK_RESID_AGG | 30.3
EDGEMOOR13 KV HAYRD5 | EKPC_RESID_AGG | 5.1
EDGEMOOR13 KV HAYRD5 | EKPC-DEOK LOAD | 0.1
EDGEMOOR13 KV HAYRD5 | FEOHIO_RESID_AGG | 43
EDGEMOOR13 KV HAYRD5 | PENNPOWER_RESID_AGG | 4.2
EDGEMOOR13 KV HAYRD5 | PEPCO DC | 1.8
EDGEMOOR13 KV HAYRD5 | PEPCO MD | 2.5
EDGEMOOR13 KV HAYRD5 | SMECO_RESID_AGG | 0.9
EDGEMOOR13 KV HAYRD5 | WILLIAMSTOWN | 0.1
EDGEMOOR13 KV HAYRD6 | AMP-ATSI OH | 1.4
EDGEMOOR13 KV HAYRD6 | AMP-ATSI PA | 0.1
EDGEMOOR13 KV HAYRD6 | BGE_RESID_AGG | 11.1
EDGEMOOR13 KV HAYRD6 | CPP | 1
EDGEMOOR13 KV HAYRD6 | DEK | 0.7
EDGEMOOR13 KV HAYRD6 | DEOK | 3.3
EDGEMOOR13 KV HAYRD6 | DEOK_RESID_AGG | 29.3
EDGEMOOR13 KV HAYRD6 | EKPC_RESID_AGG | 5.1
EDGEMOOR13 KV HAYRD6 | EKPC-DEOK LOAD | 0.1
EDGEMOOR13 KV HAYRD6 | FEOHIO_RESID_AGG | 42.4
EDGEMOOR13 KV HAYRD6 | PENNPOWER_RESID_AGG | 4
EDGEMOOR13 KV HAYRD6 | PEPCO DC | 1.8
EDGEMOOR13 KV HAYRD6 | PEPCO MD | 2.5
EDGEMOOR13 KV HAYRD6 | SMECO_RESID_AGG | 0.9
EDGEMOOR13 KV HAYRD6 | WILLIAMSTOWN | 0.1
EDGEMOOR13 KV HAYRD7 | AMP-ATSI OH | 1.4
EDGEMOOR13 KV HAYRD7 | AMP-ATSI PA | 0.1
EDGEMOOR13 KV HAYRD7 | BGE_RESID_AGG | 11.1
EDGEMOOR13 KV HAYRD7 | CPP | 1
EDGEMOOR13 KV HAYRD7 | DEK | 0.7
EDGEMOOR13 KV HAYRD7 | DEOK | 3.3
EDGEMOOR13 KV HAYRD7 | DEOK_RESID_AGG | 29.3
EDGEMOOR13 KV HAYRD7 | EKPC_RESID_AGG | 5.1
EDGEMOOR13 KV HAYRD7 | EKPC-DEOK LOAD | 0.1
EDGEMOOR13 KV HAYRD7 | FEOHIO_RESID_AGG | 42.5
EDGEMOOR13 KV HAYRD7 | PENNPOWER_RESID_AGG | 4.2
EDGEMOOR13 KV HAYRD7 | PEPCO DC | 1.8
EDGEMOOR13 KV HAYRD7 | PEPCO MD | 2.5
EDGEMOOR13 KV HAYRD7 | SMECO_RESID_AGG | 0.9
EDGEMOOR13 KV HAYRD7 | WILLIAMSTOWN | 0.1
EDGEMOOR13 KV UNIT03 | DEMEC | 0.6
EDGEMOOR13 KV UNIT03 | DPL_ODEC | 3.2
EDGEMOOR18 KV HAYRD8 | AMP-ATSI OH | 2.2
EDGEMOOR18 KV HAYRD8 | AMP-ATSI PA | 0.1
EDGEMOOR18 KV HAYRD8 | BGE_RESID_AGG | 13.3
EDGEMOOR18 KV HAYRD8 | CPP | 1.5
EDGEMOOR18 KV HAYRD8 | DEK | 1.1
EDGEMOOR18 KV HAYRD8 | DEOK | 4.8
EDGEMOOR18 KV HAYRD8 | DEOK_RESID_AGG | 42.7
EDGEMOOR18 KV HAYRD8 | EKPC_RESID_AGG | 7.6
EDGEMOOR18 KV HAYRD8 | EKPC-DEOK LOAD | 0.1
EDGEMOOR18 KV HAYRD8 | FEOHIO_RESID_AGG | 58.2
EDGEMOOR18 KV HAYRD8 | PENNPOWER_RESID_AGG | 4.6
EDGEMOOR18 KV HAYRD8 | PEPCO DC | 2.9
EDGEMOOR18 KV HAYRD8 | PEPCO MD | 4.2
EDGEMOOR18 KV HAYRD8 | SMECO_RESID_AGG | 1.4
EDGEMOOR18 KV HAYRD8 | WILLIAMSTOWN | 0.1
EDGEMOOR19 KV UNIT04 | DEMEC | 1.1
EDGEMOOR19 KV UNIT04 | DPL_ODEC | 6.5
EDGEMOOR23 KV UNIT05 | DEMEC | 2.7
EDGEMOOR23 KV UNIT05 | DPL_ODEC | 15.8
ELIZRIV 13.8 KV GT1 | DOM_RESID_AGG | 1.9
ELIZRIV 13.8 KV GT2 | DOM_RESID_AGG | 1.9
ELIZRIV 13.8 KV GT3 | DOM_RESID_AGG | 1.9
ELKHYDRO4 KV ELK | AEPAPCO_RESID_AGG | 1.1
ELKHYDRO4 KV ELK | AEPIM_RESID_AGG | 0.1
ELKHYDRO4 KV ELK | AEPKY_RESID_AGG | 0.1
ELKHYDRO4 KV ELK | AEPOHIO W.O. MON POWER | 6.2
ELKHYDRO4 KV ELK | AK STEEL | 0.1
ELKHYDRO4 KV ELK | BLUE RIDGE | 0.4
ELKHYDRO4 KV ELK | MERIDIAN EWHITLEY | 0.1
EMUNI 12 KV G1 | DPL_ODEC | 3.7
EPIKE 22 KV IUP | PENELEC_RESID_AGG | 2
EVERTSUB34.5 KV ARMENIA | APS_RESID_AGG | 1.5
EVERTSUB34.5 KV ARMENIA | DPL_ODEC | 1.6
EWATERVT138 KV EWATRVSP | AEPIM_RESID_AGG | 1.5
FAIRVWEC21 KV S1 | JCPL_RESID_AGG | 0.1
FAIRVWEC21 KV S1 | PENELEC_RESID_AGG | 84.7
FLATLICK18 KV 1 | AEPOHIO W.O. MON POWER | 12.2
FLATLICK18 KV 1 | BLUE RIDGE | 0.6
FLATLICK18 KV 2 | AEPOHIO W.O. MON POWER | 11.9
FLATLICK18 KV 2 | BLUE RIDGE | 0.6
FLATLICK18 KV 3 | AEPOHIO W.O. MON POWER | 12.1
FLATLICK18 KV 3 | BLUE RIDGE | 0.4
FLATLICK18 KV 4 | AEPOHIO W.O. MON POWER | 10.6
FLATLICK18 KV 4 | BLUE RIDGE | 0.4
FLATLICK18 KV 5 | AEPOHIO W.O. MON POWER | 10.7
FLATLICK18 KV 5 | BLUE RIDGE | 0.4
FOOTHILL18 KV UNIT 4 | DEK | 0.9
FOOTHILL18 KV UNIT 4 | DEOK | 3.8
FOOTHILL18 KV UNIT 4 | DEOK_RESID_AGG | 33.6
FOOTHILL18 KV UNIT 4 | EKPC-DEOK LOAD | 0.1
FOOTHILL18 KV UNIT 4 | FEOHIO_RESID_AGG | 0.1
FOOTHILL18 KV UNIT 4 | WILLIAMSTOWN | 0.1
FOOTHILL18 KV UNIT 5 | DEK | 0.9
FOOTHILL18 KV UNIT 5 | DEOK | 3.7
FOOTHILL18 KV UNIT 5 | DEOK_RESID_AGG | 33.6
FOOTHILL18 KV UNIT 5 | EKPC-DEOK LOAD | 0.1
FOOTHILL18 KV UNIT 5 | FEOHIO_RESID_AGG | 0.1
FOOTHILL18 KV UNIT 5 | WILLIAMSTOWN | 0.1
FOWLER 34.5 KV FWL2-1WF | AEPOHIO W.O. MON POWER | 3.5
FOWLER 34.5 KV FWL2-2WF | AEPOHIO W.O. MON POWER | 3.5
FOWLER 34.5 KV FWL2-3WF | AEPOHIO W.O. MON POWER | 3.5
FOWLER 34.5 KV FWL2-4WF | AEPOHIO W.O. MON POWER | 3.3
FOWLER 34.5 KV FWLR1AWF | AEPAPCO_RESID_AGG | 2.9
FOWLER 34.5 KV FWLR1AWF | AEPKY_RESID_AGG | 0.4
FOWLER 34.5 KV FWLR1AWF | AEPOHIO W.O. MON POWER | 10.4
FOWLER 34.5 KV FWLR1AWF | BLUE RIDGE | 0.5
FOWLER 34.5 KV FWLR1BWF | AEPAPCO_RESID_AGG | 2.8
FOWLER 34.5 KV FWLR1BWF | AEPKY_RESID_AGG | 0.4
FOWLER 34.5 KV FWLR1BWF | AEPOHIO W.O. MON POWER | 10
FOWLER 34.5 KV FWLR1BWF | BLUE RIDGE | 0.5
FOWLER 34.5 KV FWLR3WF | AEPAPCO_RESID_AGG | 8.2
FRONTROY21 KV WARCOST1 | DOM_RESID_AGG | 77
GASTON4 14 KV G1 | DOM_RESID_AGG | 54.9
GASTON4 14 KV G2 | DOM_RESID_AGG | 54.9
GASTON4 14 KV G3 | DOM_RESID_AGG | 54.9
GASTON4 14 KV G4 | DOM_RESID_AGG | 54.9
GAVINAEP26 KV GV1 | AEPOHIO W.O. MON POWER | 63.9
GAVINAEP26 KV GV1 | BLUE RIDGE | 0.7
GAVINAEP26 KV GV2 | AEPOHIO W.O. MON POWER | 3.2
GAVINAEP26 KV GV2 | BLUE RIDGE | 3.3
GRASSFID35 KV GRASFDSP | DOM_RESID_AGG | 1.4
GRAYFR_113 KV 1 GEN | AMP-ATSI OH | 1.9
GRAYFR_113 KV 1 GEN | AMP-ATSI PA | 0.1
GRAYFR_113 KV 1 GEN | BGE_RESID_AGG | 13.1
GRAYFR_113 KV 1 GEN | CPP | 1.3
GRAYFR_113 KV 1 GEN | DEK | 0.9
GRAYFR_113 KV 1 GEN | DEOK | 4.2
GRAYFR_113 KV 1 GEN | DEOK_RESID_AGG | 39
GRAYFR_113 KV 1 GEN | EKPC_RESID_AGG | 7
GRAYFR_113 KV 1 GEN | EKPC-DEOK LOAD | 0.1
GRAYFR_113 KV 1 GEN | FEOHIO_RESID_AGG | 52.8
GRAYFR_113 KV 1 GEN | PENNPOWER_RESID_AGG | 4.8
GRAYFR_113 KV 1 GEN | PEPCO DC | 3.3
GRAYFR_113 KV 1 GEN | PEPCO MD | 4.6
GRAYFR_113 KV 1 GEN | SMECO_RESID_AGG | 1.6
GRAYFR_113 KV 1 GEN | WILLIAMSTOWN | 0.1
GREENECC23 KV GREENECC | AEPAPCO_RESID_AGG | 6
GREENECC23 KV GREENECC | AEPKY_RESID_AGG | 0.9
GREENECC23 KV GREENECC | AEPOHIO W.O. MON POWER | 11.4
GREENECC23 KV GREENECC | BLUE RIDGE | 0.5
GREENECC23 KV GREENECC | BUCK-CIN | 0.1
GREENECC23 KV GREENECC | BUCKEYE - AEPOH | 0.3
GREENECC23 KV GREENECC | DAY_RESID_AGG | 33.8
GREENECC23 KV GREENECC | DEOK | 6.6
GREENECC23 KV GREENECC | DEOK_RESID_AGG | 58.3
GREENECC23 KV GREENECC | DUQ_RESID_AGG | 36.1
GREENECC23 KV GREENECC | WILLIAMSTOWN | 0.1
GRNSVIL 20 KV GREENSST | DOM_RESID_AGG | 406.3
HALLBRAN13.8 KV G1 | DOM_RESID_AGG | 34.1
HANNIBAL24 KV LONGRDCC | AEPAPCO_RESID_AGG | 7.4
HANNIBAL24 KV LONGRDCC | BLUE RIDGE | 0.8
HANNIBAL24 KV LONGRDCC | BUCK-CIN | 0.1
HANNIBAL24 KV LONGRDCC | DAY_RESID_AGG | 48.5
HANNIBAL24 KV LONGRDCC | DEOK | 7.4
HANNIBAL24 KV LONGRDCC | DEOK_RESID_AGG | 67
HANNIBAL24 KV LONGRDCC | WILLIAMSTOWN | 0.1
HCF 13.8 KV GT1 | DOM_RESID_AGG | 0.4
HIBBMILL26 KV CTG-1 | AEPAPCO_RESID_AGG | 8.9
HIBBMILL26 KV CTG-1 | AEPKY_RESID_AGG | 0.9
HIBBMILL26 KV CTG-1 | BLUE RIDGE | 0.9
HIBBMILL26 KV CTG-1 | DAY_RESID_AGG | 38.9
HIBBMILL26 KV CTG-1 | DEOK | 7
HIBBMILL26 KV CTG-1 | DEOK_RESID_AGG | 62.2
HIBBMILL26 KV CTG-1 | WILLIAMSTOWN | 0.1
HIBBMILL26 KV CTG-2 | AEPAPCO_RESID_AGG | 8.9
HIBBMILL26 KV CTG-2 | AEPKY_RESID_AGG | 0.9
HIBBMILL26 KV CTG-2 | BLUE RIDGE | 0.8
HIBBMILL26 KV CTG-2 | DAY_RESID_AGG | 38.9
HIBBMILL26 KV CTG-2 | DEOK | 7
HIBBMILL26 KV CTG-2 | DEOK_RESID_AGG | 62.1
HIBBMILL26 KV CTG-2 | WILLIAMSTOWN | 0.1
HICRUNEC22 KV 1S STG | AMP-ATSI OH | 16
HICRUNEC22 KV 1S STG | CPP | 4.2
HICRUNEC22 KV 1S STG | FEOHIO_RESID_AGG | 383.2
HOMERCIT20 KV UNIT 1 | PENELEC_RESID_AGG | 117.2
HOMERCIT20 KV UNIT 2 | PENELEC_RESID_AGG | 6
HOMERCIT24 KV UNIT 3 | PENELEC_RESID_AGG | 1.7
KAMMER2 26 KV ML1 | AEPAPCO_RESID_AGG | 35.2
KAMMER2 26 KV ML1 | AEPOHIO W.O. MON POWER | 50.3
KAMMER2 26 KV ML1 | BLUE RIDGE | 5.3
KAMMER2 26 KV ML2 | AEPAPCO_RESID_AGG | 51.3
KAMMER2 26 KV ML2 | BLUE RIDGE | 5.7
KAMMER2 26 KV ML2 | BUCK-FE | 1
KERRDAM 14 KV G1 | DOM_RESID_AGG | 1.9
KERRDAM 14 KV G2 | DOM_RESID_AGG | 5.2
KERRDAM 14 KV G3 | DOM_RESID_AGG | 5.2
KERRDAM 14 KV G4 | DOM_RESID_AGG | 5.2
KERRDAM 14 KV G5 | DOM_RESID_AGG | 5.2
KERRDAM 14 KV G6 | DOM_RESID_AGG | 5.2
KERRDAM 14 KV G7 | DOM_RESID_AGG | 5.2
KEYSTNE 13 KV _UN1__15 | DAY_RESID_AGG | 40.3
KEYSTNE 13 KV _UN2__15 | DAY_RESID_AGG | 40.1
KEYSTNE 13 KV _UN3__15 | DAY_RESID_AGG | 39.7
KEYSTNE 13 KV _UN4__15 | DAY_RESID_AGG | 39.5
KEYSTONE20 KV UNIT 1 | AECO_RESID_AGG | 0.1
KEYSTONE20 KV UNIT 1 | DPL_ODEC | 1
KEYSTONE20 KV UNIT 1 | JCPL_RESID_AGG | 0.8
KEYSTONE20 KV UNIT 1 | PSEG_RESID_AGG | 1.8
KEYSTONE20 KV UNIT 2 | AECO_RESID_AGG | 0.1
KEYSTONE20 KV UNIT 2 | DPL_ODEC | 1.1
KEYSTONE20 KV UNIT 2 | JCPL_RESID_AGG | 0.7
KEYSTONE20 KV UNIT 2 | PSEG_RESID_AGG | 1.8
KEYSTONE20 KV UNIT 3 | JCPL_RESID_AGG | 0.5
KEYSTONE20 KV UNIT 3 | PSEG_RESID_AGG | 0.1
KLINE 138 KV TWINB1-6 | AEPIM_RESID_AGG | 1.3
KYGERCRE15.5 KV KY1 | BUCKEYE - AEPOH | 30.1
LACKAENG24 KV CTG1 | BRUNSWICK | 0.2
LACKAENG24 KV CTG1 | CITIZENS | 0.5
LACKAENG24 KV CTG1 | EPHRATA | 0.4
LACKAENG24 KV CTG1 | HILLSDALE_PARKRIDGE | 0.1
LACKAENG24 KV CTG1 | JCPL_RESID_AGG | 19.5
LACKAENG24 KV CTG1 | PERKASIE | 0.1
LACKAENG24 KV CTG1 | PPL_RESID_AGG | 85.9
LACKAENG24 KV CTG1 | PSEG | 2.7
LACKAENG24 KV CTG1 | PSEG_RESID_AGG | 40.7
LAWRENC218 KV S1 | AEPOHIO W.O. MON POWER | 51.1
LAWRENC218 KV S1 | AMP-OHIO | 0.6
LAWRENC218 KV S2 | AEPOHIO W.O. MON POWER | 51.1
LAWRENC218 KV S2 | AMP-OHIO | 0.6
LINWDPE 18 KV STM | AMP-ATSI OH | 7.5
LINWDPE 18 KV STM | AMP-ATSI PA | 0.4
LINWDPE 18 KV STM | BGE_RESID_AGG | 43.3
LINWDPE 18 KV STM | CPP | 5
LINWDPE 18 KV STM | DEK | 3.5
LINWDPE 18 KV STM | DEOK | 16.7
LINWDPE 18 KV STM | DEOK_RESID_AGG | 152.8
LINWDPE 18 KV STM | DUQ_RESID_AGG | 76
LINWDPE 18 KV STM | EKPC_RESID_AGG | 28.7
LINWDPE 18 KV STM | EKPC-DEOK LOAD | 0.3
LINWDPE 18 KV STM | FEOHIO_RESID_AGG | 196.2
LINWDPE 18 KV STM | PENNPOWER_RESID_AGG | 14.8
LINWDPE 18 KV STM | PEPCO DC | 19.6
LINWDPE 18 KV STM | PEPCO MD | 28.5
LINWDPE 18 KV STM | SMECO_RESID_AGG | 7.3
LINWDPE 18 KV STM | WILLIAMSTOWN | 0.3
LOUISACT18 KV G5 | DOM_RESID_AGG | 5.2
LOWMOOR 13 KV GTS | DOM_RESID_AGG | 0.8
LRDTWNEC19 KV ST10 | AMP-ATSI OH | 20
LRDTWNEC19 KV ST10 | CPP | 3
LRDTWNEC19 KV ST10 | FEOHIO_RESID_AGG | 476.9
MARSHRUN18 KV GT1 | DOM_RESID_AGG | 10.6
MARSHRUN18 KV GT2 | DOM_RESID_AGG | 10.6
MARSHRUN18 KV GT3 | DOM_RESID_AGG | 10.6
MIAMIFOR22 KV G7 | DAY_RESID_AGG | 16.7
MIAMIFOR22 KV G8 | DAY_RESID_AGG | 5.3
MIDLOTH 35 KV DRYBRIBS | DOM_RESID_AGG | 0.6
MISO | AEC - AP | 3.3
MISO | AEPAPCO_RESID_AGG | 111.2
MISO | AEPIM_RESID_AGG | 116.3
MISO | AEPKY_RESID_AGG | 20.2
MISO | AEPOHIO W.O. MON POWER | 184.8
MISO | AK STEEL | 0.6
MISO | AMP-OHIO | 18.1
MISO | APS_RESID_AGG | 415
MISO | BLUE RIDGE | 5.9
MISO | BUCK-CIN | 0.2
MISO | BUCKEYE - AEPIM | 0.1
MISO | BUCKEYE - AEPOH | 3.7
MISO | BUCKEYE - DPL | 0.9
MISO | BUCK-FE | 0.6
MISO | DAY_RESID_AGG | 84.3
MISO | HREA - AP | 0.8
MISO | LIDA - AP | 0.4
MISO | MERIDIAN EWHITLEY | 0.7
MISO | MON POWER | 15.3
MISO | MONT ALTO - AP | 0.1
MISO | NEWMARTINSVILLE-AP | 0.3
MISO | PHILIPPI - AP | 0.3
MISO | TARENTUM - AP | 0.2
MONTOUR 24 KV UNIT01 | CITIZENS | 2.4
MONTOUR 24 KV UNIT01 | EPHRATA | 1.8
MONTOUR 24 KV UNIT01 | PERKASIE | 0.4
MONTOUR 24 KV UNIT01 | PPL_RESID_AGG | 370.2
MONTOUR 24 KV UNIT02 | CITIZENS | 2.4
MONTOUR 24 KV UNIT02 | EPHRATA | 1.8
MONTOUR 24 KV UNIT02 | PERKASIE | 0.4
MONTOUR 24 KV UNIT02 | PPL_RESID_AGG | 369.9
MOTTVILL2 KV MO1 | AEPAPCO_RESID_AGG | 0.3
MOTTVILL2 KV MO1 | AEPOHIO W.O. MON POWER | 4
MOTTVILL2 KV MO1 | AK STEEL | 0.1
MOTTVILL2 KV MO1 | BLUE RIDGE | 0.3
MOTTVILL2 KV MO2 | AEPAPCO_RESID_AGG | 0.3
MOTTVILL2 KV MO2 | AEPOHIO W.O. MON POWER | 4
MOTTVILL2 KV MO2 | AK STEEL | 0.1
MOTTVILL2 KV MO2 | BLUE RIDGE | 0.3
MOTTVILL2 KV MO3 | AEPAPCO_RESID_AGG | 0.3
MOTTVILL2 KV MO3 | AEPOHIO W.O. MON POWER | 4
MOTTVILL2 KV MO3 | AK STEEL | 0.1
MOTTVILL2 KV MO3 | BLUE RIDGE | 0.3
MOTTVILL2 KV MO4 | AEPAPCO_RESID_AGG | 0.2
MOTTVILL2 KV MO4 | AEPOHIO W.O. MON POWER | 4
MOTTVILL2 KV MO4 | AK STEEL | 0.1
MOTTVILL2 KV MO4 | BLUE RIDGE | 0.3
MOUNTAIN26 KV MT1 | AEPOHIO W.O. MON POWER | 129.2
MOUNTAIN26 KV MT1 | BLUE RIDGE | 5.8
MTNTOP 34.5 KV MHOOPWF2 | APS_RESID_AGG | 4.4
MTNTOP 34.5 KV MHOOPWF2 | DPL_ODEC | 5.1
MTSTORM422 KV G1 | DOM_RESID_AGG | 488.1
MTSTORM422 KV G2 | DOM_RESID_AGG | 477.6
MTSTORM422 KV G3 | DOM_RESID_AGG | 449.3
MTSTORM435 KV GT1 | DOM_RESID_AGG | 10.5
N ILLINOIS HUB | COOK | 204.4
NANNA4 22 KV G1 | DOM_RESID_AGG | 3.9
NANNA4 22 KV G2 | DOM_RESID_AGG | 2.2
NORTHST 12 KV G11 | DPL_ODEC | 0.4
NORTHST 69 KV GF | DPL_ODEC | 0.1
NYIS | AMP-OHIO | 3.4
NYIS | BUCKEYE - AEPIM | 0.6
NYIS | BUCKEYE - AEPOH | 39.2
NYIS | BUCKEYE - DPL | 9.7
NYIS | METED_RESID_AGG | 2.3
NYIS | PENELEC_RESID_AGG | 14.7
OLIVE 12 KV OLIVESP | AEPIM_RESID_AGG | 0.4
PATRIOT123 KV PAT10 | CITIZENS | 0.4
PATRIOT123 KV PAT10 | EPHRATA | 0.1
PATRIOT123 KV PAT10 | PERKASIE | 0.1
PATRIOT123 KV PAT10 | PPL_RESID_AGG | 32.6
PAULDNG334.5 KV PAUL3WF | AEPAPCO_RESID_AGG | 2
PAULDNG334.5 KV PAUL3WF | AEPKY_RESID_AGG | 0.3
PAULDNG334.5 KV PAUL3WF | AEPOHIO W.O. MON POWER | 9
PEACHBOT22 KV UNIT02 | DEMEC | 0.5
PEACHBOT22 KV UNIT02 | DPL_ODEC | 3
PEACHBOT22 KV UNIT03 | DEMEC | 0.5
PEACHBOT22 KV UNIT03 | DPL_ODEC | 3.1
PERRY_FE22 KV PR10 | AMP-ATSI OH | 40.6
PERRY_FE22 KV PR10 | FEOHIO_RESID_AGG | 930.7
PERRY_FE22 KV PR10 | PENNPOWER_RESID_AGG | 29.8
PHILPOTT138 KV UNITS1-3 | DOM_RESID_AGG | 3.9
PLYWOOD 13.8 KV PLYWODBI | DOM_RESID_AGG | 21.2
PRINTZ 18 KV STG | AMP-ATSI OH | 6.1
PRINTZ 18 KV STG | AMP-ATSI PA | 0.3
PRINTZ 18 KV STG | BGE_RESID_AGG | 35.8
PRINTZ 18 KV STG | CPP | 4.1
PRINTZ 18 KV STG | DEK | 3.2
PRINTZ 18 KV STG | DEOK | 13.4
PRINTZ 18 KV STG | DEOK_RESID_AGG | 123.7
PRINTZ 18 KV STG | EKPC_RESID_AGG | 23.3
PRINTZ 18 KV STG | EKPC-DEOK LOAD | 0.3
PRINTZ 18 KV STG | FEOHIO_RESID_AGG | 159
PRINTZ 18 KV STG | PENNPOWER_RESID_AGG | 11.8
PRINTZ 18 KV STG | PEPCO DC | 16.3
PRINTZ 18 KV STG | PEPCO MD | 23.6
PRINTZ 18 KV STG | SMECO_RESID_AGG | 5.9
PRINTZ 18 KV STG | WILLIAMSTOWN | 0.2
PSEGGLOB18 KV 6 | DEK | 1
PSEGGLOB18 KV 6 | DEOK | 4.3
PSEGGLOB18 KV 6 | DEOK_RESID_AGG | 38.3
PSEGGLOB18 KV 6 | EKPC-DEOK LOAD | 0.1
PSEGGLOB18 KV 6 | FEOHIO_RESID_AGG | 0.3
PSEGGLOB18 KV 6 | WILLIAMSTOWN | 0.1
PSEGGLOB18 KV 7 | DEK | 1
PSEGGLOB18 KV 7 | DEOK | 4.2
PSEGGLOB18 KV 7 | DEOK_RESID_AGG | 38.3
PSEGGLOB18 KV 7 | EKPC-DEOK LOAD | 0.1
PSEGGLOB18 KV 7 | FEOHIO_RESID_AGG | 0.4
PSEGGLOB18 KV 7 | WILLIAMSTOWN | 0.1
PSEGGLOB18 KV 8 | DEK | 1
PSEGGLOB18 KV 8 | DEOK | 4.2
PSEGGLOB18 KV 8 | DEOK_RESID_AGG | 38.2
PSEGGLOB18 KV 8 | EKPC-DEOK LOAD | 0.1
PSEGGLOB18 KV 8 | FEOHIO_RESID_AGG | 0.4
PSEGGLOB18 KV 8 | WILLIAMSTOWN | 0.1
PSEGGLOB22 KV 5 | DEK | 2.1
PSEGGLOB22 KV 5 | DEOK | 8.9
PSEGGLOB22 KV 5 | DEOK_RESID_AGG | 81.9
PSEGGLOB22 KV 5 | EKPC-DEOK LOAD | 0.2
PSEGGLOB22 KV 5 | FEOHIO_RESID_AGG | 0.4
PSEGGLOB22 KV 5 | WILLIAMSTOWN | 0.1
RAYSTOWN46 KV RAYSUN | PENELEC_RESID_AGG | 1.8
REMNTNCT18 KV GT1 | DOM_RESID_AGG | 0.5
REMNTNCT18 KV GT2 | DOM_RESID_AGG | 0.5
REMNTNCT18 KV GT3 | DOM_RESID_AGG | 0.5
REMNTNCT18 KV GT4 | DOM_RESID_AGG | 0.5
ROCKPOR226 KV RP1 | AEPAPCO_RESID_AGG | 0.5
ROCKPOR226 KV RP1 | AEPOHIO W.O. MON POWER | 291.2
ROCKPOR226 KV RP1 | AMP-OHIO | 2.4
ROCKPOR226 KV RP1 | BUCK-CIN | 0.3
ROCKPOR226 KV RP1 | BUCKEYE - AEPOH | 9
ROCKPOR226 KV RP1 | BUCKEYE - DPL | 2.1
ROCKPOR226 KV RP1 | BUCK-FE | 1.8
ROCKPOR226 KV RP2 | AEPAPCO_RESID_AGG | 0.8
ROCKPOR226 KV RP2 | AEPOHIO W.O. MON POWER | 295.2
ROCKPOR226 KV RP2 | AMP-OHIO | 2.4
ROCKPOR226 KV RP2 | BUCK-CIN | 0.3
ROCKPOR226 KV RP2 | BUCKEYE - AEPOH | 8.8
ROCKPOR226 KV RP2 | BUCKEYE - DPL | 2
ROCKPOR226 KV RP2 | BUCK-FE | 1.8
ROCKSPRI18 KV CT3 | DEMEC | 0.1
ROCKSPRI18 KV CT3 | DPL_ODEC | 0.5
ROCKSPRI18 KV CT4 | DEMEC | 0.1
ROCKSPRI18 KV CT4 | DPL_ODEC | 0.5
ROCKSPRI24 KV WCATSTG | APS_RESID_AGG | 51.7
ROCKSPRI24 KV WCATSTG | DPL_ODEC | 20.6
RORAPIDS14 KV G1 | DOM_RESID_AGG | 9.9
RORAPIDS14 KV G2 | DOM_RESID_AGG | 9.9
RORAPIDS14 KV G3 | DOM_RESID_AGG | 9.9
RORAPIDS14 KV G4 | DOM_RESID_AGG | 9.9
ROSEMARY13.8 KV NUG | DOM_RESID_AGG | 163.6
SALEM 25 KV SALEM1 | DEMEC | 0.4
SALEM 25 KV SALEM1 | DPL_ODEC | 2.6
SALEM 25 KV SALEM2 | DEMEC | 0.4
SALEM 25 KV SALEM2 | DPL_ODEC | 2.6
SAMMISFE19 KV SH60 | AMP-ATSI OH | 14.3
SAMMISFE19 KV SH60 | CPP | 4.2
SAMMISFE19 KV SH60 | FEOHIO_RESID_AGG | 342.4
SAMMISFE19 KV SH70 | AMP-ATSI OH | 14.3
SAMMISFE19 KV SH70 | CPP | 4.2
SAMMISFE19 KV SH70 | FEOHIO_RESID_AGG | 336.5
SAMMISFE23.4 KV SH50 | AMP-ATSI OH | 6.9
SAMMISFE23.4 KV SH50 | CPP | 2.1
SAMMISFE23.4 KV SH50 | FEOHIO_RESID_AGG | 151.2
SBEND 18 KV CT1 | MON POWER | 0.1
SBEND 18 KV CT2 | MON POWER | 0.1
SBEND 18 KV CT3 | MON POWER | 0.1
SBEND 18 KV CT4 | MON POWER | 0.1
SEWARD 22 KV UNIT1 | PENELEC_RESID_AGG | 230
SHAMPTON115 KV G1 | DOM_RESID_AGG | 15
SJEC 18 KV STG | AEPAPCO_RESID_AGG | 145.6
SJEC 18 KV STG | AEPKY_RESID_AGG | 26.1
SJEC 18 KV STG | AEPOHIO W.O. MON POWER | 256.8
SJEC 18 KV STG | AK STEEL | 0.7
SJEC 18 KV STG | AMP-OHIO | 3.1
SJEC 18 KV STG | BLUE RIDGE | 8.2
SJEC 18 KV STG | BUCK-CIN | 0.3
SJEC 18 KV STG | BUCKEYE - AEPOH | 6.1
SJEC 18 KV STG | BUCKEYE - DPL | 1.5
SJEC 18 KV STG | BUCK-FE | 1.1
SJEC 18 KV STG | MERIDIAN EWHITLEY | 0.6
SOUTH | DOM_RESID_AGG | 39.4
SPRINGDA18 KV ST5 | NEWMARTINSVILLE-AP | 0.1
STEMPLE 18 KV STG | AEPAPCO_RESID_AGG | 57.2
STEMPLE 18 KV STG | AEPKY_RESID_AGG | 3.6
STEMPLE 18 KV STG | BLUE RIDGE | 5.2
STEMPLE 18 KV STG | BUCK-FE | 0.6
STGCOACH34.5 KV STGCHSP | DOM_RESID_AGG | 29.2
SUFFOLK 35 KV PLSNTHSP | DOM_RESID_AGG | 1.9
SURRY4 22 KV G1 | DOM_RESID_AGG | 29.3
SURRY4 22 KV G2 | DOM_RESID_AGG | 88.2
SUSQUEHA24 KV UNIT01 | BGE_RESID_AGG | 43.5
SUSQUEHA24 KV UNIT01 | EPHRATA | 0.7
SUSQUEHA24 KV UNIT01 | METED_RESID_AGG | 2.8
SUSQUEHA24 KV UNIT01 | PENELEC_RESID_AGG | 67.6
SUSQUEHA24 KV UNIT01 | PERKASIE | 0.2
SUSQUEHA24 KV UNIT02 | BGE_RESID_AGG | 35
SUSQUEHA24 KV UNIT02 | PENELEC_RESID_AGG | 65.1
TANNERSC18 KV TC3 | MIAMIFOR18 KV G6 | 76.2
TIDD_AEP24 KV CD1 | AEPAPCO_RESID_AGG | 53.1
TIDD_AEP24 KV CD1 | AEPIM_RESID_AGG | 2.9
TIDD_AEP24 KV CD1 | AEPKY_RESID_AGG | 4.2
TIDD_AEP24 KV CD1 | BLUE RIDGE | 4.4
TIDD_AEP24 KV CD1 | BUCK-CIN | 0.3
TIDD_AEP24 KV CD1 | BUCK-FE | 0.7
TIDD_AEP24 KV CD2 | AEPAPCO_RESID_AGG | 6.3
TIDD_AEP24 KV CD2 | AEPIM_RESID_AGG | 0.3
TIDD_AEP24 KV CD2 | AEPKY_RESID_AGG | 0.4
TIDD_AEP24 KV CD2 | BLUE RIDGE | 0.6
TIDD_AEP24 KV CD2 | BUCK-CIN | 12.4
TIDD_AEP24 KV CD2 | BUCK-FE | 39.2
TIDD_AEP26 KV CD3 | AEPAPCO_RESID_AGG | 6.6
TIDD_AEP26 KV CD3 | AEPKY_RESID_AGG | 0.5
TIDD_AEP26 KV CD3 | BLUE RIDGE | 0.6
TIDD_AEP26 KV CD3 | BUCK-CIN | 12.4
TIDD_AEP26 KV CD3 | BUCK-FE | 39.2
TIMBERRD34.5 KV TIMR2WF1 | AEPOHIO W.O. MON POWER | 16.7
TWELVEPO13 KV 1 | DUQ_RESID_AGG | 0.2
TWELVEPO13 KV 2 | DUQ_RESID_AGG | 0.2
TWELVEPO13 KV 3 | DUQ_RESID_AGG | 0.2
TWINBRAN138 KV TWINBRSP | AEPIM_RESID_AGG | 0.4
WELCO 35 KV WATLNGSP | DOM_RESID_AGG | 4.9
WESTDPL 12 KV G1 | DEMEC | 0.1
WESTDPL 12 KV G1 | DPL_ODEC | 0.6
WMORELND20 KV CT1 | MON POWER | 0.1
YORKTOW425 KV G3 | DOM_RESID_AGG | 0.2
ZELDA 18 KV UNIT 1 | AMP-OHIO | 0.1
ZELDA 18 KV UNIT 2 | AEPOHIO W.O. MON POWER | 0.1
ZELDA 18 KV UNIT 2 | AMP-OHIO | 0.1
ZELDA 18 KV UNIT 3 | AEPOHIO W.O. MON POWER | 0.1
ZELDA 18 KV UNIT 3 | AMP-OHIO | 0.1