## Facilities
Constraint Name | Contingency Description | Required MW Increase in Capability Limits | Type | Reason for Infeasibility
ALLLUD4J138 KV ALJ-ALL_I | L345.Ashtabula-ErieWest | 18 | Internal PJM | Transmission Outage
ASHTABUL138 KV ASH-04S1_Z | L345.Ashtabula-Perry | 13 | Internal PJM | Transmission Outage
ASHTABUL138 KV ASH-04S2_Z | L345.Ashtabula-Perry | 18 | Internal PJM | Transmission Outage
ASHTABUL138 KV ASH-04S4_Z | L345.Ashtabula-Perry | 19 | Internal PJM | Transmission Outage
Batesville-Hubble 138 l/o Tanners Crk-Miami Fort 345 |  | 68 | M2M Flowgate | Network Load
BIGPINET138 KV BIG-GAR_I | L138.Kittanning-AllDam6 | 7 | Internal PJM | Transmission Outage
BIGPINET138 KV BIG-KIS_Z | L138.Kittanning-AllDam6 | 2 | Internal PJM | Transmission Outage
BRADDOCK230 KV 281A_Z | L500.Possum Point-Ox.571 | 801 | Internal PJM | Transmission Outage
BRIERY 230 KV 235A1_Z | L230.Clover-SedgeHill.2068 | 250 | Internal PJM | Transmission Outage
BRIERY 230 KV 235B_I | L230.Clover-SedgeHill.2068 | 249 | Internal PJM | Transmission Outage
BUCKNGHM230 KV 298B_Z | L230.Clover-SedgeHill.2068 | 23 | Internal PJM | Transmission Outage
BULLRUN 230 KV 244A_I | L500.Possum Point-Ox.571 | 1375 | Internal PJM | Transmission Outage
BULLRUN 230 KV 295C_Z | L500.Possum Point-Ox.571 | 640 | Internal PJM | Transmission Outage
Bureau - LTV Steel 138 kV l/o Fargo - Sandberg 345 kV |  | 4 | M2M Flowgate | Network Load
BUREAU - LTVSTEEL 1552 138 kV |  | 3 | M2M Flowgate | Network Load
BURKE 230 KV 270A_I | L500.Possum Point-Ox.571 | 1319 | Internal PJM | Transmission Outage
Butler - Bluemound 138kV 5061 l/o Arcadian - Granvil 345kV |  | 5 | M2M Flowgate | Network Load
Cayuga 345/230 XFMR 9 (flo) Cayuga 345/230 XFMR 10 |  | 4 | M2M Flowgate | Network Load
Cayuga 345-Cayuga l/o Rockport-Jefferson 765 |  | 27 | M2M Flowgate | Transmission Outage
Cherry Valley - Silver Lake (15616) 345 kV l/o Byron - Wayne 345 kV |  | 308 | M2M Flowgate | Network Load
Cherry Valley - Silver Lake 345 kV l/o Nelson - Electric Junction 345 kV |  | 4 | M2M Flowgate | Transmission Outage
CHR138 138 KV CHR-NEW_I |  | 9 | Internal PJM | Transmission Outage
CHR138 138 KV CHR-NEW_I | L230.Edgemoor-Harmony.23012 | 21 | Internal PJM | Transmission Outage
CHURCH 69 KV CHU-NME_I | 230/138.Milford.AT20 | 4 | Internal PJM | Transmission Outage
CLBHOUSE230 KV TX1_I | L230.Carson-ClubHouse.238 (Sctnlz) | 246 | Internal PJM | Transmission Outage
CNTRVLIN230 KV 244B_I | L500.Possum Point-Ox.571 | 1335 | Internal PJM | Transmission Outage
CODOVA - SUB39 345 kV l/o QUAD CITY - SUB91 345 kV |  | 184 | M2M Flowgate | Network Load
CONASTON230 KV CNS-NOR1_I | L500.Brighton-Conastone.5011 | 31 | Internal PJM | Transmission Outage
CONASTON500 KV CNS-PEA_Z |  | 13 | Internal PJM | Transmission Outage
COOLSPRI230 KV COL-MIL_Z | L230.IndianRiver-Milford.23034 | 57 | Internal PJM | Transmission Outage
COOPERPE230 KV COO-GRA_I |  | 91 | Internal PJM | Transmission Outage
COOPERPE230 KV COO-GRA_I | L500.Conastone-PeachBottom.5012 | 536 | Internal PJM | Network Load
COOPERPE230 KV COO-PEA_Z |  | 100 | Internal PJM | Transmission Outage
COOPERPE230 KV COO-PEA_Z | L500.Conastone-PeachBottom.5012 | 544 | Internal PJM | Network Load
CUBRUNDP230 KV 2008B_I | L230.Loudoun-ElkLickDp.2173 | 125 | Internal PJM | Transmission Outage
DISCOVER230 KV 2107_I | L230.Loudoun-ElkLickDp.2173 | 486 | Internal PJM | Transmission Outage
EDELPHOS69 KV EDE-NDE_Z | L345.MaddoxCreek-RPMone | 9 | Internal PJM | Transmission Outage
Elkhorn North Lake Geneva 138 l/o Sunrise White Water 138 |  | 70 | M2M Flowgate | Network Load
ELKLCKDP230 KV 2173A_Z | L500.Possum Point-Ox.571 | 689 | Internal PJM | Transmission Outage
FARMVILL230 KV TX4_I | L230.Clover-SedgeHill.2068 | 12 | Internal PJM | Transmission Outage
FLSCHURC230 KV 251B_I | L500.Possum Point-Ox.571 | 36 | Internal PJM | Transmission Outage
Francisco - Duff 345 kV flo Gibson -ABBrown 345 kV |  | 1 | M2M Flowgate | Transmission Outage
GARNERDP115 KV GAR-MOON_I | L230.Elmont-Hanover-FourRivers.2032 | 116 | Internal PJM | Transmission Outage
GERMANTO115 KV GER-STR_Z | L500.Brighton-Conastone.5011 | 6 | Internal PJM | Transmission Outage
GREYSPT 115 KV GRE-HARM_Z | L230.Elmont-Hanover-FourRivers.2032 | 88 | Internal PJM | Transmission Outage
GREYSPT 115 KV GRE-RAP1_I | L230.Elmont-Hanover-FourRivers.2032 | 47 | Internal PJM | Transmission Outage
GREYSPT 115 KV GRE-RAP2_I | L230.Elmont-Hanover-FourRivers.2032 | 47 | Internal PJM | Transmission Outage
HARMONYV230 KV TX2_I | L230.Elmont-Hanover-FourRivers.2032 | 8 | Internal PJM | Transmission Outage
HARRISN 138 KV HAR-OST_I |  | 35 | Internal PJM | Transmission Outage
IDYLWOO4230 KV 207A_Z | L500.Possum Point-Ox.571 | 641 | Internal PJM | Transmission Outage
Labadie-GraySummit 2 345 kV l/o Labadie-GraySummit 1 345 kV |  | 29 | M2M Flowgate | Network Load
LANCASTR115 KV 65B1_Z | L230.Elmont-Hanover-FourRivers.2032 | 121 | Internal PJM | Transmission Outage
LANCASTR115 KV 65C_I | L230.Elmont-Hanover-FourRivers.2032 | 128 | Internal PJM | Transmission Outage
LAURELDP69 KV LAU-SHA_I | 230/138.PineyGrove.AT20 | 14 | Internal PJM | Transmission Outage
LEROYCEN138 KV SPR-04L1_I | L345.Ashtabula-Perry | 1 | Internal PJM | Transmission Outage
LINCOLN 115 KV LIN-STR_I | L500.Brighton-Conastone.5011 | 12 | Internal PJM | Transmission Outage
LOUDOUN4230 KV 2008A_I | L230.Loudoun-ElkLickDp.2173 | 158 | Internal PJM | Transmission Outage
LTVSteel - Hennepin 138 kV l/o Powerton - Towerline 138 kV |  | 8 | M2M Flowgate | Network Load
Monroe - Lallendorf 345 kV |  | 309 | M2M Flowgate | Network Load
Monroe - Lallendorf 345 kV l/o Lemoyne - Majestic 345 kV |  | 355 | M2M Flowgate | Network Load
MOONCRNR115 KV MOO-NRTH_I | L230.Elmont-Hanover-FourRivers.2032 | 116 | Internal PJM | Transmission Outage
NOTTINGH230 KV 1-3_I |  | 101 | Internal PJM | Transmission Outage
NOTTINGH230 KV 1-3_I | L500.Conastone-PeachBottom.5012 | 560 | Internal PJM | Network Load
NOTTINGH230 KV 2-3_I |  | 101 | Internal PJM | Transmission Outage
NOTTINGH230 KV 2-3_I | L500.Conastone-PeachBottom.5012 | 560 | Internal PJM | Network Load
NOTTINGH230 KV NOT-PEA_I |  | 101 | Internal PJM | Transmission Outage
NOTTINGH230 KV NOT-PEA_I | L500.Conastone-PeachBottom.5012 | 545 | Internal PJM | Network Load
Nucor-Whitestown 345 kV l/o Rockport-Jefferson 765 kV |  | 12 | M2M Flowgate | Transmission Outage
OCRAN 115 KV 65A1_Z | L230.Elmont-Hanover-FourRivers.2032 | 132 | Internal PJM | Transmission Outage
OST 138 KV OST-VAN2_Z |  | 28 | Internal PJM | Transmission Outage
Paddock T21 345/138 kV l/o Byron - Wayne 345 kV |  | 21 | M2M Flowgate | Network Load
Paradise-BR Tap 161kV (flo) Phipps Bend-Volunteer 500kV |  | 8 | M2M Flowgate | Network Load
Powerton - Towerline 138 kV |  | 30 | M2M Flowgate | Network Load
Powerton - Towerline 138 kV l/o Fargo - Sandburg 345 kV |  | 49 | M2M Flowgate | Network Load
Powerton - Towerline 138 kV l/o Nelson - Electric Junction 345 kV |  | 40 | M2M Flowgate | Network Load
PRESTON 69 KV PRE-TAN_Z | 230/138.PineyGrove.AT20 | 25 | Internal PJM | Transmission Outage
PRESTON 69 KV PRE-TOD_I | 230/138.PineyGrove.AT20 | 23 | Internal PJM | Transmission Outage
QUAD CITY - SUB91 345 kV l/o CORDOVA - SUB39 345 kV |  | 173 | M2M Flowgate | Network Load
QuadCities - RockCreek 345 kV l/o MorganValley - Tiffin 345 kV |  | 6 | M2M Flowgate | Network Load
QuadCities - RockCreek 345 kV l/o QuadCities - Sub91 |  | 43 | M2M Flowgate | Network Load
QuadCities - RockCreek 345kV l/o Cordova - Sub39 345kV |  | 32 | M2M Flowgate | Network Load
RAPPAHAN115 KV RAP-WHIT_I | L230.Elmont-Hanover-FourRivers.2032 | 38 | Internal PJM | Transmission Outage
Sandburg xfmr 3 l/o Oak Grove - Sandburg 345 kV |  | 104 | M2M Flowgate | Network Load
SIDEBURN230 KV 270B_I | L500.Possum Point-Ox.571 | 1265 | Internal PJM | Transmission Outage
Sioux - Roxford 345 kV l/o Graysum - Labadie 1 345 kV |  | 115 | M2M Flowgate | Network Load
SPRUCE 138 KV SPR-04L2_Z | L345.Ashtabula-Perry | 3 | Internal PJM | Transmission Outage
State Line - Wolf Lake 138 kV |  | 2 | M2M Flowgate | Transmission Outage
State Line - Wolf Lake 138 kV l/o Burnham - Munster 345 kV |  | 6 | M2M Flowgate | Transmission Outage
State Line - Wolf Lake 138 kV l/o Burnham - Sheffield 345 kV |  | 9 | M2M Flowgate | Transmission Outage
State Line - Wolf Lake 138 kV l/o Sheffield 2 345/138 kV |  | 9 | M2M Flowgate | Transmission Outage
State Line - Wolf Lake 138 kV l/o Wilton Center - Dumont 765 kV |  | 24 | M2M Flowgate | Transmission Outage
Sub_71 - Sub_88 161 kV l/o Cordova - Sub_39 345 kV |  | 12 | M2M Flowgate | Network Load
Sub_88 - Sub_70 161 kV l/o Cordova - Sub_39 345 kV |  | 4 | M2M Flowgate | Network Load
Sub56 - Sub85 161kV l/o Cordova - Sub39 345kV |  | 19 | M2M Flowgate | Network Load
Sugar Creek Dresser 345 l/o Nucor Cayuga 345 |  | 1 | M2M Flowgate | Transmission Outage
SULLY 230 KV 265C_I | L230.Loudoun-ElkLickDp.2173 | 435 | Internal PJM | Transmission Outage
TMI 500 KV 1 BANK_I | L500.Conastone-PeachBottom.5012 | 67 | Internal PJM | Transmission Outage
WALNEY 230 KV 265B_I | L230.Loudoun-ElkLickDp.2173 | 176 | Internal PJM | Transmission Outage

## ARR Paths
Source | Sink | Infeasible MW Quantity
107 DIXO34.5 KV SUBLETTE | COMED_RESID_AGG | 0.7
4 QUAD C18 KV QC-1 | BATAVIA | 1.9
4 QUAD C18 KV QC-1 | COMED_RESID_AGG | 447.3
4 QUAD C18 KV QC-1 | GENEVA | 1
4 QUAD C18 KV QC-1 | N ILLINOIS HUB | 88.4
4 QUAD C18 KV QC-1 | NAPERVILLE | 7.3
4 QUAD C18 KV QC-1 | ST. CHARLES | 2.5
4 QUAD C18 KV QC-2 | BATAVIA | 1.9
4 QUAD C18 KV QC-2 | COMED_RESID_AGG | 447.3
4 QUAD C18 KV QC-2 | GENEVA | 1
4 QUAD C18 KV QC-2 | N ILLINOIS HUB | 206.2
4 QUAD C18 KV QC-2 | NAPERVILLE | 7.3
4 QUAD C18 KV QC-2 | ST. CHARLES | 2.5
6 BYRON 25 KV BY-1 | BATAVIA | 2.6
6 BYRON 25 KV BY-1 | COMED_RESID_AGG | 602
6 BYRON 25 KV BY-1 | GENEVA | 1.4
6 BYRON 25 KV BY-1 | N ILLINOIS HUB | 60.7
6 BYRON 25 KV BY-1 | NAPERVILLE | 10.2
6 BYRON 25 KV BY-1 | ST. CHARLES | 3.7
6 BYRON 25 KV BY-2 | BATAVIA | 2.5
6 BYRON 25 KV BY-2 | COMED_RESID_AGG | 577.2
6 BYRON 25 KV BY-2 | GENEVA | 1.4
6 BYRON 25 KV BY-2 | N ILLINOIS HUB | 141.5
6 BYRON 25 KV BY-2 | NAPERVILLE | 9.9
6 BYRON 25 KV BY-2 | ST. CHARLES | 3.7
937 LEE 13.5 KV LEE31-1 | BATAVIA | 0.1
937 LEE 13.5 KV LEE31-1 | COMED_RESID_AGG | 34.7
937 LEE 13.5 KV LEE31-1 | NAPERVILLE | 0.6
937 LEE 13.5 KV LEE31-1 | ST. CHARLES | 0.2
937 LEE 13.5 KV LEE31-2 | BATAVIA | 0.1
937 LEE 13.5 KV LEE31-2 | COMED_RESID_AGG | 34.7
937 LEE 13.5 KV LEE31-2 | NAPERVILLE | 0.6
937 LEE 13.5 KV LEE31-2 | ST. CHARLES | 0.2
937 LEE 13.5 KV LEE32-1 | COMED_RESID_AGG | 16.2
937 LEE 13.5 KV LEE32-1 | NAPERVILLE | 0.3
937 LEE 13.5 KV LEE32-1 | ST. CHARLES | 0.1
937 LEE 13.5 KV LEE32-2 | COMED_RESID_AGG | 16.2
937 LEE 13.5 KV LEE32-2 | NAPERVILLE | 0.3
937 LEE 13.5 KV LEE32-2 | ST. CHARLES | 0.1
937 LEE 13.5 KV LEE33-1 | BATAVIA | 0.1
937 LEE 13.5 KV LEE33-1 | COMED_RESID_AGG | 33.4
937 LEE 13.5 KV LEE33-1 | NAPERVILLE | 0.6
937 LEE 13.5 KV LEE33-1 | ST. CHARLES | 0.2
937 LEE 13.5 KV LEE33-2 | BATAVIA | 0.1
937 LEE 13.5 KV LEE33-2 | COMED_RESID_AGG | 33.4
937 LEE 13.5 KV LEE33-2 | NAPERVILLE | 0.6
937 LEE 13.5 KV LEE33-2 | ST. CHARLES | 0.2
937 LEE 13.5 KV LEE34-1 | COMED_RESID_AGG | 16.2
937 LEE 13.5 KV LEE34-1 | NAPERVILLE | 0.3
937 LEE 13.5 KV LEE34-1 | ST. CHARLES | 0.1
937 LEE 13.5 KV LEE34-2 | COMED_RESID_AGG | 16.1
937 LEE 13.5 KV LEE34-2 | NAPERVILLE | 0.3
937 LEE 13.5 KV LEE34-2 | ST. CHARLES | 0.1
940 CORD18 KV CD-1 | BATAVIA | 0.3
940 CORD18 KV CD-1 | COMED_RESID_AGG | 80.8
940 CORD18 KV CD-1 | GENEVA | 0.1
940 CORD18 KV CD-1 | NAPERVILLE | 1.3
940 CORD18 KV CD-1 | ST. CHARLES | 0.4
940 CORD18 KV CD-2 | BATAVIA | 0.3
940 CORD18 KV CD-2 | COMED_RESID_AGG | 80.7
940 CORD18 KV CD-2 | GENEVA | 0.1
940 CORD18 KV CD-2 | NAPERVILLE | 1.3
940 CORD18 KV CD-2 | ST. CHARLES | 0.4
952 ROCK16 KV RO11 | BATAVIA | 0.3
952 ROCK16 KV RO11 | COMED_RESID_AGG | 64.5
952 ROCK16 KV RO11 | GENEVA | 0.2
952 ROCK16 KV RO12 | BATAVIA | 0.3
952 ROCK16 KV RO12 | COMED_RESID_AGG | 63.9
952 ROCK16 KV RO12 | GENEVA | 0.2
959ERDBS34.5 KV BSWFBRS1 | COMED_RESID_AGG | 12.4
959ERDBS34.5 KV BSWFBRS1 | NAPERVILLE | 0.3
969 ECOG34.5 KV LENAWF | COMED_RESID_AGG | 8.6
982 ROCK16 KV RO21 | BATAVIA | 0.3
982 ROCK16 KV RO21 | COMED_RESID_AGG | 67.4
982 ROCK16 KV RO21 | GENEVA | 0.2
AEP-DAYTON HUB | DOM_RESID_AGG | 35.2
AMOS 26 KV AM1 | AEPOHIO W.O. MON POWER | 1
AMOS 26 KV AM1 | AMP-OHIO | 0.4
AMOS 26 KV AM2 | AEPOHIO W.O. MON POWER | 0.8
AMOS 26 KV AM2 | AMP-OHIO | 0.3
AMOS 26 KV AM3 | AEPOHIO W.O. MON POWER | 1.9
AMOS 26 KV AM3 | AMP-OHIO | 0.7
ASYLUM 23 KV LIBRTY10 | BGE_RESID_AGG | 18
ASYLUM 23 KV LIBRTY10 | PENELEC_RESID_AGG | 70.8
ASYLUM 23 KV LIBRTY10 | PEPCO DC | 5.7
ASYLUM 23 KV LIBRTY10 | PEPCO MD | 8.4
ASYLUM 23 KV LIBRTY10 | SMECO_RESID_AGG | 1.3
BATHCO 20 KV GM1 | DOM_RESID_AGG | 212.1
BATHCO 20 KV GM2 | DOM_RESID_AGG | 212.1
BATHCO 20 KV GM3 | DOM_RESID_AGG | 211.5
BATHCO 20 KV GM4 | DOM_RESID_AGG | 211.3
BATHCO 20 KV GM5 | DOM_RESID_AGG | 211.8
BATHCO 20 KV GM6 | DOM_RESID_AGG | 213.4
BEARGRDN18 KV ST1C | DOM_RESID_AGG | 414.7
BEAV DUQ22 KV UNIT1 | FEOHIO_RESID_AGG | 408.1
BEAV DUQ22 KV UNIT2 | FEOHIO_RESID_AGG | 402.2
BERRHYD 4 KV BR1 | AEPAPCO_RESID_AGG | 0.5
BERRHYD 4 KV BR1 | AEPKY_RESID_AGG | 0.1
BERRHYD 4 KV BR1 | AEPOHIO W.O. MON POWER | 5.4
BERRHYD 4 KV BR1 | AK STEEL | 0.1
BERRHYD 4 KV BR1 | BLUE RIDGE | 0.4
BERRHYD 4 KV BR10 | AEPAPCO_RESID_AGG | 0.5
BERRHYD 4 KV BR10 | AEPKY_RESID_AGG | 0.1
BERRHYD 4 KV BR10 | AEPOHIO W.O. MON POWER | 5.4
BERRHYD 4 KV BR10 | AK STEEL | 0.1
BERRHYD 4 KV BR10 | BLUE RIDGE | 0.4
BERRHYD 4 KV BR11 | AEPAPCO_RESID_AGG | 0.4
BERRHYD 4 KV BR11 | AEPKY_RESID_AGG | 0.1
BERRHYD 4 KV BR11 | AEPOHIO W.O. MON POWER | 5.2
BERRHYD 4 KV BR11 | AK STEEL | 0.1
BERRHYD 4 KV BR11 | BLUE RIDGE | 0.4
BERRHYD 4 KV BR12 | AEPAPCO_RESID_AGG | 0.4
BERRHYD 4 KV BR12 | AEPKY_RESID_AGG | 0.1
BERRHYD 4 KV BR12 | AEPOHIO W.O. MON POWER | 5.1
BERRHYD 4 KV BR12 | AK STEEL | 0.1
BERRHYD 4 KV BR12 | BLUE RIDGE | 0.4
BERRHYD 4 KV BR2 | AEPAPCO_RESID_AGG | 0.4
BERRHYD 4 KV BR2 | AEPKY_RESID_AGG | 0.1
BERRHYD 4 KV BR2 | AEPOHIO W.O. MON POWER | 4.8
BERRHYD 4 KV BR2 | AK STEEL | 0.1
BERRHYD 4 KV BR2 | BLUE RIDGE | 0.4
BERRHYD 4 KV BR3 | AEPAPCO_RESID_AGG | 0.4
BERRHYD 4 KV BR3 | AEPKY_RESID_AGG | 0.1
BERRHYD 4 KV BR3 | AEPOHIO W.O. MON POWER | 4.8
BERRHYD 4 KV BR3 | AK STEEL | 0.1
BERRHYD 4 KV BR3 | BLUE RIDGE | 0.4
BERRHYD 4 KV BR4 | AEPAPCO_RESID_AGG | 0.4
BERRHYD 4 KV BR4 | AEPKY_RESID_AGG | 0.1
BERRHYD 4 KV BR4 | AEPOHIO W.O. MON POWER | 4.9
BERRHYD 4 KV BR4 | AK STEEL | 0.1
BERRHYD 4 KV BR4 | BLUE RIDGE | 0.4
BERRHYD 4 KV BR5 | AEPAPCO_RESID_AGG | 0.4
BERRHYD 4 KV BR5 | AEPKY_RESID_AGG | 0.1
BERRHYD 4 KV BR5 | AEPOHIO W.O. MON POWER | 4.8
BERRHYD 4 KV BR5 | AK STEEL | 0.1
BERRHYD 4 KV BR5 | BLUE RIDGE | 0.4
BERRHYD 4 KV BR6 | AEPAPCO_RESID_AGG | 0.4
BERRHYD 4 KV BR6 | AEPKY_RESID_AGG | 0.1
BERRHYD 4 KV BR6 | AEPOHIO W.O. MON POWER | 4.7
BERRHYD 4 KV BR6 | AK STEEL | 0.1
BERRHYD 4 KV BR6 | BLUE RIDGE | 0.4
BERRHYD 4 KV BR7 | AEPAPCO_RESID_AGG | 0.4
BERRHYD 4 KV BR7 | AEPKY_RESID_AGG | 0.1
BERRHYD 4 KV BR7 | AEPOHIO W.O. MON POWER | 4.7
BERRHYD 4 KV BR7 | AK STEEL | 0.1
BERRHYD 4 KV BR7 | BLUE RIDGE | 0.4
BERRHYD 4 KV BR8 | AEPAPCO_RESID_AGG | 0.4
BERRHYD 4 KV BR8 | AEPKY_RESID_AGG | 0.1
BERRHYD 4 KV BR8 | AEPOHIO W.O. MON POWER | 4.6
BERRHYD 4 KV BR8 | AK STEEL | 0.1
BERRHYD 4 KV BR8 | BLUE RIDGE | 0.4
BERRHYD 4 KV BR9 | AEPAPCO_RESID_AGG | 0.4
BERRHYD 4 KV BR9 | AEPKY_RESID_AGG | 0.1
BERRHYD 4 KV BR9 | AEPOHIO W.O. MON POWER | 4.7
BERRHYD 4 KV BR9 | AK STEEL | 0.1
BERRHYD 4 KV BR9 | BLUE RIDGE | 0.4
BIGSANDY22 KV BS1 | AEPOHIO W.O. MON POWER | 0.1
BIGSANDY22 KV BS1 | AMP-OHIO | 0.2
BIRDBORO23 KV CT1 | PENELEC_RESID_AGG | 22.6
BIRDNECK34.5 KV CVOWPLWF | DOM_RESID_AGG | 1
BLMNTDOM19 KV STONEST | DOM_RESID_AGG | 7.7
BLOSSBUR13 KV UNITCT | PENELEC_RESID_AGG | 12.9
BRUNSCOL21 KV BRUNSST | DOM_RESID_AGG | 967
BSPEAKER13.8 KV 1 | AEPOHIO W.O. MON POWER | 2.1
BSPEAKER13.8 KV 2 | AEPOHIO W.O. MON POWER | 1.5
BSPEAKER13.8 KV 3 | AEPOHIO W.O. MON POWER | 1.9
BSPEAKER13.8 KV 4 | AEPOHIO W.O. MON POWER | 1.4
BSPEAKER13.8 KV 5 | AEPOHIO W.O. MON POWER | 1.6
BSPEAKER13.8 KV 6 | AEPOHIO W.O. MON POWER | 0.3
BUCHANAN2 KV BU1 | AEPAPCO_RESID_AGG | 0.5
BUCHANAN2 KV BU1 | AEPKY_RESID_AGG | 0.1
BUCHANAN2 KV BU1 | AEPOHIO W.O. MON POWER | 5.9
BUCHANAN2 KV BU1 | BLUE RIDGE | 0.4
BUCHANAN2 KV BU10 | AEPAPCO_RESID_AGG | 0.5
BUCHANAN2 KV BU10 | AEPKY_RESID_AGG | 0.1
BUCHANAN2 KV BU10 | AEPOHIO W.O. MON POWER | 5.3
BUCHANAN2 KV BU10 | BLUE RIDGE | 0.4
BUCHANAN2 KV BU2 | AEPAPCO_RESID_AGG | 0.5
BUCHANAN2 KV BU2 | AEPKY_RESID_AGG | 0.1
BUCHANAN2 KV BU2 | AEPOHIO W.O. MON POWER | 5.5
BUCHANAN2 KV BU2 | BLUE RIDGE | 0.4
BUCHANAN2 KV BU3 | AEPAPCO_RESID_AGG | 0.5
BUCHANAN2 KV BU3 | AEPKY_RESID_AGG | 0.1
BUCHANAN2 KV BU3 | AEPOHIO W.O. MON POWER | 5.4
BUCHANAN2 KV BU3 | BLUE RIDGE | 0.4
BUCHANAN2 KV BU4 | AEPAPCO_RESID_AGG | 0.5
BUCHANAN2 KV BU4 | AEPKY_RESID_AGG | 0.1
BUCHANAN2 KV BU4 | AEPOHIO W.O. MON POWER | 5.4
BUCHANAN2 KV BU4 | BLUE RIDGE | 0.4
BUCHANAN2 KV BU5 | AEPAPCO_RESID_AGG | 0.5
BUCHANAN2 KV BU5 | AEPKY_RESID_AGG | 0.1
BUCHANAN2 KV BU5 | AEPOHIO W.O. MON POWER | 5
BUCHANAN2 KV BU5 | BLUE RIDGE | 0.4
BUCHANAN2 KV BU6 | AEPAPCO_RESID_AGG | 0.5
BUCHANAN2 KV BU6 | AEPKY_RESID_AGG | 0.1
BUCHANAN2 KV BU6 | AEPOHIO W.O. MON POWER | 5.1
BUCHANAN2 KV BU6 | BLUE RIDGE | 0.4
BUCHANAN2 KV BU7 | AEPAPCO_RESID_AGG | 0.5
BUCHANAN2 KV BU7 | AEPKY_RESID_AGG | 0.1
BUCHANAN2 KV BU7 | AEPOHIO W.O. MON POWER | 5
BUCHANAN2 KV BU7 | BLUE RIDGE | 0.4
BUCHANAN2 KV BU8 | AEPAPCO_RESID_AGG | 0.5
BUCHANAN2 KV BU8 | AEPKY_RESID_AGG | 0.1
BUCHANAN2 KV BU8 | AEPOHIO W.O. MON POWER | 4.6
BUCHANAN2 KV BU8 | BLUE RIDGE | 0.4
BUCHANAN2 KV BU9 | AEPAPCO_RESID_AGG | 0.5
BUCHANAN2 KV BU9 | AEPKY_RESID_AGG | 0.1
BUCHANAN2 KV BU9 | AEPOHIO W.O. MON POWER | 4.7
BUCHANAN2 KV BU9 | BLUE RIDGE | 0.4
CARTANZA13.8 KV GARRISON | DPL_ODEC | 9.2
CARTANZA13.8 KV GARRISON | EASTON | 0.3
CHESAPKE13.8 KV GT1 | DOM_RESID_AGG | 10.8
CHESAPKE13.8 KV GT6 | DOM_RESID_AGG | 25.2
CHESTER414 KV G7G | DOM_RESID_AGG | 0.5
CHINQUPN23 KV CONET2SP | DOM_RESID_AGG | 36.5
CHR138 12 KV G11 | DPL_ODEC | 2.2
CHR138 12 KV G14 | DPL_ODEC | 2.2
CLIFTYCR15.5 KV CC1 | BUCKEYE - AEPOH | 6.5
CLIFTYCR15.5 KV CC1 | DAY_RESID_AGG | 16
CLIFTYCR15.5 KV CC1 | PENELEC | 73.9
CLOVER 25 KV G1 | DOM_RESID_AGG | 308.8
CLOVER 25 KV G2 | DOM_RESID_AGG | 307.6
COLTRAIL34.5 KV COLTRWSP | DOM_RESID_AGG | 50.4
COLTRAIL34.5 KV SPRINGSP | DOM_RESID_AGG | 38.5
CONEMAUG115 KV DIESEL | BGE_RESID_AGG | 5
CONEMAUG115 KV DIESEL | PEPCO DC | 2.6
CONEMAUG115 KV DIESEL | PEPCO MD | 4.4
CONEMAUG115 KV DIESEL | SMECO_RESID_AGG | 0.3
CONEMAUG22 KV UNIT 1 | BGE_RESID_AGG | 54.5
CONEMAUG22 KV UNIT 1 | DPL_ODEC | 2.9
CONEMAUG22 KV UNIT 1 | PEPCO DC | 16
CONEMAUG22 KV UNIT 1 | PEPCO MD | 22
CONEMAUG22 KV UNIT 1 | SMECO_RESID_AGG | 6.3
CONEMAUG22 KV UNIT02 | BGE_RESID_AGG | 54.4
CONEMAUG22 KV UNIT02 | DPL_ODEC | 2.9
CONEMAUG22 KV UNIT02 | PEPCO DC | 15.8
CONEMAUG22 KV UNIT02 | PEPCO MD | 21.9
CONEMAUG22 KV UNIT02 | SMECO_RESID_AGG | 6.3
CONOWING13 KV G10 | PECO_RESID_AGG | 47.1
CONOWING13 KV G11 | PECO_RESID_AGG | 47
CONOWING13 KV GEN1 | PECO_RESID_AGG | 36.4
CONOWING13 KV GEN2 | PECO_RESID_AGG | 28.8
CONOWING13 KV GEN3 | PECO_RESID_AGG | 35.9
CONOWING13 KV GEN4 | PECO_RESID_AGG | 35.8
CONOWING13 KV GEN5 | PECO_RESID_AGG | 28.2
CONOWING13 KV GEN6 | PECO_RESID_AGG | 35.7
CONOWING13 KV GEN8 | PECO_RESID_AGG | 46.8
CONOWING13 KV GEN9 | PECO_RESID_AGG | 46.9
CONOWING13 KV UNIT07 | PECO_RESID_AGG | 35.5
CONSTANT2 KV CO1 | AEPAPCO_RESID_AGG | 0.5
CONSTANT2 KV CO1 | AEPKY_RESID_AGG | 0.1
CONSTANT2 KV CO1 | AEPOHIO W.O. MON POWER | 4.2
CONSTANT2 KV CO1 | BLUE RIDGE | 0.4
CONSTANT2 KV CO2 | AEPAPCO_RESID_AGG | 0.5
CONSTANT2 KV CO2 | AEPKY_RESID_AGG | 0.1
CONSTANT2 KV CO2 | AEPOHIO W.O. MON POWER | 4.2
CONSTANT2 KV CO2 | BLUE RIDGE | 0.4
CONSTANT2 KV CO3 | AEPAPCO_RESID_AGG | 0.5
CONSTANT2 KV CO3 | AEPKY_RESID_AGG | 0.1
CONSTANT2 KV CO3 | AEPOHIO W.O. MON POWER | 4.3
CONSTANT2 KV CO3 | BLUE RIDGE | 0.4
CONSTANT2 KV CO4 | AEPAPCO_RESID_AGG | 0.5
CONSTANT2 KV CO4 | AEPKY_RESID_AGG | 0.1
CONSTANT2 KV CO4 | AEPOHIO W.O. MON POWER | 4.1
CONSTANT2 KV CO4 | BLUE RIDGE | 0.4
COOK 26 KV CK1 | AEPAPCO_RESID_AGG | 244.3
COOK 26 KV CK1 | AEPIM_RESID_AGG | 52.9
COOK 26 KV CK1 | AEPKY_RESID_AGG | 45.2
COOK 26 KV CK1 | AEPOHIO W.O. MON POWER | 300.8
COOK 26 KV CK1 | AK STEEL | 1.4
COOK 26 KV CK1 | AMP-OHIO | 3.5
COOK 26 KV CK1 | BLUE RIDGE | 11.4
COOK 26 KV CK1 | BUCK-CIN | 0.3
COOK 26 KV CK1 | BUCKEYE - AEPOH | 7.2
COOK 26 KV CK1 | BUCKEYE - DPL | 1.7
COOK 26 KV CK1 | BUCK-FE | 1.4
COOK 26 KV CK1 | MERIDIAN EWHITLEY | 0.9
COOK 26 KV CK2 | AEPAPCO_RESID_AGG | 222.3
COOK 26 KV CK2 | AEPKY_RESID_AGG | 40.4
COOK 26 KV CK2 | AEPOHIO W.O. MON POWER | 296.3
COOK 26 KV CK2 | AK STEEL | 1.1
COOK 26 KV CK2 | AMP-OHIO | 3.7
COOK 26 KV CK2 | BLUE RIDGE | 10.2
COOK 26 KV CK2 | BUCK-CIN | 0.3
COOK 26 KV CK2 | BUCKEYE - AEPOH | 7.6
COOK 26 KV CK2 | BUCKEYE - DPL | 1.9
COOK 26 KV CK2 | BUCK-FE | 1.6
CORNU 18 KV 1GT1 | AEPOHIO W.O. MON POWER | 0.4
CORNU 18 KV 1GT1 | AMP-OHIO | 0.1
CORNU 18 KV 1GT2 | AEPOHIO W.O. MON POWER | 0.5
CORNU 18 KV 1GT2 | AMP-OHIO | 0.1
CORNU 18 KV 2GT1 | AEPOHIO W.O. MON POWER | 0.5
CORNU 18 KV 2GT1 | AMP-OHIO | 0.1
CORNU 18 KV 2GT2 | AEPOHIO W.O. MON POWER | 0.5
CORNU 18 KV 2GT2 | AMP-OHIO | 0.1
CORNU 18 KV ST1 | AEPOHIO W.O. MON POWER | 0.5
CORNU 18 KV ST1 | AMP-OHIO | 0.1
CORNU 18 KV ST2 | AEPOHIO W.O. MON POWER | 0.5
CORNU 18 KV ST2 | AMP-OHIO | 0.1
CUSHAW 2 KV G15 | DOM_RESID_AGG | 2.5
DARBYTWN14 KV GT1 | DOM_RESID_AGG | 0.5
DARBYTWN14 KV GT2 | DOM_RESID_AGG | 0.1
DARBYTWN14 KV GT3 | DOM_RESID_AGG | 0.2
DEEPCRK 12 KV NO 1 G | PENELEC_RESID_AGG | 0.3
DEEPCRK 12 KV NO 2 G | PENELEC_RESID_AGG | 0.3
DELA DPL13 KV G1 | DPL_ODEC | 5.1
DELA DPL13 KV G1 | EASTON | 0.1
DELA DPL13 KV G10 | DPL_ODEC | 1.7
DELA DPL13 KV G2 | DPL_ODEC | 5.4
DELA DPL13 KV G2 | EASTON | 0.1
DLTAPLNT13.8 KV GEN1 | AMP-ATSI OH | 1
DLTAPLNT13.8 KV GEN1 | AMP-ATSI PA | 0.1
DLTAPLNT13.8 KV GEN1 | BGE_RESID_AGG | 11.2
DLTAPLNT13.8 KV GEN1 | CPP | 0.8
DLTAPLNT13.8 KV GEN1 | DEK | 1
DLTAPLNT13.8 KV GEN1 | DEOK | 0.1
DLTAPLNT13.8 KV GEN1 | DEOK_RESID_AGG | 22.7
DLTAPLNT13.8 KV GEN1 | DUQ_RESID_AGG | 15.6
DLTAPLNT13.8 KV GEN1 | EKPC_RESID_AGG | 4
DLTAPLNT13.8 KV GEN1 | EKPC-DEOK LOAD | 0.1
DLTAPLNT13.8 KV GEN1 | FEOHIO_RESID_AGG | 37.5
DLTAPLNT13.8 KV GEN1 | PENNPOWER_RESID_AGG | 4.1
DLTAPLNT13.8 KV GEN1 | PEPCO DC | 4.8
DLTAPLNT13.8 KV GEN1 | PEPCO MD | 7.5
DLTAPLNT13.8 KV GEN1 | SMECO_RESID_AGG | 1.5
DLTAPLNT13.8 KV GEN2 | AMP-ATSI OH | 1.1
DLTAPLNT13.8 KV GEN2 | AMP-ATSI PA | 0.1
DLTAPLNT13.8 KV GEN2 | BGE_RESID_AGG | 11.2
DLTAPLNT13.8 KV GEN2 | CPP | 0.8
DLTAPLNT13.8 KV GEN2 | DEK | 1.1
DLTAPLNT13.8 KV GEN2 | DEOK | 0.1
DLTAPLNT13.8 KV GEN2 | DEOK_RESID_AGG | 23.8
DLTAPLNT13.8 KV GEN2 | DUQ_RESID_AGG | 15.6
DLTAPLNT13.8 KV GEN2 | EKPC_RESID_AGG | 4.4
DLTAPLNT13.8 KV GEN2 | EKPC-DEOK LOAD | 0.1
DLTAPLNT13.8 KV GEN2 | FEOHIO_RESID_AGG | 39
DLTAPLNT13.8 KV GEN2 | PENNPOWER_RESID_AGG | 4.1
DLTAPLNT13.8 KV GEN2 | PEPCO DC | 4.8
DLTAPLNT13.8 KV GEN2 | PEPCO MD | 7.7
DLTAPLNT13.8 KV GEN2 | SMECO_RESID_AGG | 1.5
DLTAPLNT13.8 KV GEN3 | AMP-ATSI OH | 1.1
DLTAPLNT13.8 KV GEN3 | AMP-ATSI PA | 0.1
DLTAPLNT13.8 KV GEN3 | BGE_RESID_AGG | 11.2
DLTAPLNT13.8 KV GEN3 | CPP | 0.8
DLTAPLNT13.8 KV GEN3 | DEK | 1.1
DLTAPLNT13.8 KV GEN3 | DEOK | 0.1
DLTAPLNT13.8 KV GEN3 | DEOK_RESID_AGG | 23.8
DLTAPLNT13.8 KV GEN3 | DUQ_RESID_AGG | 15.1
DLTAPLNT13.8 KV GEN3 | EKPC_RESID_AGG | 4.4
DLTAPLNT13.8 KV GEN3 | EKPC-DEOK LOAD | 0.1
DLTAPLNT13.8 KV GEN3 | FEOHIO_RESID_AGG | 38.3
DLTAPLNT13.8 KV GEN3 | PENNPOWER_RESID_AGG | 4.1
DLTAPLNT13.8 KV GEN3 | PEPCO DC | 4.8
DLTAPLNT13.8 KV GEN3 | PEPCO MD | 7.4
DLTAPLNT13.8 KV GEN3 | SMECO_RESID_AGG | 1.5
DLTAPLNT18 KV GEN4 | AMP-ATSI OH | 1.7
DLTAPLNT18 KV GEN4 | AMP-ATSI PA | 0.2
DLTAPLNT18 KV GEN4 | BGE_RESID_AGG | 14.7
DLTAPLNT18 KV GEN4 | CPP | 1.3
DLTAPLNT18 KV GEN4 | DEK | 1.6
DLTAPLNT18 KV GEN4 | DEOK | 0.1
DLTAPLNT18 KV GEN4 | DEOK_RESID_AGG | 35.3
DLTAPLNT18 KV GEN4 | DUQ_RESID_AGG | 20.9
DLTAPLNT18 KV GEN4 | EKPC_RESID_AGG | 6.6
DLTAPLNT18 KV GEN4 | EKPC-DEOK LOAD | 0.1
DLTAPLNT18 KV GEN4 | FEOHIO_RESID_AGG | 53.8
DLTAPLNT18 KV GEN4 | PENNPOWER_RESID_AGG | 4.5
DLTAPLNT18 KV GEN4 | PEPCO DC | 6.2
DLTAPLNT18 KV GEN4 | PEPCO MD | 9.5
DLTAPLNT18 KV GEN4 | SMECO_RESID_AGG | 2.1
DLTAPLNT18 KV GEN4 | WILLIAMSTOWN | 0.1
DLTAPLNT18 KV ST7 | BGE_RESID_AGG | 247.4
DRYBREAD34.5 KV DRYBRDSP | DOM_RESID_AGG | 47.1
EDGEMOOR12 KV G10 | DPL_ODEC | 1.4
EDGEMOOR13 KV HAYRD1 | DPL_ODEC | 11.8
EDGEMOOR13 KV HAYRD1 | EASTON | 0.3
EDGEMOOR13 KV HAYRD2 | DPL_ODEC | 11.8
EDGEMOOR13 KV HAYRD2 | EASTON | 0.3
EDGEMOOR13 KV HAYRD3 | DPL_ODEC | 11.8
EDGEMOOR13 KV HAYRD3 | EASTON | 0.3
EDGEMOOR13 KV HAYRD4 | DPL_ODEC | 17.2
EDGEMOOR13 KV HAYRD4 | EASTON | 0.4
EDGEMOOR13 KV HAYRD5 | AMP-ATSI OH | 1.3
EDGEMOOR13 KV HAYRD5 | AMP-ATSI PA | 0.1
EDGEMOOR13 KV HAYRD5 | BGE_RESID_AGG | 13
EDGEMOOR13 KV HAYRD5 | CPP | 1
EDGEMOOR13 KV HAYRD5 | DEK | 1.3
EDGEMOOR13 KV HAYRD5 | DEOK | 0.2
EDGEMOOR13 KV HAYRD5 | DEOK_RESID_AGG | 30.5
EDGEMOOR13 KV HAYRD5 | EKPC_RESID_AGG | 5.5
EDGEMOOR13 KV HAYRD5 | EKPC-DEOK LOAD | 0.1
EDGEMOOR13 KV HAYRD5 | FEOHIO_RESID_AGG | 44.6
EDGEMOOR13 KV HAYRD5 | PENNPOWER_RESID_AGG | 5
EDGEMOOR13 KV HAYRD5 | PEPCO DC | 5.9
EDGEMOOR13 KV HAYRD5 | PEPCO MD | 8.7
EDGEMOOR13 KV HAYRD5 | SMECO_RESID_AGG | 1.9
EDGEMOOR13 KV HAYRD6 | AMP-ATSI OH | 1.3
EDGEMOOR13 KV HAYRD6 | AMP-ATSI PA | 0.1
EDGEMOOR13 KV HAYRD6 | BGE_RESID_AGG | 13
EDGEMOOR13 KV HAYRD6 | CPP | 1
EDGEMOOR13 KV HAYRD6 | DEK | 1.3
EDGEMOOR13 KV HAYRD6 | DEOK | 0.2
EDGEMOOR13 KV HAYRD6 | DEOK_RESID_AGG | 30.2
EDGEMOOR13 KV HAYRD6 | EKPC_RESID_AGG | 5.4
EDGEMOOR13 KV HAYRD6 | EKPC-DEOK LOAD | 0.1
EDGEMOOR13 KV HAYRD6 | FEOHIO_RESID_AGG | 44.2
EDGEMOOR13 KV HAYRD6 | PENNPOWER_RESID_AGG | 5
EDGEMOOR13 KV HAYRD6 | PEPCO DC | 5.7
EDGEMOOR13 KV HAYRD6 | PEPCO MD | 8.7
EDGEMOOR13 KV HAYRD6 | SMECO_RESID_AGG | 1.9
EDGEMOOR13 KV HAYRD7 | AMP-ATSI OH | 1.3
EDGEMOOR13 KV HAYRD7 | AMP-ATSI PA | 0.1
EDGEMOOR13 KV HAYRD7 | BGE_RESID_AGG | 12.9
EDGEMOOR13 KV HAYRD7 | CPP | 1
EDGEMOOR13 KV HAYRD7 | DEK | 1.3
EDGEMOOR13 KV HAYRD7 | DEOK | 0.2
EDGEMOOR13 KV HAYRD7 | DEOK_RESID_AGG | 30.1
EDGEMOOR13 KV HAYRD7 | EKPC_RESID_AGG | 5.4
EDGEMOOR13 KV HAYRD7 | EKPC-DEOK LOAD | 0.1
EDGEMOOR13 KV HAYRD7 | FEOHIO_RESID_AGG | 43.5
EDGEMOOR13 KV HAYRD7 | PENNPOWER_RESID_AGG | 4.9
EDGEMOOR13 KV HAYRD7 | PEPCO DC | 5.6
EDGEMOOR13 KV HAYRD7 | PEPCO MD | 8.6
EDGEMOOR13 KV HAYRD7 | SMECO_RESID_AGG | 1.9
EDGEMOOR13 KV UNIT03 | DPL_ODEC | 8.1
EDGEMOOR13 KV UNIT03 | EASTON | 0.2
EDGEMOOR18 KV HAYRD8 | AMP-ATSI OH | 1.9
EDGEMOOR18 KV HAYRD8 | AMP-ATSI PA | 0.2
EDGEMOOR18 KV HAYRD8 | BGE_RESID_AGG | 15.9
EDGEMOOR18 KV HAYRD8 | CPP | 1.5
EDGEMOOR18 KV HAYRD8 | DEK | 2
EDGEMOOR18 KV HAYRD8 | DEOK | 0.1
EDGEMOOR18 KV HAYRD8 | DEOK_RESID_AGG | 43.1
EDGEMOOR18 KV HAYRD8 | EKPC_RESID_AGG | 8.2
EDGEMOOR18 KV HAYRD8 | EKPC-DEOK LOAD | 0.1
EDGEMOOR18 KV HAYRD8 | FEOHIO_RESID_AGG | 59.8
EDGEMOOR18 KV HAYRD8 | PENNPOWER_RESID_AGG | 5.3
EDGEMOOR18 KV HAYRD8 | PEPCO DC | 7
EDGEMOOR18 KV HAYRD8 | PEPCO MD | 10.9
EDGEMOOR18 KV HAYRD8 | SMECO_RESID_AGG | 2.7
EDGEMOOR18 KV HAYRD8 | WILLIAMSTOWN | 0.1
EDGEMOOR19 KV UNIT04 | DPL_ODEC | 16.4
EDGEMOOR19 KV UNIT04 | EASTON | 0.4
EDGEMOOR23 KV UNIT05 | BERLIN DPL | 0.1
EDGEMOOR23 KV UNIT05 | DPL_ODEC | 42.3
EDGEMOOR23 KV UNIT05 | EASTON | 1
ELIZRIV 13.8 KV GT1 | DOM_RESID_AGG | 75.6
ELIZRIV 13.8 KV GT2 | DOM_RESID_AGG | 74.3
ELIZRIV 13.8 KV GT3 | DOM_RESID_AGG | 75.5
ELKHYDRO4 KV ELK | AEPAPCO_RESID_AGG | 1
ELKHYDRO4 KV ELK | AEPKY_RESID_AGG | 0.1
ELKHYDRO4 KV ELK | AEPOHIO W.O. MON POWER | 7.9
ELKHYDRO4 KV ELK | BLUE RIDGE | 0.4
EVERTSUB34.5 KV ARMENIA | APS_RESID_AGG | 1.6
EVERTSUB34.5 KV ARMENIA | DPL_ODEC | 1.7
FAIRVWEC21 KV S1 | PENELEC_RESID_AGG | 90.1
FLATLICK18 KV 1 | AEPOHIO W.O. MON POWER | 11.3
FLATLICK18 KV 2 | AEPOHIO W.O. MON POWER | 10.4
FLATLICK18 KV 3 | AEPOHIO W.O. MON POWER | 9
FLATLICK18 KV 4 | AEPOHIO W.O. MON POWER | 8.7
FLATLICK18 KV 5 | AEPOHIO W.O. MON POWER | 8.3
FOOTHILL18 KV UNIT 4 | BGE_RESID_AGG | 4.8
FOOTHILL18 KV UNIT 4 | FEOHIO_RESID_AGG | 0.5
FOOTHILL18 KV UNIT 4 | PEPCO DC | 1.4
FOOTHILL18 KV UNIT 4 | PEPCO MD | 1.7
FOOTHILL18 KV UNIT 4 | SMECO_RESID_AGG | 0.7
FOOTHILL18 KV UNIT 5 | BGE_RESID_AGG | 4.8
FOOTHILL18 KV UNIT 5 | FEOHIO_RESID_AGG | 0.5
FOOTHILL18 KV UNIT 5 | PEPCO DC | 1.4
FOOTHILL18 KV UNIT 5 | PEPCO MD | 1.7
FOOTHILL18 KV UNIT 5 | SMECO_RESID_AGG | 0.7
FOURRIVR13.8 KV GT601 | DOM_RESID_AGG | 4.9
FOURRIVR18 KV NUG1 | DOM_RESID_AGG | 0.4
FOWLER 34.5 KV FWL2-1WF | AEPOHIO W.O. MON POWER | 3.2
FOWLER 34.5 KV FWL2-2WF | AEPOHIO W.O. MON POWER | 3.2
FOWLER 34.5 KV FWL2-3WF | AEPOHIO W.O. MON POWER | 3.2
FOWLER 34.5 KV FWL2-4WF | AEPOHIO W.O. MON POWER | 3
FOWLER 34.5 KV FWLR1AWF | AEPAPCO_RESID_AGG | 2.8
FOWLER 34.5 KV FWLR1AWF | AEPKY_RESID_AGG | 0.4
FOWLER 34.5 KV FWLR1AWF | AEPOHIO W.O. MON POWER | 9.8
FOWLER 34.5 KV FWLR1BWF | AEPAPCO_RESID_AGG | 2.7
FOWLER 34.5 KV FWLR1BWF | AEPKY_RESID_AGG | 0.4
FOWLER 34.5 KV FWLR1BWF | AEPOHIO W.O. MON POWER | 9.6
FOWLER 34.5 KV FWLR3WF | AEPAPCO_RESID_AGG | 6.4
GASTON4 14 KV G1 | DOM_RESID_AGG | 38.4
GASTON4 14 KV G2 | DOM_RESID_AGG | 38.4
GASTON4 14 KV G3 | DOM_RESID_AGG | 38.4
GASTON4 14 KV G4 | DOM_RESID_AGG | 38.4
GAVINAEP26 KV GV1 | AEPOHIO W.O. MON POWER | 10.9
GAVINAEP26 KV GV1 | AMP-OHIO | 0.5
GAVINAEP26 KV GV2 | AEPOHIO W.O. MON POWER | 2.4
GAVINAEP26 KV GV2 | AMP-OHIO | 0.5
GRASSFID35 KV GRASFDSP | DOM_RESID_AGG | 7.9
GRAVLNK 13 KV GT3 | DOM_RESID_AGG | 58.7
GRAVLNK 13 KV GT4 | DOM_RESID_AGG | 58.7
GRAVLNK 13 KV GT5 | DOM_RESID_AGG | 1
GRAVLNK 13 KV GT6 | DOM_RESID_AGG | 1.1
GRAVLNK 13 KV GTS | DOM_RESID_AGG | 19.3
GRAYFR_113 KV 1 GEN | AMP-ATSI OH | 1.7
GRAYFR_113 KV 1 GEN | AMP-ATSI PA | 0.2
GRAYFR_113 KV 1 GEN | BGE_RESID_AGG | 14.8
GRAYFR_113 KV 1 GEN | CPP | 1.3
GRAYFR_113 KV 1 GEN | DEK | 1.6
GRAYFR_113 KV 1 GEN | DEOK | 0.1
GRAYFR_113 KV 1 GEN | DEOK_RESID_AGG | 39
GRAYFR_113 KV 1 GEN | EKPC_RESID_AGG | 7.2
GRAYFR_113 KV 1 GEN | EKPC-DEOK LOAD | 0.1
GRAYFR_113 KV 1 GEN | FEOHIO_RESID_AGG | 54
GRAYFR_113 KV 1 GEN | PENNPOWER_RESID_AGG | 5.6
GRAYFR_113 KV 1 GEN | PEPCO DC | 7
GRAYFR_113 KV 1 GEN | PEPCO MD | 10.5
GRAYFR_113 KV 1 GEN | SMECO_RESID_AGG | 2.4
GRAYFR_113 KV 1 GEN | WILLIAMSTOWN | 0.1
GREENECC23 KV GREENECC | AEPOHIO W.O. MON POWER | 3.2
GREENECC23 KV GREENECC | BUCKEYE - AEPOH | 0.1
GREENECC23 KV GREENECC | DUQ_RESID_AGG | 20.6
GRNSVIL 20 KV GREENSST | DOM_RESID_AGG | 1116
GUERNSEY23 KV 11CC | FEOHIO_RESID_AGG | 19.3
GUERNSEY23 KV 21CC | FEOHIO_RESID_AGG | 13.5
HALLBRAN13.8 KV G1 | DOM_RESID_AGG | 35.7
HCF 13.8 KV GT1 | DOM_RESID_AGG | 47.9
HIBBMILL26 KV CTG-1 | FEOHIO_RESID_AGG | 67.5
HIBBMILL26 KV CTG-2 | FEOHIO_RESID_AGG | 67.6
HICRUNEC22 KV 1S STG | AMP-ATSI OH | 17.3
HICRUNEC22 KV 1S STG | CPP | 5.6
HICRUNEC22 KV 1S STG | FEOHIO_RESID_AGG | 450.9
INDECK 24 KV STG | AEPAPCO_RESID_AGG | 42.7
INDECK 24 KV STG | AEPKY_RESID_AGG | 7.8
INDECK 24 KV STG | AEPOHIO W.O. MON POWER | 47.9
INDECK 24 KV STG | AK STEEL | 0.2
INDECK 24 KV STG | AMP-OHIO | 0.7
INDECK 24 KV STG | BLUE RIDGE | 1.9
INDECK 24 KV STG | BUCK-CIN | 0.1
INDECK 24 KV STG | BUCKEYE - AEPIM | 0.1
INDECK 24 KV STG | BUCKEYE - AEPOH | 1.5
INDECK 24 KV STG | BUCKEYE - DPL | 0.4
INDECK 24 KV STG | BUCK-FE | 0.3
INDECK 24 KV STG | MERIDIAN EWHITLEY | 0.1
KAMMER2 26 KV ML2 | BUCK-FE | 0.9
KENT 13 KV DOVER1CT | DPL_ODEC | 4.5
KENT 13 KV DOVER2CT | DPL_ODEC | 4.5
KERRDAM 14 KV G1 | DOM_RESID_AGG | 3.5
KERRDAM 14 KV G2 | DOM_RESID_AGG | 9.6
KERRDAM 14 KV G3 | DOM_RESID_AGG | 9.6
KERRDAM 14 KV G4 | DOM_RESID_AGG | 9.6
KERRDAM 14 KV G5 | DOM_RESID_AGG | 9.6
KERRDAM 14 KV G6 | DOM_RESID_AGG | 9.6
KERRDAM 14 KV G7 | DOM_RESID_AGG | 9.6
KEYSTNE 13 KV _UN1__15 | DAY_RESID_AGG | 30.8
KEYSTNE 13 KV _UN2__15 | DAY_RESID_AGG | 30.7
KEYSTNE 13 KV _UN3__15 | DAY_RESID_AGG | 31
KEYSTNE 13 KV _UN4__15 | DAY_RESID_AGG | 30.7
KEYSTONE20 KV UNIT 1 | BGE_RESID_AGG | 107.1
KEYSTONE20 KV UNIT 1 | DPL_ODEC | 2.9
KEYSTONE20 KV UNIT 2 | BGE_RESID_AGG | 107.3
KEYSTONE20 KV UNIT 2 | DPL_ODEC | 0.9
KEYSTONE20 KV UNIT 3 | BGE_RESID_AGG | 6
KYGERCRE15.5 KV KY1 | BUCKEYE - AEPOH | 6.3
KYGERCRE15.5 KV KY1 | PENELEC | 74.1
LADYSMCT14 KV GT1 | DOM_RESID_AGG | 0.3
LADYSMCT14 KV GT2 | DOM_RESID_AGG | 0.6
LAWRENC218 KV S1 | AEPOHIO W.O. MON POWER | 32.6
LAWRENC218 KV S1 | AMP-OHIO | 0.3
LAWRENC218 KV S2 | AEPOHIO W.O. MON POWER | 32.1
LAWRENC218 KV S2 | AMP-OHIO | 0.3
LGHTFOOT35 KV NORGE_SP | DOM_RESID_AGG | 7.8
LINWDPE 18 KV STM | AMP-ATSI OH | 6.8
LINWDPE 18 KV STM | AMP-ATSI PA | 0.7
LINWDPE 18 KV STM | BGE_RESID_AGG | 52.9
LINWDPE 18 KV STM | CPP | 5.2
LINWDPE 18 KV STM | DEK | 6.5
LINWDPE 18 KV STM | DEOK | 0.2
LINWDPE 18 KV STM | DEOK_RESID_AGG | 155.6
LINWDPE 18 KV STM | DUQ_RESID_AGG | 84.6
LINWDPE 18 KV STM | EKPC_RESID_AGG | 29.2
LINWDPE 18 KV STM | EKPC-DEOK LOAD | 0.3
LINWDPE 18 KV STM | FEOHIO_RESID_AGG | 206.1
LINWDPE 18 KV STM | PENNPOWER_RESID_AGG | 17
LINWDPE 18 KV STM | PEPCO DC | 23.4
LINWDPE 18 KV STM | PEPCO MD | 32.7
LINWDPE 18 KV STM | SMECO_RESID_AGG | 8.9
LINWDPE 18 KV STM | WILLIAMSTOWN | 0.3
LOWMOOR 13 KV GTS | DOM_RESID_AGG | 1.9
LRDTWNEC19 KV ST10 | FEOHIO_RESID_AGG | 361.4
MICHFE | PENELEC | 141.9
MIDLOTH 35 KV DRYBRIBS | DOM_RESID_AGG | 11.1
MISO | AEC - AP | 3.7
MISO | AEPAPCO_RESID_AGG | 142.7
MISO | AEPIM_RESID_AGG | 100.8
MISO | AEPKY_RESID_AGG | 26.7
MISO | AEPOHIO W.O. MON POWER | 160.2
MISO | AK STEEL | 0.8
MISO | AMP-OHIO | 18.4
MISO | APS_RESID_AGG | 406.9
MISO | BLUE RIDGE | 6.5
MISO | BUCK-CIN | 0.2
MISO | BUCKEYE - AEPIM | 0.1
MISO | BUCKEYE - AEPOH | 3.8
MISO | BUCKEYE - DPL | 0.9
MISO | BUCK-FE | 0.7
MISO | DAY_RESID_AGG | 79.4
MISO | HREA - AP | 0.9
MISO | LIDA - AP | 0.2
MISO | MERIDIAN EWHITLEY | 0.7
MISO | MON POWER | 15.1
MISO | MONT ALTO - AP | 0.1
MISO | NEWMARTINSVILLE-AP | 0.3
MISO | PHILIPPI - AP | 0.2
MISO | TARENTUM - AP | 0.2
MOTTVILL2 KV MO1 | AEPAPCO_RESID_AGG | 0.5
MOTTVILL2 KV MO1 | AEPKY_RESID_AGG | 0.1
MOTTVILL2 KV MO1 | AEPOHIO W.O. MON POWER | 4.5
MOTTVILL2 KV MO1 | BLUE RIDGE | 0.4
MOTTVILL2 KV MO2 | AEPAPCO_RESID_AGG | 0.5
MOTTVILL2 KV MO2 | AEPKY_RESID_AGG | 0.1
MOTTVILL2 KV MO2 | AEPOHIO W.O. MON POWER | 4.3
MOTTVILL2 KV MO2 | BLUE RIDGE | 0.4
MOTTVILL2 KV MO3 | AEPAPCO_RESID_AGG | 0.5
MOTTVILL2 KV MO3 | AEPKY_RESID_AGG | 0.1
MOTTVILL2 KV MO3 | AEPOHIO W.O. MON POWER | 4.3
MOTTVILL2 KV MO3 | BLUE RIDGE | 0.4
MOTTVILL2 KV MO4 | AEPAPCO_RESID_AGG | 0.5
MOTTVILL2 KV MO4 | AEPKY_RESID_AGG | 0.1
MOTTVILL2 KV MO4 | AEPOHIO W.O. MON POWER | 4.3
MOTTVILL2 KV MO4 | BLUE RIDGE | 0.4
MOUNTAIN26 KV MT1 | AEPOHIO W.O. MON POWER | 44.7
MTNTOP 34.5 KV MHOOPWF2 | APS_RESID_AGG | 3.7
MTNTOP 34.5 KV MHOOPWF2 | DPL_ODEC | 3.4
MTSTORM422 KV G1 | DOM_RESID_AGG | 384.6
MTSTORM422 KV G2 | DOM_RESID_AGG | 388.1
MTSTORM422 KV G3 | DOM_RESID_AGG | 364.8
MTSTORM435 KV GT1 | DOM_RESID_AGG | 8.3
N ILLINOIS HUB | COOK | 146.6
NAMPTON 138 KV NUG | AMP-METED | 0.1
NAMPTON 138 KV NUG | METED | 2.5
NAMPTON 138 KV NUG | METED_RESID_AGG | 8.3
NANNA4 22 KV G1 | DOM_RESID_AGG | 104.4
NANNA4 22 KV G2 | DOM_RESID_AGG | 396.5
NEW_BALT34.5 KV NBALTMWF | APS_RESID_AGG | 0.4
NORTHST 12 KV G11 | DPL_ODEC | 3.9
NORTHST 12 KV G11 | EASTON | 0.1
NORTHST 69 KV GF | DPL_ODEC | 1.3
NYIS | AECO_RESID_AGG | 0.1
NYIS | AMP-OHIO | 3.6
NYIS | BUCKEYE - AEPIM | 0.5
NYIS | BUCKEYE - AEPOH | 40.4
NYIS | BUCKEYE - DPL | 10
NYIS | PENELEC_RESID_AGG | 17.9
ONTELAUN18 KV STM | PEPCO DC | 6
ONTELAUN18 KV STM | PEPCO MD | 9.1
ONTELAUN18 KV STM | SMECO_RESID_AGG | 0.2
PAULDNG334.5 KV PAUL3WF | AEPOHIO W.O. MON POWER | 6.9
PEACHBOT22 KV UNIT02 | DPL_ODEC | 8.6
PEACHBOT22 KV UNIT02 | EASTON | 0.2
PEACHBOT22 KV UNIT03 | DPL_ODEC | 8.6
PEACHBOT22 KV UNIT03 | EASTON | 0.2
PENNMAR 22 KV YOUGHUN | PENELEC_RESID_AGG | 0.1
PERRY_FE22 KV PR10 | FEOHIO_RESID_AGG | 355.7
PERRY_FE22 KV PR10 | PENNPOWER_RESID_AGG | 1.2
PHILPOTT138 KV UNITS1-3 | DOM_RESID_AGG | 3.7
PLYWOOD 13.8 KV PLYWODBI | DOM_RESID_AGG | 31.6
POLYESTR13.8 KV G1 | DOM_RESID_AGG | 35.1
PORTLAND13 KV CT 3 | METED | 0.3
PORTLAND13 KV CT 3 | METED_RESID_AGG | 0.6
PORTLAND13 KV CT 4 | METED | 0.4
PORTLAND13 KV CT 4 | METED_RESID_AGG | 1.3
PORTLAND13 KV CT 5 | AMP-METED | 0.1
PORTLAND13 KV CT 5 | METED | 3.7
PORTLAND13 KV CT 5 | METED_RESID_AGG | 11.6
POWHATAN35 KV POWHA2SP | DOM_RESID_AGG | 6.4
PRINTZ 18 KV STG | AMP-ATSI OH | 5.6
PRINTZ 18 KV STG | AMP-ATSI PA | 0.5
PRINTZ 18 KV STG | BGE_RESID_AGG | 43.1
PRINTZ 18 KV STG | CPP | 4.3
PRINTZ 18 KV STG | DEK | 5.6
PRINTZ 18 KV STG | DEOK | 0.2
PRINTZ 18 KV STG | DEOK_RESID_AGG | 125.8
PRINTZ 18 KV STG | EKPC_RESID_AGG | 23.8
PRINTZ 18 KV STG | EKPC-DEOK LOAD | 0.3
PRINTZ 18 KV STG | FEOHIO_RESID_AGG | 166.4
PRINTZ 18 KV STG | PENNPOWER_RESID_AGG | 13.9
PRINTZ 18 KV STG | PEPCO DC | 19.5
PRINTZ 18 KV STG | PEPCO MD | 27
PRINTZ 18 KV STG | SMECO_RESID_AGG | 7.3
PRINTZ 18 KV STG | WILLIAMSTOWN | 0.2
PSEGGLOB18 KV 6 | BGE_RESID_AGG | 9.2
PSEGGLOB18 KV 6 | FEOHIO_RESID_AGG | 0.3
PSEGGLOB18 KV 6 | PEPCO DC | 1.8
PSEGGLOB18 KV 6 | PEPCO MD | 2.3
PSEGGLOB18 KV 6 | SMECO_RESID_AGG | 0.9
PSEGGLOB18 KV 7 | BGE_RESID_AGG | 9.2
PSEGGLOB18 KV 7 | FEOHIO_RESID_AGG | 0.3
PSEGGLOB18 KV 7 | PEPCO DC | 1.8
PSEGGLOB18 KV 7 | PEPCO MD | 2.3
PSEGGLOB18 KV 7 | SMECO_RESID_AGG | 0.9
PSEGGLOB18 KV 8 | BGE_RESID_AGG | 9.2
PSEGGLOB18 KV 8 | FEOHIO_RESID_AGG | 0.3
PSEGGLOB18 KV 8 | PEPCO DC | 1.8
PSEGGLOB18 KV 8 | PEPCO MD | 2.3
PSEGGLOB18 KV 8 | SMECO_RESID_AGG | 0.9
PSEGGLOB22 KV 5 | BGE_RESID_AGG | 17.2
PSEGGLOB22 KV 5 | FEOHIO_RESID_AGG | 0.3
PSEGGLOB22 KV 5 | PEPCO DC | 4.2
PSEGGLOB22 KV 5 | PEPCO MD | 5.3
PSEGGLOB22 KV 5 | SMECO_RESID_AGG | 1.9
REMNTNCT18 KV GT1 | DOM_RESID_AGG | 0.3
REMNTNCT18 KV GT2 | DOM_RESID_AGG | 0.3
REMNTNCT18 KV GT3 | DOM_RESID_AGG | 0.3
REMNTNCT18 KV GT4 | DOM_RESID_AGG | 0.6
ROCKPOR226 KV RP1 | AEPOHIO W.O. MON POWER | 287.5
ROCKPOR226 KV RP1 | AMP-OHIO | 1.9
ROCKPOR226 KV RP2 | AEPOHIO W.O. MON POWER | 282.8
ROCKPOR226 KV RP2 | AMP-OHIO | 1.9
ROCKSPRI18 KV CT3 | DPL_ODEC | 1.5
ROCKSPRI18 KV CT4 | DPL_ODEC | 1.5
ROCKSPRI24 KV WCATSTG | APS_RESID_AGG | 67.8
ROCKSPRI24 KV WCATSTG | DPL_ODEC | 55.4
RORAPIDS14 KV G1 | DOM_RESID_AGG | 16.9
RORAPIDS14 KV G2 | DOM_RESID_AGG | 16.8
RORAPIDS14 KV G3 | DOM_RESID_AGG | 16.8
RORAPIDS14 KV G4 | DOM_RESID_AGG | 16.9
ROSEMARY13.8 KV NUG | DOM_RESID_AGG | 115.7
SALEM 25 KV SALEM1 | DPL_ODEC | 8
SALEM 25 KV SALEM1 | EASTON | 0.2
SALEM 25 KV SALEM2 | DPL_ODEC | 8
SALEM 25 KV SALEM2 | EASTON | 0.2
SANNA 230 KV G1 | DOM_RESID_AGG | 0.3
SANNA 230 KV G2 | DOM_RESID_AGG | 0.5
SBEND 18 KV CT1 | HREA - AP | 0.1
SBEND 18 KV CT1 | MON POWER | 1.4
SBEND 18 KV CT1 | NEWMARTINSVILLE-AP | 0.1
SBEND 18 KV CT2 | HREA - AP | 0.1
SBEND 18 KV CT2 | MON POWER | 1.3
SBEND 18 KV CT2 | NEWMARTINSVILLE-AP | 0.1
SBEND 18 KV CT3 | HREA - AP | 0.1
SBEND 18 KV CT3 | MON POWER | 1.4
SBEND 18 KV CT3 | NEWMARTINSVILLE-AP | 0.1
SBEND 18 KV CT4 | HREA - AP | 0.1
SBEND 18 KV CT4 | MON POWER | 1.4
SBEND 18 KV CT4 | NEWMARTINSVILLE-AP | 0.1
SHAMPTON115 KV G1 | DOM_RESID_AGG | 35.6
SHAWNEE 13 KV SHAWNE | METED | 0.4
SHAWNEE 13 KV SHAWNE | METED_RESID_AGG | 1.1
SHILLAGH34.5 KV SHILLASP | DOM_RESID_AGG | 31.4
SJEC 18 KV STG | AEPAPCO_RESID_AGG | 162.2
SJEC 18 KV STG | AEPKY_RESID_AGG | 29.7
SJEC 18 KV STG | AEPOHIO W.O. MON POWER | 201.5
SJEC 18 KV STG | AK STEEL | 0.9
SJEC 18 KV STG | AMP-OHIO | 2.9
SJEC 18 KV STG | BLUE RIDGE | 7.4
SJEC 18 KV STG | BUCK-CIN | 0.3
SJEC 18 KV STG | BUCKEYE - AEPOH | 5.6
SJEC 18 KV STG | BUCKEYE - DPL | 1.4
SJEC 18 KV STG | BUCK-FE | 1.1
SJEC 18 KV STG | MERIDIAN EWHITLEY | 0.4
SMITHFLD35 KV SOLIDASP | DOM_RESID_AGG | 7.8
SMITHMOU13.8 KV SM2 | AEPOHIO W.O. MON POWER | 0.1
SOUTH | DOM_RESID_AGG | 35.2
SPRINGDA13 KV AES 1 | APS_RESID_AGG | 0.9
SPRINGDA13 KV AES 1 | MON POWER | 0.2
SPRINGDA13 KV AES 2 | APS_RESID_AGG | 0.9
SPRINGDA13 KV AES 2 | MON POWER | 0.2
SPRINGDA18 KV ST5 | AEC - AP | 0.7
SPRINGDA18 KV ST5 | APS_RESID_AGG | 15.6
SPRINGDA18 KV ST5 | MON POWER | 4
SPRINGDA18 KV ST5 | NEWMARTINSVILLE-AP | 0.1
STGCOACH34.5 KV STGCHSP | DOM_RESID_AGG | 35.9
SUFFOLK 35 KV PLSNTHSP | DOM_RESID_AGG | 7.9
SUFFOLK 35 KV SUFFLKSP | DOM_RESID_AGG | 5.8
SURRY4 22 KV G1 | DOM_RESID_AGG | 568.2
SURRY4 22 KV G2 | DOM_RESID_AGG | 571.4
SUSQUEHA24 KV UNIT01 | BGE_RESID_AGG | 52.2
SUSQUEHA24 KV UNIT01 | PENELEC_RESID_AGG | 19.6
SUSQUEHA24 KV UNIT02 | BGE_RESID_AGG | 52.1
SUSQUEHA24 KV UNIT02 | PENELEC_RESID_AGG | 19.7
TANNERSC18 KV TC3 | MIAMIFOR18 KV G6 | 58.2
TIDD_AEP24 KV CD1 | BUCK-FE | 0.6
TIDD_AEP24 KV CD2 | BUCK-FE | 42.5
TIDD_AEP26 KV CD3 | BUCK-FE | 39
TIMBERRD34.5 KV TIMR2WF1 | AEPOHIO W.O. MON POWER | 13
TWELVEPO13 KV 1 | DUQ_RESID_AGG | 1.2
TWELVEPO13 KV 2 | DUQ_RESID_AGG | 1.2
TWELVEPO13 KV 3 | DUQ_RESID_AGG | 1.2
TWELVEPO13 KV 4 | DUQ_RESID_AGG | 1.1
TWELVEPO13 KV 5 | DUQ_RESID_AGG | 1.1
TWELVEPO13 KV 6 | DUQ_RESID_AGG | 0.7
WCATWIND34.5 KV WLDCATWF | AEPOHIO W.O. MON POWER | 3.2
WELCO 35 KV WATLNGSP | DOM_RESID_AGG | 7.9
WESTDPL 12 KV G1 | DPL_ODEC | 1.6
ZELDA 18 KV UNIT 1 | AMP-OHIO | 0.1
ZELDA 18 KV UNIT 2 | AMP-OHIO | 0.1
ZELDA 18 KV UNIT 3 | AMP-OHIO | 0.1