MSRS Report Format Documentation

Operating Reserve Deviation Summary – 5 Minute

Version 3

Revision History

| date | Revision | Description |
| --- | --- | --- |
| 4/1/2018 | 1 | Initial Distribution |
| 6/1/2020 | 2 | Added column RT PRD Offset for withdrawal deviation offset for price responsive demand load |
| 11/1/2020 | 3 | Added column DA Up-To Congestion Bids |

# Report

MSRS Report Name: Operating Reserve Deviation Summary – 5 Minute

Report short name for User Interface: Operating Reserve Deviation Summary – 5 Minute

Download File Name Abbreviation: ORDev5min

Data Granularity:  Sub-hourly

Frequency: Updated daily

Range Displayed on Report:  Start Date through End Date

# Supported Billing Line Items

Balancing Operating Reserve Charge (1375)

# Report Content Summary

This report displays the customer account’s sub-hourly generator deviation and also provides the sub-hourly values for the components used in calculating withdrawal and injection deviation MW which are used in calculating the Balancing Operating Reserve Charge.  These values are displayed by balancing operating reserve location.

# Summary of Changes and Special Logic

The Balancing Operating Reserve Location ID and Name displayed on this report will be the PNode ID and Name of the zone, hub or interface PNode at which the deviations occurred.

The Balancing Operating Reserve Location Type displays the type of PNode at which the deviations occurred.

The Balancing Operating Reserve Region Name will display the name of the balancing operating reserve region in which the deviation location falls.  ‘RTO’ will be used to denote the name of non-region deviations (deviations at locations that do not fall within either the East or West balancing operating reserve regions).

# Report Columns

The following columns will appear in the body of the report:

| Online and CSV Column Name | XML Column Name | Column Number | Data Type |
| --- | --- | --- | --- |
| Customer ID | CUSTOMER_ID | 4000.01 | INTEGER |
| Customer Code | CUSTOMER_CODE | 4000.02 | VARCHAR2(6) |
| EPT Interval Ending | EPT_INTERVAL_ENDING | 4001.40 | VARCHAR2(40) mm/dd/yyyy HH24:MM format (Displays first interval of the day as hour 0 minute 05 and last interval of the day as hour 24 minute 00) |
| GMT Interval Ending | GMT_INTERVAL_ENDING | 4001.41 | VARCHAR2(40) mm/dd/yyyy HH24:MM format Displays first interval of the day in relation to EPT interval as hour 04 minute 05 or hour 05 minute 05 (EDT/EST depending) and last interval of the day as hour 04 minute 00 of the next day or hour 05 minute 00 of the next day (EDT/EST depending) |
| Bal Operating Reserve Location Name | BOR_LOCATION_NAME | 4000.77 | VARCHAR2(30) |
| Bal Operating Reserve Location ID | BOR_LOCATION_ID | 4000.78 | NUMBER(*,0) |
| Location Type | BOR_LOCATION_TYPE | 4000.79 | VARCHAR2(100) (See Predetermined values below) |
| Bal Operating Reserve Region Name | BOR_REGION_NAME | 4000.80 | VARCHAR2(50) (See Predetermined values below) |
| DA Increment Offers (MW) | DA_INCREMENT_OFFERS | 1370.16 | NUMBER |
| DA Operating Reserve Imports (MW) | DA_OPRES_IMPORTS | 1370.17 | NUMBER |
| DA Internal Bilateral Purchases (MW) | DA_INTERNAL_BILATERAL_PURCHASES | 1370.18 | NUMBER |
| DA Operating Reserve Injection (MW) | DA_OPRES_INJECTION | 1370.19 | NUMBER |
| RT Operating Reserve Imports (MW) | RT_OPRES_IMPORTS | 1375.20 | NUMBER |
| RT Internal Bilateral Purchases (MW) | RT_INTERNAL_BILATERAL_PURCHASES | 1375.21 | NUMBER |
| RT Operating Reserve Injection (MW) | RT_OPRES_INJECTION | 1375.22 | NUMBER |
| Operating Reserve Injection Deviation (MW) | OPRES_INJECTION_DEVIATION | 1375.23 | NUMBER |
| DA Decrement Bids (MW) | DA_DECREMENT_BIDS | 1370.24 | NUMBER |
| DA Demand Bids (MW) | DA_DEMAND_BIDS | 1370.25 | NUMBER |
| DA Load Response Bids (MW) | DA_LOAD_RESPONSE_BIDS | 1370.26 | NUMBER |
| DA Operating Reserve Exports (MW) | DA_OPRES_EXPORTS | 1370.27 | NUMBER |
| DA Internal Bilateral Sales (MW) | DA_INTERNAL_BILATERAL_SALES | 1370.28 | NUMBER |
| DA Up-To Congestion Bids (MW) | DA_UTC_BIDS | 1370.31 | NUMBER |
| DA Operating Reserve Withdrawal (MW) | DA_OPRES_WITHDRAWAL | 1370.29 | NUMBER |
| RT Load (MW) | RT_LOAD | 3000.38 | NUMBER |
| Load Reconciliation Energy (MW) | LOAD_RECONCILIATION_ENERGY | 3000.77 | NUMBER(22,3) |
| RT Operating Reserve Exports (MW) | RT_OPRES_EXPORTS | 1375.30 | NUMBER |
| RT Internal Bilateral Sales (MW) | RT_INTERNAL_BILATERAL_SALES | 1375.31 | NUMBER |
| RT PRD Offset (MW) | RT_PRD_OFFSET | 1375.65 | NUMBER |
| RT Operating Reserve Withdrawal (MW) | RT_OPRES_WITHDRAWAL | 1375.32 | NUMBER |
| Operating Reserve Withdrawal Deviation (MW) | OPRES_WITHDRAWAL_DEVIATION | 1375.33 | NUMBER |
| Operating Reserve Generator Deviation (MW) | OPRES_GENERATOR_DEVIATION | 1375.34 | NUMBER |
| Locational Total Deviation (MW) | LOCATIONAL_TOTAL_DEVIATION | 1375.35 | NUMBER |
| Version | VERSION | 4000.07 | VARCHAR2(12) |

Possible Location Type Values:  ZONE, HUB, INTERFACE

Possible Bal Operating Reserve Region Name Values: East, West, RTO

# CSV Report Example

See Excel file titled “Operating Reserve Deviation Summary – 5 Minute CSV Format.csv”

# XML Report Example

See XML file titled “Operating Reserve Deviation Summary – 5 Minute XML Format.xml”

# Supporting Calculations

DA Operating Reserve Injection = DA Increment Offers  + DA Operating Reserve Imports + DA Internal Bilateral Purchases

1370.19 = 1370.16 + 1370.17 + 1370.18

RT Operating Reserve Injection = RT Operating Reserve Imports + RT Internal Bilateral Purchases

1375.22 = 1375.20 + 1375.21

Operating Reserve Injection Deviation = ABS | (RT Operating Reserve Injection- DA Operating Reserve Injection  )

1375.23 = ABS (1375.22 - 1370.19)

DA Operating Reserve Withdrawal  = DA Decrement Bids + DA Demand Bids + DA Load Response Bids + DA Operating Reserve Exports  + DA Internal Bilateral Sales + DA Up-To Congestion Bids

1370.29 = 1370.24 + 1370.25 + 1370.26 + 1370.27 + 1370.28 + 1370.31

RT Operating Reserve Withdrawal = RT Load  + Load Reconciliation Energy + RT Operating Reserve Exports + RT Internal Bilateral Sales + RT PRD Offset

1375.32 = 3000.38 + 3000.77 + 1375.30 + 1375.31 + 1375.65

Operating Reserve Withdrawal Deviation = ABS | (RT Operating Reserve Withdrawal  - DA Operating Reserve Withdrawal)

1375.33 = ABS (1375.32 - 1375.29)

Operating Reserve Generator Deviation (1375.34) = SUM(Supplier Netted Deviation MW from Operating Reserve Generator Deviations 5 Minute report) for all supplier netted groups that fall within the transmission zone displayed.

  - Please note that the Supplier Netted Deviation MW value appears on the Operating Reserve Generator Deviations report for each generator that belongs to the supplier netted group.  In order to properly recalculate the Operating Reserve Generator Deviation at the customer account-level, the Supplier Netted Deviation MW should only be added once for each group, rather than once for each generator.

Locational Total Deviation = Operating Reserve Injection Deviation + Operating Reserve Withdrawal Deviation + Operating Reserve Generator Deviation

1375.35 = 1375.23 + 1375.33 + 1375.34