## Requested Scenarios
Request # | Requested Scenario | Category | PJM Comments
1 | Include Susquehanna-Roseland line and Add back the 2.5% short-term holdback | Combination
2 | Impact of revised VRR Curve (use IRM-4%,IRM, and IRM+4% instead of IRM-3%, IRM+1% and IRM+5%) | RPM Planning Parameters
3 | Add back the 2.5% short-term holdback | RPM Planning Parameters
4 | Add back the 2.5% short-term holdback and Impact of Revised VRR Curve | RPM Planning Parameters
5 | Add one percentage point to the IRM. | RPM Planning Parameters | same as #6
6 | Increase the Reserve Margin to 16.2% | RPM Planning Parameters
7 | Use 12/13 CONE Values | RPM Planning Parameters
8 | Impact of ATSI Integration, controlling for the entrance of new load and supply (both gen and DR resources) | RTO Model | Overlaps with the supply scenarios
9 | Impact if Duke Ohio had been integrated | RTO Model | Overlaps with the supply scenarios
10 | Remove the generation at risk from the offer stack (previously identified by the MM as not recovering all of their costs through energy and RPM markets) | Supply | See Note 3
11 | Increased supply (either generation or DR) in each of the constrained LDAs and RTO. PJM should use judgment to determine various amounts to add and where. We recommend adding until there isn't price separation anymore and reporting the amount added. (That would likely mean adding at a zero price.) In particular it would be nice to see how much supply would have to be added to MAAC make price separation between MAAC and rest of RTO disappear. | Supply | See Note 1
12 | Decreased supply (either generation retirements or reduction in DR) in each of the constrained LDAs and RTO. How much of a decrease in supply to get the next constrained LDA to bind? | Supply | See Note 2
13 | Run a scenario where all generation offers at its offer cap. (Presumably some generation now offers below its cap.) | Supply | See Note 3
14 | Run a scenario that simulates large amounts of baseload coal either offering at a fairly high offer cap and/or retiring because of high environmental related costs. | Supply | See Note 3
15 | Retirement of Indian River 3; include MAPP | Supply | See Note 3
16 | Retirement of Indian River 3; no MAPP but with a 300 MW natural gas CC plant in Sussex County | Supply | See Note 3
17 | Retirement of Indian River 3; include MAPP and a 300 MW natural gas CC plant in Sussex County | Supply | See Note 3
18 | Include 400 MW of DR in the BGE and PEPCO zone at $0 | Supply | See Note 3
19 | Addition of 600 MW of new generation in MD and offered at cost of new entry. Explain if specific location of generator would affect the result | Supply | See Note 3
20 | Impact of Exelon unit retirements | Supply | See Note 3
21 | Decrease the supply stack in the RO (PJM West) by 11,000 MW | Supply | same as #10
22 | Additional 500 MW of CC Gen in South Jersey/Philadelphia Area | Supply | See Note 3
23 | Additional 500 MW of generation in North Jersey | Supply | See Note 3
24 | Reclear auction with Demand Resources given credit for only a fraction of their claimed capability (e.g., 25% of claimed capability) | Supply | See Note 3
25 | Add the PATH upgrade | Transmission
26 | Add the Susquehanna - Roseland upgrade | Transmission
27 | Add both the PATH and Susquehanna - Roseland upgrade | Transmission
28 | Re-run without TRAIL | Transmission | TrAILon schedule for 2011 in-service date.
29 | Clear the market without any binding LDAs | Transmission
30 | Impact of MAPP | Transmission
31 | Impact of partial completion of the Mid-Atlantic Pathway (“MAPP”) from the Potomac River Crossing at Possum Point to Calvert Cliff’s substation | Transmission
32 | Include Key Transmission Upgrades that were included in 12/13, but not in 13/14 (150 MVAR capacitor at Northwest 230 kV, Susquehanna-Roseland, Lackawanna 500/230 kV transformatio and upgrade 230 kV substation and switchyard) | Transmission | same as #26
33 | Recalculate CETL after removing transmission projects that are not currently under construction. Reclear auction with recalculated CETL. | Transmission
Scenarios highlighted in yellow are those that PJM proposes to simulate.
NOTE 1 | Run 1 – increase supply in rest of RTO by 5000 MW @ $0
Run 2 - increase supply in rest of MAAC by 1000 MW @ $0
Run 3 - increase supply in rest of EMAAC by 1000 MW @ $0
Run 4 – increase supply in PEPCO by 400 MW @ $0
Run 5 – increase supply in DPLSOUTH by 400 MW @$0
Run 6 - increase supply in PSNORTH by 400 MW @$
NOTE 2 | Run 1 – remove 5000 MW from bottom of supply stack in rest of RTO
Run 2 - remove 1000 MW from bottom of supply stack in rest of MAAC
Run 3 - remove 1000 MW from bottom of supply stack in rest of EMAAC
Run 4 – remove 400 MW from bottom of supply stack in PEPCO
Run 5 – remove 400 MW from bottom of supply stack in DPLSOUTH
Run 6 - remove 400 MW from bottom of supply stack in PSNORTH
NOTE 3 - PJM has received numerous supply-related scenario requests. PJM proposes the simulations described under scenarios #11 and #12 and suggests that these simulations more systematically and generically address the various supply-related requests.